## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI770A-0 | HI96770A-0
0875 | HI96770A-0 | CP-R64 | W51/1 |  | Parameter Formula | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica HR Reagent A | 2027-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-01-28 | 2025-01-29 | PRECI
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 37 | 43 |  | MR82 |  | 1 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
3 | 160 | 151 | 169 | [8 empty] | 1.0 | 0.8 | 1.2
1 | 0 | 0 | 1 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | P/FINAL | 2025-01-29 | 10:59 | 2025-01-29 | 06:51 | FLORICA | PRECI | 41 | 38 | / | / | 0.161 |  |  |  | 1.38 | 108 |  | Brigitta P |  | 3 | 2
2 | 40 | 2 | P/FINAL | 2025-01-29 | 10:59 | 2025-01-29 | 06:51 | FLORICA | PRECI | 40 | 41 | / | / | 0.160 |  |  |  | 4.24 | 83 |  | Brigitta P |  | 3 | 2
2 | 40 | 3 | P/FINAL | 2025-01-29 | 11:00 | 2025-01-29 | 06:51 | FLORICA | PRECI | 40 | 41 | / | / | 0.160 |  |  |  | 4.24 | 110 |  | Brigitta P |  | 3 | 2
3 | 160 | 4 | P/FINAL | 2025-01-29 | 11:00 | 2025-01-29 | 06:51 | FLORICA | PRECI | 160 | 156 | / | / | 0.561 |  |  |  | 1.07 | 104 |  | Brigitta P |  | 3 | 3
3 | 160 | 5 | P/FINAL | 2025-01-29 | 11:00 | 2025-01-29 | 06:51 | FLORICA | PRECI | 159 | 156 | / | / | 0.558 |  |  |  | 1.13 | 104 |  | Brigitta P |  | 3 | 3
3 | 160 | 6 | P/FINAL | 2025-01-29 | 11:01 | 2025-01-29 | 06:51 | FLORICA | PRECI | 160 | 156 | / | / | 0.561 |  |  |  | 1.07 |  |  | Brigitta P |  | 3 | 3
1 | 0 | 7 | P/FINAL | 2025-01-29 | 11:01 | 2025-01-29 | 06:51 | FLORICA | PRECI | 0 | 0 | / | / | 0.006 |  |  |  | 1.02 |  |  | Brigitta P |  | 3 | 1
1 | 0 | 8 | P/FINAL | 2025-01-29 | 11:01 | 2025-01-29 | 06:51 | FLORICA | PRECI | 0 | 0 | / | / | 0.005 |  |  |  | 1.24 |  |  | Brigitta P |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 40 mg/L | 3 | 6 | 40 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 158 mg/L | 3 | 6 | 158 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 0 | YES
40 | 37 ÷ 43 | 40 | YES
160 | 151 ÷ 169 | 158 | YES
Validation Date | by