## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI770A-0 | HI96770A-0
1000 | HI96770A-0 | CP-R64 | W 16/1 |  | Parameter Formula | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica HR Reagent A | 2028-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1000 | 0942 | 0796
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2028-04-01 | 2030-03-01 | 2029-11-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-04-25 | 2025-04-25 | PRECI |  |  | 0862
[6 empty] | Expiration A | Expiration B | Expiration D
2027-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97700 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 37 | 43 |  | MR82 |  | 1 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
3 | 160 | 151 | 169 | [8 empty] | 1.0 | 0.8 | 1.2
1 | 0 | 0 | 1 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97700 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Old A | 2025-04-15 | 14:34 | 2025-04-15 | 11:55 | ERIKA |  | 40 | 41 | / | / | 0.157 |  |  |  | 3.23 |  | 1 | Kinga |  | 3 | 2
3 | 160 | 2 | Old A | 2025-04-15 | 14:35 | 2025-04-15 | 11:55 | ERIKA |  | 155 | 158 | / | / | 0.548 |  |  |  | 2.48 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 3 | Old A | 2025-04-15 | 14:36 | 2025-04-15 | 11:55 | ERIKA |  | 0 | 0 | / | / | 0.001 |  |  |  | 0.19 |  | 1 | Kinga |  | 3 | 1
2 | 40 | 4 | Valid | 2025-04-15 | 14:50 | 2025-04-15 | 11:55 | ERIKA |  | 40 | 41 | / | / | 0.159 |  |  |  | 2.04 |  | 1 | Kinga |  | 3 | 2 | 115329
2 | 40 | 5 | Valid | 2025-04-15 | 14:50 | 2025-04-15 | 11:55 | ERIKA |  | 38 | 38 | / | / | 0.152 |  |  |  | 1.98 |  | 1 | Kinga |  | 3 | 2 | 115329
2 | 40 | 6 | Valid | 2025-04-15 | 14:51 | 2025-04-15 | 11:55 | ERIKA |  | 39 | 40 | / | / | 0.156 |  |  | 1.194 | 2.08 |  | 1 | Kinga |  | 3 | 2 | 115329
3 | 160 | 7 | Valid | 2025-04-15 | 14:53 | 2025-04-15 | 11:55 | ERIKA |  | 162 | 165 | / | / | 0.568 |  |  |  | 2.25 |  | 1 | Kinga |  | 3 | 3 | 115329
3 | 160 | 8 | Valid | 2025-04-15 | 14:54 | 2025-04-15 | 11:55 | ERIKA |  | 162 | 166 | / | / | 0.570 |  |  |  | 1.95 |  | 1 | Kinga |  | 3 | 3 | 115329
3 | 160 | 9 | Valid | 2025-04-15 | 14:55 | 2025-04-15 | 11:55 | ERIKA |  | 162 | 164 | / | / | 0.568 |  |  | 1.266 | 2.19 |  | 1 | Kinga |  | 3 | 3 | 115329
1 | 0 | 10 | Valid | 2025-04-15 | 14:56 | 2025-04-15 | 11:55 | ERIKA |  | 0 | 0 | / | / | 0.005 |  |  |  | 2.11 |  | 1 | Kinga |  | 3 | 1 | 115329
1 | 0 | 11 | Valid | 2025-04-15 | 14:56 | 2025-04-15 | 11:55 | ERIKA |  | 0 | 0 | / | / | 0.004 |  |  | 1.216 | 2.09 |  | 1 | Kinga |  | 3 | 1 | 115329
2 | 40 | 12 | P/FINAL | 2025-04-25 | 08:29 | 2025-04-25 | 06:44 | FLORICA |  | 37 | 37 | / | / | 0.148 |  |  |  | 1.23 | 127 | 1 | Kinga |  | 3 | 2 | 115329
2 | 40 | 13 | P/FINAL | 2025-04-25 | 08:30 | 2025-04-25 | 06:44 | FLORICA |  | 37 | 38 | / | / | 0.142 |  |  | 1.142 | 1.17 | 100 | 1 | Kinga |  | 3 | 2 | 115329
3 | 160 | 14 | P/FINAL | 2025-04-25 | 08:31 | 2025-04-25 | 06:44 | FLORICA |  | 153 | 156 | / | / | 0.540 |  |  |  | 1.15 | 126 | 1 | Kinga |  | 3 | 3 | 115329
3 | 160 | 15 | P/FINAL | 2025-04-25 | 08:31 | 2025-04-25 | 06:44 | FLORICA |  | 152 | 157 | / | / | 0.538 |  |  | 1.231 | 1.20 | 118 | 1 | Kinga |  | 3 | 3 | 115329
1 | 0 | 16 | P/FINAL | 2025-04-25 | 08:32 | 2025-04-25 | 06:44 | FLORICA |  | 0 | 0 | / | / | 0.003 |  |  |  | 1.20 | 129 | 1 | Kinga |  | 3 | 1 | 115329
1 | 0 | 17 | P/FINAL | 2025-04-25 | 08:32 | 2025-04-25 | 06:44 | FLORICA |  | 0 | 0 | / | / | 0.002 |  |  | 1.285 | 1.18 | 123 | 1 | Kinga |  | 3 | 1 | 115329
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 37 mg/L | 2 | 4 | 37 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 155 mg/L | 2 | 4 | 155 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 0 | YES
40 | 37 ÷ 43 | 37 | YES
160 | 151 ÷ 169 | 155 | YES
Validation Date | by