## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI770A-0 | HI96770A-0
1104 | HI96770A-0 | CP-R64 | W28/1 |  | Parameter Formula | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica HR Reagent A | 2028-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1104 | 1044 | 0996
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2028-07-01 | 2030-05-01 | 2030-04-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-08 | 2025-08-22 | 1 HEAD |  |  | 0875
[6 empty] | Expiration A | Expiration B | Expiration D
2027-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 1 |  | MR82 |  | 1 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
3 | 160 | 151 | 169 | [8 empty] | 1.0 | 0.8 | 1.2
2 | 40 | 37 | 43 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97770 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old A | 2025-07-08 | 14:37 | 2025-07-08 | 12:50 | ERIKA |  | 3 | 5 | / | / | 0.025 |  |  |  | 3.06 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 2 | Old A | 2025-07-08 | 14:37 | 2025-07-08 | 12:50 | ERIKA |  | 5 | 6 | / | / | 0.033 |  |  |  | 3.87 |  | 1 | Andrea V |  | 3 | 1
3 | 160 | 3 | Old A | 2025-07-08 | 14:48 | 2025-07-08 | 12:50 | ERIKA |  | 151 | 159 | / | / | 0.535 |  |  |  | 3.40 |  | 1 | Andrea V |  | 3 | 3 | 10643
3 | 160 | 4 | Old A | 2025-07-08 | 14:49 | 2025-07-08 | 12:50 | ERIKA |  | 151 | 155 | / | / | 0.533 |  |  |  | 3.99 |  | 1 | Andrea V |  | 3 | 3 | 10643
2 | 40 | 5 | Old A | 2025-07-08 | 14:58 | 2025-07-08 | 12:50 | ERIKA |  | 43 | 45 | / | / | 0.169 |  |  |  | 3.15 |  | 1 | Andrea V |  | 3 | 2 | 10643
2 | 40 | 6 | Old A | 2025-07-08 | 14:58 | 2025-07-08 | 12:50 | ERIKA |  | 46 | 46 | / | / | 0.180 |  |  |  | 4.68 |  | 1 | Andrea V |  | 3 | 2 | 10643
1 | 0 | 7 | Valid | 2025-07-08 | 15:04 | 2025-07-08 | 12:50 | ERIKA |  | 1 | 0 | / | / | 0.019 |  |  | 1.251 | 2.93 |  | 1 | Andrea V |  | 3 | 1 | 10643
1 | 0 | 8 | Valid | 2025-07-08 | 15:05 | 2025-07-08 | 12:50 | ERIKA |  | 1 | 0 | / | / | 0.018 |  |  |  | 2.46 |  | 1 | Andrea V |  | 3 | 1 | 10643
2 | 40 | 9 | Valid | 2025-07-08 | 15:13 | 2025-07-08 | 12:50 | ERIKA |  | 42 | 43 | / | / | 0.166 |  |  | 1.248 | 2.39 |  | 1 | Andrea V |  | 3 | 2 | 10643
2 | 40 | 10 | Valid | 2025-07-08 | 15:14 | 2025-07-08 | 12:50 | ERIKA |  | 40 | 39 | / | / | 0.158 |  |  |  | 1.96 |  | 1 | Andrea V |  | 3 | 2 | 10643
2 | 40 | 11 | Valid | 2025-07-08 | 15:16 | 2025-07-08 | 12:50 | ERIKA |  | 40 | 40 | / | / | 0.159 |  |  |  | 2.83 |  | 1 | Andrea V |  | 3 | 2 | 10643
3 | 160 | 12 | Valid | 2025-07-08 | 15:23 | 2025-07-08 | 12:50 | ERIKA |  | 145 | 152 | / | / | 0.516 |  |  |  | 2.51 |  | 1 | Andrea V |  | 3 | 3 | 10643
3 | 160 | 13 | Valid | 2025-07-08 | 15:24 | 2025-07-08 | 12:50 | ERIKA |  | 141 | 148 | / | / | 0.503 |  |  |  | 2.83 |  | 1 | Andrea V |  | 3 | 3 | 10643
3 | 160 | 14 | Valid | 2025-07-08 | 15:25 | 2025-07-08 | 12:50 | ERIKA |  | 143 | 151 | / | / | 0.507 |  |  | 1.246 | 2.35 |  | 1 | Andrea V |  | 3 | 3 | 10643
1 | 0 | 15 | Old A | 2025-07-08 | 15:53 | 2025-07-08 | 13:54 | MARK |  | 0 | 0 | / | / | 0.008 |  |  |  | 1.65 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 16 | Old A | 2025-07-08 | 15:54 | 2025-07-08 | 13:54 | MARK |  | 0 | 0 | / | / | 0.010 |  |  |  | 1.56 |  | 1 | Andrea V |  | 3 | 1
2 | 40 | 17 | Old A | 2025-07-08 | 15:57 | 2025-07-08 | 13:54 | MARK |  | 33 | 37 | / | / | 0.135 |  |  |  | 1.54 |  | 1 | Andrea V |  | 3 | 2 | 10643
2 | 40 | 18 | Old A | 2025-07-08 | 15:59 | 2025-07-08 | 13:54 | MARK |  | 33 | 37 | / | / | 0.138 |  |  |  | 1.30 |  | 1 | Andrea V |  | 3 | 2 | 10643
3 | 160 | 19 | Old A | 2025-07-08 | 16:00 | 2025-07-08 | 13:54 | MARK |  | 147 | 155 | / | / | 0.521 |  |  |  | 1.04 |  | 1 | Andrea V |  | 3 | 3 | 10643
3 | 160 | 20 | Old A | 2025-07-08 | 16:00 | 2025-07-08 | 13:54 | MARK |  | 151 | 158 | / | / | 0.533 |  |  |  | 1.24 |  | 1 | Andrea V |  | 3 | 3 | 10643
2 | 40 | 21 | Old A | 2025-07-09 | 09:11 | 2025-07-08 | 13:54 | MARK |  | 35 | 33 | / | / | 0.142 |  |  |  | 1.35 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 22 | Old A | 2025-07-09 | 09:12 | 2025-07-08 | 13:54 | MARK |  | 35 | 35 | / | / | 0.141 |  |  |  | 1.60 |  | 1 | Andrea V |  | 3 | 2
3 | 160 | 23 | Old A | 2025-07-09 | 09:14 | 2025-07-08 | 13:54 | MARK |  | 149 | 154 | / | / | 0.529 |  |  |  | 1.48 |  | 1 | Andrea V |  | 3 | 3 | 10643
3 | 160 | 24 | Old A | 2025-07-09 | 09:15 | 2025-07-08 | 13:54 | MARK |  | 145 | 150 | / | / | 0.516 |  |  |  | 1.27 |  | 1 | Andrea V |  | 3 | 3 | 10643
1 | 0 | 25 | Old A | 2025-07-09 | 09:20 | 2025-07-08 | 13:54 | MARK |  | 0 | 0 | / | / | 0.009 |  |  |  | 1.60 |  | 1 | Andrea V |  | 3 | 1 | 10643
1 | 0 | 26 | Old A | 2025-07-09 | 09:20 | 2025-07-08 | 13:54 | MARK |  | 0 | 0 | / | / | 0.009 |  |  |  | 1.95 |  | 1 | Andrea V |  | 3 | 1 | 10643
2 | 40 | 27 | Old A | 2025-07-09 | 10:28 | 2025-07-08 | 13:54 | MARK |  | 38 | 37 | / | / | 0.151 |  |  |  | 3.15 |  | 1 | Andrea V |  | 3 | 2 | 92715
2 | 40 | 28 | Old A | 2025-07-09 | 10:30 | 2025-07-08 | 13:54 | MARK |  | 38 | 37 | / | / | 0.152 |  |  | 1.221 | 2.92 |  | 1 | Andrea V |  | 3 | 2 | 92715
3 | 160 | 29 | Old A | 2025-07-09 | 10:32 | 2025-07-08 | 13:54 | MARK |  | 158 | 160 | / | / | 0.555 |  |  | 1.236 | 3.09 |  | 1 | Andrea V |  | 3 | 3 | 92715
3 | 160 | 30 | Old A | 2025-07-09 | 10:33 | 2025-07-08 | 13:54 | MARK |  | 157 | 161 | / | / | 0.554 |  |  |  | 3.23 |  | 1 | Andrea V |  | 3 | 3 | 92715
2 | 40 | 31 | Valid | 2025-07-09 | 11:03 | 2025-07-08 | 13:54 | MARK |  | 38 | 39 | / | / | 0.151 |  |  | 1.214 | 2.79 |  | 1 | Andrea V |  | 3 | 2 | 92715
2 | 40 | 32 | Valid | 2025-07-09 | 11:03 | 2025-07-08 | 13:54 | MARK |  | 38 | 38 | / | / | 0.152 |  |  |  | 2.69 |  | 1 | Andrea V |  | 3 | 2 | 92715
2 | 40 | 33 | Valid | 2025-07-09 | 11:04 | 2025-07-08 | 13:54 | MARK |  | 36 | 37 | / | / | 0.143 |  |  |  | 1.05 |  | 1 | Andrea V |  | 3 | 2 | 92715
3 | 160 | 34 | Valid | 2025-07-09 | 11:05 | 2025-07-08 | 13:54 | MARK |  | 157 | 159 | / | / | 0.554 |  |  |  | 2.77 |  | 1 | Andrea V |  | 3 | 3 | 92715
3 | 160 | 35 | Valid | 2025-07-09 | 11:05 | 2025-07-08 | 13:54 | MARK |  | 156 | 161 | / | / | 0.549 |  |  | 1.242 | 3.00 |  | 1 | Andrea V |  | 3 | 3 | 92715
3 | 160 | 36 | Valid | 2025-07-09 | 11:06 | 2025-07-08 | 13:54 | MARK |  | 156 | 160 | / | / | 0.550 |  |  |  | 2.88 |  | 1 | Andrea V |  | 3 | 3 | 92715
1 | 0 | 37 | Old A | 2025-08-21 | 14:08 | 2025-08-21 | 13:15 | GABRIELLA | PRECI | 0 | 0 | / | / | 0.015 |  |  |  | 2.59 |  | 1 | Kinga |  | 3 | 1 | 92715
1 | 0 | 38 | Old A | 2025-08-21 | 14:09 | 2025-08-21 | 13:15 | GABRIELLA | PRECI | 0 | 0 | / | / | 0.017 |  |  |  | 2.27 |  | 1 | Kinga |  | 3 | 1 | 92715
3 | 160 | 39 | Old A | 2025-08-21 | 14:11 | 2025-08-21 | 13:15 | GABRIELLA | PRECI | 153 | 156 | / | / | 0.541 |  |  |  | 1.43 |  | 1 | Kinga |  | 3 | 3 | 92715
3 | 160 | 40 | Old A | 2025-08-21 | 14:12 | 2025-08-21 | 13:15 | GABRIELLA | PRECI | 153 | 157 | / | / | 0.541 |  |  |  | 1.55 |  | 1 | Kinga |  | 3 | 3 | 92715
2 | 40 | 41 | Old A | 2025-08-21 | 14:13 | 2025-08-21 | 13:15 | GABRIELLA | PRECI | 38 | 37 | / | / | 0.150 |  |  |  | 2.27 |  | 1 | Kinga |  | 3 | 2 | 92715
2 | 40 | 42 | Old A | 2025-08-21 | 14:14 | 2025-08-21 | 13:15 | GABRIELLA | PRECI | 40 | 39 | / | / | 0.157 |  |  |  | 2.05 |  | 1 | Kinga |  | 3 | 2 | 92715
1 | 0 | 43 | P/FINAL | 2025-08-21 | 14:23 | 2025-08-21 | 13:15 | GABRIELLA | PRECI | 0 | 0 | / | / | 0.017 |  |  | 1.150 | 2.03 | 120 | 1 | Kinga |  | 3 | 1 | 92715
1 | 0 | 44 | P/FINAL | 2025-08-21 | 14:23 | 2025-08-21 | 13:15 | GABRIELLA | PRECI | 1 | 0 | / | / | 0.019 |  |  |  | 2.37 | 121 | 1 | Kinga |  | 3 | 1 | 92715
2 | 40 | 45 | P/FINAL | 2025-08-21 | 14:26 | 2025-08-21 | 13:15 | GABRIELLA | PRECI | 38 | 37 | / | / | 0.154 |  |  |  | 1.64 | 123 | 1 | Kinga |  | 3 | 2 | 92715
2 | 40 | 46 | P/FINAL | 2025-08-21 | 14:27 | 2025-08-21 | 13:15 | GABRIELLA | PRECI | 39 | 37 | / | / | 0.156 |  |  | 1.120 | 1.23 | 125 | 1 | Kinga |  | 3 | 2 | 92715
2 | 40 | 47 | P/FINAL | 2025-08-21 | 14:27 | 2025-08-21 | 13:15 | GABRIELLA | PRECI | 39 | 38 | / | / | 0.155 |  |  |  | 2.68 |  | 1 | Kinga |  | 3 | 2 | 92715
3 | 160 | 48 | P/FINAL | 2025-08-21 | 14:29 | 2025-08-21 | 13:15 | GABRIELLA | PRECI | 164 | 165 | / | / | 0.576 |  |  |  | 1.99 |  | 1 | Kinga |  | 3 | 3 | 92715
3 | 160 | 49 | P/FINAL | 2025-08-21 | 14:29 | 2025-08-21 | 13:15 | GABRIELLA | PRECI | 158 | 162 | / | / | 0.557 |  |  |  | 3.06 |  | 1 | Kinga |  | 3 | 3 | 92715
3 | 160 | 50 | P/FINAL | 2025-08-21 | 14:30 | 2025-08-21 | 13:15 | GABRIELLA | PRECI | 164 | 164 | / | / | 0.576 |  |  | 1.255 | 2.82 | 121 | 1 | Kinga |  | 3 | 3 | 92715
2 | 40 | 51 | P/FINAL | 2025-08-22 | 10:44 | 2025-08-22 | 08:27 | GABRIELLA | PRECI | 39 | 40 | / | / | 0.154 |  |  |  | 3.08 | 123 | 1 | Kinga |  | 3 | 2
2 | 40 | 52 | P/FINAL | 2025-08-22 | 10:44 | 2025-08-22 | 08:27 | GABRIELLA | PRECI | 38 | 41 | / | / | 0.153 |  |  | 1.140 | 2.86 | 126 | 1 | Kinga |  | 3 | 2
2 | 40 | 53 | P/FINAL | 2025-08-22 | 10:45 | 2025-08-22 | 08:27 | GABRIELLA | PRECI | 39 | 40 | / | / | 0.154 |  |  |  | 3.28 | 124 | 1 | Kinga |  | 3 | 2
1 | 0 | 54 | P/FINAL | 2025-08-22 | 10:47 | 2025-08-22 | 08:27 | GABRIELLA | PRECI | 0 | 0 | / | / | 0.015 |  |  |  | 3.18 | 123 | 1 | Kinga |  | 3 | 1 | 92715
1 | 0 | 55 | P/FINAL | 2025-08-22 | 10:51 | 2025-08-22 | 08:27 | GABRIELLA | PRECI | 0 | 0 | / | / | 0.010 |  |  | 1.145 | 1.78 |  | 1 | Kinga |  | 3 | 1 | 92715
3 | 160 | 56 | P/FINAL | 2025-08-22 | 10:58 | 2025-08-22 | 08:27 | GABRIELLA | PRECI | 161 | 161 | / | / | 0.565 |  |  |  | 1.42 |  | 1 | Kinga |  | 3 | 3 | 92715
3 | 160 | 57 | P/FINAL | 2025-08-22 | 10:59 | 2025-08-22 | 08:27 | GABRIELLA | PRECI | 161 | 164 | / | / | 0.565 |  |  |  | 2.75 |  | 1 | Kinga |  | 3 | 3 | 92715
3 | 160 | 58 | P/FINAL | 2025-08-22 | 11:00 | 2025-08-22 | 08:27 | GABRIELLA | PRECI | 154 | 160 | / | / | 0.544 |  |  | 1.251 | 1.20 |  | 1 | Kinga |  | 3 | 3 | 92715
1 | 0 | 59 | Old A | 2025-08-22 | 11:02 | 2025-08-22 | 08:27 | GABRIELLA | PRECI | 0 | 0 | / | / | 0.013 |  |  |  | 2.45 |  | 1 | Kinga |  | 3 | 1 | 92715
2 | 40 | 60 | Old A | 2025-08-22 | 11:02 | 2025-08-22 | 08:27 | GABRIELLA | PRECI | 40 | 39 | / | / | 0.156 |  |  |  | 1.41 |  | 1 | Kinga |  | 3 | 2 | 92715
2 | 40 | 61 | Old A | 2025-08-22 | 11:03 | 2025-08-22 | 08:27 | GABRIELLA | PRECI | 38 | 40 | / | / | 0.158 |  |  |  | 1.47 |  | 1 | Kinga |  | 3 | 2 | 92715
3 | 160 | 62 | Old A | 2025-08-22 | 11:03 | 2025-08-22 | 08:27 | GABRIELLA | PRECI | 153 | 156 | / | / | 0.542 |  |  |  | 1.47 |  | 1 | Kinga |  | 3 | 3 | 92715
3 | 160 | 63 | Old A | 2025-08-22 | 11:04 | 2025-08-22 | 08:27 | GABRIELLA | PRECI | 156 | 158 | / | / | 0.548 |  |  |  | 1.49 |  | 1 | Kinga |  | 3 | 3 | 92715
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 162 mg/L | 6 | 12 | 162 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 39 mg/L | 6 | 12 | 39 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 0 | YES
40 | 37 ÷ 43 | 39 | YES
160 | 151 ÷ 169 | 162 | YES
Validation Date | by