## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI770A-0 | HI96770A-0
1200 | HI96770A-0 | CP-R64 | W 42/1 |  | Parameter Formula | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica HR Reagent A | 2028-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1200 | 1183 | 1080
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2028-10-01 | 2030-09-01 | 2030-06-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-17 | 2025-10-27 | PRECI |  |  | 1148
[6 empty] | Expiration A | Expiration B | Expiration D
2028-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 37 | 43 |  | MR82 |  | 1 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
3 | 160 | 151 | 169 | [8 empty] | 1.0 | 0.8 | 1.2
1 | 0 | 0 | 1 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97770 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Old A | 2025-10-17 | 09:20 | 2025-10-17 | 07:45 | ERIKA |  | 36 | 37 | / | / | 0.146 |  |  |  | 1.93 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 2 | Old A | 2025-10-17 | 09:21 | 2025-10-17 | 07:45 | ERIKA |  | 34 | 36 | / | / | 0.139 |  |  |  | 1.47 |  | 1 | Andrea V |  | 3 | 2
3 | 160 | 3 | Old A | 2025-10-17 | 09:22 | 2025-10-17 | 07:45 | ERIKA |  | 145 | 154 | / | / | 0.514 |  |  |  | 1.28 |  | 1 | Andrea V |  | 3 | 3
3 | 160 | 4 | Old A | 2025-10-17 | 09:23 | 2025-10-17 | 07:45 | ERIKA |  | 143 | 151 | / | / | 0.507 |  |  |  | 1.65 |  | 1 | Andrea V |  | 3 | 3
1 | 0 | 5 | Old A | 2025-10-17 | 09:27 | 2025-10-17 | 07:45 | ERIKA |  | 0 | 0 | / | / | 0.013 |  |  |  | 1.92 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 6 | Old A | 2025-10-17 | 09:28 | 2025-10-17 | 07:45 | ERIKA |  | 0 | 0 | / | / | 0.012 |  |  |  | 1.87 |  | 1 | Andrea V |  | 3 | 1
2 | 40 | 7 | Valid | 2025-10-17 | 09:28 | 2025-10-17 | 07:45 | ERIKA |  | 36 | 37 | / | / | 0.145 |  |  |  | 0.55 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 8 | Valid | 2025-10-17 | 09:29 | 2025-10-17 | 07:45 | ERIKA |  | 35 | 37 | / | / | 0.142 |  |  |  | 0.69 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 9 | Valid | 2025-10-17 | 09:29 | 2025-10-17 | 07:45 | ERIKA |  | 36 | 37 | / | / | 0.146 |  |  |  | 0.50 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 10 | Old A | 2025-10-17 | 09:42 | 2025-10-17 | 07:45 | ERIKA |  | 38 | 38 | / | / | 0.151 |  |  |  | 1.91 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 11 | Old A | 2025-10-17 | 09:42 | 2025-10-17 | 07:45 | ERIKA |  | 38 | 38 | / | / | 0.150 |  |  |  | 2.14 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 12 | Valid | 2025-10-17 | 09:49 | 2025-10-17 | 07:45 | ERIKA |  | 33 | 33 | / | / | 0.133 |  |  |  | 0.94 |  | 1 | Andrea V |  | 3 | 2 |  | OMPI SOLBT 95ml
2 | 40 | 13 | Valid | 2025-10-17 | 09:49 | 2025-10-17 | 07:45 | ERIKA |  | 33 | 34 | / | / | 0.135 |  |  |  | 1.02 |  | 1 | Andrea V |  | 3 | 2 |  | OMPI SOLBT 95ml
2 | 40 | 14 | Old A | 2025-10-17 | 12:20 | 2025-10-17 | 07:45 | ERIKA |  | 36 | 37 | / | / | 0.144 |  |  |  | 1.41 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 15 | Old A | 2025-10-17 | 12:20 | 2025-10-17 | 07:45 | ERIKA |  | 37 | 40 | / | / | 0.147 |  |  |  | 1.69 |  | 1 | Andrea V |  | 3 | 2
3 | 160 | 16 | Old A | 2025-10-17 | 12:22 | 2025-10-17 | 07:45 | ERIKA |  | 159 | 165 | / | / | 0.558 |  |  |  | 2.39 |  | 1 | Andrea V |  | 3 | 3
3 | 160 | 17 | Old A | 2025-10-17 | 12:23 | 2025-10-17 | 07:45 | ERIKA |  | 153 | 159 | / | / | 0.539 |  |  |  | 2.35 |  | 1 | Andrea V |  | 3 | 3
1 | 0 | 18 | Old A | 2025-10-20 | 09:55 | 2025-10-20 | 08:57 | ERIKA |  | 0 | 0 | / | / | 0.004 |  |  |  | 2.28 |  | 1 | Andrea V |  | 3 | 1 |  | CUVETTE SOLBT95N OMPI
1 | 0 | 19 | Old A | 2025-10-20 | 09:57 | 2025-10-20 | 08:57 | ERIKA |  | 0 | 0 | / | / | 0.004 |  |  |  | 1.92 |  | 1 | Andrea V |  | 3 | 1 |  | CUVETTE SOLBT95N OMPI
2 | 40 | 20 | Old A | 2025-10-20 | 10:01 | 2025-10-20 | 08:57 | ERIKA |  | 36 | 37 | / | / | 0.145 |  |  |  | 1.78 |  | 1 | Andrea V |  | 3 | 2 |  | CUVETTE SOLBT95N OMPI
2 | 40 | 21 | Old A | 2025-10-20 | 10:01 | 2025-10-20 | 08:57 | ERIKA |  | 35 | 36 | / | / | 0.142 |  |  |  | 2.29 |  | 1 | Andrea V |  | 3 | 2 |  | CUVETTE SOLBT95N OMPI
3 | 160 | 22 | Old A | 2025-10-20 | 10:06 | 2025-10-20 | 08:57 | ERIKA |  | 150 | 154 | / | / | 0.530 |  |  |  | 1.66 |  | 1 | Andrea V |  | 3 | 3 |  | CUVETTE SOLBT95N OMPI
3 | 160 | 23 | Old A | 2025-10-20 | 10:06 | 2025-10-20 | 08:57 | ERIKA |  | 144 | 148 | / | / | 0.513 |  |  |  | 1.78 |  | 1 | Andrea V |  | 3 | 3 |  | CUVETTE SOLBT95N OMPI
2 | 40 | 24 | Valid | 2025-10-20 | 10:08 | 2025-10-20 | 08:57 | ERIKA |  | 35 | 37 | / | / | 0.140 |  |  |  | 1.13 |  | 1 | Andrea V |  | 3 | 2 |  | CUVETTE SOLBT95N OMPI
2 | 40 | 25 | Valid | 2025-10-20 | 10:09 | 2025-10-20 | 08:57 | ERIKA |  | 34 | 36 | / | / | 0.138 |  |  | 1.053 | 0.92 |  | 1 | Andrea V |  | 3 | 2 |  | CUVETTE SOLBT95N OMPI
3 | 160 | 26 | Valid | 2025-10-20 | 10:12 | 2025-10-20 | 08:57 | ERIKA |  | 148 | 154 | / | / | 0.525 |  |  |  | 0.88 |  | 1 | Andrea V |  | 3 | 3 |  | CUVETTE SOLBT95N OMPI
3 | 160 | 27 | Valid | 2025-10-20 | 10:12 | 2025-10-20 | 08:57 | ERIKA |  | 150 | 157 | / | / | 0.530 |  |  | 1.036 | 0.96 |  | 1 | Andrea V |  | 3 | 3 |  | CUVETTE SOLBT95N OMPI
3 | 160 | 28 | Old A | 2025-10-20 | 10:48 | 2025-10-20 | 08:57 | ERIKA |  | 152 | 154 | / | / | 0.537 |  |  |  | 1.96 |  | 1 | Andrea V |  | 3 | 3 |  | CUVETTE SOLBT95
2 | 40 | 29 | Old A | 2025-10-20 | 10:49 | 2025-10-20 | 08:57 | ERIKA |  | 36 | 36 | / | / | 0.144 |  |  |  | 1.81 |  | 1 | Andrea V |  | 3 | 2 |  | CUVETTE SOLBT95
2 | 40 | 30 | Old A | 2025-10-20 | 10:56 | 2025-10-20 | 08:57 | ERIKA |  | 37 | 38 | / | / | 0.149 |  |  |  | 1.52 |  | 1 | Andrea V |  | 3 | 2 |  | CUVETA SPALATA CU HCL
3 | 160 | 31 | Old A | 2025-10-20 | 10:58 | 2025-10-20 | 08:57 | ERIKA |  | 149 | 155 | / | / | 0.528 |  |  |  | 1.45 |  | 1 | Andrea V |  | 3 | 3 |  | CUVETA SPALATA CU HCL
2 | 40 | 32 | Old A | 2025-10-20 | 11:18 | 2025-10-20 | 08:57 | ERIKA |  | 35 | 33 | / | / | 0.142 |  |  |  | 1.49 |  | 1 | Andrea V |  | 3 | 2 |  | CUVETA SPALATA
3 | 160 | 33 | Old A | 2025-10-20 | 11:19 | 2025-10-20 | 08:57 | ERIKA |  | 155 | 158 | / | / | 0.546 |  |  |  | 1.71 |  | 1 | Andrea V |  | 3 | 3
3 | 160 | 34 | Old A | 2025-10-20 | 11:40 | 2025-10-20 | 08:57 | ERIKA |  | 155 | 159 | / | / | 0.547 |  |  |  | 1.83 |  | 1 | Andrea V |  | 3 | 3 |  | CUVETA SPALATA
2 | 40 | 35 | Old A | 2025-10-20 | 12:26 | 2025-10-20 | 08:57 | ERIKA |  | 36 | 37 | / | / | 0.146 |  |  |  | 1.83 |  | 1 | Andrea V |  | 3 | 2 |  | CUVETA SPALATA
2 | 40 | 36 | Old A | 2025-10-20 | 12:27 | 2025-10-20 | 08:57 | ERIKA |  | 36 | 36 | / | / | 0.145 |  |  |  | 1.76 |  | 1 | Andrea V |  | 3 | 2 |  | SOLBT 95N OMPI
3 | 160 | 37 | Old A | 2025-10-20 | 12:34 | 2025-10-20 | 08:57 | ERIKA |  | 149 | 154 | / | / | 0.526 |  |  |  | 1.66 |  | 1 | Andrea V |  | 3 | 3 |  | CUVETA SPALATA
3 | 160 | 38 | Old A | 2025-10-20 | 12:35 | 2025-10-20 | 08:57 | ERIKA |  | 153 | 157 | / | / | 0.540 |  |  |  | 1.60 |  | 1 | Andrea V |  | 3 | 3 |  | CUVETA SPALATA
2 | 40 | 39 | Valid | 2025-10-20 | 12:47 | 2025-10-20 | 08:57 | ERIKA |  | 35 | 38 | / | / | 0.142 |  |  |  | 1.16 |  | 1 | Andrea V |  | 3 | 2
3 | 160 | 40 | Valid | 2025-10-20 | 12:48 | 2025-10-20 | 08:57 | ERIKA |  | 149 | 156 | / | / | 0.527 |  |  |  | 1.16 |  | 1 | Andrea V |  | 3 | 3
2 | 40 | 41 | Old A | 2025-10-20 | 13:07 | 2025-10-20 | 08:57 | ERIKA |  | 35 | 37 | / | / | 0.140 |  |  |  | 1.20 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 42 | Old A | 2025-10-20 | 14:06 | 2025-10-20 | 08:57 | ERIKA |  | 37 | 34 | / | / | 0.147 |  |  |  | 1.20 |  | 1 | Andrea V |  | 3 | 2 |  | CUVETA PROASPATA SPALATA CU HCL
3 | 160 | 43 | Old A | 2025-10-20 | 14:09 | 2025-10-20 | 08:57 | ERIKA |  | 158 | 158 | / | / | 0.557 |  |  |  | 1.23 |  | 1 | Andrea V |  | 3 | 3 |  | CUVETA PROASPATA SPALATA CU HCL
3 | 160 | 44 | Valid | 2025-10-20 | 14:21 | 2025-10-20 | 08:57 | ERIKA |  | 158 | 157 | / | / | 0.557 |  |  | 1.132 | 0.84 |  | 1 | Andrea V |  | 3 | 3 |  | CUVETA PROASPATA SPALATA CU HCL
2 | 40 | 45 | Valid | 2025-10-20 | 14:25 | 2025-10-20 | 08:57 | ERIKA |  | 36 | 36 | / | / | 0.145 |  |  | 1.033 | 1.12 |  | 1 | Andrea V |  | 3 | 2 |  | CUVETA PROASPATA SPALATA CU HCL
2 | 40 | 46 | Old A | 2025-10-20 | 14:43 | 2025-10-20 | 08:57 | ERIKA |  | 37 | 38 | / | / | 0.147 |  |  |  | 1.13 |  | 1 | Andrea V |  | 3 | 2 |  | CUVETA PROASPATA SPALATA CU HCL
2 | 40 | 47 | Old A | 2025-10-20 | 14:51 | 2025-10-20 | 08:57 | ERIKA |  | 38 | 40 | / | / | 0.150 |  |  |  | 2.32 |  | 1 | Andrea V |  | 3 | 2 |  | REAGENTI DE LA: HI770 A,B,C FACUTE IN CUVETE SOLBT95N OMPI
3 | 160 | 48 | Old A | 2025-10-20 | 14:52 | 2025-10-20 | 08:57 | ERIKA |  | 156 | 158 | / | / | 0.550 |  |  |  | 1.44 |  | 1 | Andrea V |  | 3 | 3 |  | HI770A-0: 1104 HI770B-0: 1183 HI770C-0: 1120
3 | 160 | 49 | Valid | 2025-10-20 | 15:32 | 2025-10-20 | 08:57 | ERIKA |  | 157 | 156 | / | / | 0.552 |  |  | 1.134 | 0.86 | 128 | 1 | Andrea V |  | 3 | 3 |  | SOLBT95N OMPI
2 | 40 | 50 | Valid | 2025-10-20 | 15:33 | 2025-10-20 | 08:57 | ERIKA |  | 35 | 35 | / | / | 0.142 |  |  |  | 0.94 | 129 | 1 | Andrea V |  | 3 | 2 |  | SOLBT95N OMPI
2 | 40 | 51 | Valid | 2025-10-20 | 15:35 | 2025-10-20 | 08:57 | ERIKA |  | 36 | 34 | / | / | 0.143 |  |  | 1.026 | 0.99 | 130 | 1 | Andrea V |  | 3 | 2 |  | CUVETA PROSPATA SPALATA CU HCL
3 | 160 | 52 | Valid | 2025-10-20 | 15:38 | 2025-10-20 | 08:57 | ERIKA |  | 158 | 158 | / | / | 0.556 |  |  | 1.064 | 0.92 | 121 | 1 | Andrea V |  | 3 | 3
2 | 40 | 53 | Valid | 2025-10-20 | 16:00 | 2025-10-20 | 08:57 | ERIKA |  | 37 | 39 | / | / | 0.147 |  |  |  | 0.87 | 127 | 1 | Andrea V |  | 3 | 2 |  | HI770B-0 LOT: 1183 HI770C-0 LOT:1120
2 | 40 | 54 | Valid | 2025-10-20 | 16:01 | 2025-10-20 | 08:57 | ERIKA |  | 37 | 39 | / | / | 0.148 |  |  | 1.004 | 0.78 | 128 | 1 | Andrea V |  | 3 | 2 |  | HI770B-0 LOT: 1183 HI770C-0 LOT:1120
3 | 160 | 55 | Valid | 2025-10-20 | 16:03 | 2025-10-20 | 08:57 | ERIKA |  | 158 | 159 | / | / | 0.556 |  |  | 1.059 | 0.92 | 124 | 1 | Andrea V |  | 3 | 3 |  | HI770B-0 LOT: 1183 HI770C-0 LOT:1120
1 | 0 | 56 | Valid | 2025-10-20 | 16:04 | 2025-10-20 | 08:57 | ERIKA |  | 0 | 1 | / | / | 0.009 |  |  | 1.015 | 1.94 | 128 | 1 | Andrea V |  | 3 | 1 |  | HI770B-0 LOT: 1183 HI770C-0 LOT:1120
2 | 40 | 57 | Old A | 2025-10-27 | 09:01 | 2025-10-24 | 11:30 | FLORICA |  | 37 | 38 | / | / | 0.147 |  |  |  | 1.31 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 58 | Old A | 2025-10-27 | 09:02 | 2025-10-24 | 11:30 | FLORICA |  | 36 | 36 | / | / | 0.145 |  |  |  | 1.45 |  | 1 | Andrea V |  | 3 | 2
3 | 160 | 59 | Old A | 2025-10-27 | 09:02 | 2025-10-24 | 11:30 | FLORICA |  | 154 | 154 | / | / | 0.545 |  |  |  | 1.20 |  | 1 | Andrea V |  | 3 | 3
3 | 160 | 60 | Old A | 2025-10-27 | 09:02 | 2025-10-24 | 11:30 | FLORICA |  | 150 | 149 | / | / | 0.530 |  |  |  | 1.39 |  | 1 | Andrea V |  | 3 | 3
1 | 0 | 61 | Old A | 2025-10-27 | 09:03 | 2025-10-24 | 11:30 | FLORICA |  | 0 | 0 | / | / | 0.011 |  |  |  | 1.80 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 62 | Old A | 2025-10-27 | 09:03 | 2025-10-24 | 11:30 | FLORICA |  | 0 | 0 | / | / | 0.010 |  |  |  | 1.71 |  | 1 | Andrea V |  | 3 | 1
2 | 40 | 63 | P/FINAL | 2025-10-27 | 09:06 | 2025-10-24 | 11:30 | FLORICA | PRECI | 37 | 38 | / | / | 0.147 |  |  | 1.082 | 1.27 | 117 | 1 | Andrea V |  | 3 | 2
2 | 40 | 64 | P/FINAL | 2025-10-27 | 09:07 | 2025-10-24 | 11:30 | FLORICA | PRECI | 36 | 35 | / | / | 0.144 |  |  |  | 0.99 | 106 | 1 | Andrea V |  | 3 | 2
2 | 40 | 65 | P/FINAL | 2025-10-27 | 09:10 | 2025-10-24 | 11:30 | FLORICA | PRECI | 37 | 38 | / | / | 0.148 |  |  |  | 0.94 |  | 1 | Andrea V |  | 3 | 2 | 112414
3 | 160 | 66 | P/FINAL | 2025-10-27 | 09:12 | 2025-10-24 | 11:30 | FLORICA | PRECI | 155 | 155 | / | / | 0.547 |  |  |  | 1.10 | 110 | 1 | Andrea V |  | 3 | 3 | 112414
3 | 160 | 67 | P/FINAL | 2025-10-27 | 09:14 | 2025-10-24 | 11:30 | FLORICA | PRECI | 157 | 156 | / | / | 0.552 |  |  | 1.075 | 1.38 | 107 | 1 | Andrea V |  | 3 | 3 | 112414
3 | 160 | 68 | P/FINAL | 2025-10-27 | 09:15 | 2025-10-24 | 11:30 | FLORICA | PRECI | 151 | 152 | / | / | 0.535 |  |  |  | 1.12 |  | 1 | Andrea V |  | 3 | 3 | 112414
1 | 0 | 69 | P/FINAL | 2025-10-27 | 09:16 | 2025-10-24 | 11:30 | FLORICA | PRECI | 0 | 0 | / | / | 0.009 |  |  |  | 1.28 | 113 | 1 | Andrea V |  | 3 | 1 | 112414
1 | 0 | 70 | P/FINAL | 2025-10-27 | 09:19 | 2025-10-24 | 11:30 | FLORICA | PRECI | 0 | 0 | / | / | 0.009 |  |  | 1.043 | 1.43 | 110 | 1 | Andrea V |  | 3 | 1 | 112414
2 | 40 | 71 | P/FINAL | 2025-10-27 | 09:27 | 2025-10-24 | 11:30 | FLORICA | PRECI | 37 | 36 | / | / | 0.147 |  |  |  | 1.02 |  | 1 | Andrea V |  | 3 | 2 | 112414
2 | 40 | 72 | Old A | 2025-10-27 | 09:29 | 2025-10-24 | 11:30 | FLORICA | PRECI | 37 | 36 | / | / | 0.147 |  |  |  | 1.09 |  | 1 | Andrea V |  | 3 | 2 | 112414
3 | 160 | 73 | Old A | 2025-10-27 | 09:32 | 2025-10-24 | 11:30 | FLORICA | PRECI | 157 | 155 | / | / | 0.552 |  |  |  | 1.67 |  | 1 | Andrea V |  | 3 | 3 | 112414
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 37 mg/L | 3 | 6 | 37 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 154 mg/L | 3 | 6 | 154 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 0 | YES
40 | 37 ÷ 43 | 37 | YES
160 | 151 ÷ 169 | 154 | YES
Validation Date | by