## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI770A-0 | HI96770A-0
1288 | HI96770A-0 | CP-R64 | W 51/1 |  | Parameter Formula | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica HR Reagent A | 2028-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
120 | 110 | 130
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1288 | 1132 | 1266
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2028-12-01 | 2030-08-01 | 2030-12-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-12-19 | 2026-01-27 | PRECI |  |  | 1148
[6 empty] | Expiration A | Expiration B | Expiration D
2028-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 1 |  | MR82 |  | 1 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
2 | 40 | 37 | 43 | [8 empty] | 1.0 | 0.8 | 1.2
3 | 160 | 151 | 169 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old A | 2025-12-19 | 15:35 | 2025-12-19 | 13:52 | ERIKA |  | 0 | 0 | / | / | 0.010 |  |  |  | 1.35 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 2 | Old A | 2025-12-19 | 15:36 | 2025-12-19 | 13:52 | ERIKA |  | 0 | 0 | / | / | 0.009 |  |  |  | 1.67 |  | 1 | Andrea V |  | 3 | 1
2 | 40 | 3 | Old A | 2025-12-19 | 15:41 | 2025-12-19 | 13:52 | ERIKA |  | 37 | 37 | / | / | 0.149 |  |  |  | 1.48 |  | 1 | Andrea V |  | 3 | 2 | 31430
2 | 40 | 4 | Old A | 2025-12-19 | 15:41 | 2025-12-19 | 13:52 | ERIKA |  | 37 | 40 | / | / | 0.148 |  |  |  | 1.27 |  | 1 | Andrea V |  | 3 | 2 | 31430
3 | 160 | 5 | Old A | 2025-12-19 | 15:45 | 2025-12-19 | 13:52 | ERIKA |  | 154 | 157 | / | / | 0.545 |  |  |  | 1.46 |  | 1 | Andrea V |  | 3 | 3 | 31430
3 | 160 | 6 | Old A | 2025-12-19 | 15:47 | 2025-12-19 | 13:52 | ERIKA |  | 157 | 159 | / | / | 0.552 |  |  |  | 1.18 |  | 1 | Andrea V |  | 3 | 3 | 31430
2 | 40 | 7 | Valid | 2025-12-19 | 15:58 | 2025-12-19 | 13:52 | ERIKA |  | 39 | 39 | / | / | 0.156 |  |  |  | 1.27 |  | 1 | Andrea V |  | 3 | 2 | 31430
2 | 40 | 8 | Valid | 2025-12-19 | 16:00 | 2025-12-19 | 13:52 | ERIKA |  | 38 | 38 | / | / | 0.150 |  |  | 1.066 | 0.90 |  | 1 | Andrea V |  | 3 | 2 | 31430
2 | 40 | 9 | Valid | 2025-12-19 | 16:00 | 2025-12-19 | 13:52 | ERIKA |  | 41 | 38 | / | / | 0.163 |  |  |  | 1.24 |  | 1 | Andrea V |  | 3 | 2 | 31430
3 | 160 | 10 | Valid | 2025-12-19 | 16:02 | 2025-12-19 | 13:52 | ERIKA |  | 154 | 157 | / | / | 0.545 |  |  |  | 1.06 |  | 1 | Andrea V |  | 3 | 3 | 31430
3 | 160 | 11 | Valid | 2025-12-19 | 16:04 | 2025-12-19 | 13:52 | ERIKA |  | 154 | 157 | / | / | 0.544 |  |  | 1.114 | 0.83 |  | 1 | Andrea V |  | 3 | 3 | 31430
3 | 160 | 12 | Valid | 2025-12-19 | 16:05 | 2025-12-19 | 13:52 | ERIKA |  | 152 | 154 | / | / | 0.537 |  |  |  | 0.72 |  | 1 | Andrea V |  | 3 | 3 | 31430
1 | 0 | 13 | Valid | 2025-12-19 | 16:05 | 2025-12-19 | 13:52 | ERIKA |  | 0 | 0 | / | / | 0.004 |  |  |  | 0.92 |  | 1 | Andrea V |  | 3 | 1 | 31430
1 | 0 | 14 | Valid | 2025-12-19 | 16:06 | 2025-12-19 | 13:52 | ERIKA |  | 0 | 0 | / | / | 0.001 |  |  | 1.056 | 0.86 |  | 1 | Andrea V |  | 3 | 1 | 31430
1 | 0 | 15 | Old A | 2026-01-27 | 09:55 | 2026-01-26 | 16:26 | GABRIELLA | PRECI | 0 | 0 | / | / | 0.008 |  |  |  | 1.75 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 16 | Old A | 2026-01-27 | 09:55 | 2026-01-26 | 16:26 | GABRIELLA | PRECI | 0 | 0 | / | / | 0.007 |  |  |  | 1.59 |  | 1 | Andrea V |  | 3 | 1
2 | 40 | 17 | Old A | 2026-01-27 | 09:56 | 2026-01-26 | 16:26 | GABRIELLA | PRECI | 37 | 38 | / | / | 0.148 |  |  |  | 1.54 |  | 1 | Andrea V |  | 3 | 2 | 94409
2 | 40 | 18 | Old A | 2026-01-27 | 09:56 | 2026-01-26 | 16:26 | GABRIELLA | PRECI | 37 | 40 | / | / | 0.149 |  |  |  | 1.45 |  | 1 | Andrea V |  | 3 | 2 | 94409
3 | 160 | 19 | Old A | 2026-01-27 | 09:57 | 2026-01-26 | 16:26 | GABRIELLA | PRECI | 156 | 158 | / | / | 0.550 |  |  |  | 1.27 |  | 1 | Andrea V |  | 3 | 3 | 94409
3 | 160 | 20 | Old A | 2026-01-27 | 09:57 | 2026-01-26 | 16:26 | GABRIELLA | PRECI | 153 | 157 | / | / | 0.540 |  |  |  | 1.20 |  | 1 | Andrea V |  | 3 | 3 | 94409
2 | 40 | 21 | P/FINAL | 2026-01-27 | 10:37 | 2026-01-26 | 16:26 | GABRIELLA | PRECI | 37 | 37 | / | / | 0.149 |  |  |  | 0.78 | 106 | 1 | Andrea V |  | 3 | 2 | 94409
2 | 40 | 22 | P/FINAL | 2026-01-27 | 10:37 | 2026-01-26 | 16:26 | GABRIELLA | PRECI | 38 | 37 | / | / | 0.150 |  |  | 1.257 | 0.87 | 94 | 1 | Andrea V |  | 3 | 2 | 94409
2 | 40 | 23 | P/FINAL | 2026-01-27 | 10:39 | 2026-01-26 | 16:26 | GABRIELLA | PRECI | 38 | 38 | / | / | 0.150 |  |  |  | 0.81 |  | 1 | Andrea V |  | 3 | 2 | 94409
3 | 160 | 24 | P/FINAL | 2026-01-27 | 10:40 | 2026-01-26 | 16:26 | GABRIELLA | PRECI | 155 | 158 | / | / | 0.546 |  |  |  | 0.71 | 112 | 1 | Andrea V |  | 3 | 3 | 94409
3 | 160 | 25 | P/FINAL | 2026-01-27 | 10:42 | 2026-01-26 | 16:26 | GABRIELLA | PRECI | 158 | 161 | / | / | 0.555 |  |  | 1.272 | 0.84 | 117 | 1 | Andrea V |  | 3 | 3 | 94409
3 | 160 | 26 | P/FINAL | 2026-01-27 | 10:42 | 2026-01-26 | 16:26 | GABRIELLA | PRECI | 154 | 159 | / | / | 0.544 |  |  |  | 0.93 |  | 1 | Andrea V |  | 3 | 3 | 94409
1 | 0 | 27 | P/FINAL | 2026-01-27 | 10:43 | 2026-01-26 | 16:26 | GABRIELLA | PRECI | 0 | 0 | / | / | 0.005 |  |  |  | 1.00 | 111 | 1 | Andrea V |  | 3 | 1 | 94409
1 | 0 | 28 | P/FINAL | 2026-01-27 | 10:44 | 2026-01-26 | 16:26 | GABRIELLA | PRECI | 0 | 0 | / | / | 0.006 |  |  | 1.174 | 0.83 | 78 | 1 | Andrea V |  | 3 | 1 | 94409
2 | 40 | 29 | P/FINAL | 2026-01-27 | 15:34 | 2026-01-27 | 14:17 | GABRIELLA | PRECI | 37 | 36 | / | / | 0.147 |  |  |  | 1.03 |  | 1 | Kinga |  | 3 | 2
2 | 40 | 30 | P/FINAL | 2026-01-27 | 15:36 | 2026-01-27 | 14:17 | GABRIELLA | PRECI | 37 | 36 | / | / | 0.148 |  |  |  | 0.84 |  | 1 | Kinga |  | 3 | 2
2 | 40 | 31 | P/FINAL | 2026-01-27 | 15:38 | 2026-01-27 | 14:17 | GABRIELLA | PRECI | 37 | 36 | / | / | 0.148 |  |  | 1.210 | 0.90 |  | 1 | Kinga |  | 3 | 2
3 | 160 | 32 | P/FINAL | 2026-01-27 | 15:38 | 2026-01-27 | 14:17 | GABRIELLA | PRECI | 159 | 157 | / | / | 0.558 |  |  |  | 1.07 |  | 1 | Kinga |  | 3 | 3
3 | 160 | 33 | P/FINAL | 2026-01-27 | 15:39 | 2026-01-27 | 14:17 | GABRIELLA | PRECI | 154 | 153 | / | / | 0.544 |  |  | 1.226 | 0.67 |  | 1 | Kinga |  | 3 | 3
3 | 160 | 34 | P/FINAL | 2026-01-27 | 15:40 | 2026-01-27 | 14:17 | GABRIELLA | PRECI | 156 | 155 | / | / | 0.550 |  |  |  | 0.93 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 35 | P/FINAL | 2026-01-27 | 15:42 | 2026-01-27 | 14:17 | GABRIELLA | PRECI | 0 | 0 | / | / | 0.005 |  |  |  | 1.19 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 36 | P/FINAL | 2026-01-27 | 15:43 | 2026-01-27 | 14:17 | GABRIELLA | PRECI | 0 | 0 | / | / | 0.004 |  |  | 1.166 | 1.06 |  | 1 | Kinga |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 37 mg/L | 6 | 12 | 37 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 157 mg/L | 6 | 12 | 157 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 0 | YES
40 | 37 ÷ 43 | 37 | YES
160 | 151 ÷ 169 | 157 | YES
Validation Date | by