## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI770B-0 | HI96770B-0
1183 | HI770B-0 | CP-R65 | W 39/1 |  | Parameter Formula | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica HR Reagent B | 2030-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
330 | 315 | 345
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1104 | 1183 | 1120
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2028-07-01 | 2030-09-01 | 2030-07-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-29 | 2025-10-15 | PRECI |  |  |  | 1132
[6 empty] | Expiration A | Expiration B | Expiration D
2030-08-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-830 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 36 | 44 |  | MR82 |  | 2 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
3 | 160 | 150 | 170 | [8 empty] | 1.0 | 0.8 | 1.2
1 | 0 | 0 | 2 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97770 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Old B | 2025-09-29 | 11:41 | 2025-09-29 | 08:50 | TAMARA | 1 | 36 | 38 | / | / | 0.143 |  |  |  | 1.62 |  | 1 | Kinga |  | 3 | 2 | 122654
2 | 40 | 2 | Old B | 2025-09-29 | 11:42 | 2025-09-29 | 08:50 | TAMARA | 1 | 37 | 38 | / | / | 0.141 |  |  |  | 1.75 |  | 1 | Kinga |  | 3 | 2 | 122654
3 | 160 | 3 | Old B | 2025-09-29 | 11:43 | 2025-09-29 | 08:50 | TAMARA | 1 | 156 | 159 | / | / | 0.556 |  |  |  | 1.36 |  | 1 | Kinga |  | 3 | 3 | 122654
3 | 160 | 4 | Old B | 2025-09-29 | 11:43 | 2025-09-29 | 08:50 | TAMARA | 1 | 155 | 162 | / | / | 0.612 |  |  |  | 2.35 |  | 1 | Kinga |  | 3 | 3 | 122654
1 | 0 | 5 | Old B | 2025-09-29 | 11:44 | 2025-09-29 | 08:50 | TAMARA | 1 | 0 | 0 | / | / | 0.007 |  |  |  | 1.77 |  | 1 | Kinga |  | 3 | 1 | 122654
1 | 0 | 6 | Old B | 2025-09-29 | 11:45 | 2025-09-29 | 08:50 | TAMARA | 1 | 0 | 0 | / | / | 0.009 |  |  |  | 1.70 | 314 | 1 | Kinga |  | 3 | 1 | 122654
2 | 40 | 7 | P/FINAL | 2025-09-29 | 12:02 | 2025-09-29 | 08:50 | TAMARA | 1 | 37 | 37 | / | / | 0.147 |  |  | 1.068 | 2.50 | 368 | 1 | Kinga |  | 3 | 2 | 122654
2 | 40 | 8 | P/FINAL | 2025-09-29 | 12:03 | 2025-09-29 | 08:50 | TAMARA | 1 | 36 | 38 | / | / | 0.143 |  |  | 1.016 | 2.57 | 398 | 1 | Kinga |  | 3 | 2 | 122654
3 | 160 | 9 | P/FINAL | 2025-09-29 | 12:04 | 2025-09-29 | 08:50 | TAMARA | 1 | 156 | 155 | / | / | 0.536 |  |  |  | 4.18 | 373 | 1 | Kinga |  | 3 | 3 | 122654
3 | 160 | 10 | P/FINAL | 2025-09-29 | 12:05 | 2025-09-29 | 08:50 | TAMARA | 1 | 156 | 159 | / | / | 0.565 |  |  |  | 2.03 |  | 1 | Kinga |  | 3 | 3 | 122654
1 | 0 | 11 | P/FINAL | 2025-09-29 | 12:06 | 2025-09-29 | 08:50 | TAMARA | 1 | 0 | 0 | / | / | 0.005 |  |  |  | 2.25 |  | 1 | Kinga |  | 3 | 1 | 122654
1 | 0 | 12 | Old A | 2025-09-29 | 12:06 | 2025-09-29 | 08:50 | TAMARA | 1 | 0 | 0 | / | / | 0.006 |  |  | 0.938 | 2.00 |  | 1 | Kinga |  | 3 | 1 | 122654
2 | 40 | 13 | P/FINAL | 2025-09-30 | 09:24 | 2025-09-29 | 17:15 | MARA | 1 | 38 | 37 | / | / | 0.153 |  |  | 1.028 | 2.36 | 333 | 1 | Kinga |  | 3 | 2
2 | 40 | 14 | P/FINAL | 2025-09-30 | 09:25 | 2025-09-29 | 17:15 | MARA | 1 | 36 | 36 | / | / | 0.145 |  |  |  | 2.47 | 331 | 1 | Kinga |  | 3 | 2
3 | 160 | 15 | P/FINAL | 2025-09-30 | 09:27 | 2025-09-29 | 17:15 | MARA | 1 | 150 | 153 | / | / | 0.532 |  |  | 1.050 | 2.22 | 330 | 1 | Kinga |  | 3 | 3
3 | 160 | 16 | P/FINAL | 2025-09-30 | 09:28 | 2025-09-29 | 17:15 | MARA | 1 | 150 | 151 | / | / | 0.530 |  |  |  | 1.89 | 310 | 1 | Kinga |  | 3 | 3
1 | 0 | 17 | P/FINAL | 2025-09-30 | 09:29 | 2025-09-29 | 17:15 | MARA | 1 | 0 | 0 | / | / | -0.002 |  |  |  | 2.15 | 327 | 1 | Kinga |  | 3 | 1
1 | 0 | 18 | P/FINAL | 2025-09-30 | 09:29 | 2025-09-29 | 17:15 | MARA | 1 | 0 | 0 | / | / | -0.004 |  |  | 0.999 | 2.15 |  | 1 | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 37 mg/L | 4 | 8 | 37 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 154 mg/L | 4 | 8 | 154 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0 mg/L | 3 | 6 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 2 | 0 | YES
40 | 36 ÷ 44 | 37 | YES
160 | 150 ÷ 170 | 154 | YES
Validation Date | by