## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI770B-0 | HI96770B-0
1290 | HI770B-0 | CP-R65 | W 52/1 |  | Parameter Formula | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica HR Reagent B | 2030-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
330 | 315 | 345
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1200 | 1290 | 1120
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2028-10-01 | 2030-12-01 | 2030-07-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2026-01-16 | 2026-01-16 | PRECI |  |  |  | 1183
[6 empty] | Expiration A | Expiration B | Expiration D
2030-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-797
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 2 |  | MR82 |  | 2 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
2 | 40 | 36 | 44 | [8 empty] | 1.0 | 0.8 | 1.2
3 | 160 | 150 | 170 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97770 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old B | 2026-01-16 | 11:57 | 2026-01-16 | 09:49 | MARA | 1 | 0 | 0 | / | / | 0.005 |  |  |  | 2.31 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 2 | Old B | 2026-01-16 | 11:57 | 2026-01-16 | 09:49 | MARA | 1 | 0 | 0 | / | / | 0.004 |  |  |  | 1.92 |  | 1 | Kinga |  | 3 | 1
1 | 0 | 3 | P/FINAL | 2026-01-16 | 12:10 | 2026-01-16 | 09:49 | MARA | 1 | 0 | 0 | / | / | 0.002 |  |  | 1.288 | 0.09 |  | 1 | Kinga |  | 3 | 1 | 31430
1 | 0 | 4 | P/FINAL | 2026-01-16 | 12:11 | 2026-01-16 | 09:49 | MARA | 1 | 0 | 0 | / | / | 0.004 |  |  |  | 0.08 | 323 | 1 | Kinga |  | 3 | 1 | 31430
2 | 40 | 5 | P/FINAL | 2026-01-16 | 12:16 | 2026-01-16 | 09:49 | MARA | 1 | 36 | 38 | / | / | 0.146 |  |  |  | 1.63 | 319 | 1 | Kinga |  | 3 | 2 | 31430
2 | 40 | 6 | P/FINAL | 2026-01-16 | 12:17 | 2026-01-16 | 09:49 | MARA | 1 | 36 | 39 | / | / | 0.146 |  |  | 1.278 | 1.74 | 318 | 1 | Kinga |  | 3 | 2 | 31430
2 | 40 | 7 | P/FINAL | 2026-01-16 | 12:18 | 2026-01-16 | 09:49 | MARA | 1 | 36 | 37 | / | / | 0.144 |  |  |  | 1.95 | 320 | 1 | Kinga |  | 3 | 2 | 31430
2 | 40 | 8 | Old B | 2026-01-16 | 12:18 | 2026-01-16 | 09:49 | MARA | 1 | 35 | 36 | / | / | 0.140 |  |  |  | 2.72 |  | 1 | Kinga |  | 3 | 2 | 31430
2 | 40 | 9 | Old B | 2026-01-16 | 12:19 | 2026-01-16 | 09:49 | MARA | 1 | 36 | 38 | / | / | 0.145 |  |  |  | 4.35 |  | 1 | Kinga |  | 3 | 2 | 31430
3 | 160 | 10 | Old B | 2026-01-16 | 12:21 | 2026-01-16 | 09:49 | MARA | 1 | 152 | 156 | / | / | 0.537 |  |  |  | 1.55 |  | 1 | Kinga |  | 3 | 3 | 31430
3 | 160 | 11 | Old B | 2026-01-16 | 12:21 | 2026-01-16 | 09:49 | MARA | 1 | 153 | 158 | / | / | 0.539 |  |  |  | 1.67 |  | 1 | Kinga |  | 3 | 3 | 31430
3 | 160 | 12 | P/FINAL | 2026-01-16 | 12:22 | 2026-01-16 | 09:49 | MARA | 1 | 150 | 153 | / | / | 0.529 |  |  |  | 1.63 |  | 1 | Kinga |  | 3 | 3 | 31430
3 | 160 | 13 | P/FINAL | 2026-01-16 | 12:23 | 2026-01-16 | 09:49 | MARA | 1 | 150 | 155 | / | / | 0.530 |  |  |  | 1.61 |  | 1 | Kinga |  | 3 | 3 | 31430
3 | 160 | 14 | P/FINAL | 2026-01-16 | 12:23 | 2026-01-16 | 09:49 | MARA | 1 | 152 | 157 | / | / | 0.532 |  |  | 1.331 | 1.67 |  | 1 | Kinga |  | 3 | 3 | 31430
2 | 40 | 15 | P/FINAL | 2026-01-19 | 07:13 | 2026-01-16 | 14:19 | TAMARA | 1 | 36 | 37 | / | / | 0.145 |  |  |  | 1.37 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 16 | P/FINAL | 2026-01-19 | 07:15 | 2026-01-16 | 14:19 | TAMARA | 1 | 37 | 39 | / | / | 0.147 |  |  | 1.183 | 1.64 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 17 | P/FINAL | 2026-01-19 | 07:15 | 2026-01-16 | 14:19 | TAMARA | 1 | 37 | 38 | / | / | 0.149 |  |  |  | 1.49 | 320 | 1 | Andrea V |  | 3 | 2
3 | 160 | 18 | P/FINAL | 2026-01-19 | 07:17 | 2026-01-16 | 14:19 | TAMARA | 1 | 150 | 154 | / | / | 0.532 |  |  | 1.207 | 1.55 | 309 | 1 | Andrea V |  | 3 | 3
3 | 160 | 19 | P/FINAL | 2026-01-19 | 07:18 | 2026-01-16 | 14:19 | TAMARA | 1 | 151 | 155 | / | / | 0.535 |  |  |  | 1.72 |  | 1 | Andrea V |  | 3 | 3
3 | 160 | 20 | P/FINAL | 2026-01-19 | 07:19 | 2026-01-16 | 14:19 | TAMARA | 1 | 150 | 154 | / | / | 0.530 |  |  |  | 1.79 | 325 | 1 | Andrea V |  | 3 | 3
1 | 0 | 21 | P/FINAL | 2026-01-19 | 07:21 | 2026-01-16 | 14:19 | TAMARA | 1 | 0 | 0 | / | / | 0.012 |  |  |  | 1.71 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 22 | P/FINAL | 2026-01-19 | 07:21 | 2026-01-16 | 14:19 | TAMARA | 1 | 0 | 2 | / | / | 0.013 |  |  | 1.187 | 1.47 | 312 | 1 | Andrea V |  | 3 | 1
2 | 40 | 23 | Old B | 2026-01-19 | 07:36 | 2026-01-16 | 14:19 | TAMARA | 1 | 37 | 38 | / | / | 0.147 |  |  |  | 1.11 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 24 | Old B | 2026-01-19 | 07:37 | 2026-01-16 | 14:19 | TAMARA | 1 | 38 | 39 | / | / | 0.150 |  |  |  | 1.59 |  | 1 | Andrea V |  | 3 | 2
3 | 160 | 25 | Old B | 2026-01-19 | 07:38 | 2026-01-16 | 14:19 | TAMARA | 1 | 157 | 161 | / | / | 0.553 |  |  |  | 1.39 |  | 1 | Andrea V |  | 3 | 3
3 | 160 | 26 | Old B | 2026-01-19 | 07:39 | 2026-01-16 | 14:19 | TAMARA | 1 | 151 | 155 | / | / | 0.533 |  |  |  | 1.31 |  | 1 | Andrea V |  | 3 | 3
1 | 0 | 27 | Old B | 2026-01-19 | 07:40 | 2026-01-16 | 14:19 | TAMARA | 1 | 0 | 0 | / | / | 0.014 |  |  |  | 1.88 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 28 | Old B | 2026-01-19 | 07:41 | 2026-01-16 | 14:19 | TAMARA | 1 | 0 | 0 | / | / | 0.015 |  |  |  | 1.60 |  | 1 | Andrea V |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 37 mg/L | 6 | 12 | 37 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 153 mg/L | 6 | 12 | 153 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 2 | 0 | YES
40 | 36 ÷ 44 | 37 | YES
160 | 150 ÷ 170 | 153 | YES
Validation Date | by