## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI770B-0 | HI96770B-0
0730 | HI96770B-0 | CP-R65 | W40/1 |  | Parameter Formula | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica High Range Reagent B | 2024-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
330 | 315 | 345
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0680 | 0730 | 0369
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2027-09-01 | 2029-10-01 | 2028-12-01
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-10-04 | 2024-10-17 | PRECI |  |  |  | 0359
[6 empty] | Expiration A | Expiration B | Expiration D
2028-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-319 | HI98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 37 | 43 |  | MR82 |  | 1 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
3 | 160 | 151 | 169 | [8 empty] | 1.0 | 0.8 | 1.2
1 | 0 | 0 | 1 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97770 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Valid | 2024-10-07 | 15:11 | 2024-10-07 | 12:57 | ERIKA |  | 40 | 38 | / | / | 0.157 |  |  |  | 0.78 |  | 1 | Brigitta P |  | 3 | 2
3 | 160 | 2 | Valid | 2024-10-07 | 15:16 | 2024-10-07 | 12:57 | ERIKA |  | 165 | 166 | / | / | 0.578 |  |  |  | 19.4 |  | 1 | Brigitta P |  | 3 | 3
3 | 160 | 3 | Valid | 2024-10-07 | 15:17 | 2024-10-07 | 12:57 | ERIKA |  | 164 | 164 | / | / | 0.576 |  |  |  | 1.28 |  | 1 | Brigitta P |  | 3 | 3
3 | 160 | 4 | Old B | 2024-10-07 | 15:17 | 2024-10-07 | 12:57 | ERIKA |  | 164 | 164 | / | / | 0.575 |  |  |  | 1.49 |  | 1 | Brigitta P |  | 3 | 3
2 | 40 | 5 | Valid | 2024-10-07 | 15:18 | 2024-10-07 | 12:57 | ERIKA |  | 38 | 37 | / | / | 0.152 |  |  |  | 1.63 |  | 1 | Brigitta P |  | 3 | 2
2 | 40 | 6 | Valid | 2024-10-07 | 15:19 | 2024-10-07 | 12:57 | ERIKA |  | 39 | 39 | / | / | 0.155 |  |  |  | 1.82 |  | 1 | Brigitta P |  | 3 | 2
2 | 40 | 7 | Old B | 2024-10-07 | 15:19 | 2024-10-07 | 12:57 | ERIKA |  | 38 | 41 | / | / | 0.152 |  |  |  | 1.65 |  | 1 | Brigitta P |  | 3 | 2
1 | 0 | 8 | Valid | 2024-10-07 | 15:20 | 2024-10-07 | 12:57 | ERIKA |  | 0 | 1 | / | / | 0.009 |  |  |  | 1.37 |  | 1 | Brigitta P |  | 3 | 1
1 | 0 | 9 | Old B | 2024-10-07 | 15:21 | 2024-10-07 | 12:57 | ERIKA |  | 0 | 0 | / | / | 0.009 |  |  |  | 1.93 |  | 1 | Brigitta P |  | 3 | 1 |  | BLINK IN ALL MEATERS
2 | 40 | 10 | Old A | 2024-10-17 | 10:40 | 2024-10-17 | 19:37 | FLORICA | PRECI | 43 | 42 | / | / | 0.170 |  |  |  | 1.58 |  | 1 | Brigitta P |  | 3 | 2 | 95554
2 | 40 | 11 | Old A | 2024-10-17 | 10:41 | 2024-10-17 | 19:37 | FLORICA | PRECI | 43 | 43 | / | / | 0.171 |  |  |  | 1.73 |  | 1 | Brigitta P |  | 3 | 2 | 95554
3 | 160 | 12 | Old A | 2024-10-17 | 10:48 | 2024-10-17 | 19:37 | FLORICA | PRECI | 161 | 160 | / | / | 0.567 |  |  |  | 1.54 |  | 1 | Brigitta P |  | 3 | 3 | 95554
3 | 160 | 13 | Old A | 2024-10-17 | 10:48 | 2024-10-17 | 19:37 | FLORICA | PRECI | 160 | 159 | / | / | 0.564 |  |  |  | 1.91 |  | 1 | Brigitta P |  | 3 | 3 | 95554
1 | 0 | 14 | Old A | 2024-10-17 | 10:49 | 2024-10-17 | 19:37 | FLORICA | PRECI | 0 | 0 | / | / | -0.002 |  |  |  | 1.74 |  | 1 | Brigitta P |  | 3 | 1 | 95554
2 | 40 | 15 | P/Final | 2024-10-17 | 10:52 | 2024-10-17 | 19:37 | FLORICA | PRECI | 42 | 41 | / | / | 0.167 |  |  |  | 1.45 |  | 1 | Brigitta P |  | 3 | 2 | 95554
2 | 40 | 16 | P/Final | 2024-10-17 | 10:52 | 2024-10-17 | 19:37 | FLORICA | PRECI | 42 | 42 | / | / | 0.167 |  |  |  | 1.12 |  | 1 | Brigitta P |  | 3 | 2 | 95554
3 | 160 | 17 | P/Final | 2024-10-17 | 10:56 | 2024-10-17 | 19:37 | FLORICA | PRECI | 158 | 157 | / | / | 0.555 |  |  |  | 1.50 |  | 1 | Brigitta P |  | 3 | 3 | 95554
3 | 160 | 18 | P/Final | 2024-10-17 | 10:56 | 2024-10-17 | 19:37 | FLORICA | PRECI | 158 | 154 | / | / | 0.555 |  |  |  | 1.42 |  | 1 | Brigitta P |  | 3 | 3 | 95554
1 | 0 | 19 | P/Final | 2024-10-17 | 10:57 | 2024-10-17 | 19:37 | FLORICA | PRECI | 0 | 0 | / | / | -0.006 |  |  |  | 1.54 |  | 1 | Brigitta P |  | 3 | 1 | 95554
2 | 40 | 20 | P/Final | 2024-10-17 | 11:04 | 2024-10-17 | 19:37 | FLORICA | PRECI | 43 | 42 | / | / | 0.170 |  |  |  | 1.75 |  | 1 | Brigitta P |  | 3 | 2 | 95554
2 | 40 | 21 | P/Final | 2024-10-17 | 11:04 | 2024-10-17 | 19:37 | FLORICA | PRECI | 43 | 42 | / | / | 0.170 |  |  |  | 1.14 |  | 1 | Brigitta P |  | 3 | 2 | 95554
3 | 160 | 22 | P/Final | 2024-10-17 | 11:07 | 2024-10-17 | 19:37 | FLORICA | PRECI | 154 | 155 | / | / | 0.543 |  |  |  | 1.65 |  | 1 | Brigitta P |  | 3 | 3 | 95554
3 | 160 | 23 | P/Final | 2024-10-17 | 11:08 | 2024-10-17 | 19:37 | FLORICA | PRECI | 154 | 157 | / | / | 0.543 |  |  |  | 1.30 |  | 1 | Brigitta P |  | 3 | 3 | 95554
1 | 0 | 24 | P/Final | 2024-10-17 | 11:09 | 2024-10-17 | 19:37 | FLORICA | PRECI | 0 | 0 | / | / | -0.009 |  |  |  | 1.109 |  | 1 | Brigitta P |  | 3 | 1 | 95554
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 42 mg/L | 4 | 8 | 42 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 156 mg/L | 4 | 8 | 156 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 0 | YES
40 | 37 ÷ 43 | 42 | YES
160 | 151 ÷ 169 | 156 | YES
Validation Date | by