## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI770B-0 | HI96770B-0
1183 | HI96770B-0 | CP-R65 | W 39/1 |  | Parameter Formula | SiO2 | SiO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Silica High Range Reagent B | 2030-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
330 | 315 | 345
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1000 | 1183 | HI96770C-0
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2028-04-01 | 2030-09-01 | 1080
Reagent Range Min | Reagent Range Max
0 mg/L | 200 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-24 | 2025-10-15 | 1 HEAD |  |  |  | 1132
[6 empty] | Expiration A | Expiration B | Expiration D
2030-08-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97770 | CTO-624
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 37 | 43 |  | MR82 |  | 1 | & | 5% | 100% |  | 8.2 | 8.1 | 8.4
3 | 160 | 151 | 169 | [8 empty] | 1.0 | 0.8 | 1.2
1 | 0 | 0 | 1 | [8 empty] | 2.2 | 2.0 | 2.5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97770 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Old B | 2025-09-24 | 11:14 | 2025-09-24 | 09:33 | ERIKA |  | 37 | 39 | / | / | 0.149 |  |  |  | 1.49 |  | 1 | Kinga |  | 3 | 2
2 | 40 | 2 | Old B | 2025-09-24 | 11:14 | 2025-09-24 | 09:33 | ERIKA |  | 38 | 39 | / | / | 0.150 |  |  |  | 1.16 |  | 1 | Kinga |  | 3 | 2
3 | 160 | 3 | Old B | 2025-09-24 | 11:16 | 2025-09-24 | 09:33 | ERIKA |  | 159 | 160 | / | / | 0.556 |  |  |  | 1.32 |  | 1 | Kinga |  | 3 | 3 | 122654
3 | 160 | 4 | Old B | 2025-09-24 | 11:16 | 2025-09-24 | 09:33 | ERIKA |  | 156 | 160 | / | / | 0.549 |  |  |  | 1.30 |  | 1 | Kinga |  | 3 | 3 | 122654
1 | 0 | 5 | Old B | 2025-09-24 | 11:17 | 2025-09-24 | 09:33 | ERIKA |  | 0 | 0 | / | / | 0.010 |  |  |  | 1.96 |  | 1 | Kinga |  | 3 | 1 | 122654
1 | 0 | 6 | P/FINAL | 2025-09-24 | 11:17 | 2025-09-24 | 09:33 | ERIKA |  | 0 | 0 | / | / | 0.011 |  |  |  | 1.84 |  | 1 | Kinga |  | 3 | 1 | 122654
1 | 0 | 7 | Valid | 2025-09-24 | 11:31 | 2025-09-24 | 09:33 | ERIKA |  | 0 | 0 | / | / | 0.013 |  |  | 0.994 | 1.93 |  | 1 | Kinga |  | 3 | 1 | 122654
1 | 0 | 8 | Valid | 2025-09-24 | 11:32 | 2025-09-24 | 09:33 | ERIKA |  | 0 | 0 | / | / | 0.028 |  |  |  | 1.85 |  | 1 | Kinga |  | 3 | 1 | 122654
2 | 40 | 9 | Valid | 2025-09-24 | 11:34 | 2025-09-24 | 09:33 | ERIKA |  | 38 | 40 | / | / | 0.151 |  |  |  | 1.59 |  | 1 | Kinga |  | 3 | 2 | 122654
2 | 40 | 10 | Valid | 2025-09-24 | 11:34 | 2025-09-24 | 09:33 | ERIKA |  | 39 | 40 | / | / | 0.155 |  |  | 1.024 | 1.64 |  | 1 | Kinga |  | 3 | 2 | 122654
2 | 40 | 11 | Valid | 2025-09-24 | 11:35 | 2025-09-24 | 09:33 | ERIKA |  | 39 | 41 | / | / | 0.154 |  |  |  | 1.69 |  | 1 | Kinga |  | 3 | 2 | 122654
3 | 160 | 12 | Valid | 2025-09-24 | 11:35 | 2025-09-24 | 09:33 | ERIKA |  | 154 | 160 | / | / | 0.545 |  |  |  | 1.39 |  | 1 | Kinga |  | 3 | 3 | 122654
3 | 160 | 13 | Valid | 2025-09-24 | 11:36 | 2025-09-24 | 09:33 | ERIKA |  | 159 | 166 | / | / | 0.560 |  |  |  | 10.4 |  | 1 | Kinga |  | 3 | 3 | 122654
3 | 160 | 14 | Valid | 2025-09-24 | 11:36 | 2025-09-24 | 09:33 | ERIKA |  | 164 | 165 | / | / | 0.572 |  |  | 1.054 | 1.98 |  | 1 | Kinga |  | 3 | 3 | 122654
2 | 40 | 15 | Old A | 2025-09-30 | 10:22 | 2025-09-30 | 06:47 | TAMARA | 1 | 38 | 37 | / | / | 0.150 |  |  |  | 2.48 |  | 1 | Kinga |  | 3 | 2
2 | 40 | 16 | Old B | 2025-09-30 | 10:23 | 2025-09-30 | 06:47 | TAMARA | 1 | 37 | 38 | / | / | 0.149 |  |  |  | 1.85 |  | 1 | Kinga |  | 3 | 2
3 | 160 | 17 | Old B | 2025-09-30 | 10:23 | 2025-09-30 | 06:47 | TAMARA | 1 | 152 | 153 | / | / | 0.538 |  |  |  | 0.92 |  | 1 | Kinga |  | 3 | 3
3 | 160 | 18 | Old B | 2025-09-30 | 10:24 | 2025-09-30 | 06:47 | TAMARA | 1 | 153 | 153 | / | / | 0.542 |  |  |  | 0.93 |  | 1 | Kinga |  | 3 | 3
1 | 0 | 19 | Old B | 2025-09-30 | 10:25 | 2025-09-30 | 06:47 | TAMARA | 1 | 0 | 0 | / | / | 0.007 |  |  |  | 1.31 |  | 1 | Kinga |  | 3 | 1
3 | 160 | 20 | P/FINAL | 2025-09-30 | 10:25 | 2025-09-30 | 06:47 | TAMARA | 1 | 152 | 152 | / | / | 0.538 |  |  | 1.134 | 0.92 |  | 1 | Kinga |  | 3 | 3
3 | 160 | 21 | P/FINAL | 2025-09-30 | 10:26 | 2025-09-30 | 06:47 | TAMARA | 1 | 153 | 154 | / | / | 0.542 |  |  |  | 0.92 | 324 | 1 | Kinga |  | 3 | 3
3 | 160 | 22 | P/FINAL | 2025-09-30 | 10:26 | 2025-09-30 | 06:47 | TAMARA | 1 | 155 | 156 | / | / | 0.562 |  |  |  | 1.03 | 326 | 1 | Kinga |  | 3 | 3
1 | 0 | 23 | P/FINAL | 2025-09-30 | 10:26 | 2025-09-30 | 06:47 | TAMARA | 1 | 0 | 0 | / | / | 0.007 |  |  | 1.170 | 1.31 | 341 | 1 | Kinga |  | 3 | 1
1 | 0 | 24 | P/FINAL | 2025-09-30 | 10:27 | 2025-09-30 | 06:47 | TAMARA | 1 | 0 | 0 | / | / | 0005 |  |  |  | 1.29 | 334 | 1 | Kinga |  | 3 | 1
2 | 40 | 25 | P/FINAL | 2025-09-30 | 10:27 | 2025-09-30 | 06:47 | TAMARA | 1 | 38 | 37 | / | / | 0.150 |  |  |  | 2.47 | 322 | 1 | Kinga |  | 3 | 2
2 | 40 | 26 | P/FINAL | 2025-09-30 | 10:27 | 2025-09-30 | 06:47 | TAMARA | 1 | 37 | 37 | / | / | 0.149 |  |  | 1.035 | 1.85 | 325 | 1 | Kinga |  | 3 | 2
2 | 40 | 27 | P/FINAL | 2025-09-30 | 10:28 | 2025-09-30 | 06:47 | TAMARA | 1 | 37 | 39 | / | / | 0.156 |  |  |  | 1.86 | 325 | 1 | Kinga |  | 3 | 2
2 | 40 | 28 | P/FINAL | 2025-09-30 | 15:18 | 2025-09-30 | 14:17 | MARA | 1 | 37 | 37 | / | / | 0.148 |  |  |  | 1.57 | 322 | 1 | Andrea V |  | 3 | 2
2 | 40 | 29 | P/FINAL | 2025-09-30 | 15:19 | 2025-09-30 | 14:17 | MARA | 1 | 38 | 39 | / | / | 0.151 |  |  | 1.013 | 1.53 | 331 | 1 | Andrea V |  | 3 | 2
1 | 0 | 30 | P/FINAL | 2025-09-30 | 15:21 | 2025-09-30 | 14:17 | MARA | 1 | 0 | 1 | / | / | 0.010 |  |  |  | 1.66 | 323 | 1 | Andrea V |  | 3 | 1
1 | 0 | 31 | P/FINAL | 2025-09-30 | 15:22 | 2025-09-30 | 14:17 | MARA | 1 | 0 | 0 | / | / | 0.017 |  |  | 0.977 | 1.67 |  | 1 | Andrea V |  | 3 | 1
3 | 160 | 32 | P/FINAL | 2025-09-30 | 15:24 | 2025-09-30 | 14:17 | MARA | 1 | 153 | 155 | / | / | 0.527 |  |  |  | 1.55 |  | 1 | Andrea V |  | 3 | 3
3 | 160 | 33 | P/FINAL | 2025-09-30 | 15:25 | 2025-09-30 | 14:17 | MARA | 1 | 154 | 155 | / | / | 0.545 |  |  | 1.009 | 1.88 |  | 1 | Andrea V |  | 3 | 3
3 | 160 | 34 | P/FINAL | 2025-09-30 | 15:26 | 2025-09-30 | 14:17 | MARA | 1 | 153 | 155 | / | / | 0.547 |  |  |  | 1.89 |  | 1 | Andrea V |  | 3 | 3
2 | 40 | 35 | P/FINAL | 2025-10-15 | 14:28 | 2025-10-14 | 15:45 | MARA | 1 | 40 | 41 | / | / | 0.158 |  |  |  | 1.71 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 36 | P/FINAL | 2025-10-15 | 14:29 | 2025-10-14 | 15:45 | MARA | 1 | 40 | 41 | / | / | 0.158 |  |  |  | 2.14 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 37 | P/FINAL | 2025-10-15 | 14:30 | 2025-10-14 | 15:45 | MARA | 1 | 38 | 39 | / | / | 0.153 |  |  | 1.082 | 1.79 | 326 | 1 | Andrea V |  | 3 | 2
3 | 160 | 38 | P/FINAL | 2025-10-15 | 14:32 | 2025-10-14 | 15:45 | MARA | 1 | 156 | 161 | / | / | 0.550 |  |  | 1.068 | 1.61 | 325 | 1 | Andrea V |  | 3 | 3
3 | 160 | 39 | P/FINAL | 2025-10-15 | 14:33 | 2025-10-14 | 15:45 | MARA | 1 | 151 | 154 | / | / | 0.535 |  |  |  | 1.64 | 301 | 1 | Andrea V |  | 3 | 3
3 | 160 | 40 | P/FINAL | 2025-10-15 | 14:34 | 2025-10-14 | 15:45 | MARA | 1 | 148 | 149 | / | / | 0.523 |  |  |  | 1.95 | 328 | 1 | Andrea V |  | 3 | 3
1 | 0 | 41 | P/FINAL | 2025-10-15 | 14:35 | 2025-10-14 | 15:45 | MARA | 1 | 0 | 0 | / | / | 0.017 |  |  |  | 1.69 | 312 | 1 | Andrea V |  | 3 | 1
1 | 0 | 42 | P/FINAL | 2025-10-15 | 14:37 | 2025-10-14 | 15:45 | MARA | 1 | 0 | 0 | / | / | 0.017 |  |  | 1.023 | 1.83 |  | 1 | Andrea V |  | 3 | 1
3 | 160 | 43 | P/FINAL | 2025-10-15 | 14:51 | 2025-10-14 | 15:45 | MARA | 1 | 157 | 161 | / | / | 0.552 |  |  |  | 1.60 | 318 | 1 | Andrea V |  | 3 | 3
2 | 40 | 44 | Old B | 2025-10-15 | 14:53 | 2025-10-14 | 15:45 | MARA | 1 | 38 | 39 | / | / | 0.153 |  |  |  | 1.38 |  | 1 | Andrea V |  | 3 | 2
2 | 40 | 45 | Old B | 2025-10-15 | 14:54 | 2025-10-14 | 15:45 | MARA | 1 | 40 | 40 | / | / | 0.159 |  |  |  | 1.76 |  | 1 | Andrea V |  | 3 | 2
3 | 160 | 46 | Old B | 2025-10-15 | 14:55 | 2025-10-14 | 15:45 | MARA | 1 | 155 | 158 | / | / | 0.547 |  |  |  | 1.54 |  | 1 | Andrea V |  | 3 | 3
3 | 160 | 47 | Old B | 2025-10-15 | 14:56 | 2025-10-14 | 15:45 | MARA | 1 | 155 | 152 | / | / | 0.548 |  |  |  | 1.98 |  | 1 | Andrea V |  | 3 | 3
1 | 0 | 48 | Old B | 2025-10-15 | 14:57 | 2025-10-14 | 15:45 | MARA | 1 | 0 | 0 | / | / | 0.017 |  |  |  | 1.81 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 49 | Old B | 2025-10-15 | 14:58 | 2025-10-14 | 15:45 | MARA | 1 | 0 | 1 | / | / | 0.016 |  |  |  | 2.01 |  | 1 | Andrea V |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 38 mg/L | 8 | 16 | 38 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 154 mg/L | 10 | 20 | 154 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0 mg/L | 7 | 14 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 1 | 0 | YES
40 | 37 ÷ 43 | 38 | YES
160 | 151 ÷ 169 | 154 | YES
Validation Date | by