## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
0724 | HI736-0 | CP-R71 | W40/1 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphorus ULR Reagent | 2027-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 200 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-10-11 | 2024-10-15 | 2HEAD |  |  | 0658
[6 empty] | Expiration A | Expiration B | Expiration D
2027-08-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code | Meter 3 Family | Meter 3 Code | Meter 4 Family | Meter 4 Code
HI801 | CTO-618 | HI97115 | CTO-730 | HI736 | CTO-401 | HI736 | CTO-402
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 33 | 47 |  | MR104 |  | 5 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
1 | 0 | 0 | 5
3 | 160 | 149 | 171
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97115 | M. 3 HI736 | M. 4 HI736 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Old A | 2024-10-02 | 14:23 |  | 13:32 |  |  | 49 | 50 |  |  | 0.055 | [6 empty] | ERIKA |  | 3 | 2 |  | HI97115 citeste in ppm,0.04 sau 0.05,daca transformam valorile in ppb,nu arata valorile intre 40 si 50
1 | 0 | 14 | Old A | 2024-10-02 | 15:43 |  |  |  |  | 11 |  |  |  | 0.011 | [6 empty] | ERIKA |  | 3 | 1
2 | 40 | 2 | Old A | 2024-10-02 | 14:24 |  | 13:32 |  |  | 47 | 40 |  |  | 0.053 | 1.341 | [5 empty] | ERIKA |  | 3 | 2
2 | 40 | 3 | Old A | 2024-10-02 | 14:33 |  | 13:32 |  |  | 41 |  |  |  | 0.046 | [6 empty] | ERIKA |  | 3 | 2
3 | 160 | 4 | Old A | 2024-10-02 | 14:33 |  | 13:32 |  |  | 170 |  |  |  | 0.165 | 1.355 | [5 empty] | ERIKA |  | 3 | 3
3 | 160 | 5 | Old A | 2024-10-02 | 14:46 |  | 13:32 |  |  | 168 |  |  |  | 0.163 | [6 empty] | ERIKA |  | 3 | 3
3 | 160 | 10 | Valid | 2024-10-02 | 15:09 |  | 13:32 |  |  | 171 |  |  |  | 0.166 | [6 empty] | ERIKA |  | 3 | 3 |  | Cuvete noi OMPI+Capace noi
1 | 0 | 11 | Valid | 2024-10-02 | 15:16 |  | 13:32 |  |  | 14 |  |  |  | 0.014 | 1.208 | [5 empty] | ERIKA |  | 3 | 1
1 | 0 | 12 | Valid | 2024-10-02 | 15:18 |  | 13:32 |  |  | 14 |  |  |  | 0.015 | [6 empty] | ERIKA |  | 3 | 1
1 | 0 | 13 | Valid | 2024-10-02 | 15:24 |  | 13:32 |  |  | 12 |  |  |  | 0.012 | [6 empty] | ERIKA |  | 3 | 1
2 | 40 | 6 | Valid | 2024-10-02 | 14:53 |  | 13:32 |  |  | 43 |  |  |  | 0.049 | 1.332 | [5 empty] | ERIKA |  | 3 | 2
2 | 40 | 7 | Valid | 2024-10-02 | 14:56 |  | 13:32 |  |  | 43 |  |  |  | 0.049 | [6 empty] | ERIKA |  | 3 | 2
2 | 40 | 8 | Valid | 2024-10-02 | 14:59 |  | 13:32 |  |  | 41 |  |  |  | 0.046 | [6 empty] | ERIKA |  | 3 | 2
3 | 160 | 9 | Valid | 2024-10-02 | 15:02 |  | 13:32 |  |  | 168 |  |  |  | 0.163 | 1.351 | [5 empty] | ERIKA |  | 3 | 3
1 | 0 | 15 | Old A | 2024-10-03 | 09:21 |  |  |  |  | 11 |  |  |  | 0.011 | [6 empty] | ERIKA |  | 3 | 1
1 | 0 | 16 | Valid | 2024-10-03 | 09:22 |  |  |  |  | 11 |  |  |  | 0.010 | [6 empty] | ERIKA |  | 3 | 1
1 | 0 | 17 | Valid | 2024-10-03 | 09:30 |  |  |  |  | 11 |  |  |  | 0.010 |  |  |  |  | 166 |  | ERIKA |  | 3 | 1
3 | 160 | 18 | Valid | 2024-10-04 | 15:17 | 2024-10-02 |  | Erika |  | 168 |  |  |  | 0.165 | 1.339 | / | / |  |  |  | Eugenia |  | 3 | 3 |  | Mixed more
3 | 160 | 19 | Valid | 2024-10-04 | 15:17 | 2024-10-02 |  | Erika |  | 174 |  |  |  | 0.168 | [6 empty] | Eugenia |  | 3 | 3
3 | 160 | 20 | Valid | 2024-10-04 | 15:18 | 2024-10-02 |  | Erika |  | 169 |  |  |  | 0.164 | [6 empty] | Eugenia |  | 3 | 3
2 | 40 | 21 | Valid | 2024-10-04 | 15:19 | 2024-10-02 |  | Erika |  | 45 |  |  |  | 0.051 | 1.435 | [5 empty] | Eugenia |  | 3 | 2
2 | 40 | 22 | Valid | 2024-10-04 | 15:19 | 2024-10-02 |  | Erika |  | 46 |  |  |  | 0.052 | [6 empty] | Eugenia |  | 3 | 2
2 | 40 | 23 | Valid | 2024-10-04 | 15:19 | 2024-10-02 |  | Erika |  | 52 |  |  |  | 0.058 | [6 empty] | Eugenia |  | 3 | 2
1 | 0 | 24 | Valid | 2024-10-04 | 15:20 | 2024-10-02 |  | Erika |  | 16 |  |  |  | 0.017 | 1.445 | [5 empty] | Eugenia |  | 3 | 1
1 | 0 | 25 | Valid | 2024-10-04 | 15:20 | 2024-10-02 |  | Erika |  | 6 |  |  |  | 0.003 | [6 empty] | Eugenia |  | 3 | 1
1 | 0 | 26 | Old A | 2024-10-04 | 15:21 | 2024-10-02 |  | Erika |  | 15 |  |  |  | 0.016 | [6 empty] | Eugenia |  | 3 | 1
1 | 0 | 27 | Old A | 2024-10-07 | 12:30 | 2024-10-02 |  | Erika |  | 9 |  |  |  | 0.007 | [6 empty] | Brigitta P |  | 3 | 1 | SW2
1 | 0 | 28 | Valid | 2024-10-07 | 12:30 | 2024-10-02 |  | Erika |  | 8 |  |  |  | 0.006 | [6 empty] | Brigitta P |  | 3 | 1 | SW2 | FIRST CUVETTE AFTER 1 MIN
1 | 0 | 29 | Valid | 2024-10-07 | 12:30 | 2024-10-02 |  | Erika |  | 7 |  |  |  | 0.005 | [6 empty] | Brigitta P |  | 3 | 1 | SW2
1 | 0 | 30 | Valid | 2024-10-07 | 12:35 | 2024-10-02 |  | Erika |  | 20 |  |  |  | 0.022 | [6 empty] | Brigitta P |  | 3 | 1 | DWA
1 | 0 | 31 | Valid | 2024-10-07 | 12:35 | 2024-10-02 |  | Erika |  | 9 |  |  |  | 0.008 | [6 empty] | Brigitta P |  | 3 | 1 | SW2
1 | 0 | 32 | Valid | 2024-10-07 | 12:45 | 2024-10-02 |  | Erika |  | 8 |  |  |  | 0.005 | [6 empty] | Brigitta P |  | 3 | 1 | SW2
1 | 0 | 33 | Old A | 2024-10-07 | 13:00 | 2024-10-02 |  | Erika |  | 0 | 0 | [9 empty] | Brigitta P |  | 3 | 1 | SW2 | CHECK WITH HI736:CTO-402;HI736:CTO-401
1 | 0 | 34 | Valid | 2024-10-07 | 13:00 | 2024-10-02 |  | Erika |  | 3 | 4 | [9 empty] | Brigitta P |  | 3 | 1 | SW2 | CHECK WITH HI736:CTO-402;HI736:CTO-401
1 | 0 | 35 | Valid | 2024-10-07 | 13:00 | 2024-10-02 |  | Erika |  | 0 | 0 | [9 empty] | Brigitta P |  | 3 | 1 | SW2 | CHECK WITH HI736:CTO-402;HI736:CTO-401
1 | 0 | 36 | Valid | 2024-10-07 | 13:00 | 2024-10-02 |  | Erika |  | 0 | 0 | [9 empty] | Brigitta P |  | 3 | 1 | SW2 | CHECK WITH HI736:CTO-402;HI736:CTO-401
1 | 0 | 37 | Valid | 2024-10-07 | 14:00 | 2024-10-02 |  | Erika |  | 10 | 0 |  |  | 0.008 | [6 empty] | Brigitta P |  | 3 | 1 | SW2
1 | 0 | 38 | Valid | 2024-10-07 | 14:15 | 2024-10-02 |  | Erika |  | 11 | 10 |  |  | 0.010 | [6 empty] | Brigitta P |  | 3 | 1 | SW2 | HI736:CTO-402/4;HI736:CTO-401/0
1 | 0 | 39 | Old A | 2024-10-07 | 14:35 | 2024-10-02 |  | Erika |  | 9 | 10 |  |  | 0.008 | [6 empty] | Brigitta P |  | 3 | 1 | SW2 | HI736:CTO-402/4;HI736:CTO-401/0
1 | 0 | 40 | Valid | 2024-10-07 | 14:40 | 2024-10-02 |  | Erika |  | 11 | 10 |  |  | 0.010 | [6 empty] | Brigitta P |  | 3 | 1 | SW2 | HI736:CTO-402/3;HI736:CTO-401/0
3 | 160 | 41 | P/Final | 2024-10-11 | 09:47 | 2024-10-11 | 08:24 | ELENA | 2 | 164 | 160 | [9 empty] | Kinga |  | 3 | 3 | 112314
3 | 160 | 42 | P/Final | 2024-10-11 | 10:02 | 2024-10-11 | 08:24 | ELENA | 2 | 169 | 172 | [9 empty] | Kinga |  | 3 | 3 | 112314
2 | 40 | 43 | P/Final | 2024-10-11 | 10:23 | 2024-10-11 | 08:24 | ELENA | 2 | 46 | [10 empty] | Kinga |  | 3 | 2 | 112314
2 | 40 | 44 | P/Final | 2024-10-11 | 10:31 | 2024-10-11 | 08:24 | ELENA | 2 | 35 | [10 empty] | Kinga |  | 3 | 2 | 112314
2 | 40 | 45 | P/Final | 2024-10-14 | 08:56 | 2024-10-11 | 14:40 | ROLAND | 4 | 46 |  |  |  | 0.052 |  |  |  | 3.65 |  |  | Kinga |  | 3 | 2 | 112314
2 | 40 | 46 | P/Final | 2024-10-14 | 09:05 | 2024-10-11 | 14:40 | ROLAND | 4 | 49 |  |  |  | 0.072 |  |  |  | 2.74 |  |  | Kinga |  | 3 | 2 | 112314
2 | 40 | 47 | P/Final | 2024-10-14 | 9:05 | 2024-10-11 | 14:40 | ROLAND | 4 | 37 |  | 37 |  | 0.072 | [6 empty] | Kinga |  | 3 | 2 | 112314
3 | 160 | 48 | P/Final | 2024-10-14 | 09:15 | 2024-10-11 | 14:40 | ROLAND | 4 | 169 |  |  |  | 0.164 |  |  |  | 2.41 |  |  | Kinga |  | 3 | 3 | 112314
3 | 160 | 49 | P/Final | 2024-10-14 | 09:17 | 2024-10-11 | 14:40 | ROLAND | 4 | 178 |  | 165 |  | 0.172 |  |  |  | 2.41 |  |  | Kinga |  | 3 | 3 | 112314
3 | 160 | 50 | P/Final | 2024-10-14 | 09:24 | 2024-10-11 | 14:40 | ROLAND | 4 | 163 |  |  |  | 0.158 |  |  |  | 2.19 |  |  | Kinga |  | 3 | 3 | 112314
2 | 40 | 51 | P/Final | 2024-10-14 | 09:32 | 2024-10-11 | 14:40 | ROLAND | 4 | 53 |  |  |  | 0.060 |  |  |  | 2.18 |  |  | Kinga |  | 3 | 2 | 112314
2 | 40 | 52 | 2 | 2024-10-14 | 09:37 | 2024-10-11 | 14:40 | ROLAND | 4 | 45 |  |  |  | 0.053 |  |  |  | 2.90 |  |  | Kinga |  | 3 | 2 | 112314
2 | 40 | 53 | P/Final | 2024-10-14 | 09:49 | 2024-10-14 | 09:03 | roland | 4 | 42 |  |  |  | 0.048 |  |  |  | 2.34 | 195 |  | Kinga |  | 3 | 2 | 112314
2 | 40 | 54 | P/Final | 2024-10-14 | 09:51 | 2024-10-14 | 09:03 | roland | 4 | 55 |  |  | 47 | 0.062 |  |  |  | 2.17 | 196 |  | Kinga |  | 3 | 2 | 112314
3 | 160 | 55 | P/Final | 2024-10-14 | 09:54 | 2024-10-14 | 09:03 | roland | 4 | 178 |  | 171 |  | 0.175 |  |  |  | 2.43 | 206 |  | Kinga |  | 3 | 3 | 112314
3 | 160 | 56 | P/Final | 2024-10-14 | 10:02 | 2024-10-14 | 09:03 | roland | 4 | 176 |  | 170 |  | 0.186 |  |  |  | 2.88 | 207 |  | Kinga |  | 3 | 3 | 112314
3 | 160 | 57 | P/Final | 2024-10-14 | 10:04 | 2024-10-14 | 09:03 | roland | 4 | 174 |  | 162 |  | 0.168 |  |  |  | 2.13 | 189 |  | Kinga |  | 3 | 3 | 112314
2 | 40 | 58 | P/Final | 2024-10-14 | 10:22 | 2024-10-14 | 09:03 | roland | 4 | 51 |  | 55 |  | 0.057 |  |  |  | 3.54 | 194 |  | Kinga |  | 3 | 2 | 112314
2 | 40 | 59 | P/Final | 2024-10-14 | 10:50 | 2024-10-14 | 10:37 | roland | 4 | 37 |  |  |  | 0.042 |  |  |  | 1.78 | 181 |  | Kinga |  | 3 | 2 | 112314
2 | 40 | 60 | P/Final | 2024-10-14 | 10:53 | 2024-10-14 | 10:37 | roland | 4 | 49 |  | 47 |  | 0.055 |  |  |  | 1.90 | 174 |  | Kinga |  | 3 | 2 | 112314
2 | 40 | 61 | P/Final | 2024-10-14 | 11:00 | 2024-10-14 | 10:37 | roland | 4 | 74 |  |  | 81 | 0.079 |  |  |  | 1.96 | 187 |  | Kinga |  | 3 | 2 | 112314
3 | 160 | 62 | P/Final | 2024-10-14 | 11:01 | 2024-10-14 | 10:37 | roland | 4 | 163 |  |  |  | 0.158 |  |  |  | 2.05 | 169 |  | Kinga |  | 3 | 3 | 112314
3 | 160 | 63 | P/Final | 2024-10-14 | 11:08 | 2024-10-14 | 10:37 | roland | 4 | 168 |  |  |  | 0.165 |  |  |  | 2.66 | 178 |  | Kinga |  | 3 | 3 | 112314
2 | 40 | 64 | P/Final | 2024-10-14 | 11:15 | 2024-10-14 | 10:37 | roland | 4 | 40 |  |  |  | 0.046 |  |  |  | 2.13 | 175 |  | Kinga |  | 3 | 2 | 112314
2 | 40 | 65 | P/Final | 2024-10-14 | 11:17 | 2024-10-14 | 10:37 | roland | 4 | 38 |  |  |  | 0.043 |  |  |  | 1.89 | 183 |  | Kinga |  | 3 | 2 | 112314
1 | 0 | 66 | P/Final | 2024-10-14 | 11:35 | 2024-10-14 | 10:37 | roland | 4 | 18 |  |  | 0 | 0.020 |  |  |  | 1.96 |  |  | Kinga |  | 3 | 1 | 112314
1 | 0 | 67 | P/Final | 2024-10-14 | 11:37 | 2024-10-14 | 10:37 | roland | 4 | 11 |  | 0 |  | 0.010 |  |  |  | 2.03 |  |  | Kinga |  | 3 | 1 | 112314
1 | 0 | 68 | P/Final | 2024-10-14 | 11:46 | 2024-10-14 | 10:37 | roland | 4 | 11 |  |  | 0 | 0.010 |  |  |  | 2.06 |  |  | Kinga |  | 3 | 1 | 112314
1 | 0 | 69 | P/Final | 2024-10-14 | 11:50 | 2024-10-14 | 10:37 | roland | 4 | 9 |  | 0 |  | 0.007 |  |  |  | 2.14 |  |  | Kinga |  | 3 | 1 | 112314
3 | 160 | 70 | P/Final | 2024-10-14 | 15:51 | 2024-10-14 | 14:33 | ELENA | 2 | 171 |  |  |  | 0.166 |  |  |  | 1.90 |  |  | Brigitta P |  | 3 | 3 | 112314
3 | 160 | 71 | P/Final | 2024-10-14 | 15:53 | 2024-10-14 | 14:33 | ELENA | 2 | 173 |  |  |  | 0.167 |  |  |  | 1.81 |  |  | Brigitta P |  | 3 | 3 | 112314
2 | 40 | 72 | P/Final | 2024-10-14 | 15:53 | 2024-10-14 | 14:33 | ELENA | 2 | 44 |  |  |  | 0.050 |  |  |  | 2.10 |  |  | Brigitta P |  | 3 | 2 | 112314
2 | 40 | 73 | P/Final | 2024-10-14 | 15:54 | 2024-10-14 | 14:33 | ELENA | 2 | 47 |  |  |  | 0.057 |  |  |  | 2.06 |  |  | Brigitta P |  | 3 | 2 | 112314
3 | 160 | 74 | P/Final | 2024-10-14 | 16:00 | 2024-10-14 | 14:33 | ELENA | 2 | 171 |  |  |  | 0.166 |  |  |  | 2.82 |  |  | Brigitta P |  | 3 | 3 | 112314
2 | 40 | 75 | P/Final | 2024-10-14 | 16:03 | 2024-10-14 | 14:33 | ELENA | 2 | 41 |  |  |  | 0.046 |  |  |  | 2.00 |  |  | Brigitta P |  | 3 | 2 | 112314
1 | 0 | 76 | P/Final | 2024-10-14 | 16:23 | 2024-10-14 | 14:33 | ELENA | 2 | 14 |  | 0 |  | 0.015 | [6 empty] | Brigitta P |  | 3 | 1 | 112314
2 | 40 | 77 | P/Final | 2024-10-15 | 9:30 | 2024-10-14 | 14:33 | ELENA | 2 | 47 |  |  |  | 0.057 |  |  |  | 1.75 |  |  | Brigitta P |  | 3 | 1 | 112314
2 | 40 | 78 | P/Final | 2024-10-15 | 9:30 | 2024-10-14 | 14:33 | ELENA | 2 | 51 |  |  |  | 0.057 |  |  |  | 1.85 |  |  | Brigitta P |  | 3 | 1 | 112314
3 | 160 | 79 | P/Final | 2024-10-15 | 9:30 | 2024-10-14 | 14:33 | ELENA | 2 | 179 |  |  |  | 0.173 |  |  |  | 3.16 |  |  | Brigitta P |  | 3 | 1 | 112314
3 | 160 | 80 | P/Final | 2024-10-15 | 9:40 | 2024-10-14 | 14:33 | ELENA | 2 | 171 |  |  |  | 0.166 | [6 empty] | Brigitta P |  | 3 | 1 | 112314
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
19 | 24 | 48 µg/L | 13 | 16 | 43 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 6 µg/L | 5 | 10 | 6 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 21 | 170 µg/L | 15 | 21 | 170 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 6 | NO
40 | 33 ÷ 47 | 43 | YES
160 | 149 ÷ 171 | 170 | YES
Validation Date | by
Laura