## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
0886 | HI736-0 | CP-R71 | W51 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphorus ULR Reagent | 2027-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 200 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-12-18 |  |  |  |  | 0598
[6 empty] | Expiration A | Expiration B | Expiration D
2027-05-01
Meter
Meter 1 Family | Meter 1 Code
HI801 | CTO-775
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 160 | 149 | 171 |  | MR104 |  | 5 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
2 | 40 | 33 | 47
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 160 | 1 | Old A | 2024-12-18 | 18:02 | 2024-12-18 |  | ERIKA |  | 171 | / | / | / |  |  |  |  | 36.4 |  |  | Brigitta P |  | 3 | 3 | 40812 | CUVETE OMPI-CAPACE NOI
2 | 40 | 2 | Old A | 2024-12-18 | 18:02 | 2024-12-18 |  | ERIKA |  | 42 | / | / | / |  |  |  |  | 10.7 |  |  | Brigitta P |  | 3 | 2 | 40812 | CUVETE OMPI-CAPACE NOI
2 | 40 | 3 | Old A | 2024-12-18 | 18:14 | 2024-12-18 |  | ERIKA |  | 44 | / | / | / |  |  |  |  | 1.71 |  |  | Brigitta P |  | 3 | 2 | 40812 | CUVETE OMPI-CAPACE NOI
2 | 40 | 4 | Old A | 2024-12-18 | 18:15 | 2024-12-18 |  | ERIKA |  | 45 | / | / | / |  |  |  |  | 1.74 |  |  | Brigitta P |  | 3 | 2 | 40812 | CUVETE OMPI-CAPACE NOI
2 | 40 | 5 | Valid | 2024-12-18 | 18:15 | 2024-12-18 |  | ERIKA |  | 176 | / | / | / | 0.170 |  |  |  | 37.3 | 180 |  | Brigitta P |  | 3 | 2 | 40812 | CUVETE OMPI-CAPACE NOI/TEORETICAL WEIGHT
2 | 40 | 6 | Valid | 2024-12-18 | 18:15 | 2024-12-18 |  | ERIKA |  | 160 | / | / | / | 0.156 |  |  |  | 35.3 | 175 |  | Brigitta P |  | 3 | 2 | 40812 | CUVETE OMPI-CAPACE NOI
2 | 40 | 7 | Valid | 2024-12-18 | 18:16 | 2024-12-18 |  | ERIKA |  | 177 | / | / | / | 0.171 |  |  |  | 37.5 | 172 |  | Brigitta P |  | 3 | 2 | 40812 | CUVETE OMPI-CAPACE NOI
2 | 40 | 8 | Valid | 2024-12-18 | 18:15 | 2024-12-18 |  | ERIKA |  | 149 | / | / | / | 0.146 |  |  |  | 37.3 | 168 |  | Brigitta P |  | 3 | 2 | 40812 | CUVETE SPALATE CU HCL-CAPACE NOI
2 | 40 | 9 | Valid | 2024-12-18 | 18:15 | 2024-12-18 |  | ERIKA |  | 148 | / | / | / | 0.144 |  |  |  | 35.3 | 169 |  | Brigitta P |  | 3 | 2 | 40812 | CUVETE SPALATE CU HCL-CAPACE NOI
3 | 160 | 10 | Old A | 2024-12-18 | 18:15 | 2024-12-18 |  | ERIKA |  | 166 | / | / | / | 0.161 |  |  |  | 2.83 |  |  | Brigitta P |  | 3 | 2 | 40812 | CUVETE OMPI-CAPACE NOI
3 | 160 | 11 | Old A | 2024-12-18 | 18:20 | 2024-12-18 |  | ERIKA |  | 171 | / | / | / | 0.166 |  |  |  | 3.01 |  |  | Brigitta P |  | 3 | 2 | 40812 | CUVETE OMPI-CAPACE NOI
3 | 160 | 12 | Old A | 2024-12-18 | 18:20 | 2024-12-18 |  | ERIKA |  | 171 | / | / | / | 0.166 |  |  |  | 2.01 |  |  | Brigitta P |  | 3 | 2 | 40812 | CUVETE OMPI-CAPACE NOI
3 | 160 | 13 | Valid | 2024-12-18 | 18:20 | 2024-12-18 |  | ERIKA |  | 200 | / | / | / | 0.257 |  |  |  | 35.3 |  |  | Brigitta P |  | 3 | 2 | 40812 | CUVETE OMPI-CAPACE NOI
3 | 160 | 14 | Valid | 2024-12-18 | 18:20 | 2024-12-18 |  | ERIKA |  | 200 | / | / | / | 0.257 |  |  |  | 38.8 |  |  | Brigitta P |  | 3 | 2 | 40812 | CUVETE OMPI-CAPACE NOI
3 | 160 | 15 | Valid | 2024-12-18 | 18:20 | 2024-12-18 |  | ERIKA |  | 200 | / | / | / | 0.257 |  |  |  | 35.7 |  |  | Brigitta P |  | 3 | 2 | 40812 | CUVETE OMPI-CAPACE NOI
1 | 0 | 16 | Old A | 2024-12-18 | 18:48 | 2024-12-18 |  | ERIKA |  | 11 | / | / | / | 0.010 |  |  |  | 1.67 |  |  | Brigitta P |  | 3 | 1 | 40812 | CUVETE OMPI-CAPACE NOI
1 | 0 | 17 | Old A | 2024-12-18 | 18:49 | 2024-12-18 |  | ERIKA |  | 14 | / | / | / | 0.014 |  |  |  | 1.46 |  |  | Brigitta P |  | 3 | 1 | 40812 | CUVETE OMPI-CAPACE NOI
1 | 0 | 18 | Valid | 2024-12-18 | 18:49 | 2024-12-18 |  | ERIKA |  | 122 | / | / | / | 0.122 |  |  |  | 38.2 |  |  | Brigitta P |  | 3 | 1 | 40812 | CUVETE OMPI-CAPACE NOI
1 | 0 | 19 | Valid | 2024-12-18 | 18:49 | 2024-12-18 |  | ERIKA |  | 115 | / | / | / | 0.116 |  |  |  | 34.6 |  |  | Brigitta P |  | 3 | 1 | 40812 | CUVETE OMPI-CAPACE NOI
3 | 160 | 20 | Old A | 2024-12-19 | 10:48 | 2024-12-19 | 08:27 | Mark |  | 167 | / | / | / | 0.162 |  |  |  | 3.21 |  |  | Monika |  | 3 | 3 | 40812
3 | 160 | 21 | Valid | 2024-12-19 | 10:49 | 2024-12-19 | 08:27 | Mark |  | 200 | / | / | / | 0.200 |  |  |  | 61.8 |  |  | Monika |  | 3 | 3 | 40812 | 200 blinking
3 | 160 | 22 | Valid | 2024-12-19 | 10:49 | 2024-12-19 | 08:27 | Mark |  | 169 | / | / | / | 0.164 |  |  |  | 53.7 |  |  | Monika |  | 3 | 3 | 40812 | is wery turbid
2 | 40 | 23 | Old A | 2024-12-19 | 10:51 | 2024-12-19 | 08:27 | Mark |  | 42 | / | / | / | 0.047 |  |  |  | 43.4 |  |  | Monika |  | 3 | 2 | 40812
2 | 40 | 24 | Valid | 2024-12-19 | 10:52 | 2024-12-19 | 08:27 | Mark |  | 167 | / | / | / | 0.162 |  |  |  | 46.1 |  |  | Monika |  | 3 | 2 | 40812
2 | 40 | 25 | Valid | 2024-12-19 | 10:52 | 2024-12-19 | 08:27 | Mark |  | 171 | / | / | / | 0.166 |  |  |  | 43.4 |  |  | Monika |  | 3 | 2 | 40812
3 | 160 | 26 | Valid | 2024-12-19 | 11:50 | 2024-12-19 | 08:27 | Mark |  | 200 | / | / | / | 0.264 |  |  |  | 38.0 |  |  | Monika |  | 3 | 2 | 40812 | 200 blinking
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 µg/L | 0 | 0 | 0 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 µg/L | 0 | 0 | 0 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 µg/L | 0 | 0 | 0 µg/L
Specifications
Standard Value [ppb] | Target Value [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 0 | YES
160 | 149 ÷ 171 | 0 | NO
40 | 33 ÷ 47 | 0 | NO
Validation Date | by