## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
0918 | HI736-0 | CP-R71 | W 07/2 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphorus ULR Reagent | 2028-02-01 | L57 Powder |  |  | Laboratory | TABLET 2 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 200 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ROLAND | 2025-02-13 | 2025-02-20 | 2 HEAD |  |  | 0530
[6 empty] | Expiration A | Expiration B | Expiration D
2027-04-01
Meter
Meter 1 Family | Meter 1 Code
HI801 | CTO-775
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 33 | 47 |  | MR104 |  | 5 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
3 | 160 | 149 | 171
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Old A | 2025-02-20 | 09:55 | 2025-02-20 | 08:18 | ROLAND |  | 49 | / | / | / | 0.055 |  |  |  | 1.39 |  |  | Kinga |  | 3 | 2
3 | 160 | 2 | Old A | 2025-02-20 | 10:04 | 2025-02-20 | 08:18 | ROLAND |  | 171 | / | / | / | 0166 |  |  |  | 2.21 |  |  | Kinga |  | 3 | 3
1 | 0 | 3 | Old A | 2025-02-20 | 10:29 | 2025-02-20 | 08:18 | ROLAND |  | 0 | / | / | / | 0.005 |  |  |  | 3.13 |  |  | Kinga |  | 3 | 1
2 | 40 | 4 | P/Prod | 2025-02-20 | 10:35 | 2025-02-20 | 08:18 | ROLAND |  | 42 | / | / | / | 0.048 | 1.252 |  |  | 0.98 | 170 |  | Kinga |  | 3 | 2
2 | 40 | 5 | P/Prod | 2025-02-20 | 10:39 | 2025-02-20 | 08:18 | ROLAND |  | 46 | / | / | / | 0.052 |  |  |  | 1.29 | 158 |  | Kinga |  | 3 | 2
3 | 160 | 6 | P/Prod | 2025-02-20 | 10:55 | 2025-02-20 | 08:18 | ROLAND |  | 178 | / | / | / | 0.167 | 1.242 |  |  | 1.29 | 178 |  | Kinga |  | 3 | 3
3 | 160 | 7 | P/Prod | 2025-02-20 | 11:03 | 2025-02-20 | 08:18 | ROLAND |  | 168 | / | / | / | 0.163 |  |  |  | 0.95 | 188 |  | Kinga |  | 3 | 3 |  | WEIGHT 160
3 | 160 | 8 | P/Prod | 2025-02-20 | 11:04 | 2025-02-20 | 08:18 | ROLAND |  | 156 | / | / | / | 0.152 | 1.277 |  |  | 1.14 | 178 |  | Kinga |  | 3 | 3
3 | 160 | 9 | P/Prod | 2025-02-20 | 11:04 | 2025-02-20 | 08:18 | ROLAND |  | 154 | / | / | / | 0.150 |  |  |  | 1.20 | 185 |  | Kinga |  | 3 | 3
3 | 160 | 10 | P/Prod | 2025-02-20 | 11:04 | 2025-02-20 | 08:18 | ROLAND |  | 155 | / | / | / | 0.151 |  |  |  | 1.07 |  |  | Kinga |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 44 µg/L | 2 | 2 | 44 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 5 | 162 µg/L | 5 | 5 | 162 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 µg/L | 0 | 0 | 0 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 0 | YES
40 | 33 ÷ 47 | 44 | YES
160 | 149 ÷ 171 | 162 | YES
Validation Date | by