## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
0938 | HI736-0 | CP-R71 | W 09/1 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphorus ULR Reagent | 2028-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 200 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-05 | 2025-03-05 | 2HEAD |  |  | 0410
[6 empty] | Expiration A | Expiration B | Expiration D
2027-01-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97115 | CTO-740
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 33 | 47 |  | MR104 |  | 5 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
3 | 160 | 149 | 171
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Old A | 2025-02-27 | 14:15 | 2025-02-27 | 13:46 | ERIKA |  | 33 |  | / | / | 0.037 |  |  |  | 3.01 |  |  | Kinga |  | 3 | 2 | 34943
3 | 160 | 2 | Old A | 2025-02-27 | 14:16 | 2025-02-27 | 13:46 | ERIKA |  | 161 |  | / | / | 0.156 |  |  |  | 2.58 |  |  | Kinga |  | 3 | 3 | 34943
1 | 0 | 3 | Old A | 2025-02-27 | 14:18 | 2025-02-27 | 13:46 | ERIKA |  | 9 |  | / | / | 0.007 |  |  |  | 3.16 |  |  | Kinga |  | 3 | 1 | 34943
2 | 40 | 4 | Valid | 2025-02-27 | 14:25 | 2025-02-27 | 13:46 | ERIKA |  | 25 |  | / | / | 0.028 |  |  |  | 0.91 |  |  | Kinga |  | 3 | 2 | 34943
2 | 40 | 5 | Old A | 2025-02-27 | 14:35 | 2025-02-27 | 13:46 | ERIKA |  | 31 |  | / | / | 0.036 |  |  |  | 1.48 |  |  | Kinga |  | 3 | 2 | 34943
3 | 160 | 6 | Valid | 2025-02-27 | 14:37 | 2025-02-27 | 13:46 | ERIKA |  | 149 |  | / | / | 0.146 |  |  |  | 0.91 |  |  | Kinga |  | 3 | 3 | 34943
3 | 160 | 7 | Old A | 2025-02-27 | 14:39 | 2025-02-27 | 13:46 | ERIKA |  | 151 |  | / | / | 0.148 |  |  |  | 1.51 |  |  | Kinga |  | 3 | 3 | 34943
2 | 40 | 8 | Valid | 2025-02-27 | 14:53 | 2025-02-27 | 13:46 | ERIKA |  | 30 | 30 | / | / | 0.034 |  |  |  | 0.74 |  |  | Kinga |  | 3 | 2 | 34943
2 | 40 | 9 | Valid | 2025-02-27 | 14:53 | 2025-02-27 | 13:46 | ERIKA |  | 30 | 30 | / | / | 0.034 |  |  |  | 1.32 |  |  | Kinga |  | 3 | 2 | 34943
2 | 40 | 10 | Valid | 2025-02-27 | 14:56 | 2025-02-27 | 13:46 | ERIKA |  | 25 | 30 | / | / | 0.029 |  |  |  | 3.14 |  |  | Kinga |  | 3 | 2 | 34943
2 | 40 | 11 | Valid | 2025-02-27 | 14:57 | 2025-02-27 | 13:46 | ERIKA |  | 28 | 30 | / | / | 0.032 |  |  |  | 0.85 |  |  | Kinga |  | 3 | 2 | 34943
3 | 160 | 12 | Valid | 2025-02-27 | 15:04 | 2025-02-27 | 13:46 | ERIKA |  | 159 | 150 | / | / | 0.144 |  |  |  | 0.77 |  |  | Kinga |  | 3 | 3 | 34943
3 | 160 | 13 | Valid | 2025-02-27 | 15:09 | 2025-02-27 | 13:46 | ERIKA |  | 150 | 160 | / | / | 0.147 |  |  |  | 1.32 |  |  | Kinga |  | 3 | 3 | 34943
3 | 160 | 14 | Valid | 2025-02-27 | 15:09 | 2025-02-27 | 13:46 | ERIKA |  | 194 | 200 | / | / | 0.187 |  |  |  | 0.85 |  |  | Kinga |  | 3 | 3 | 34943
3 | 160 | 15 | Valid | 2025-02-27 | 15:11 | 2025-02-27 | 13:46 | ERIKA |  | 149 | 160 | / | / | 0.146 |  |  |  | 1.65 |  |  | Kinga |  | 3 | 3 | 34943
1 | 0 | 16 | Valid | 2025-02-27 | 15:18 | 2025-02-27 | 13:46 | ERIKA |  | 19 | 10 | / | / | 0.021 |  |  |  | 1.37 |  |  | Kinga |  | 3 | 1 | 34943
1 | 0 | 17 | Valid | 2025-02-27 | 15:19 | 2025-02-27 | 13:46 | ERIKA |  | 13 | 10 | / | / | 0.013 |  |  |  | 1.12 |  |  | Kinga |  | 3 | 1 | 34943
1 | 0 | 18 | Valid | 2025-02-27 | 15:19 | 2025-02-27 | 13:46 | ERIKA |  | 15 | 10 | / | / | 0.016 |  |  |  | 1.16 |  |  | Kinga |  | 3 | 1 | 34943
2 | 40 | 19 | Valid | 2025-02-27 | 15:30 | 2025-02-27 | 13:46 | ERIKA |  | 29 | 30 | / | / | 0.033 |  |  |  | 1.16 | 190 |  | Kinga |  | 3 | 2 | 34943
2 | 40 | 20 | Valid | 2025-02-27 | 19:22 | 2025-02-27 | 19:16 | ERIKA |  | 33 | 33 | / | / | 0.038 | 1.345 | / | / | 1.33 | 210 |  | Brigitta P |  | 3 | 2
2 | 40 | 21 | Valid | 2025-02-27 | 19:23 | 2025-02-27 | 19:16 | ERIKA |  | 35 | 35 | / | / | 0.040 | 1.344 |  |  | 1.04 | 214 |  | Brigitta P |  | 3 | 2
2 | 40 | 22 | Valid | 2025-02-27 | 19:20 | 2025-02-27 | 19:16 | ERIKA |  | 42 | 42 | / | / | 0.048 | 1.344 |  |  | 0.89 | 207 |  | Brigitta P |  | 3 | 2
3 | 160 | 23 | Valid | 2025-02-27 | 19:27 | 2025-02-27 | 19:16 | ERIKA |  | 165 | 165 | / | / | 0.160 | 1.341 |  |  | 1.31 | 210 |  | Brigitta P |  | 3 | 3
3 | 160 | 24 | Valid | 2025-02-27 | 19:28 | 2025-02-27 | 19:16 | ERIKA |  | 156 | 156 | / | / | 0.152 | 1.340 |  |  | 1.12 | 207 |  | Brigitta P |  | 3 | 3
3 | 160 | 25 | Valid | 2025-02-27 | 19:31 | 2025-02-27 | 19:16 | ERIKA |  | 156 | 156 | / | / | 0.152 | 1.365 |  |  | 1.24 | 213 |  | Brigitta P |  | 3 | 3
1 | 0 | 26 | Valid | 2025-02-27 | 19:34 | 2025-02-27 | 19:16 | ERIKA |  | 18 | 18 | / | / | 0.020 | 1.345 |  |  | 2.61 | 210 |  | Brigitta P |  | 3 | 1
1 | 0 | 27 | Valid | 2025-02-27 | 19:35 | 2025-02-27 | 19:16 | ERIKA |  | 17 | 17 | / | / | 0.018 | 1.241 |  |  | 2.54 | 209 |  | Brigitta P |  | 3 | 1
1 | 0 | 28 | Valid | 2025-02-28 | 8:55 | 2025-02-27 | 19:16 | ERIKA |  | 7 | 7 | / | / | 0.004 |  |  |  | 2.20 |  |  | Brigitta P |  | 3 | 1
1 | 0 | 29 | Valid | 2025-02-28 | 8:55 | 2025-02-27 | 19:16 | ERIKA |  | 8 | 8 | / | / | 0.006 |  |  |  | 1.20 |  |  | Brigitta P |  | 3 | 1
1 | 0 | 30 | Old A | 2025-02-28 | 8:55 | 2025-02-27 | 19:16 | ERIKA |  | 14 |  | / | / | 0.015 |  |  |  | 2.35 |  |  | Brigitta P |  | 3 | 1
1 | 0 | 31 | Old A | 2025-03-05 | 09:19 | 2025-03-05 | 08:41 | ROLAND | 2 | 10 | 0 | / | / | 0.009 |  |  |  | 0.45 |  |  | Brigitta P |  | 3 | 1 | 34943 | SW2 DIN START CITESTE 3
1 | 0 | 32 | P/Prod | 2025-03-05 | 09:20 | 2025-03-05 | 08:41 | ROLAND | 2 | 9 | 0 | / | / | 0.007 |  |  |  | 1.11 |  |  | Brigitta P |  | 3 | 1 | 34943
1 | 0 | 33 | P/Prod | 2025-03-05 | 9:20 | 2025-03-05 | 08:41 | ROLAND | 2 | 11 | 0 | / | / | 0.010 |  |  |  | 0.010 |  |  | Brigitta P |  | 3 | 1 | 34943
2 | 40 | 34 | Old A | 2025-03-05 | 09:32 | 2025-03-05 | 08:41 | ROLAND | 2 | 33 | 33 | / | / | 0.038 | 1.169 |  |  | 1.34 | 216 |  | Brigitta P |  | 3 | 2 | 34943
2 | 40 | 35 | P/Prod | 2025-03-05 | 9:30 | 2025-03-05 | 08:41 | ROLAND | 2 | 38 | 38 | / | / | 0.043 |  |  |  | 2.94 | 243 |  | Brigitta P |  | 3 | 2 | 34943
2 | 40 | 36 | P/Prod | 2025-03-05 | 9:30 | 2025-03-05 | 08:41 | ROLAND | 2 | 38 | 40 | / | / | 0.043 | 1.171 |  |  | 1.76 | 207 |  | Brigitta P |  | 3 | 2 | 34943
3 | 160 | 37 | Old A | 2025-03-05 | 09:36 | 2025-03-05 | 08:41 | ROLAND | 2 | 149 | 150 | / | / | 0.146 |  |  |  | 2.17 | 191 |  | Brigitta P |  | 3 | 3 | 34943
3 | 160 | 38 | P/Prod | 2025-03-05 | 09:37 | 2025-03-05 | 08:41 | ROLAND | 2 | 164 | 170 | / | / | 0.159 | 1.331 |  |  | 1.12 | 193 |  | Brigitta P |  | 3 | 3 | 34943
3 | 160 | 39 | P/Prod | 2025-03-05 | 9:35 | 2025-03-05 | 08:41 | ROLAND | 2 | 149 | 150 | / | / | 0.146 |  |  |  | 1.12 | 207 |  | Brigitta P |  | 3 | 3 | 34943
2 | 40 | 40 | P/FINAL | 2025-03-05 | 14:38 | 2025-03-05 | 14:15 | ELENA | 2 | 46 | 46 | / | / | 0.051 | 1.292 |  |  | 1.74 | 214 |  | Brigitta P |  | 3 | 2 | 34943
2 | 40 | 41 | P/FINAL | 2025-03-05 | 14:38 | 2025-03-05 | 14:15 | ELENA | 2 | 36 | 36 | / | / | 0.041 |  |  |  | 1.28 | 208 |  | Brigitta P |  | 3 | 2 | 34943
3 | 160 | 42 | P/FINAL | 2025-03-05 | 14:39 | 2025-03-05 | 14:15 | ELENA | 2 | 150 | 160 | / | / | 0.147 | 1.289 |  |  | 3.89 | 191 |  | Brigitta P |  | 3 | 3 | 34943
3 | 160 | 43 | P/FINAL | 2025-03-05 | 14:40 | 2025-03-05 | 14:15 | ELENA | 2 | 149 | 170 | / | / | 0.146 |  |  |  | 1.47 | 193 |  | Brigitta P |  | 3 | 3 | 34943
1 | 0 | 44 | P/FINAL | 2025-03-05 | 14:43 | 2025-03-05 | 14:15 | ELENA | 2 | 7 | 0 | / | / | 0.003 | 1.340 |  |  | 1.31 | 208 |  | Brigitta P |  | 3 | 1 | 34943
1 | 0 | 45 | P/FINAL | 2025-03-05 | 14:43 | 2025-03-05 | 14:15 | ELENA | 2 | 6 | 0 | / | / | 0.004 |  |  |  | 1.20 | 198 |  | Brigitta P |  | 3 | 1 | 34943
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 40 µg/L | 4 | 8 | 40 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 158 µg/L | 4 | 8 | 158 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 4 µg/L | 4 | 8 | 4 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 4 | YES
40 | 33 ÷ 47 | 40 | YES
160 | 149 ÷ 171 | 158 | YES
Validation Date | by