## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
1008 | HI736-0 | CP-R71 | W 16/2 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphorus ULR Reagent | 2028-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 200 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-13 | 2025-05-14 | 2HEAD |  |  | 0948
[6 empty] | Expiration A | Expiration B | Expiration D
2028-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO-845 | HI801 | CTO-618
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 33 | 47 |  | MR104 |  | 5 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
3 | 160 | 149 | 171
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97115 | M. 2 HI801 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Valid | 2025-04-17 | 12:55 | 2025-04-17 | 10:41 | ERIKA |  | 39 | 39 | / | / | 0.044 |  |  |  | 2.69 |  |  | Kinga |  | 3 | 2 | 125548
2 | 40 | 2 | Valid | 2025-04-17 | 12:56 | 2025-04-17 | 10:41 | ERIKA |  | 40 | 43 | / | / | 0.049 |  |  |  | 2.51 |  |  | Kinga |  | 3 | 2 | 125548
3 | 160 | 3 | Valid | 2025-04-17 | 12:58 | 2025-04-17 | 10:41 | ERIKA |  | 170 | 166 | / | / | 0.163 |  |  |  | 2.34 | 180 |  | Kinga |  | 3 | 3 | 125548
3 | 160 | 4 | Valid | 2025-04-17 | 13:00 | 2025-04-17 | 10:41 | ERIKA |  | 164 | 164 | / | / | 0.159 |  |  |  | 3.44 |  |  | Kinga |  | 3 | 3 | 125548
3 | 160 | 5 | P/FINAL | 2025-05-14 | 08:41 | 2025-05-13 | 17:31 | ELENA |  | 170 | 180 | / | / | 0.165 |  |  |  | 7.85 |  |  | Kinga |  | 3 | 3 | 125548
3 | 160 | 6 | P/FINAL | 2025-05-14 | 08:41 | 2025-05-13 | 17:31 | ELENA |  | 161 | 170 | / | / | 0.157 |  |  |  | 4.37 | 189 |  | Kinga |  | 3 | 3 | 125548
3 | 160 | 7 | P/FINAL | 2025-05-14 | 08:42 | 2025-05-13 | 17:31 | ELENA |  | 166 | 170 | / | / | 0.161 | 1.249 |  |  | 6.40 | 181 |  | Kinga |  | 3 | 3 | 125548
2 | 40 | 8 | P/FINAL | 2025-05-14 | 08:43 | 2025-05-13 | 17:31 | ELENA |  | 43 | 49 | / | / | 0.049 |  |  |  | 6.86 | 173 |  | Kinga |  | 3 | 2 | 125548
2 | 40 | 9 | P/FINAL | 2025-05-14 | 08:44 | 2025-05-13 | 17:31 | ELENA |  | 43 | 46 | / | / | 0.049 | 1.239 |  |  | 4.48 | 191 |  | Kinga |  | 3 | 2 | 125548
2 | 40 | 10 | P/FINAL | 2025-05-14 | 08:49 | 2025-05-13 | 17:31 | ELENA |  | 42 | 40 | / | / | 0.048 |  |  |  | 4.93 | 181 |  | Kinga |  | 3 | 2 | 125548
1 | 0 | 11 | P/FINAL | 2025-05-14 | 08:50 | 2025-05-13 | 17:31 | ELENA |  | 0 | 4 | / | / | 0.000 |  |  |  | 7.71 | 178 |  | Kinga |  | 3 | 1 | 125548
1 | 0 | 12 | P/FINAL | 2025-05-14 | 08:51 | 2025-05-13 | 17:31 | ELENA |  | 3 | 5 | / | / | -0.001 |  |  |  | 5.49 | 171 |  | Kinga |  | 3 | 1 | 125548
2 | 40 | 13 | P/FINAL | 2025-05-14 | 09:03 | 2025-05-14 | 07:37 | NINA |  | 40 | 40 | / | / | 0.045 |  |  |  | 3.36 | 169 |  | Kinga |  | 3 | 2 | 125548
2 | 40 | 14 | P/FINAL | 2025-05-14 | 09:04 | 2025-05-14 | 07:37 | NINA |  | 41 | 40 | / | / | 0.046 |  |  |  | 4.21 | 173 |  | Kinga |  | 3 | 2 | 125548
2 | 40 | 15 | P/FINAL | 2025-05-14 | 09:05 | 2025-05-14 | 07:37 | NINA |  | 40 | 41 | / | / | 0.043 | 1.310 |  |  | 4.20 | 177 |  | Kinga |  | 3 | 2 | 125548
3 | 160 | 16 | P/FINAL | 2025-05-14 | 09:06 | 2025-05-14 | 07:37 | NINA |  | 160 | 170 | / | / | 0.156 |  |  |  | 5.91 | 160 |  | Kinga |  | 3 | 3 | 125548
3 | 160 | 17 | P/FINAL | 2025-05-14 | 09:07 | 2025-05-14 | 07:37 | NINA |  | 165 | 160 | / | / | 0.160 |  |  |  | 3.04 | 176 |  | Kinga |  | 3 | 3 | 125548
3 | 160 | 18 | P/FINAL | 2025-05-14 | 09:08 | 2025-05-14 | 07:37 | NINA |  | 165 | 170 | / | / | 0.160 | 1.328 |  |  | 2.90 | 169 |  | Kinga |  | 3 | 3 | 125548
1 | 0 | 19 | P/FINAL | 2025-05-14 | 09:11 | 2025-05-14 | 07:37 | NINA |  | 3 | 2 | / | / | -0.001 |  |  |  | 7.93 | 180 |  | Kinga |  | 3 | 1 | 125548
1 | 0 | 20 | P/FINAL | 2025-05-14 | 09:12 | 2025-05-14 | 07:37 | NINA |  | 2 | 1 | / | / | -0.001 | 1.268 |  |  | 7.12 | 181 |  | Kinga |  | 3 | 1 | 125548
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 42 µg/L | 6 | 12 | 42 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 167 µg/L | 6 | 12 | 167 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 3 µg/L | 4 | 8 | 3 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 3 | YES
40 | 33 ÷ 47 | 42 | YES
160 | 149 ÷ 171 | 167 | YES
Validation Date | by