## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
1054 | HI736-0 | CP-R71 | W22/1 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphorus ULR Reagent | 2028-05-01 | L57 Powder |  |  | Laboratory | TABLET3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 200 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-06-05 | 2025-06-06 | Univ Pack 1 H
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97115 | CTO-740
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-859
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 33 | 47 |  | MR104 |  | 5 | & | 4% | 100% |  | 1.5 | 1.2 | 1.6
3 | 160 | 149 | 171
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97115 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Valid | 2025-05-30 | 07:28 | 2025-05-30 |  | MARK |  | 35 | 30 | / | / | 0.040 |  |  |  | 0.90 |  |  | Brigitta P |  | 3 | 2 | 125548
2 | 40 | 2 | Valid | 2025-05-30 | 07:29 | 2025-05-30 |  | MARK |  | 33 | 30 | / | / | 0.038 |  |  |  | 1.27 |  |  | Brigitta P |  | 3 | 2 | 125548
3 | 160 | 3 | Valid | 2025-05-30 | 07:30 | 2025-05-30 |  | MARK |  | 160 | 160 | / | / | 0.157 |  |  |  | 2.43 |  |  | Brigitta P |  | 3 | 3 | 125548
3 | 160 | 4 | Valid | 2025-05-30 | 07:30 | 2025-05-30 |  | MARK |  | 161 | 160 | / | / | 0.157 |  |  |  | 1.06 |  |  | Brigitta P |  | 3 | 3 | 125548
3 | 160 | 5 | Valid | 2025-05-30 | 07:31 | 2025-05-30 |  | MARK |  | 169 | 170 | / | / | 0.164 |  |  |  | 1.67 |  |  | Brigitta P |  | 3 | 3 | 125548
1 | 0 | 6 | P/FINAL | 2025-06-05 | 14:41 | 2025-06-05 | 14:20 | Roland |  | 7 | 0 | / | / | 0.005 |  | / | / | 1.32 |  |  | Eugenia |  | 3 | 1
1 | 0 | 7 | P/FINAL | 2025-06-05 | 14:42 | 2025-06-05 | 14:20 | Roland |  | 8 | 0 | / | / | 0.006 |  |  |  | 1.16 |  |  | Eugenia |  | 3 | 1
1 | 0 | 8 | P/FINAL | 2025-06-05 | 14:42 | 2025-06-05 | 8:06 | Giorgiana |  | 9 | 0 | / | / | 0.008 |  |  |  | 1.73 |  |  | Eugenia |  | 3 | 1
1 | 0 | 9 | P/FINAL | 2025-06-05 | 14:42 | 2025-06-05 | 8:06 | Giorgiana |  | 9 | 0 | / | / | 0.007 |  |  |  | 1.08 |  |  | Eugenia |  | 3 | 1
3 | 160 | 10 | P/FINAL | 2025-06-05 | 14:53 | 2025-06-05 | 8:06 | Giorgiana |  | 159 | 160 | / | / | 0.152 |  |  |  | 1.32 | 161 |  | Eugenia |  | 3 | 3
3 | 160 | 11 | P/FINAL | 2025-06-05 | 14:54 | 2025-06-05 | 8:06 | Giorgiana |  | 156 | 160 | / | / | 0.151 |  |  |  | 1.26 | 160 |  | Eugenia |  | 3 | 3
3 | 160 | 12 | P/FINAL | 2025-06-05 | 14:57 | 2025-06-05 | 8:06 | Giorgiana |  | 155 | 160 | / | / |  |  |  |  | 1.14 | 175 |  | Eugenia |  | 3 | 3
3 | 160 | 13 | P/FINAL | 2025-06-05 | 14:58 | 2025-06-05 | 8:06 | Giorgiana |  | 155 | 150 | / | / |  |  |  |  | 1.14 |  |  | Eugenia |  | 3 | 3
2 | 40 | 14 | P/FINAL | 2025-06-05 | 15:13 | 2025-06-05 | 8:06 | Giorgiana |  | 36 |  | / | / |  |  |  |  | 1.22 | 158 |  | Eugenia |  | 3 | 2
2 | 40 | 15 | P/FINAL | 2025-06-05 | 15:14 | 2025-06-05 | 8:06 | Giorgiana |  | 34 |  | / | / |  |  |  |  | 1.25 | 162 |  | Eugenia |  | 3 | 2
2 | 40 | 16 | P/FINAL | 2025-06-05 | 15:17 | 2025-06-05 | 14:20 | Roland |  | 38 |  | / | / |  |  |  |  | 2.10 |  |  | Eugenia |  | 3 | 2
2 | 40 | 17 | P/FINAL | 2025-06-05 | 15:17 | 2025-06-05 | 14:20 | Roland |  | 38 |  | / | / | 0.043 |  |  |  | 1.87 |  |  | Eugenia |  | 3 | 2
2 | 40 | 18 | Old A | 2025-06-06 | 09:12 | 2025-06-06 | 07:11 | ELENA |  | 38 | 40 | / | / | 0.043 | 1.389 |  |  | 01.51 |  |  | Violeta |  | 3 | 2 | 125548
2 | 40 | 19 | P/FINAL | 2025-06-06 | 09:15 | 2025-06-06 | 07:11 | ELENA |  | 38 | 40 | / | / | 0.043 |  |  |  | 1.15 |  |  | Violeta |  | 3 | 2 | 125548
2 | 40 | 20 | P/FINAL | 2025-06-06 | 09:16 | 2025-06-06 | 07:11 | ELENA |  | 39 | 40 | / | / | 0.044 |  |  |  | 1.34 |  |  | Violeta |  | 3 | 2 | 125548
2 | 40 | 21 | P/FINAL | 2025-06-06 | 09:20 | 2025-06-06 | 07:11 | ELENA |  | 42 | 40 | / | / | 0.048 |  |  |  | 1.27 | 163 |  | Violeta |  | 3 | 2 | 125548
2 | 40 | 22 | P/FINAL | 2025-06-06 | 09:21 | 2025-06-06 | 07:11 | ELENA |  | 36 | 40 | / | / | 0.041 |  |  |  | 1.36 | 151 |  | Violeta |  | 3 | 2 | 125548
3 | 160 | 23 | Old A | 2025-06-06 | 09:24 | 2025-06-06 | 07:11 | ELENA |  | 158 | 170 | / | / | 0.154 |  |  |  | 1.57 |  |  | Violeta |  | 3 | 3 | 125548
3 | 160 | 24 | P/FINAL | 2025-06-06 | 09:29 | 2025-06-06 | 07:11 | ELENA |  | 163 | 170 | / | / | 0.158 | 1.363 |  |  | 1.23 | 170 |  | Violeta |  | 3 | 3 | 125548
3 | 160 | 25 | P/FINAL | 2025-06-06 | 09:31 | 2025-06-06 | 07:11 | ELENA |  | 170 | 170 | / | / | 0.168 |  |  |  | 1.26 | 161 |  | Violeta |  | 3 | 3 | 125548
3 | 160 | 26 | P/FINAL | 2025-06-06 | 09:33 | 2025-06-06 | 07:11 | ELENA |  | 169 | 170 | / | / | 0.164 |  |  |  | 1.30 | 165 |  | Violeta |  | 3 | 3 | 125548
3 | 160 | 27 | P/FINAL | 2025-06-06 | 09:34 | 2025-06-06 | 07:11 | ELENA |  | 156 | 160 | / | / | 0.152 |  |  |  | 1.30 | 159 |  | Violeta |  | 3 | 3 | 125548
1 | 0 | 28 | P/FINAL | 2025-06-06 | 09:40 | 2025-06-06 | 07:11 | ELENA |  | 9 | 0 | / | / | 0.008 | 1.333 |  |  | 1.30 |  |  | Violeta |  | 3 | 1 | 125548
1 | 0 | 29 | P/FINAL | 2025-06-06 | 09:48 | 2025-06-06 | 07:11 | ELENA |  | 5 | 0 | / | / | 0.002 |  |  |  | 1.71 |  |  | Violeta |  | 3 | 1 | 125548
1 | 0 | 30 | P/FINAL | 2025-06-06 | 09:49 | 2025-06-06 | 07:11 | ELENA |  | 5 | 0 | / | / | 0.002 |  |  |  | 1.96 |  |  | Violeta |  | 3 | 1 | 125548
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 12 | 38 µg/L | 8 | 12 | 38 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 161 µg/L | 8 | 16 | 161 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 4 µg/L | 7 | 14 | 4 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 4 | YES
40 | 33 ÷ 47 | 38 | YES
160 | 149 ÷ 171 | 161 | YES
Validation Date | by