## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
0724 | HI774-0 | CP-R71 | W40/1 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate ULR Reagent | 2027-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 0.90 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-10-10 | 2024-10-10 | 2HEAD |  |  | 0622
[6 empty] | Expiration A | Expiration B | Expiration D
2027-06-01
Meter
Meter 1 Family | Meter 1 Code
HI97115 | CTO-730
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 0.72 | 0.66 | 0.78 |  | MR104 |  | 0.02 | & | 0.05% | 1% |  | 1.5 | 1.2 | 1.6
2 | 0.18 | 0.15 | 0.21
1 | 0.00 | 0.00 | 0.02
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97115 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 0.72 | 1 | Old A | 2024-10-03 | 09:46 |  |  |  |  | 0.79 | / | / | / |  |  |  |  | 2.15 |  |  | Brigitta T |  | 3 | 3
2 | 0.18 | 2 | Old A | 2024-10-03 | 09:48 |  |  |  |  | 0.17 | / | / | / |  | 1.231 |  |  | 1.79 |  |  | Brigitta T |  | 3 | 2
2 | 0.18 | 3 | Old A | 2024-10-03 | 09:53 |  |  |  |  | 0.18 | / | / | / |  |  |  |  | 2.19 |  |  | Brigitta T |  | 3 | 2
3 | 0.72 | 4 | Old A | 2024-10-03 | 09:56 |  |  |  |  | 0.74 | / | / | / |  | 1.234 |  |  | 1.98 |  |  | Brigitta T |  | 3 | 3
3 | 0.72 | 5 | Old A | 2024-10-03 | 10:00 |  |  |  |  | 0.77 | / | / | / |  |  |  |  | 1.82 |  |  | Brigitta T |  | 3 | 3
2 | 0.18 | 6 | Valid | 2024-10-03 | 10:10 |  |  |  |  | 0.21 | / | / | / |  | 1.232 |  |  | 1.29 |  |  | Brigitta T |  | 3 | 2
2 | 0.18 | 7 | Valid | 2024-10-03 | 10:10 |  |  |  |  | 0.20 | / | / | / |  |  |  |  | 1.54 |  |  | Brigitta T |  | 3 | 2
2 | 0.18 | 8 | Valid | 2024-10-03 | 10:14 |  |  |  |  | 0.22 | / | / | / |  |  |  |  | 1.50 |  |  | Brigitta T |  | 3 | 2
3 | 0.72 | 9 | Valid | 2024-10-03 | 10:18 |  |  |  |  | 0.72 | / | / | / |  | 1.211 |  |  | 1.78 |  |  | Brigitta T |  | 3 | 3
3 | 0.72 | 10 | Valid | 2024-10-03 | 10:19 |  |  |  |  | 0.83 | / | / | / |  |  |  |  | 1.50 |  |  | Brigitta T |  | 3 | 3
3 | 0.72 | 11 | Valid | 2024-10-03 | 10:21 |  |  |  |  | 0.73 | / | / | / |  |  |  |  | 1.59 |  |  | Brigitta T |  | 3 | 3
3 | 0.72 | 12 | Valid | 2024-10-03 | 10:27 |  |  |  |  | 0.72 | / | / | / |  |  |  |  | 1.63 |  |  | Brigitta T |  | 3 | 3
1 | 0.00 | 13 | Valid | 2024-10-03 | 10:35 |  |  |  |  | 0.02 | / | / | / |  |  |  |  | 1.52 |  |  | Brigitta T |  | 3 | 1
1 | 0.00 | 14 | Valid | 2024-10-03 | 10:50 |  |  |  |  | 0.10 | / | / | / |  | 1.205 |  |  | 1.71 |  |  | Brigitta T |  | 3 | 1
2 | 0.18 | 15 | P/Final | 2024-10-10 | 10:55 | 2024-10-10 | 09:51 | ELENA | 2 | 0.17 | / | / | / |  |  |  |  | 1.50 |  |  | Kinga |  | 3 | 2 | 113204
2 | 0.18 | 16 | P/Final | 2024-10-10 | 10:55 | 2024-10-10 | 09:51 | ELENA | 2 | 0.18 | / | / | / |  |  |  |  | 2.21 |  |  | Kinga |  | 3 | 2 | 113204
3 | 0.72 | 17 | P/Final | 2024-10-10 | 10:55 | 2024-10-10 | 09:51 | ELENA | 2 | 0.74 | / | / | / |  |  |  |  | 1.65 |  |  | Kinga |  | 3 | 3 | 113204
3 | 0.72 | 18 | P/Final | 2024-10-10 | 10:56 | 2024-10-10 | 09:51 | ELENA | 2 | 0.74 | / | / | / |  |  |  |  | 1.69 |  |  | Kinga |  | 3 | 3 | 113204
1 | 0.00 | 19 | P/Final | 2024-10-10 | 10:56 | 2024-10-10 | 09:51 | ELENA | 2 | 0.02 | / | / | / |  |  |  |  | 3.43 |  |  | Kinga |  | 3 | 1 | 113204
1 | 0.00 | 20 | P/Final | 2024-10-10 | 10:56 | 2024-10-10 | 09:51 | ELENA | 2 | 0.04 | / | / | / |  |  |  |  | 3.25 |  |  | Kinga |  | 3 | 1 | 113204
2 | 0.18 | 21 | P/Final | 2024-10-10 | 15:03 | 2024-10-10 | 14:26 | ROLAND | 4 | 0.19 | / | / | / |  |  |  |  | 1.76 |  |  | Kinga |  | 3 | 2
2 | 0.18 | 22 | P/Final | 2024-10-10 | 15:03 | 2024-10-10 | 14:26 | ROLAND | 4 | 0.21 | / | / | / |  |  |  |  | 1.72 |  |  | Kinga |  | 3 | 2
1 | 0.00 | 23 | P/Final | 2024-10-10 | 15:05 |  |  |  |  | 0.02 | / | / | / |  |  |  |  | 2.46 |  |  | Kinga |  | 3 | 1
3 | 0.72 | 24 | P/Final | 2024-10-10 | 15:06 |  |  |  |  | 0.78 | / | / | / |  |  |  |  | 1.69 |  |  | Kinga |  | 3 | 3
3 | 0.72 | 25 | P/Final | 2024-10-10 | 15:07 |  | 14:26 |  |  | 0.77 | / | / | / |  |  |  |  | 2.06 |  |  | Kinga |  | 3 | 3
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 0.76 mg/L | 4 | 4 | 0.76 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 0.19 mg/L | 4 | 4 | 0.19 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 3 | 0.03 mg/L | 3 | 3 | 0.03 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.03 | NO
0.18 | 0.15 ÷ 0.21 | 0.19 | YES
0.72 | 0.66 ÷ 0.78 | 0.76 | YES
Validation Date | by
2024-10-15 | Eugenia