## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
0830 | HI774-0 | CP-R71 | 47/1 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate ULR Reagent | 2027-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 0.90 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK/ERIKA | 2024-11-22 | 2024-11-27 | 2HEAD |  |  | 0778
[6 empty] | Expiration A | Expiration B | Expiration D
2027-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO-730 | HI97115 | CTO-741
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-320 | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.18 | 0.15 | 0.21 |  | MR104 |  | 0.02 | & | 0.05% | 1% |  | 1.5 | 1.2 | 1.6
3 | 0.72 | 0.66 | 0.78
1 | 0.00 | 0.00 | 0.02
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.18 | 1 | Old A | 2024-11-19 | 13:52 | 2024-11-19 | 12:43 | MARK/ERIKA |  | 0.17 | 0.20 | / | / |  |  |  |  | 3.20 |  |  | Brigitta P |  | 3 | 2 | 110538
2 | 0.18 | 2 | Old A | 2024-11-19 | 13:52 | 2024-11-19 | 12:43 | MARK/ERIKA |  | 0.16 | 0.16 | / | / |  |  |  |  | 3.19 |  |  | Brigitta P |  | 3 | 2 | 110538
3 | 0.72 | 3 | Old A | 2024-11-19 | 13:55 | 2024-11-19 | 12:43 | MARK/ERIKA |  | 0.77 | 0.78 | / | / |  |  |  |  | 4.32 |  |  | Brigitta P |  | 3 | 3 | 110538
3 | 0.72 | 4 | Old A | 2024-11-19 | 13:56 | 2024-11-19 | 12:43 | MARK/ERIKA |  | 0.75 | 0.76 | / | / |  |  |  |  | 3.67 |  |  | Brigitta P |  | 3 | 3 | 110538
2 | 0.18 | 5 | Valid | 2024-11-19 | 14:03 | 2024-11-19 | 12:43 | MARK/ERIKA |  | 0.13 | 0.11 | / | / |  |  |  |  | 0.98 | 177 |  | Brigitta P |  | 3 | 2 | 110538
2 | 0.18 | 6 | Valid | 2024-11-19 | 14:05 | 2024-11-19 | 12:43 | MARK/ERIKA |  | 0.14 | 0.14 | / | / |  |  |  |  | 0.98 | 180 |  | Brigitta P |  | 3 | 2 | 110538
2 | 0.18 | 7 | Valid | 2024-11-19 | 14:06 | 2024-11-19 | 12:43 | MARK/ERIKA |  | 0.12 | 0.13 | / | / |  |  |  |  | 0.92 |  |  | Brigitta P |  | 3 | 2 | 110538
3 | 0.72 | 8 | Valid | 2024-11-19 | 14:06 | 2024-11-19 | 12:43 | MARK/ERIKA |  | 0.72 | 0.72 | / | / |  |  |  |  | 1.05 |  |  | Brigitta P |  | 3 | 3 | 110538
3 | 0.72 | 9 | Valid | 2024-11-19 | 14:07 | 2024-11-19 | 12:43 | MARK/ERIKA |  | 0.70 | 0.72 | / | / |  |  |  |  | 1.10 |  |  | Brigitta P |  | 3 | 3 | 110538
3 | 0.72 | 10 | Valid | 2024-11-19 | 14:08 | 2024-11-19 | 12:43 | MARK/ERIKA |  | 0.71 | 0.71 | / | / |  |  |  |  | 0.78 |  |  | Brigitta P |  | 3 | 3 | 110538
1 | 0.00 | 11 | Valid | 2024-11-19 | 14:10 | 2024-11-19 | 12:43 | MARK/ERIKA |  | 0.09 | 0.10 | / | / | [7 empty] | Brigitta P |  | 3 | 3 | 110538
2 | 0.18 | 12 | Valid | 2024-11-19 | 15:26 | 2024-11-19 |  | ERIKA |  | 0.15 | 0.13 | / | / |  | 1.195 |  |  | 0.95 | 195 |  | Brigitta P |  | 3 | 2 | 110538
2 | 0.18 | 13 | Valid | 2024-11-19 | 15:26 | 2024-11-19 |  | ERIKA |  | 0.15 | 0.14 | / | / |  | 1.196 |  |  | 0.97 | 197 |  | Brigitta P |  | 3 | 2 | 110538
2 | 0.18 | 14 | Valid | 2024-11-19 | 15:35 | 2024-11-19 |  | ERIKA |  | 0.17 | 0.17 | / | / |  | 1.211 |  |  | 1.13 | 205 |  | Brigitta P |  | 3 | 2 | 110538
3 | 0.72 | 15 | Valid | 2024-11-19 | 15:41 | 2024-11-19 |  | ERIKA |  | 0.73 | 0.73 | / | / |  | 1.195 |  |  | 1.07 | 205 |  | Brigitta P |  | 3 | 3 | 110538
1 | 0.00 | 16 | P/Final | 2024-11-19 | 16:04 | 2024-11-19 |  | ERIKA |  | 0.01 | 0.01 | / | / |  |  |  |  | 0.80 | 207 |  | Kinga |  | 3 | 1
1 | 0.00 | 17 | Valid | 2024-11-19 | 16:05 | 2024-11-19 |  | ERIKA |  | 0.00 | 0.00 | / | / |  |  |  |  | 0.85 | 205 |  | Kinga |  | 3 | 1
1 | 0.00 | 18 | Valid | 2024-11-19 | 16:05 | 2024-11-19 |  | ERIKA |  | 0.00 | 0.00 | / | / |  | 5.621 |  |  | 0.00 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 19 | Old A | 2024-11-25 | 09:29 | 2024-11-22 | 20:19 | ROLAND |  | 0.04 | 0.04 | / | / |  |  |  |  | 4.85 |  |  | Kinga |  | 3 | 1 | 110538
2 | 0.18 | 20 | Old A | 2024-11-25 | 09:29 | 2024-11-22 | 20:19 | ROLAND |  | 0.21 | 0.21 | / | / |  |  |  |  | 3.77 |  |  | Kinga |  | 3 | 2 | 110538
3 | 0.72 | 21 | Old A | 2024-11-25 | 09:30 | 2024-11-22 | 20:19 | ROLAND |  | 0.78 | 0.78 | / | / |  |  |  |  | 4.64 |  |  | Kinga |  | 3 | 3 | 110538
2 | 0.18 | 22 | P/Final | 2024-11-25 | 09:38 | 2024-11-22 | 20:19 | ROLAND |  | 0.16 | 0.16 | / | / |  |  |  |  | 1.38 | 181 |  | Kinga |  | 3 | 2 | 110538
2 | 0.18 | 23 | P/Final | 2024-11-25 | 09:40 | 2024-11-22 | 20:19 | ROLAND |  | 0.15 | 0.18 | / | / |  |  |  |  | 1.74 | 174 |  | Kinga |  | 3 | 2 | 110538
3 | 0.72 | 24 | P/Final | 2024-11-25 | 09:46 | 2024-11-22 | 20:19 | ROLAND |  | 0.78 | 0.78 | / | / |  |  |  |  | 1.72 | 171 |  | Kinga |  | 3 | 3 | 110538
3 | 0.72 | 25 | P/Final | 2024-11-25 | 09:47 | 2024-11-22 | 20:19 | ROLAND |  | 0.76 | 0.75 | / | / |  | 1.102 |  |  | 1.72 | 187 |  | Kinga |  | 3 | 3 | 110538
1 | 0.00 | 26 | P/Final | 2024-11-25 | 09:49 | 2024-11-22 | 20:19 | ROLAND |  | 0.01 | 0.01 | / | / |  | 1.071 |  |  | 1.19 | 181 |  | Kinga |  | 3 | 1 | 110538
1 | 0.00 | 27 | P/Final | 2024-11-25 | 09:50 | 2024-11-22 | 20:19 | ROLAND |  | 0.02 | 0.01 | / | / |  | 1.244 |  |  | 1.14 | 161 |  | Kinga |  | 3 | 1 | 110538
2 | 0.18 | 28 | P/Final | 2024-11-25 | 14:59 | 2024-11-25 | 14:16 | ELENA | 2 | 0.15 | 0.15 | / | / |  | 1.183 |  |  | 1.19 | 169 |  | Kinga |  | 3 | 2 | 110538
3 | 0.72 | 29 | P/Final | 2024-11-25 | 15:00 | 2024-11-25 | 14:16 | ELENA | 2 | 0.68 | 0.66 | / | / |  | 1.193 |  |  | 1.43 | 177 |  | Kinga |  | 3 | 3 | 110538
3 | 0.72 | 30 | P/Final | 2024-11-25 | 15:01 | 2024-11-25 | 14:16 | ELENA | 2 | 0.77 | 0.75 | / | / |  | 1.209 |  |  | 1.45 | 192 |  | Kinga |  | 3 | 3 | 110538
2 | 0.18 | 31 | P/Final | 2024-11-25 | 15:07 | 2024-11-25 | 14:16 | ELENA | 2 | 0.16 | 0.15 | / | / |  | 1.199 |  |  | 1.84 | 170 |  | Kinga |  | 3 | 1 | 110538
1 | 0.00 | 32 | P/Final | 2024-11-25 | 15:11 | 2024-11-25 | 14:16 | ELENA | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 1.32 | 160 |  | Kinga |  | 3 | 1 | 110538
1 | 0.00 | 33 | P/Final | 2024-11-25 | 15:12 | 2024-11-25 | 14:16 | ELENA | 2 | 0.01 | 0.02 | / | / |  | 1.372 |  |  | 1.76 |  |  | Kinga |  | 3 | 1 | 110538
2 | 0.18 | 34 | Old A | 2024-11-26 | 12:41 | 2024-11-26 |  | ROLAND | 2 | 0.16 | 0.19 | / | / |  |  |  |  | 1.15 |  |  | Brigitta P |  | 3 | 2 | 114151
3 | 0.72 | 35 | Old A | 2024-11-26 | 12:42 | 2024-11-26 |  | ROLAND | 2 | 0.71 | 0.76 | / | / |  |  |  |  | 3.99 |  |  | Brigitta P |  | 3 | 3 | 114151
1 | 0.00 | 36 | Old A | 2024-11-26 | 12:42 | 2024-11-26 |  | ROLAND | 2 | 0.01 | 0.02 | / | / |  |  |  |  | 3.76 |  |  | Brigitta P |  | 3 | 1 | 114151
1 | 0.00 | 37 | P/Final | 2024-11-26 | 12:44 | 2024-11-26 | 08:23 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 1.58 |  |  | Brigitta P |  | 3 | 1 | 114151
1 | 0.00 | 38 | P/Final | 2024-11-26 | 12:44 | 2024-11-26 | 08:23 | ROLAND | 2 | 0.00 | 0.02 | / | / |  |  |  |  | 1.70 |  |  | Brigitta P |  | 3 | 1 | 114151
2 | 0.18 | 39 | P/Final | 2024-11-26 | 12:45 | 2024-11-26 | 08:23 | ROLAND | 2 | 0.16 | 0.19 | / | / |  |  |  |  | 1.15 |  |  | Brigitta P |  | 3 | 2 | 114151
2 | 0.18 | 40 | P/Final | 2024-11-26 | 12:45 | 2024-11-26 | 08:23 | ROLAND | 2 | 0.18 | 0.20 | / | / |  |  |  |  | 2.85 |  |  | Brigitta P |  | 3 | 2 | 114151
2 | 0.18 | 41 | P/Final | 2024-11-26 | 12:46 | 2024-11-26 | 08:23 | ROLAND | 2 | 0.17 | 0.18 | / | / |  |  |  |  | 3.75 |  |  | Brigitta P |  | 3 | 2 | 114151
2 | 0.18 | 42 | P/Final | 2024-11-26 | 12:46 | 2024-11-26 | 08:23 | ROLAND | 2 | 0.17 | 0.17 | / | / |  |  |  |  | 3.11 | 187 |  | Brigitta P |  | 3 | 2 | 114151
3 | 0.72 | 43 | P/Final | 2024-11-26 | 12:47 | 2024-11-26 | 08:23 | ROLAND | 2 | 0.69 | 0.69 | / | / |  |  |  |  | 1.01 | 186 |  | Brigitta P |  | 3 | 3 | 114151
3 | 0.72 | 44 | P/Final | 2024-11-26 | 12:48 | 2024-11-26 | 08:23 | ROLAND | 2 | 0.68 | 0.69 | / | / |  |  |  |  | 1.00 | 181 |  | Brigitta P |  | 3 | 3 | 114151
3 | 0.72 | 45 | P/Final | 2024-11-26 | 12:48 | 2024-11-26 | 08:23 | ROLAND | 2 | 0.70 | 0.70 | / | / |  |  |  |  | 1.22 | 183 |  | Brigitta P |  | 3 | 3 | 114151
1 | 0.00 | 46 | P/Final | 2024-11-26 | 12:51 | 2024-11-26 | 11:34 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 1.12 | 187 |  | Brigitta P |  | 3 | 1 | 114151
1 | 0.00 | 47 | P/Final | 2024-11-26 | 12:51 | 2024-11-26 | 11:34 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 1.36 | 199 |  | Brigitta P |  | 3 | 1 | 114151
2 | 0.18 | 48 | P/Final | 2024-11-26 | 12:52 | 2024-11-26 | 11:34 | ROLAND | 2 | 0.18 | 0.20 | / | / |  |  |  |  | 2.89 | 201 |  | Brigitta P |  | 3 | 2 | 114151
2 | 0.18 | 49 | P/Final | 2024-11-26 | 12:52 | 2024-11-26 | 11:34 | ROLAND | 2 | 0.17 | 0.19 | / | / |  |  |  |  | 3.67 | 202 |  | Brigitta P |  | 3 | 2 | 114151
3 | 0.72 | 50 | P/Final | 2024-11-26 | 12:53 | 2024-11-26 | 11:34 | ROLAND | 2 | 0.75 | 0.75 | / | / |  |  |  |  | 1.17 |  |  | Brigitta P |  | 3 | 3 | 114151
3 | 0.72 | 51 | P/Final | 2024-11-26 | 12:53 | 2024-11-26 | 11:34 | ROLAND | 2 | 0.66 | 0.68 | / | / |  |  |  |  | 1.19 | 200 |  | Brigitta P |  | 3 | 3 | 114151
2 | 0.18 | 52 | P/Final | 2024-11-26 | 15:24 | 2024-11-26 | 14:36 | ELENA |  | 0.18 | 0.18 | / | / | 1.166 |  |  |  | 2.81 | 201 |  | Brigitta P |  | 3 | 2
2 | 0.18 | 53 | P/Final | 2024-11-26 | 15:27 | 2024-11-26 | 14:36 | ELENA |  | 0.15 | 0.17 | / | / | 1.183 |  |  |  | 2.77 | 200 |  | Brigitta P |  | 3 | 2
3 | 0.72 | 54 | P/Final | 2024-11-26 | 15:35 | 2024-11-26 | 14:36 | ELENA |  | 0.78 | 0.80 | / | / | 1.152 |  |  |  | 1.09 |  |  | Brigitta P |  | 3 | 3
3 | 0.72 | 55 | P/Final | 2024-11-26 | 15:40 | 2024-11-26 | 14:36 | ELENA |  | 0.76 | 0.77 | / | / | 1.166 |  |  |  | 1.45 | 210 |  | Brigitta P |  | 3 | 3
3 | 0.72 | 56 | P/Final | 2024-11-26 | 15:42 | 2024-11-26 | 14:36 | ELENA |  | 0.66 | 0.70 | / | / |  |  |  |  | 1.33 | 208 |  | Brigitta P |  | 3 | 3
1 | 0.00 | 57 | P/Final | 2024-11-26 | 15:53 | 2024-11-26 | 14:36 | ELENA |  | 0.01 | 0.02 | / | / | 1.066 |  |  |  | 1.98 | 188 |  | Brigitta P |  | 3 | 1
1 | 0.00 | 58 | P/Final | 2024-11-26 | 15:54 | 2024-11-26 | 14:36 | ELENA |  | 0.02 | 0.02 | / | / |  |  |  |  | 2.03 | 199 |  | Brigitta P |  | 3 | 1
1 | 0.00 | 59 | Old A | 2024-11-27 | 09:00 | 2024-11-27 | 08:14 | NINA |  | 0.03 | 0.04 | / | / |  |  |  |  | 5.07 |  |  | Kinga |  | 3 | 1
2 | 0.18 | 60 | Old A | 2024-11-27 | 09:03 | 2024-11-27 | 08:14 | NINA |  | 0.21 | 0.21 | / | / |  |  |  |  | 5.15 |  |  | Kinga |  | 3 | 2
3 | 0.72 | 61 | Old A | 2024-11-27 | 09:05 | 2024-11-27 | 08:14 | NINA |  | 0.78 | 0.78 | / | / |  |  |  |  | 4.04 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 62 | P/Final | 2024-11-27 | 09:14 | 2024-11-27 | 08:14 | NINA |  | 0.00 | 0.02 | / | / |  |  |  |  | 1.69 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 63 | P/Final | 2024-11-27 | 09:14 | 2024-11-27 | 08:14 | NINA |  | 0.00 | 0.00 | / | / |  | 1.267 |  |  | 1.23 |  |  | Kinga |  | 3 | 1
2 | 0.18 | 64 | P/Final | 2024-11-27 | 09:16 | 2024-11-27 | 08:14 | NINA |  | 0.17 | 0.19 | / | / |  | 1.087 |  |  | 2.98 | 210 |  | Kinga |  | 3 | 2
2 | 0.18 | 65 | P/Final | 2024-11-27 | 09:21 | 2024-11-27 | 08:14 | NINA |  | 0.18 | 0.18 | / | / |  | 1.076 |  |  | 3.10 | 210 |  | Kinga |  | 3 | 2
3 | 0.72 | 66 | P/Final | 2024-11-27 | 09:23 | 2024-11-27 | 08:14 | NINA |  | 0.72 | 0.74 | / | / |  | 1.088 |  |  | 1.36 | 203 |  | Kinga |  | 3 | 3
3 | 0.72 | 67 | P/Final | 2024-11-27 | 09:26 | 2024-11-27 | 08:14 | NINA |  | 0.72 | 0.73 | / | / |  | 1.118 |  |  | 1.38 | 205 |  | Kinga |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
14 | 28 | 0.17 mg/L | 14 | 28 | 0.17 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
14 | 28 | 0.73 mg/L | 14 | 28 | 0.73 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
13 | 26 | 0.01 mg/L | 13 | 26 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.01 | YES
0.18 | 0.15 ÷ 0.21 | 0.17 | YES
0.72 | 0.66 ÷ 0.78 | 0.73 | YES
Validation Date | by