## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
0916 | HI774-0 | CP-R71 | W 07/1 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate ULR Reagent | 2028-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 0.90 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-02-10 | 2025-02-18 | 2 HEAD |  |  | 0528
[6 empty] | Expiration A | Expiration B | Expiration D
2027-04-01
Meter
Meter 1 Family | Meter 1 Code
HI97115 | CTO-740
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.18 | 0.15 | 0.21 |  | MR104 |  | 0.02 | & | 5% | 100% |  | 1.5 | 1.2 | 1.6
1 | 0.00 | 0.00 | 0.02
3 | 0.72 | 0.66 | 0.78
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.18 | 1 | Old A | 2025-02-10 | 14:22 | 2025-02-10 | 13:42 | ERIKA |  | 0.21 | / | / | / |  |  |  |  | 3.99 |  |  | Kinga |  | 3 | 2
1 | 0.00 | 2 | Old A | 2025-02-10 | 14:24 | 2025-02-10 | 13:42 | ERIKA |  | 0.02 | / | / | / |  |  |  |  | 3.63 |  |  | Kinga |  | 3 | 1
3 | 0.72 | 3 | Old A | 2025-02-10 | 14:26 | 2025-02-10 | 13:42 | ERIKA |  | 0.78 | / | / | / |  |  |  |  | 1.42 |  |  | Kinga |  | 3 | 3
2 | 0.18 | 4 | Valid | 2025-02-10 | 14:29 | 2025-02-10 | 13:42 | ERIKA |  | 0.14 | / | / | / |  |  |  |  | 3.23 |  |  | Kinga |  | 3 | 2
2 | 0.18 | 5 | Valid | 2025-02-10 | 14:37 | 2025-02-10 | 13:42 | ERIKA |  | 0.18 | / | / | / |  |  |  |  | 1.67 | 0 |  | Kinga |  | 3 | 2
3 | 0.72 | 6 | Valid | 2025-02-10 | 14:41 | 2025-02-10 | 13:42 | ERIKA |  | 0.74 | / | / | / |  |  |  |  | 1.07 | 0 |  | Kinga |  | 3 | 3
3 | 0.72 | 7 | Valid | 2025-02-10 | 14:42 | 2025-02-10 | 13:42 | ERIKA |  | 0.74 | / | / | / |  |  |  |  | 0.86 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 8 | Valid | 2025-02-10 | 14:44 | 2025-02-10 | 13:42 | ERIKA |  | 0.02 | / | / | / |  |  |  |  | 3.76 | 0 |  | Kinga |  | 3 | 1
1 | 0.00 | 9 | Valid | 2025-02-10 | 14:45 | 2025-02-10 | 13:42 | ERIKA |  | 0.00 | / | / | / |  |  |  |  | 1.32 |  |  | Kinga |  | 3 | 1
2 | 0.18 | 10 | Old A | 2025-02-14 | 10:23 | 2025-02-14 | 07:55 | ELENA | 2 | 0.25 | / | / | / |  |  |  |  | 3.37 |  |  | Kinga |  | 3 | 2
3 | 0.72 | 11 | Old A | 2025-02-14 | 10:23 | 2025-02-14 | 07:55 | ELENA | 2 | 0.77 | / | / | / |  |  |  |  | 4.60 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 12 | Old A | 2025-02-14 | 10:24 | 2025-02-14 | 07:55 | ELENA | 2 | 0.02 | / | / | / |  |  |  |  | 0.35 |  |  | Kinga |  | 3 | 1
2 | 0.18 | 13 | P/Prod | 2025-02-14 | 10:24 | 2025-02-14 | 07:55 | ELENA | 2 | 0.17 | / | / | / |  | 1.293 |  |  | 0.95 | 163 |  | Kinga |  | 3 | 2
2 | 0.18 | 14 | P/Prod | 2025-02-14 | 10:24 | 2025-02-14 | 07:55 | ELENA | 2 | 0.17 | / | / | / |  |  |  |  | 1.19 | 152 |  | Kinga |  | 3 | 2
3 | 0.72 | 15 | P/Prod | 2025-02-14 | 10:25 | 2025-02-14 | 07:55 | ELENA | 2 | 0.72 | / | / | / |  | 1.286 |  |  | 1.04 | 140 |  | Kinga |  | 3 | 3
3 | 0.72 | 16 | P/Prod | 2025-02-14 | 10:25 | 2025-02-14 | 07:55 | ELENA | 2 | 0.76 | / | / | / |  |  |  |  | 1.17 | 163 |  | Kinga |  | 3 | 3
1 | 0.00 | 17 | P/Prod | 2025-02-14 | 10:26 | 2025-02-14 | 07:55 | ELENA | 2 | 0.00 | / | / | / |  | 1.342 |  |  | 0.82 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 18 | P/Prod | 2025-02-14 | 10:26 | 2025-02-14 | 07:55 | ELENA | 2 | 0.00 | / | / | / |  |  |  |  | 0.80 |  |  | Kinga |  | 3 | 1
2 | 0.18 | 19 | Old A | 2025-02-17 | 09:43 | 2025-02-17 | 07:56 | ROLAND | 2 | 0.20 | / | / | / |  |  |  |  | 3.49 |  |  | Kinga |  | 3 | 2
2 | 0.18 | 20 | P/Prod | 2025-02-17 | 09:44 | 2025-02-17 | 07:56 | ROLAND | 2 | 0.20 | / | / | / |  |  |  |  | 3.41 | 163 |  | Kinga |  | 3 | 2
2 | 0.18 | 21 | P/Prod | 2025-02-17 | 09:44 | 2025-02-17 | 07:56 | ROLAND | 2 | 0.18 | / | / | / |  |  |  |  | 0.85 | 172 |  | Kinga |  | 3 | 2
2 | 0.18 | 22 | P/Prod | 2025-02-17 | 09:45 | 2025-02-17 | 07:56 | ROLAND | 2 | 0.29 | / | / | / |  | 1.223 |  |  | 1.20 | 162 |  | Kinga |  | 3 | 2
3 | 0.72 | 23 | Old A | 2025-02-17 | 09:45 | 2025-02-17 | 07:56 | ROLAND | 2 | 0.74 | / | / | / |  |  |  |  | 1.44 | 193 |  | Kinga |  | 3 | 3
3 | 0.72 | 24 | P/Prod | 2025-02-17 | 09:46 | 2025-02-17 | 07:56 | ROLAND | 2 | 0.74 | / | / | / |  | 1.215 |  |  | 1.72 | 183 |  | Kinga |  | 3 | 3
3 | 0.72 | 25 | P/Prod | 2025-02-17 | 09:46 | 2025-02-17 | 07:56 | ROLAND | 2 | 0.78 | / | / | / |  |  |  |  | 1.82 | 192 |  | Kinga |  | 3 | 3
1 | 0.00 | 26 | Old A | 2025-02-17 | 09:47 | 2025-02-17 | 07:56 | ROLAND | 2 | 0.04 | / | / | / |  | 1.469 |  |  | 5.01 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 27 | P/Prod | 2025-02-17 | 09:47 | 2025-02-17 | 07:56 | ROLAND | 2 | 0.00 | / | / | / |  |  |  |  | 1.25 |  |  | Kinga |  | 3 | 1
2 | 0.18 | 28 | P/Prod | 2025-02-17 | 15:39 | 2025-02-17 | 14:16 | ELENA | 2 | 0.20 | / | / | / |  |  |  |  | 1.60 | 182 |  | Kinga |  | 3 | 2
2 | 0.18 | 29 | P/Prod | 2025-02-17 | 15:40 | 2025-02-17 | 14:16 | ELENA | 2 | 0.23 | / | / | / |  |  |  |  | 1.25 | 191 |  | Kinga |  | 3 | 2
2 | 0.18 | 30 | P/Prod | 2025-02-17 | 15:40 | 2025-02-17 | 14:16 | ELENA | 2 | 0.21 | / | / | / |  |  |  |  | 1.54 | 189 |  | Kinga |  | 3 | 2
3 | 0.72 | 31 | P/Prod | 2025-02-17 | 15:41 | 2025-02-17 | 14:16 | ELENA | 2 | 0.76 | / | / | / |  |  |  |  | 1.14 | 164 |  | Kinga |  | 3 | 3
3 | 0.72 | 32 | P/Prod | 2025-02-17 | 15:41 | 2025-02-17 | 14:16 | ELENA | 2 | 0.76 | / | / | / |  |  |  |  | 1.17 | 168 |  | Kinga |  | 3 | 3
1 | 0.00 | 33 | P/Prod | 2025-02-17 | 15:41 | 2025-02-17 | 14:16 | ELENA | 2 | 0.00 | / | / | / |  |  |  |  | 0.45 | 170 |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 8 | 0.21 mg/L | 8 | 8 | 0.21 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 0 mg/L | 4 | 4 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 6 | 0.75 mg/L | 6 | 6 | 0.75 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.00 | YES
0.18 | 0.15 ÷ 0.21 | 0.21 | YES
0.72 | 0.66 ÷ 0.78 | 0.75 | YES
Validation Date | by