## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
0918 | HI774-0 | CP-R71 | W 07/2 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate ULR Reagent | 2028-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 0.90 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-19 | 2025-03-21 | 2HEAD |  |  | 0778
[6 empty] | Expiration A | Expiration B | Expiration D
2027-10-01
Meter
Meter 1 Family | Meter 1 Code
HI97115 | CTO-741
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.18 | 0.15 | 0.21 |  | MR104 |  | 0.02 | & | 5% | 100% |  | 1.5 | 1.2 | 1.6
3 | 0.72 | 0.66 | 0.78
1 | 0.00 | 0.00 | 0.02
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.18 | 1 | Old A | 2025-02-11 | 14:09 | 2025-02-11 | 13:45 | ERIKA |  | 0.17 | / | / | / |  |  |  |  | 5.44 |  |  | Kinga |  | 3 | 2
3 | 0.72 | 2 | Old A | 2025-02-11 | 14:10 | 2025-02-11 | 13:45 | ERIKA |  | 0.71 | / | / | / |  |  |  |  | 4.97 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 3 | Old A | 2025-02-11 | 14:14 | 2025-02-11 | 13:45 | ERIKA |  | 0.02 | / | / | / |  |  |  |  | 6.36 |  |  | Kinga |  | 3 | 1
2 | 0.18 | 4 | Valid | 2025-02-11 | 14:21 | 2025-02-11 | 13:45 | ERIKA |  | 0.21 | / | / | / |  |  |  |  | 1.23 |  |  | Kinga |  | 3 | 2
2 | 0.18 | 5 | Valid | 2025-02-11 | 14:27 | 2025-02-11 | 13:45 | ERIKA |  | 0.21 | / | / | / |  | 1.299 |  |  | 1.59 |  |  | Kinga |  | 3 | 2
3 | 0.72 | 6 | Valid | 2025-02-11 | 14:33 | 2025-02-11 | 13:45 | ERIKA |  | 0.74 | / | / | / |  |  |  |  | 1.62 |  |  | Kinga |  | 3 | 3
3 | 0.72 | 7 | Valid | 2025-02-11 | 14:34 | 2025-02-11 | 13:45 | ERIKA |  | 0.76 | / | / | / |  | 1.310 |  |  | 1.24 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 8 | Valid | 2025-02-11 | 14:35 | 2025-02-11 | 13:45 | ERIKA |  | 0.02 | / | / | / |  |  |  |  | 3.40 | 156 |  | Kinga |  | 3 | 1
1 | 0.00 | 9 | Valid | 2025-02-11 | 14:37 | 2025-02-11 | 13:45 | ERIKA |  | 0.02 | / | / | / |  | 1.299 |  |  | 3.91 | 180 |  | Kinga |  | 3 | 1
2 | 0.18 | 10 | P/Prod | 2025-02-19 | 08:55 | 2025-02-19 | 07:57 | ROLAND |  | 0.21 | / | / | / |  |  |  |  | 3.07 | 167 |  | Kinga |  | 3 | 2
2 | 0.18 | 11 | P/Prod | 2025-02-19 | 08:55 | 2025-02-19 | 07:57 | ROLAND |  | 0.19 | / | / | / |  | 1.287 |  |  | 1.13 | 175 |  | Kinga |  | 3 | 2
3 | 0.72 | 12 | P/Prod | 2025-02-19 | 09:01 | 2025-02-19 | 07:57 | ROLAND |  | 0.81 | / | / | / |  |  |  |  | 1.26 | 153 |  | Kinga |  | 3 | 3
3 | 0.72 | 13 | P/Prod | 2025-02-19 | 09:02 | 2025-02-19 | 07:57 | ROLAND |  | 0.74 | / | / | / |  | 1.220 |  |  | 1.65 | 176 |  | Kinga |  | 3 | 3
1 | 0.00 | 14 | P/Prod | 2025-02-19 | 09:05 | 2025-02-19 | 07:57 | ROLAND |  | 0.02 | / | / | / |  | 1.375 |  |  | 2.07 |  |  | Kinga |  | 3 | 1
2 | 0.18 | 15 | P/Prod | 2025-02-19 | 15:01 | 2025-02-19 | 14:11 | ELENA |  | 0.20 | / | / | / |  | 1.295 |  |  | 1.54 | 190 |  | Kinga |  | 3 | 2
2 | 0.18 | 16 | P/Prod | 2025-02-19 | 15:02 | 2025-02-19 | 14:11 | ELENA |  | 0.19 | / | / | / |  | 1.259 |  |  | 1.43 | 164 |  | Kinga |  | 3 | 2
2 | 0.18 | 17 | P/Prod | 2025-02-19 | 15:02 | 2025-02-19 | 14:11 | ELENA |  | 0.18 | / | / | / |  | 1.246 |  |  | 1.30 | 186 |  | Kinga |  | 3 | 2
3 | 0.72 | 18 | P/Prod | 2025-02-19 | 15:03 | 2025-02-19 | 14:11 | ELENA |  | 0.78 | / | / | / |  |  |  |  | 1.39 | 193 |  | Kinga |  | 3 | 3
3 | 0.72 | 19 | P/Prod | 2025-02-19 | 15:03 | 2025-02-19 | 14:11 | ELENA |  | 0.76 | / | / | / |  |  |  |  | 1.49 | 180 |  | Kinga |  | 3 | 3
3 | 0.72 | 20 | P/Prod | 2025-02-19 | 15:04 | 2025-02-19 | 14:11 | ELENA |  | 0.85 | / | / | / |  | 1.245 |  |  | 1.45 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 21 | P/Prod | 2025-02-21 | 08:23 | 2025-02-20 | 16:04 | ELENA |  | 0.02 | / | / | / |  |  |  |  | 2.85 | 177 |  | Kinga |  | 3 | 1
1 | 0.00 | 22 | P/Prod | 2025-02-21 | 08:25 | 2025-02-20 | 16:04 | ELENA |  | 0.02 | / | / | / |  | 1.453 |  |  | 2.80 | 176 |  | Kinga |  | 3 | 1
2 | 0.18 | 23 | P/Prod | 2025-02-21 | 08:29 | 2025-02-20 | 16:04 | ELENA |  | 0.21 | / | / | / |  |  |  |  | 1.64 | 159 |  | Kinga |  | 3 | 2
2 | 0.18 | 24 | P/Prod | 2025-02-21 | 08:30 | 2025-02-20 | 16:04 | ELENA |  | 0.20 | / | / | / |  | 1.283 |  |  | 1.55 | 157 |  | Kinga |  | 3 | 2
3 | 0.72 | 25 | P/Prod | 2025-02-21 | 08:36 | 2025-02-20 | 16:04 | ELENA |  | 0.76 | / | / | / |  | 1.283 |  |  | 1.51 | 157 |  | Kinga |  | 3 | 3
3 | 0.72 | 26 | P/Prod | 2025-02-21 | 08:36 | 2025-02-20 | 16:04 | ELENA |  | 0.74 | / | / | / |  |  |  |  | 1.48 | 161 |  | Kinga |  | 3 | 3
1 | 0.00 | 27 | P/Prod | 2025-02-21 | 09:11 | 2025-02-21 | 07:56 | ROLAND |  | 0.03 | / | / | / |  | 1.206 |  |  | 10.7 | 152 |  | Kinga |  | 3 | 1
1 | 0.00 | 28 | P/Prod | 2025-02-21 | 09:12 | 2025-02-21 | 07:56 | ROLAND |  | 0.02 | / | / | / |  |  |  |  | 1.69 | 148 |  | Kinga |  | 3 | 1
2 | 0.18 | 29 | P/Prod | 2025-02-21 | 09:14 | 2025-02-21 | 07:56 | ROLAND |  | 0.16 | / | / | / |  | 1.353 |  |  | 1.80 | 167 |  | Kinga |  | 3 | 2
2 | 0.18 | 30 | P/Prod | 2025-02-21 | 09:14 | 2025-02-21 | 07:56 | ROLAND |  | 0.17 | / | / | / |  |  |  |  | 2.00 | 130 |  | Kinga |  | 3 | 2
3 | 0.72 | 31 | P/Prod | 2025-02-21 | 09:15 | 2025-02-21 | 07:56 | ROLAND |  | 0.74 | / | / | / |  | 1.336 |  |  | 1.64 | 175 |  | Kinga |  | 3 | 3
3 | 0.72 | 32 | P/Prod | 2025-02-21 | 09:15 | 2025-02-21 | 07:56 | ROLAND |  | 0.71 | / | / | / |  |  |  |  | 1.42 | 178 |  | Kinga |  | 3 | 3
3 | 0.72 | 33 | P/Prod | 2025-02-21 | 14:35 | 2025-02-21 | 14:16 | ELENA | 2 | 0.71 | / | / | / |  | 1.339 |  |  | 4.99 | 170 |  | Kinga |  | 3 | 3
3 | 0.72 | 34 | P/Prod | 2025-02-21 | 14:36 | 2025-02-21 | 14:16 | ELENA | 2 | 0.75 | / | / | / |  |  |  |  | 1.62 | 181 |  | Kinga |  | 3 | 3
2 | 0.18 | 35 | P/Prod | 2025-02-21 | 14:42 | 2025-02-21 | 14:16 | ELENA | 2 | 0.19 | / | / | / |  | 1.213 |  |  | 1.14 | 180 |  | Kinga |  | 3 | 2
2 | 0.18 | 36 | P/Prod | 2025-02-21 | 14:42 | 2025-02-21 | 14:16 | ELENA | 2 | 0.18 | / | / | / |  |  |  |  | 1.18 | 178 |  | Kinga |  | 3 | 2
1 | 0.00 | 37 | P/Prod | 2025-02-21 | 14:43 | 2025-02-21 | 14:16 | ELENA | 2 | 0.02 | / | / | / |  | 1.245 |  |  | 2.56 | 174 |  | Kinga |  | 3 | 1
1 | 0.00 | 38 | P/Prod | 2025-02-21 | 14:44 | 2025-02-21 | 14:16 | ELENA | 2 | 0.01 | / | / | / |  |  |  |  | 2.30 | 165 |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 11 | 0.19 mg/L | 11 | 11 | 0.19 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 11 | 0.76 mg/L | 11 | 11 | 0.76 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 7 | 0.02 mg/L | 7 | 7 | 0.02 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.02 | YES
0.18 | 0.15 ÷ 0.21 | 0.19 | YES
0.72 | 0.66 ÷ 0.78 | 0.76 | YES
Validation Date | by