## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
1004 | HI774-0 | CP-R71 | W 16/1 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate ULR Reagent | 2028-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 0.90 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-04-24 | 2025-04-29 | 2HEAD |  |  | 0778
[6 empty] | Expiration A | Expiration B | Expiration D
2027-10-01
Meter
Meter 1 Family | Meter 1 Code
HI97115 | CTO-845
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.02 |  | MR104 |  | 0.02 | & | 5% | 100% |  | 1.5 | 1.2 | 1.6
3 | 0.72 | 0.66 | 0.78
2 | 0.18 | 0.15 | 0.21
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97115 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-04-16 | 13:47 | 2025-04-16 | 12:52 | MARK |  | 0.02 | / | / | / |  |  |  |  | 5.69 | 180 |  | Kinga |  | 3 | 1 | 111634
3 | 0.72 | 2 | Old A | 2025-04-16 | 13:54 | 2025-04-16 | 12:52 | MARK |  | 0.22 | / | / | / |  |  |  |  | 10.4 | 180 |  | Kinga |  | 3 | 3 | 111634
2 | 0.18 | 3 | Old A | 2025-04-16 | 14:38 | 2025-04-16 | 12:52 | MARK |  | 0.18 | / | / | / |  |  |  |  | 1.82 | 181 |  | Kinga |  | 3 | 2 | 111634
3 | 0.72 | 4 | Old A | 2025-04-16 | 14:39 | 2025-04-16 | 12:52 | MARK |  | 0.77 | / | / | / |  |  |  |  | 1.59 | 183 |  | Kinga |  | 3 | 3 | 111634
2 | 0.18 | 5 | Valid | 2025-04-16 | 14:44 | 2025-04-16 |  | MARK |  | 0.22 | / | / | / |  |  |  |  | 1.59 | 181 |  | Kinga |  | 3 | 2
3 | 0.72 | 6 | Valid | 2025-04-16 | 14:46 | 2025-04-16 |  | MARK |  | 0.77 | / | / | / |  |  |  |  | 11.1 | 185 |  | Kinga |  | 3 | 3
3 | 0.72 | 7 | Valid | 2025-04-16 | 14:47 | 2025-04-16 |  | MARK |  | 0.80 | / | / | / |  |  |  |  | 10.5 | 182 |  | Kinga |  | 3 | 3
2 | 0.18 | 8 | Valid | 2025-04-16 | 15:31 | 2025-04-16 | 12:52 | MARK |  | 0.21 | / | / | / |  |  |  |  | 8.20 | 163 |  | Kinga |  | 3 | 2 | 21518
2 | 0.18 | 9 | Valid | 2025-04-16 | 15:31 | 2025-04-16 | 12:52 | MARK |  | 0.20 | / | / | / |  |  |  |  | 7.11 | 169 |  | Kinga |  | 3 | 2 | 21518
2 | 0.18 | 10 | Valid | 2025-04-16 | 15:31 | 2025-04-16 | 12:52 | MARK |  | 0.22 | / | / | / |  |  |  |  | 8.49 | 163 |  | Kinga |  | 3 | 2 | 21518
2 | 0.18 | 11 | Valid | 2025-04-16 | 15:32 | 2025-04-16 | 12:52 | MARK |  | 0.22 | / | / | / |  |  |  |  | 8.08 | 168 |  | Kinga |  | 3 | 2 | 21518
3 | 0.72 | 12 | Valid | 2025-04-16 | 15:32 | 2025-04-16 | 12:52 | MARK |  | 0.75 | / | / | / |  |  |  |  | 14.9 | 163 |  | Kinga |  | 3 | 3 | 21518
3 | 0.72 | 13 | Valid | 2025-04-16 | 15:32 | 2025-04-16 | 12:52 | MARK |  | 0.78 | / | / | / |  |  |  |  | 21.2 | 173 |  | Kinga |  | 3 | 3 | 21518
3 | 0.72 | 14 | Valid | 2025-04-16 | 15:33 | 2025-04-16 | 12:52 | MARK |  | 0.78 | / | / | / |  |  |  |  | 21.2 | 163 |  | Kinga |  | 3 | 3 | 21518
3 | 0.72 | 15 | Valid | 2025-04-16 | 15:33 | 2025-04-16 | 12:52 | MARK |  | 0.76 | / | / | / | [5 empty] | 173 |  | Kinga |  | 3 | 3 | 21518
1 | 0.00 | 16 | Valid | 2025-04-16 | 15:37 | 2025-04-16 | 12:52 | MARK |  | 0.01 | / | / | / |  |  |  |  | 7.03 | 163 |  | Kinga |  | 3 | 1 | 21518
1 | 0.00 | 17 | Valid | 2025-04-16 | 15:38 | 2025-04-16 | 12:52 | MARK |  | 0.02 | / | / | / |  |  |  |  | 7.52 | 178 |  | Kinga |  | 3 | 1 | 21518
3 | 0.72 | 18 | Valid | 2025-04-16 | 17:45 | 2025-04-16 | 17:41 | ERIKA |  | 0.81 | / | / | / |  | 1.358 |  |  | 8.36 | 181 |  | Brigitta P |  | 3 | 3 | 21518 | EPP. PREP. AFTER MIXING
3 | 0.72 | 19 | Valid | 2025-04-16 | 17:45 | 2025-04-16 | 17:41 | ERIKA |  | 0.79 | / | / | / |  |  |  |  | 7.79 | 183 |  | Brigitta P |  | 3 | 3 | 21518 | WITH TEORETICAL WEIGHT
2 | 0.18 | 20 | Valid | 2025-04-16 | 17:46 | 2025-04-16 | 17:41 | ERIKA |  | 0.24 | / | / | / |  | 1.425 |  |  | 7.87 | 175 |  | Brigitta P |  | 3 | 2 | 21518
2 | 0.18 | 21 | Valid | 2025-04-16 | 17:47 | 2025-04-16 | 17:41 | ERIKA |  | 0.24 | / | / | / |  |  |  |  | 10.5 | 180 |  | Brigitta P |  | 3 | 2 | 21518
2 | 0.18 | 22 | Valid | 2025-04-16 | 17:48 | 2025-04-16 | 17:41 | ERIKA |  | 0.25 | / | / | / |  |  |  |  | 12.5 | 178 |  | Brigitta P |  | 3 | 2 | 21518
2 | 0.18 | 23 | Valid | 2025-04-16 | 17:48 | 2025-04-16 | 17:41 | ERIKA |  | 0.83 | / | / | / |  |  |  |  | 13.9 | 180 |  | Brigitta P |  | 3 | 2 | 21518
2 | 0.18 | 24 | Valid | 2025-04-16 | 18:28 | 2025-04-16 | 17:41 | ERIKA |  | 0.21 | / | / | / |  | 1.358 |  |  | 10.2 | 150 |  | Brigitta P |  | 3 | 3 | 21518
2 | 0.18 | 25 | Valid | 2025-04-16 | 18:28 | 2025-04-16 | 17:41 | ERIKA |  | 0.20 | / | / | / |  |  |  |  | 9.60 | 149 |  | Brigitta P |  | 3 | 3 | 21518
2 | 0.18 | 26 | Valid | 2025-04-16 | 18:28 | 2025-04-16 | 17:41 | ERIKA |  | 0.20 | / | / | / |  | 1.451 |  |  | 8.79 | 150 |  | Brigitta P |  | 3 | 3 | 21518
3 | 0.72 | 27 | Valid | 2025-04-16 | 18:25 | 2025-04-16 | 17:41 | ERIKA |  | 0.77 | / | / | / |  |  |  |  | 7.87 | 150 |  | Brigitta P |  | 3 | 3 | 21518
3 | 0.72 | 28 | Valid | 2025-04-16 | 18:25 | 2025-04-16 | 17:41 | ERIKA |  | 0.76 | / | / | / |  | 1.426 |  |  | 10.5 | 152 |  | Brigitta P |  | 3 | 3 | 21518
3 | 0.72 | 29 | Valid | 2025-04-16 | 18:25 | 2025-04-16 | 17:41 | ERIKA |  | 0.77 | / | / | / |  |  |  |  | 8.08 | 149 |  | Brigitta P |  | 3 | 3 | 21518
2 | 0.18 | 30 | P/FINAL | 2025-04-25 | 07:29 | 2025-04-24 | 21:20 | ROLAND | 2 | 0.17 | / | / | / |  |  |  |  | 6.89 | 144 |  | Brigitta P |  | 3 | 2 | 21518
2 | 0.18 | 31 | P/FINAL | 2025-04-25 | 07:29 | 2025-04-24 | 21:20 | ROLAND | 2 | 0.20 | / | / | / |  |  |  |  | 6.89 | 124 |  | Brigitta P |  | 3 | 2 | 21518
3 | 0.72 | 32 | P/FINAL | 2025-04-25 | 7:30 | 2025-04-24 | 21:20 | ROLAND | 2 | 0.77 | / | / | / |  |  |  |  | 8.08 | 153 |  | Brigitta P |  | 3 | 2 | 21518
3 | 0.72 | 33 | P/FINAL | 2025-04-25 | 7:30 | 2025-04-24 | 21:20 | ROLAND | 2 | 0.78 | / | / | / |  |  |  |  | 10.8 | 150 |  | Brigitta P |  | 3 | 2 | 21518
1 | 0.00 | 34 | P/FINAL | 2025-04-25 | 7:30 | 2025-04-24 | 21:20 | ROLAND | 2 | 0.02 | / | / | / |  |  |  |  | 5.70 | 138 |  | Brigitta P |  | 3 | 2 | 21518
2 | 0.18 | 35 | P/FINAL | 2025-04-25 | 07:42 | 2025-04-24 | 21:20 | ELENA | 2 | 0.21 | / | / | / |  |  |  |  | 9.98 |  |  | Brigitta P |  | 3 | 2 | 21518
2 | 0.18 | 36 | P/FINAL | 2025-04-25 | 07:43 | 2025-04-24 | 21:20 | ELENA | 2 | 0.24 | / | / | / |  |  |  |  | 9.46 |  |  | Brigitta P |  | 3 | 2 | 21518
3 | 0.72 | 37 | P/FINAL | 2025-04-25 | 07:44 | 2025-04-24 | 21:20 | ELENA | 2 | 0.79 | / | / | / |  |  |  |  | 6.52 |  |  | Brigitta P |  | 3 | 3 | 21518
3 | 0.72 | 38 | P/FINAL | 2025-04-25 | 8:20 | 2025-04-24 | 21:20 | ELENA | 2 | 0.77 | / | / | / |  |  |  |  | 6.13 |  |  | Kinga |  | 3 | 3 | 21518
3 | 0.72 | 39 | P/FINAL | 2025-04-25 | 8:20 | 2025-04-24 | 21:20 | ELENA | 2 | 0.76 | / | / | / |  |  |  |  | 6.04 |  |  | Kinga |  | 3 | 3 | 21518
2 | 0.18 | 40 | P/FINAL | 2025-04-25 | 8:20 | 2025-04-24 | 21:20 | ELENA | 2 | 0.21 | / | / | / |  |  |  |  | 11.4 |  |  | Kinga |  | 3 | 3 | 21518
2 | 0.18 | 41 | P/FINAL | 2025-04-25 | 8:20 | 2025-04-24 | 21:20 | ELENA | 2 | 0.21 | / | / | / |  |  |  |  | 8.43 |  |  | Kinga |  | 3 | 3 | 21518
2 | 0.18 | 42 | P/FINAL | 2025-04-25 | 15:29 | 2025-04-25 | 14:54 | ROLAND | 2 | 0.26 | / | / | / |  |  |  |  | 8.90 |  |  | Kinga |  | 3 | 2 | 15649
3 | 0.72 | 43 | P/FINAL | 2025-04-25 | 15:30 | 2025-04-25 | 14:54 | ROLAND | 2 | 0.78 | / | / | / |  |  |  |  | 9.81 |  |  | Kinga |  | 3 | 3 | 15649
3 | 0.72 | 44 | P/FINAL | 2025-04-25 | 15:31 | 2025-04-25 | 14:54 | ROLAND | 2 | 0.81 | / | / | / |  |  |  |  | 9.46 | 144 |  | Kinga |  | 3 | 3 | 15649
2 | 0.18 | 45 | P/FINAL | 2025-04-25 | 15:33 | 2025-04-25 | 14:54 | ROLAND | 2 | 0.27 | / | / | / |  |  |  |  | 24.4 | 147 |  | Kinga |  | 3 | 2 | 15649
3 | 0.72 | 46 | P/FINAL | 2025-04-25 | 15:37 | 2025-04-25 | 14:54 | ROLAND | 2 | 0.80 | / | / | / |  | 1.375 |  |  | 15.9 | 160 |  | Kinga |  | 3 | 3 | 15649
3 | 0.72 | 47 | P/FINAL | 2025-04-25 | 15:40 | 2025-04-25 | 14:54 | ROLAND | 2 | 0.83 | / | / | / |  |  |  |  | 11.6 | 165 |  | Kinga |  | 3 | 3 | 15649
2 | 0.18 | 48 | P/FINAL | 2025-04-25 | 15:44 | 2025-04-25 | 14:54 | ROLAND | 2 | 0.20 | / | / | / |  |  |  |  | 17.8 | 149 |  | Kinga |  | 3 | 2 | 15649
2 | 0.18 | 49 | P/FINAL | 2025-04-25 | 15:51 | 2025-04-25 | 14:54 | ROLAND | 2 | 0.20 | / | / | / |  | 1.368 |  |  | 17.8 | 138 |  | Kinga |  | 3 | 2 | 15649
3 | 0.72 | 50 | P/FINAL | 2025-04-25 | 15:56 | 2025-04-25 | 14:54 | ROLAND | 2 | 0.77 | / | / | / |  |  |  |  | 9.95 | 123 |  | Kinga |  | 3 | 3 | 15649
3 | 0.72 | 51 | P/FINAL | 2025-04-25 | 15:57 | 2025-04-25 | 14:54 | ROLAND | 2 | 0.76 | / | / | / |  | 1.369 |  |  | 9.83 | 136 |  | Kinga |  | 3 | 3 | 15649
2 | 0.18 | 52 | Old A | 2025-04-28 | 09:18 | 2025-04-28 | 08:00 | ROLAND | 2 | 0.20 | / | / | / |  |  |  |  | 1.89 |  |  | Kinga |  | 3 | 2 | 75649
3 | 0.72 | 53 | Old A | 2025-04-28 | 09:18 | 2025-04-28 | 08:00 | ROLAND | 2 | 0.66 | / | / | / |  |  |  |  | 3.77 | 122 |  | Kinga |  | 3 | 3 | 75649
1 | 0.00 | 54 | Old A | 2025-04-28 | 09:20 | 2025-04-28 | 08:00 | ROLAND | 2 | 0.00 | / | / | / |  |  |  |  | 3.99 | 125 |  | Kinga |  | 3 | 1 | 75649
2 | 0.18 | 55 | P/FINAL | 2025-04-28 | 09:32 | 2025-04-28 | 08:00 | ROLAND | 2 | 0.21 | / | / | / |  | 1.396 |  |  | 9.27 | 154 |  | Kinga |  | 3 | 2 | 75649
2 | 0.18 | 56 | P/FINAL | 2025-04-28 | 09:34 | 2025-04-28 | 08:00 | ROLAND | 2 | 0.21 | / | / | / |  |  |  |  | 7.39 | 145 |  | Kinga |  | 3 | 2 | 75649
3 | 0.72 | 57 | P/FINAL | 2025-04-28 | 09:36 | 2025-04-28 | 08:00 | ROLAND | 2 | 0.75 | / | / | / |  | 1.394 |  |  | 7.53 | 125 |  | Kinga |  | 3 | 3 | 75649
3 | 0.72 | 58 | P/FINAL | 2025-04-28 | 09:37 | 2025-04-28 | 08:00 | ROLAND | 2 | 0.77 | / | / | / |  |  |  |  | 0.48 | 147 |  | Kinga |  | 3 | 3 | 75649
3 | 0.72 | 59 | P/FINAL | 2025-04-28 | 09:38 | 2025-04-28 | 08:00 | ROLAND | 2 | 0.76 | / | / | / |  |  |  |  | 9.82 | 144 |  | Kinga |  | 3 | 3 | 75649
2 | 0.18 | 60 | P/FINAL | 2025-04-28 | 09:40 | 2025-04-28 | 08:00 | ROLAND | 2 | 0.16 | / | / | / |  |  |  |  | 10.0 | 140 |  | Kinga |  | 3 | 2 | 75649
1 | 0.00 | 61 | P/FINAL | 2025-04-28 | 09:43 | 2025-04-28 | 08:00 | ROLAND | 2 | 0.02 | / | / | / |  |  |  |  | 10.0 |  |  | Kinga |  | 3 | 1 | 75649
1 | 0.00 | 62 | P/FINAL | 2025-04-28 | 09:44 | 2025-04-28 | 08:00 | ROLAND | 2 | 0.02 | / | / | / |  | 1.422 |  |  | 11.6 | 124 |  | Kinga |  | 3 | 1 | 75649
2 | 0.18 | 63 | P/FINAL | 2025-04-28 | 15:13 | 2025-04-28 | 14:20 | ELENA | 2 | 0.19 | / | / | / |  |  |  |  | 6.70 | 131 |  | Kinga |  | 3 | 2 | 75649
2 | 0.18 | 64 | P/FINAL | 2025-04-28 | 15:14 | 2025-04-28 | 14:20 | ELENA | 2 | 0.21 | / | / | / |  | 1.480 |  |  | 6.65 | 144 |  | Kinga |  | 3 | 2 | 75649
3 | 0.72 | 65 | P/FINAL | 2025-04-28 | 15:15 | 2025-04-28 | 14:20 | ELENA | 2 | 0.76 | / | / | / |  |  |  |  | 9.65 | 127 |  | Kinga |  | 3 | 3 | 75649
3 | 0.72 | 66 | P/FINAL | 2025-04-28 | 15:16 | 2025-04-28 | 14:20 | ELENA | 2 | 0.77 | / | / | / |  | 1.578 |  |  | 9.09 | 138 |  | Kinga |  | 3 | 3 | 75649
1 | 0.00 | 67 | P/FINAL | 2025-04-28 | 15:17 | 2025-04-28 | 14:20 | ELENA | 2 | 0.04 | / | / | / |  |  |  |  | 8.29 | 143 |  | Kinga |  | 3 | 1 | 75649
1 | 0.00 | 68 | P/FINAL | 2025-04-28 | 15:17 | 2025-04-28 | 14:20 | ELENA | 2 | 0.02 | / | / | / |  | 1.418 |  |  | 8.11 | 147 |  | Kinga |  | 3 | 1 | 75649
3 | 0.72 | 69 | P/FINAL | 2025-04-29 | 08:56 | 2025-04-29 | 07:17 | ROLAND | 2 | 0.78 | / | / | / |  |  |  |  | 7.77 |  |  | Kinga |  | 3 | 3 | 75649
3 | 0.72 | 70 | P/FINAL | 2025-04-29 | 08:57 | 2025-04-29 | 07:17 | ROLAND | 2 | 0.73 | / | / | / |  |  |  |  | 8.17 |  |  | Kinga |  | 3 | 3 | 75649
3 | 0.72 | 71 | P/FINAL | 2025-04-29 | 08:57 | 2025-04-29 | 07:17 | ROLAND | 2 | 0.76 | / | / | / |  |  |  |  | 6.42 |  |  | Kinga |  | 3 | 3 | 75649
3 | 0.72 | 72 | P/FINAL | 2025-04-29 | 09:02 | 2025-04-29 | 07:17 | ROLAND | 2 | 0.73 | / | / | / |  |  |  |  | 9.06 |  |  | Kinga |  | 3 | 2 | 75649
2 | 0.18 | 73 | P/FINAL | 2025-04-29 | 09:04 | 2025-04-29 | 07:17 | ROLAND | 2 | 0.21 | / | / | / |  |  |  |  | 6.85 |  |  | Kinga |  | 3 | 2 | 75649
2 | 0.18 | 74 | P/FINAL | 2025-04-29 | 09:05 | 2025-04-29 | 07:17 | ROLAND | 2 | 0.20 | / | / | / |  |  |  |  | 7.87 |  |  | Kinga |  | 3 | 2 | 75649
2 | 0.18 | 75 | P/FINAL | 2025-04-29 | 9:05 | 2025-04-29 | 07:17 | ROLAND | 2 | 0.18 | / | / | / |  |  |  |  | 5.14 | 144 |  | Kinga |  | 3 | 2 | 75649
2 | 0.18 | 76 | Old A | 2025-04-29 | 14:37 | 2025-04-29 | 14:21 | ELENA | 2 | 0.18 | / | / | / |  |  |  |  | 6.41 | 148 |  | Kinga |  | 3 | 2 | 75649
2 | 0.18 | 77 | P/FINAL | 2025-04-29 | 14:38 | 2025-04-29 | 14:21 | ELENA | 2 | 0.19 | / | / | / |  | 6.822 |  |  | 6.69 | 128 |  | Kinga |  | 3 | 2 | 75649
3 | 0.72 | 78 | P/FINAL | 2025-04-29 | 14:44 | 2025-04-29 | 14:21 | ELENA | 2 | 0.75 | / | / | / |  |  |  |  | 9.84 | 138 |  | Kinga |  | 3 | 3 | 75649
3 | 0.72 | 79 | P/FINAL | 2025-04-29 | 14:45 | 2025-04-29 | 14:21 | ELENA | 2 | 0.72 | / | / | / |  | 6.818 |  |  | 6.09 | 148 |  | Kinga |  | 3 | 3 | 75649
1 | 0.00 | 80 | P/FINAL | 2025-04-29 | 14:46 | 2025-04-29 | 14:21 | ELENA | 2 | 0.00 | / | / | / |  |  |  |  | 9.91 | 135 |  | Kinga |  | 3 | 1 | 75649
1 | 0.00 | 81 | P/FINAL | 2025-04-29 | 14:48 | 2025-04-29 | 14:21 | ELENA | 2 | 0.00 | / | / | / |  | 6.812 |  |  | 9.05 | 122 |  | Kinga |  | 3 | 1 | 75649
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 7 | 0.02 mg/L | 6 | 6 | 0.01 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
22 | 22 | 0.77 mg/L | 22 | 22 | 0.77 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
19 | 19 | 0.21 mg/L | 17 | 17 | 0.2 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.01 | YES
0.18 | 0.15 ÷ 0.21 | 0.20 | YES
0.72 | 0.66 ÷ 0.78 | 0.77 | YES
Validation Date | by