## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
1008 | HI774-0 | CP-R71 | W 16/2 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate ULR Reagent | 2028-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 0.90 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-09 | 2025-05-13 | 2HEAD |  |  | 0938
[6 empty] | Expiration A | Expiration B | Expiration D
2028-02-01
Meter
Meter 1 Family | Meter 1 Code
HI97115 | CTO-845
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.18 | 0.15 | 0.21 |  | MR104 |  | 0.02 | & | 5% | 100% |  | 1.5 | 1.2 | 1.6
3 | 0.72 | 0.66 | 0.78
1 | 0.00 | 0.00 | 0.02
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.18 | 1 | Old A | 2025-04-17 | 11:45 | 2025-04-17 | 10:41 | ERIKA |  | 0.15 | / | / | / |  |  |  |  | 2.07 |  |  | Kinga |  | 3 | 2 | 21518
3 | 0.72 | 2 | Old A | 2025-04-17 | 11:46 | 2025-04-17 | 10:41 | ERIKA |  | 0.67 | / | / | / |  |  |  |  | 1.35 |  |  | Kinga |  | 3 | 3 | 21518
1 | 0.00 | 3 | Old A | 2025-04-17 | 11:46 | 2025-04-17 | 10:41 | ERIKA |  | 0.00 | / | / | / |  |  |  |  | 2.05 |  |  | Kinga |  | 3 | 1 | 21518
2 | 0.18 | 4 | Valid | 2025-04-17 | 11:53 | 2025-04-17 | 10:41 | ERIKA |  | 0.15 | / | / | / |  |  |  |  | 2.62 | 150 |  | Kinga |  | 3 | 2 | 21518
2 | 0.18 | 5 | Valid | 2025-04-17 | 11:54 | 2025-04-17 | 10:41 | ERIKA |  | 0.15 | / | / | / |  |  |  |  | 4.06 | 150 |  | Kinga |  | 3 | 2 | 21518
3 | 0.72 | 6 | Valid | 2025-04-17 | 11:55 | 2025-04-17 | 10:41 | ERIKA |  | 0.74 | / | / | / |  |  |  |  | 3.47 | 150 |  | Kinga |  | 3 | 3 | 21518
3 | 0.72 | 7 | Valid | 2025-04-17 | 11:56 | 2025-04-17 | 10:41 | ERIKA |  | 0.69 | / | / | / |  |  |  |  | 3.76 | 150 |  | Kinga |  | 3 | 3 | 21518
3 | 0.72 | 8 | Valid | 2025-04-17 | 12:02 | 2025-04-17 | 10:41 | ERIKA |  | 0.66 | / | / | / |  |  |  |  | 5.18 | 150 |  | Kinga |  | 3 | 3 | 21518
3 | 0.72 | 9 | Valid | 2025-04-17 | 12:03 | 2025-04-17 | 10:41 | ERIKA |  | 0.66 | / | / | / |  |  |  |  | 4.12 | 150 |  | Kinga |  | 3 | 3 | 21518
2 | 0.18 | 10 | Valid | 2025-04-17 | 12:05 | 2025-04-17 | 10:41 | ERIKA |  | 0.21 | / | / | / |  |  |  |  | 2.58 | 150 |  | Kinga |  | 3 | 2 | 21518
2 | 0.18 | 11 | Valid | 2025-04-17 | 12:06 | 2025-04-17 | 10:41 | ERIKA |  | 0.21 | / | / | / |  |  |  |  | 4.20 | 150 |  | Kinga |  | 3 | 2 | 21518
1 | 0.00 | 12 | Valid | 2025-04-17 | 12:11 | 2025-04-17 | 10:41 | ERIKA |  | 0.00 | / | / | / |  |  |  |  | 3.37 | 150 |  | Kinga |  | 3 | 1 | 21518
1 | 0.00 | 13 | Valid | 2025-04-17 | 12:12 | 2025-04-17 | 10:41 | ERIKA |  | 0.00 | / | / | / |  |  |  |  | 2.42 | 150 |  | Kinga |  | 3 | 1 | 21518
2 | 0.18 | 14 | Valid | 2025-04-17 | 12:17 | 2025-04-17 | 10:41 | ERIKA |  | 0.15 | / | / | / |  |  |  |  | 2.82 | 180 |  | Kinga |  | 3 | 2 | 21518
2 | 0.18 | 15 | Valid | 2025-04-17 | 12:18 | 2025-04-17 | 10:41 | ERIKA |  | 0.16 | / | / | / |  |  |  |  | 4.92 | 180 |  | Kinga |  | 3 | 2 | 21518
3 | 0.72 | 16 | Valid | 2025-04-17 | 12:19 | 2025-04-17 | 10:41 | ERIKA |  | 0.68 | / | / | / |  |  |  |  | 2.78 | 180 |  | Kinga |  | 3 | 3 | 21518
3 | 0.72 | 17 | Valid | 2025-04-17 | 12:20 | 2025-04-17 | 10:41 | ERIKA |  | 0.66 | / | / | / |  |  |  |  | 3.40 | 180 |  | Kinga |  | 3 | 3 | 21518
3 | 0.72 | 18 | Valid | 2025-04-17 | 12:21 | 2025-04-17 | 10:41 | ERIKA |  | 0.68 | / | / | / |  |  |  |  | 3.42 | 180 |  | Kinga |  | 3 | 3 | 21518
3 | 0.72 | 19 | Valid | 2025-04-17 | 12:22 | 2025-04-17 | 10:41 | ERIKA |  | 0.69 | / | / | / |  |  |  |  | 4.44 |  |  | Kinga |  | 3 | 3 | 21518
2 | 0.18 | 20 | Valid | 2025-04-17 | 12:32 | 2025-04-17 | 10:41 | ERIKA |  | 0.20 | / | / | / |  |  |  |  | 2.96 | 199 |  | Kinga |  | 3 | 2 | 21518
2 | 0.18 | 21 | Valid | 2025-04-17 | 12:33 | 2025-04-17 | 10:41 | ERIKA |  | 0.21 | / | / | / |  | 1.361 |  |  | 2.92 | 198 |  | Kinga |  | 3 | 2 | 21518
3 | 0.72 | 22 | Valid | 2025-04-17 | 12:35 | 2025-04-17 | 10:41 | ERIKA |  | 0.74 | / | / | / |  | 1.328 |  |  | 3.41 | 202 |  | Kinga |  | 3 | 3 | 21518
3 | 0.72 | 23 | Valid | 2025-04-17 | 12:36 | 2025-04-17 | 10:41 | ERIKA |  | 0.76 | / | / | / |  | 1.305 |  |  | 2.94 | 200 |  | Kinga |  | 3 | 3 | 21518
2 | 0.18 | 24 | Valid | 2025-04-17 | 12:40 | 2025-04-17 | 10:41 | ERIKA |  | 0.20 | / | / | / |  | 1.333 |  |  | 3.04 | 180 |  | Kinga |  | 3 | 2 | 21518
2 | 0.18 | 25 | Valid | 2025-04-17 | 12:40 | 2025-04-17 | 10:41 | ERIKA |  | 0.20 | / | / | / |  | 1.372 |  |  | 5.31 | 180 |  | Kinga |  | 3 | 2 | 21518
3 | 0.72 | 26 | Valid | 2025-04-17 | 12:44 | 2025-04-17 | 10:41 | ERIKA |  | 0.75 | / | / | / |  | 1.390 |  |  | 5.15 | 180 |  | Kinga |  | 3 | 3 | 21518
3 | 0.72 | 27 | Valid | 2025-04-17 | 12:44 | 2025-04-17 | 10:41 | ERIKA |  | 0.73 | / | / | / |  | 1.377 |  |  | 5.55 |  |  | Kinga |  | 3 | 3 | 21518
2 | 0.18 | 28 | Old A | 2025-05-09 | 12:13 | 2025-05-09 | 14:45 | ELENA | 4 | 0.21 | / | / | / |  |  |  |  | 2.74 |  |  | Kinga |  | 3 | 2
3 | 0.72 | 29 | Old A | 2025-05-09 | 12:17 | 2025-05-09 | 14:45 | ELENA | 4 | 0.74 | / | / | / |  |  |  |  | 3.02 |  |  | Kinga |  | 3 | 3
2 | 0.18 | 30 | P/FINAL | 2025-05-09 | 12:18 | 2025-05-09 | 14:45 | ELENA | 4 | 0.20 | / | / | / |  | 1.367 |  |  | 2.80 | 160 |  | Kinga |  | 3 | 2
2 | 0.18 | 31 | P/FINAL | 2025-05-09 | 12:18 | 2025-05-09 | 14:45 | ELENA | 4 | 0.21 | / | / | / |  |  |  |  | 2.76 | 145 |  | Kinga |  | 3 | 2
2 | 0.18 | 32 | P/FINAL | 2025-05-09 | 12:19 | 2025-05-09 | 14:45 | ELENA | 4 | 0.21 | / | / | / |  | 1.348 |  |  | 5.47 | 170 |  | Kinga |  | 3 | 2
3 | 0.72 | 33 | P/FINAL | 2025-05-09 | 12:21 | 2025-05-09 | 14:45 | ELENA | 4 | 0.78 | / | / | / |  |  |  |  | 3.97 | 167 |  | Kinga |  | 3 | 3
3 | 0.72 | 34 | P/FINAL | 2025-05-09 | 12:22 | 2025-05-09 | 14:45 | ELENA | 4 | 0.78 | / | / | / |  |  |  |  | 3.70 | 155 |  | Kinga |  | 3 | 3
3 | 0.72 | 35 | P/FINAL | 2025-05-09 | 12:22 | 2025-05-09 | 14:45 | ELENA | 4 | 0.80 | / | / | / |  |  |  |  | 3.97 | 175 |  | Kinga |  | 3 | 3
1 | 0.00 | 36 | P/FINAL | 2025-05-09 | 12:23 | 2025-05-09 | 14:45 | ELENA | 4 | 0.00 | / | / | / |  |  |  |  | 3.30 | 183 |  | Kinga |  | 3 | 1
1 | 0.00 | 37 | P/FINAL | 2025-05-09 | 12:23 | 2025-05-09 | 14:45 | ELENA | 4 | 0.00 | / | / | / |  | 1.340 |  |  | 3.32 | 182 |  | Kinga |  | 3 | 1
2 | 0.18 | 38 | P/FINAL | 2025-05-09 | 15:36 | 2025-05-09 | 14:45 | NINA | 4 | 0.18 | / | / | / |  | 1.323 |  |  | 3.04 | 179 |  | Kinga |  | 3 | 2
2 | 0.18 | 39 | P/FINAL | 2025-05-09 | 15:36 | 2025-05-09 | 14:45 | NINA | 4 | 0.20 | / | / | / |  |  |  |  | 2.93 | 188 |  | Kinga |  | 3 | 2
2 | 0.18 | 40 | P/FINAL | 2025-05-09 | 15:36 | 2025-05-09 | 14:45 | NINA | 4 | 0.19 | / | / | / |  |  |  |  | 2.99 | 185 |  | Kinga |  | 3 | 2
3 | 0.72 | 41 | P/FINAL | 2025-05-09 | 15:36 | 2025-05-09 | 14:45 | NINA | 4 | 0.77 | / | / | / |  |  |  |  | 2.93 | 180 |  | Kinga |  | 3 | 3
3 | 0.72 | 42 | P/FINAL | 2025-05-09 | 15:37 | 2025-05-09 | 14:45 | NINA | 4 | 0.76 | / | / | / |  | 1.341 |  |  | 2.50 | 165 |  | Kinga |  | 3 | 3
3 | 0.72 | 43 | P/FINAL | 2025-05-09 | 15:37 | 2025-05-09 | 14:45 | NINA | 4 | 0.77 | / | / | / |  |  |  |  | 3.33 |  |  | Kinga |  | 3 | 3
2 | 0.18 | 44 | P/FINAL | 2025-05-12 | 08:32 | 2025-05-12 | 07:18 | NNA | 4 | 0.20 | / | / | / |  |  |  |  | 3.78 | 183 |  | Kinga |  | 3 | 2 | 75649
2 | 0.18 | 45 | P/FINAL | 2025-05-12 | 08:32 | 2025-05-12 | 07:18 | NNA | 4 | 0.19 | / | / | / |  | 1.312 |  |  | 3.06 | 170 |  | Kinga |  | 3 | 2 | 75649
1 | 0.00 | 46 | P/FINAL | 2025-05-12 | 08:34 | 2025-05-12 | 07:18 | NNA | 4 | 0.00 | / | / | / |  |  |  |  | 4.93 | 175 |  | Kinga |  | 3 | 1 | 75649
1 | 0.00 | 47 | P/FINAL | 2025-05-12 | 08:34 | 2025-05-12 | 07:18 | NNA | 4 | 0.00 | / | / | / |  | 1.488 |  |  | 4.78 | 176 |  | Kinga |  | 3 | 1 | 75649
3 | 0.72 | 48 | P/FINAL | 2025-05-12 | 08:41 | 2025-05-12 | 07:18 | NNA | 4 | 0.77 | / | / | / |  |  |  |  | 2.72 | 172 |  | Kinga |  | 3 | 3 | 75649
3 | 0.72 | 49 | P/FINAL | 2025-05-12 | 08:42 | 2025-05-12 | 07:18 | NNA | 4 | 0.78 | / | / | / |  | 1.292 |  |  | 2.72 | 173 |  | Kinga |  | 3 | 3 | 75649
2 | 0.18 | 50 | P/FINAL | 2025-05-12 | 14:52 | 2025-05-12 | 14:37 | ELENA | 4 | 0.20 | / | / | / |  |  |  |  | 0.32 | 187 |  | Kinga |  | 3 | 2 | 75649
2 | 0.18 | 51 | P/FINAL | 2025-05-12 | 14:52 | 2025-05-12 | 14:37 | ELENA | 4 | 0.21 | / | / | / |  | 1.361 |  |  | 4.47 | 175 |  | Kinga |  | 3 | 2 | 75649
3 | 0.72 | 52 | P/FINAL | 2025-05-12 | 14:55 | 2025-05-12 | 14:37 | ELENA | 4 | 0.76 | / | / | / |  |  |  |  | 5.74 | 174 |  | Kinga |  | 3 | 3 | 75649
3 | 0.72 | 53 | P/FINAL | 2025-05-12 | 14:55 | 2025-05-12 | 14:37 | ELENA | 4 | 0.77 | / | / | / |  | 1.340 |  |  | 3.81 | 164 |  | Kinga |  | 3 | 3 | 75649
3 | 0.72 | 54 | P/FINAL | 2025-05-12 | 14:56 | 2025-05-12 | 14:37 | ELENA | 4 | 0.76 | / | / | / |  |  |  |  | 3.78 | 175 |  | Kinga |  | 3 | 3 | 75649
1 | 0.00 | 55 | P/FINAL | 2025-05-12 | 14:58 | 2025-05-12 | 14:37 | ELENA | 4 | 0.00 | / | / | / |  |  |  |  | 4.12 | 176 |  | Kinga |  | 3 | 1 | 75649
1 | 0.00 | 56 | P/FINAL | 2025-05-12 | 14:58 | 2025-05-12 | 14:37 | ELENA | 4 | 0.00 | / | / | / |  |  |  |  | 4.04 |  |  | Kinga |  | 3 | 1 | 75649
2 | 0.18 | 57 | P/FINAL | 2025-05-13 | 10:14 | 2025-05-13 | 07:51 | ROLAND | 4 | 0.21 | / | / | / |  |  |  |  | 2.96 |  |  | Kinga |  | 3 | 2 | 84454
2 | 0.18 | 58 | P/FINAL | 2025-05-13 | 10:14 | 2025-05-13 | 07:51 | ROLAND | 4 | 0.21 | / | / | / |  |  |  |  | 2.97 |  |  | Kinga |  | 3 | 2 | 84454
2 | 0.18 | 59 | P/FINAL | 2025-05-13 | 10:14 | 2025-05-13 | 07:51 | ROLAND | 4 | 0.20 | / | / | / |  |  |  |  | 5.49 | 160 |  | Kinga |  | 3 | 2 | 84454
3 | 0.72 | 60 | P/FINAL | 2025-05-13 | 10:14 | 2025-05-13 | 07:51 | ROLAND | 4 | 0.76 | / | / | / |  |  |  |  | 4.13 | 170 |  | Kinga |  | 3 | 3 | 84454
3 | 0.72 | 61 | P/FINAL | 2025-05-13 | 10:15 | 2025-05-13 | 07:51 | ROLAND | 4 | 0.77 | / | / | / |  |  |  |  | 3.44 | 166 |  | Kinga |  | 3 | 3 | 84454
3 | 0.72 | 62 | P/FINAL | 2025-05-13 | 10:15 | 2025-05-13 | 07:51 | ROLAND | 4 | 0.77 | / | / | / |  |  |  |  | 3.46 | 172 |  | Kinga |  | 3 | 3 | 84454
1 | 0.00 | 63 | P/FINAL | 2025-05-13 | 10:15 | 2025-05-13 | 07:51 | ROLAND | 4 | 0.01 | / | / | / |  |  |  |  | 12.2 | 177 |  | Kinga |  | 3 | 1 | 84454
1 | 0.00 | 64 | P/FINAL | 2025-05-13 | 10:15 | 2025-05-13 | 07:51 | ROLAND | 4 | 0.00 | / | / | / |  |  |  |  | 8.49 | 185 |  | Kinga |  | 3 | 1 | 84454
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
13 | 13 | 0.2 mg/L | 13 | 13 | 0.2 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
14 | 14 | 0.77 mg/L | 14 | 14 | 0.77 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 8 | 0 mg/L | 8 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.00 | YES
0.18 | 0.15 ÷ 0.21 | 0.20 | YES
0.72 | 0.66 ÷ 0.78 | 0.77 | YES
Validation Date | by