## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
1054 | HI774-0 | CP-R71 | W22/1 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate ULR Reagent | 2028-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 0.90 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/MARK | 2025-05-30 | 2025-06-12 | Univ Pack 2 H
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO-740 | HI97115 | CTO-708
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-859
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.18 | 0.15 | 0.21 |  | MR104 |  | 0.02 | & | 5% | 100% |  | 1.5 | 1.2 | 1.6
3 | 0.72 | 0.66 | 0.78
1 | 0.00 | 0.00 | 0.02
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.18 | 1 | Valid | 2025-05-30 | 07:01 | 2025-05-30 | 06:20 | MARK |  | 0.19 | 0.15 | / | / |  |  |  |  | 1.21 |  |  | Brigitta P |  | 3 | 2 | 62400
2 | 0.18 | 2 | Valid | 2025-05-30 | 07:02 | 2025-05-30 | 06:20 | MARK |  | 0.17 | 0.17 | / | / |  | 1.367 |  |  | 1.22 |  |  | Brigitta P |  | 3 | 2 | 62400
2 | 0.18 | 3 | Valid | 2025-05-30 | 07:03 | 2025-05-30 | 06:20 | MARK |  | 0.22 | 0.21 | / | / |  |  |  |  | 1.14 |  |  | Brigitta P |  | 3 | 2 | 62400
3 | 0.72 | 4 | Valid | 2025-05-30 | 07:10 | 2025-05-30 | 06:20 | MARK |  | 0.73 | 0.70 | / | / |  |  |  |  | 1.34 |  |  | Brigitta P |  | 3 | 3 | 62400
3 | 0.72 | 5 | Valid | 2025-05-30 | 7:10 | 2025-05-30 | 06:20 | MARK |  | 0.74 | 0.73 | / | / |  | 1.390 |  |  | 1.00 |  |  | Brigitta P |  | 3 | 3 | 62400
3 | 0.72 | 6 | Valid | 2025-05-30 | 7:10 | 2025-05-30 | 06:20 | MARK |  | 0.74 | 0.72 | / | / |  |  |  |  | 1.38 |  |  | Brigitta P |  | 3 | 3 | 62400
1 | 0.00 | 7 | Valid | 2025-05-30 | 7:15 | 2025-05-30 | 06:20 | MARK |  | 0.00 | 0.00 | / | / |  | 1.397 |  |  | 1.30 |  |  | Brigitta P |  | 3 | 3 | 62400
1 | 0.00 | 8 | Valid | 2025-05-30 | 7:15 | 2025-05-30 | 06:20 | MARK |  | 0.00 | 0.00 | / | / |  |  |  |  | 1.00 |  |  | Brigitta P |  | 3 | 3 | 62400
3 | 0.72 | 9 | Old A | 2025-05-30 | 7:15 | 2025-05-30 | 06:20 | MARK |  | 0.77 | 0.77 | / | / |  |  |  |  | 1.30 |  |  | Brigitta P |  | 3 | 3 | 62400
3 | 0.72 | 10 | Old A | 2025-05-30 | 7:15 | 2025-05-30 | 06:20 | MARK |  | 0.74 | 0.75 | / | / |  |  |  |  | 1.58 |  |  | Brigitta P |  | 3 | 3 | 62400
2 | 0.18 | 11 | Old A | 2025-05-30 | 07:18 | 2025-05-30 | 06:20 | MARK |  | 0.19 | 0.19 | / | / |  |  |  |  | 5.78 |  |  | Brigitta P |  | 3 | 2 | 62400
2 | 0.18 | 12 | Old A | 2025-05-30 | 07:20 | 2025-05-30 | 06:20 | MARK |  | 0.22 | 0.19 | / | / |  |  |  |  | 5.30 |  |  | Brigitta P |  | 3 | 2 | 62400
3 | 0.72 | 13 | P/FINAL | 2025-06-05 | 09:30 | 2025-06-04 | 10:33 | Giorgiana |  | 0.71 |  | / | / |  |  |  |  | 1.56 | 181 |  | Eugenia |  | 3 | 3
3 | 0.72 | 14 | P/FINAL | 2025-06-05 | 09:30 | 2025-06-04 | 10:33 | Giorgiana |  | 0.75 |  | / | / |  |  |  |  | 1.53 | 182 |  | Eugenia |  | 3 | 3
3 | 0.72 | 15 | P/FINAL | 2025-06-05 | 09:31 | 2025-06-04 | 15:44 | Roland |  | 0.71 |  | / | / |  |  |  |  | 1.59 | 190 |  | Eugenia |  | 3 | 3 |  | 11.3 O2
3 | 0.72 | 16 | P/FINAL | 2025-06-05 | 09:32 | 2025-06-04 | 15:44 | Roland |  | 0.74 |  | / | / |  |  |  |  | 1.62 | 188 |  | Eugenia |  | 3 | 3 |  | 9.86 O2
3 | 0.72 | 17 | P/FINAL | 2025-06-05 | 09:45 | 2025-06-05 | 6:33 | Giorgiana |  | 0.72 |  | / | / |  |  |  |  | 1.97 | 181 |  | Eugenia |  | 3 | 3 |  | 7.93 O2
2 | 0.18 | 18 | P/FINAL | 2025-06-05 | 10:30 | 2025-06-05 | 6:33 | Giorgiana |  | 0.17 |  | / | / |  |  |  |  | 1.46 | 179 |  | Eugenia |  | 3 | 2 |  | 9.34 O2
2 | 0.18 | 19 | P/FINAL | 2025-06-05 | 10:31 | 2025-06-05 | 15:44 | Roland |  | 0.18 |  | / | / |  |  |  |  | 1.49 | 180 |  | Eugenia |  | 3 | 2
2 | 0.18 | 20 | P/FINAL | 2025-06-05 | 10:33 | 2025-06-05 | 15:44 | Roland |  | 0.20 |  | / | / |  |  |  |  | 1.75 | 188 |  | Eugenia |  | 3 | 2 |  | 3.27%O2
2 | 0.18 | 21 | P/FINAL | 2025-06-05 | 10:34 | 2025-06-05 | 6:33 | Giorgiana |  | 0.19 |  | / | / |  |  |  |  | 1.50 |  |  | Eugenia |  | 3 | 2
2 | 0.18 | 22 | P/FINAL | 2025-06-05 | 10:44 | 2025-06-05 | 6:33 | Giorgiana |  | 0.17 |  | / | / |  |  |  |  | 2.01 | 193 |  | Eugenia |  | 3 | 2
2 | 0.18 | 23 | P/FINAL | 2025-06-05 | 10:46 | 2025-06-05 | 6:33 | Giorgiana |  | 0.22 |  | / | / |  |  |  |  | 1.96 | 197 |  | Eugenia |  | 3 | 2 |  | 11.6%O2
1 | 0.00 | 24 | P/FINAL | 2025-06-05 | 10:48 | 2025-06-05 | 6:33 | Giorgiana |  | 0.00 |  | / | / |  |  |  |  | 0.63 | 180 |  | Eugenia |  | 3 | 1
1 | 0.00 | 25 | P/FINAL | 2025-06-05 | 10:49 | 2025-06-05 | 6:33 | Giorgiana |  | 0.00 |  | / | / |  |  |  |  | 1.48 | 186 |  | Eugenia |  | 3 | 1 |  | 6.58
2 | 0.18 | 26 | P/FINAL | 2025-06-10 | 10:27 | 2025-06-10 | 07:59 | ROLI | 2 | 0.18 | 0.18 | / | / |  | 1.376 |  |  | 1.81 | 180 |  | Brigitta P |  | 3 | 2 | 62400
2 | 0.18 | 27 | P/FINAL | 2025-06-10 | 10:27 | 2025-06-10 | 07:59 | ROLI | 2 | 0.18 | 0.18 | / | / |  |  |  |  | 1.84 | 170 |  | Brigitta P |  | 3 | 2 | 62400
2 | 0.18 | 28 | P/FINAL | 2025-06-10 | 10:28 | 2025-06-10 | 07:59 | ROLI | 2 | 0.16 | 0.16 | / | / |  |  |  |  | 1.62 | 174 |  | Brigitta P |  | 3 | 2 | 62400
3 | 0.72 | 29 | P/FINAL | 2025-06-10 | 10:28 | 2025-06-10 | 07:59 | ROLI | 2 | 0.74 | 0.74 | / | / |  | 1.386 |  |  | 1.79 | 184 |  | Brigitta P |  | 3 | 3 | 62400
3 | 0.72 | 30 | P/FINAL | 2025-06-10 | 10:28 | 2025-06-10 | 07:59 | ROLI | 2 | 0.72 | 0.72 | / | / |  |  |  |  | 2.00 | 187 |  | Brigitta P |  | 3 | 3 | 62400
3 | 0.72 | 31 | P/FINAL | 2025-06-10 | 10:29 | 2025-06-10 | 07:59 | ROLI | 2 | 0.74 | 0.74 | / | / |  | 1.392 |  |  | 1.84 | 168 |  | Brigitta P |  | 3 | 3 | 62400
1 | 0.00 | 32 | P/FINAL | 2025-06-10 | 10:29 | 2025-06-10 | 07:59 | ROLI | 2 | 0.00 | 0.00 | / | / |  | 1.397 |  |  | 1.19 | 167 |  | Brigitta P |  | 3 | 1 | 62400
1 | 0.00 | 33 | P/FINAL | 2025-06-10 | 10:30 | 2025-06-10 | 07:59 | ROLI | 2 | 0.02 | 0.02 | / | / |  |  |  |  | 1.31 | 195 |  | Brigitta P |  | 3 | 1 | 62400
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 12 | 0.18 mg/L | 9 | 12 | 0.18 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 11 | 0.73 mg/L | 8 | 11 | 0.73 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 6 | 0.01 mg/L | 4 | 6 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.01 | YES
0.18 | 0.15 ÷ 0.21 | 0.18 | YES
0.72 | 0.66 ÷ 0.78 | 0.73 | YES
Validation Date | by