## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
1058 | HI774-0 | CP-R71 | W23/1 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate ULR Reagent | 2028-06-01 | L57 Powder |  |  | Laboratory | Tablet 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 0.90 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
Marck/Erika | [5 empty] | 1004
[6 empty] | Expiration A | Expiration B | Expiration D
2028-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO-708 | HI97105 | CTO-845
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.02 |  | MR104 |  | 0.02 | & | 5% | 100% |  | 1.5 | 1.2 | 1.6
2 | 0.18 | 0.15 | 0.21
3 | 0.72 | 0.66 | 0.78
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97115 | M. 2 HI97105 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Valid | 2025-06-03 | 09:27 | 2025-06-03 | 08:32 | Mark |  | 0.00 | 0.00 | / | / |  | 1.345 |  |  | 1.16 |  |  | Eugenia |  | 3 | 1 | SW2 LOT 2217
1 | 0.00 | 2 | Valid | 2025-06-03 | 09:28 | 2025-06-03 | 08:32 | Mark |  | 0.01 | 0.00 | / | / |  | 1.302 |  |  | 1.13 | 180 |  | Eugenia |  | 3 | 1 | SW2 LOT 2217
2 | 0.18 | 3 | Old A | 2025-06-03 | 09:47 | 2025-06-03 | 08:32 | Mark |  | 0.23 | 0.21 | / | / |  | 1.34 |  |  | 4.68 |  |  | Eugenia |  | 3 | 2 | 5302025
2 | 0.18 | 4 | Old A | 2025-06-03 | 09:48 | 2025-06-03 | 08:32 | Mark |  | 0.22 | 0.21 | / | / |  | 1.459 |  |  | 5.62 |  |  | Eugenia |  | 3 | 2 | 5302025
3 | 0.72 | 5 | Valid | 2025-06-03 | 09:49 | 2025-06-03 | 08:32 | Mark |  | 0.72 | 0.73 | / | / |  | 1.48 |  |  | 1.22 | 180 |  | Eugenia |  | 3 | 3 | 5302025
3 | 0.72 | 6 | Valid | 2025-06-03 | 09:51 | 2025-06-03 | 08:32 | Mark |  | 0.73 | 0.75 | / | / |  | 1.489 |  |  | 1.26 | 180 |  | Eugenia |  | 3 | 3 | 5302025
3 | 0.72 | 7 | Valid | 2025-06-03 | 09:52 | 2025-06-03 | 08:32 | Mark |  | 0.77 | 0.77 | / | / | [7 empty] | Eugenia |  | 3 | 3 | 5302025
2 | 0.18 | 8 | Valid | 2025-06-03 | 10:13 | 2025-06-03 | 08:32 | Mark |  | 0.19 | 0.20 | / | / | [5 empty] | 180 |  | Eugenia |  | 3 | 2 | 5302025
2 | 0.18 | 9 | Valid | 2025-06-03 | 10:13 | 2025-06-03 | 08:32 | Mark |  | 0.15 | 0.16 | / | / | [7 empty] | Eugenia |  | 3 | 2 | 5302025
2 | 0.18 | 10 | Valid | 2025-06-03 | 10:14 | 2025-06-03 | 08:32 | Mark |  | 0.16 | 0.17 | / | / |  | 1.37 | [5 empty] | Eugenia |  | 3 | 2 | 5302025
3 | 0.72 | 11 | Old A | 2025-06-03 | 10:22 | 2025-06-03 | 08:32 | Mark |  | 0.73 | 0.72 | / | / |  | 1.37 | [5 empty] | Eugenia |  | 3 | 3 | 5302025
3 | 0.72 | 12 | Old A | 2025-06-03 | 10:23 | 2025-06-03 | 08:32 | Mark |  | 0.73 | 0.71 | / | / |  | 1.43 |  |  | 6.74 |  |  | Eugenia |  | 3 | 3 | 5302025
3 | 0.72 | 13 | Old A | 2025-06-10 | 09:45 | 2025-06-10 |  |  | 2 | 0.77 | 0.77 | / | / |  |  |  |  | 9,80 |  |  | Brigitta P |  | 3 | 3 | 62400
3 | 0.72 | 14 | Old A | 2025-06-10 | 09:46 | 2025-06-10 |  |  | 2 | 0.76 | 0.76 | / | / |  |  |  |  | 9.80 |  |  | Brigitta P |  | 3 | 3 | 62400
2 | 0.18 | 15 | P/FINAL | 2025-06-10 | 09:52 | 2025-06-10 |  |  | 2 | 0.19 | 0.19 | / | / |  |  |  |  | 11.6 |  |  | Brigitta P |  | 3 | 2 | 62400
2 | 0.18 | 16 | Old A | 2025-06-10 | 09:53 | 2025-06-10 |  |  | 2 | 0.21 | 0.21 | / | / |  |  |  |  | 7.07 |  |  | Brigitta P |  | 3 | 2 | 62400
1 | 0.00 | 17 | Old A | 2025-06-10 | 09:53 | 2025-06-10 |  |  | 2 | 0.02 | 0.02 | / | / |  |  |  |  | 4.30 |  |  | Brigitta P |  | 3 | 1 | 62400
2 | 0.18 | 18 | P/FINAL | 2025-06-10 | 10:01 | 2025-06-06 | 15:03 | ROLI | 2 | 0.17 | 0.17 | / | / |  |  |  |  | 1.78 |  |  | Brigitta P |  | 3 | 2 | 62400
2 | 0.18 | 19 | P/FINAL | 2025-06-10 | 10:01 | 2025-06-06 | 15:03 | ROLI | 2 | 0.19 | 0.19 | / | / |  |  |  |  | 2.05 |  |  | Brigitta P |  | 3 | 2 | 62400
2 | 0.18 | 20 | P/FINAL | 2025-06-10 | 10:02 | 2025-06-06 | 15:03 | ROLI | 2 | 0.20 | 0.20 | / | / |  |  |  |  | 2.11 |  |  | Brigitta P |  | 3 | 2 | 62400
1 | 0.00 | 21 | P/FINAL | 2025-06-10 | 10:03 | 2025-06-06 | 15:03 | ROLI | 2 | 0.02 | 0.02 | / | / |  |  |  |  | 2.01 |  |  | Brigitta P |  | 3 | 1 | 62400
3 | 0.72 | 22 | P/FINAL | 2025-06-10 | 10:03 | 2025-06-06 | 15:03 | ROLI | 2 | 0.73 | 0.73 | / | / |  |  |  |  | 2.41 |  |  | Brigitta P |  | 3 | 3 | 62400
3 | 0.72 | 23 | P/FINAL | 2025-06-10 | 10:03 | 2025-06-06 | 15:03 | ROLI | 2 | 0.73 | 0.73 | / | / |  |  |  |  | 1.97 |  |  | Brigitta P |  | 3 | 3 | 62400
3 | 0.72 | 24 | P/FINAL | 2025-06-10 | 10:04 | 2025-06-06 | 15:03 | ROLI | 2 | 0.73 | 0.73 | / | / |  |  |  |  | 2.17 |  |  | Brigitta P |  | 3 | 3 | 62400
3 | 0.72 | 25 | P/FINAL | 2025-06-10 | 10:35 | 2025-06-06 | 07:59 | ROLI | 2 | 0.72 | 0.72 | / | / |  | 1.376 |  |  | 1.81 | 180 |  | Brigitta P |  | 3 | 3 | 62400
3 | 0.72 | 26 | P/FINAL | 2025-06-10 | 10:35 | 2025-06-06 | 07:59 | ROLI | 2 | 0.74 | 0.74 | / | / |  |  |  |  | 1.84 |  |  | Brigitta P |  | 3 | 3 | 62400
3 | 0.72 | 27 | P/FINAL | 2025-06-10 | 10:35 | 2025-06-06 | 07:59 | ROLI | 2 | 0.74 | 0.74 | / | / |  | 1.386 |  |  | 1.62 | 184 |  | Brigitta P |  | 3 | 3 | 62400
2 | 0.18 | 28 | P/FINAL | 2025-06-10 | 10:35 | 2025-06-06 | 07:59 | ROLI | 2 | 0.18 | 0.18 | / | / |  |  |  |  | 1.79 | 168 |  | Brigitta P |  | 3 | 3 | 62400
2 | 0.18 | 29 | P/FINAL | 2025-06-10 | 10:35 | 2025-06-06 | 07:59 | ROLI | 2 | 0.18 | 0.18 | / | / |  | 1.392 |  |  | 2.00 | 172 |  | Brigitta P |  | 3 | 3 | 62400
2 | 0.18 | 30 | P/FINAL | 2025-06-10 | 10:35 | 2025-06-06 | 07:59 | ROLI | 2 | 0.16 | 0.16 | / | / |  |  |  |  | 1.84 | 174 |  | Brigitta P |  | 3 | 3 | 62400
1 | 0.00 | 31 | P/FINAL | 2025-06-10 | 10:35 | 2025-06-06 | 07:59 | ROLI | 2 | 0.00 | 0.00 | / | / |  | 1.397 |  |  | 1.19 | 187 |  | Brigitta P |  | 3 | 3 | 62400
1 | 0.00 | 32 | P/FINAL | 2025-06-10 | 10:35 | 2025-06-06 | 07:59 | ROLI | 2 | 0.02 | 0.02 | / | / |  |  |  |  | 1.31 | 170 |  | Brigitta P |  | 3 | 3 | 62400
1 | 0.00 | 33 | P/FINAL | 2025-06-10 | 15:17 | 2025-06-10 | 14:10 | ELENA | 2 | 0.01 | 0.00 | / | / |  | 1.401 |  |  | 1.35 | 181 |  | Violeta |  | 3 | 1
1 | 0.00 | 34 | P/FINAL | 2025-06-10 | 15:21 | 2025-06-10 | 14:10 | ELENA | 2 | 0.00 | 0.01 | / | / |  |  |  |  | 1.59 | 165 |  | Violeta |  | 3 | 1
2 | 0.18 | 35 | P/FINAL | 2025-06-10 | 15:31 | 2025-06-10 | 14:10 | ELENA | 2 | 0.16 | 0.17 | / | / |  | 1.375 |  |  | 1.38 | 175 |  | Violeta |  | 3 | 2 | 62400
2 | 0.18 | 36 | P/FINAL | 2025-06-10 | 15:34 | 2025-06-10 | 14:10 | ELENA | 2 | 0.20 | 0.19 | / | / |  |  |  |  | 1.57 | 164 |  | Violeta |  | 3 | 2 | 62400
3 | 0.72 | 37 | P/FINAL | 2025-06-10 | 15:41 | 2025-06-10 | 14:10 | ELENA | 2 | 0.75 | 0.76 | / | / |  | 1.349 |  |  | 1.61 | 160 |  | Violeta |  | 3 | 3 | 62400
3 | 0.72 | 38 | P/FINAL | 2025-06-10 | 15:44 | 2025-06-10 | 14:10 | ELENA | 2 | 0.73 | 0.73 | / | / |  |  |  |  | 1.50 | 160 |  | Violeta |  | 3 | 3 | 62400
2 | 0.18 | 39 | Old A | 2025-06-11 | 10:22 | 2025-06-11 | 07:57 | ROLAND | 2 | 0.15 | 0.19 | / | / |  |  |  |  | 2.26 |  |  | Violeta |  | 3 | 2 | 62400
2 | 0.18 | 40 | P/FINAL | 2025-06-11 | 10:23 | 2025-06-11 | 07:57 | ROLAND | 2 | 0.18 | 0.17 | / | / |  | 1.377 |  |  | 1.58 | 191 |  | Violeta |  | 3 | 2 | 62400
2 | 0.18 | 41 | P/FINAL | 2025-06-11 | 10:26 | 2025-06-11 | 07:57 | ROLAND | 2 | 0.16 | 0.17 | / | / |  |  |  |  | 1.44 | 189 |  | Violeta |  | 3 | 2 | 62400
3 | 0.72 | 42 | Old A | 2025-06-11 | 10:27 | 2025-06-11 | 07:57 | ROLAND | 2 | 0.75 | 0.75 | / | / |  |  |  |  | 2.77 |  |  | Violeta |  | 3 | 3 | 62400
3 | 0.72 | 43 | P/FINAL | 2025-06-11 | 10:29 | 2025-06-11 | 07:57 | ROLAND | 2 | 0.74 | 0.76 | / | / |  | 1.346 |  |  | 2.01 | 193 |  | Violeta |  | 3 | 3 | 62400
3 | 0.72 | 44 | P/FINAL | 2025-06-11 | 10:31 | 2025-06-11 | 07:57 | ROLAND | 2 | 0.76 | 0.76 | / | / |  |  |  |  | 1.39 | 185 |  | Violeta |  | 3 | 3 | 62400
1 | 0.00 | 45 | Old A | 2025-06-11 | 10:33 | 2025-06-11 | 07:57 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 2.19 |  |  | Violeta |  | 3 | 1
1 | 0.00 | 46 | P/FINAL | 2025-06-11 | 10:34 | 2025-06-11 | 07:57 | ROLAND | 2 | 0.00 | 0.00 | / | / |  | 1.319 |  |  | 1.22 | 188 |  | Violeta |  | 3 | 1
1 | 0.00 | 47 | P/FINAL | 2025-06-11 | 10:35 | 2025-06-11 | 07:57 | ROLAND | 2 | 0.00 | 0.01 | / | / |  |  |  |  | 1.21 | 190 |  | Violeta |  | 3 | 1
2 | 0.18 | 48 | P/FINAL | 2025-06-11 | 15:53 | 2025-06-11 | 14:16 | ELENA | 2 | 0.19 | 0.21 | / | / |  | 1.482 |  |  | 1.30 |  |  | Csilla |  | 3 | 2 | 62400
2 | 0.18 | 49 | P/FINAL | 2025-06-11 | 16:03 | 2025-06-11 | 14:16 | ELENA | 2 | 0.21 | 0.20 | / | / |  |  |  |  | 1.80 | 170 |  | Csilla |  | 3 | 2 | 62400
3 | 0.72 | 50 | P/FINAL | 2025-06-11 | 16:07 | 2025-06-11 | 14:16 | ELENA | 2 | 0.76 | 0.76 | / | / |  | 1.474 |  |  | 1.24 |  |  | Csilla |  | 3 | 3 | 62400
3 | 0.72 | 51 | P/FINAL | 2025-06-11 | 16:10 | 2025-06-11 | 14:16 | ELENA | 2 | 0.75 | 0.75 | / | / |  |  |  |  | 1.47 | 172 |  | Csilla |  | 3 | 3 | 62400
1 | 0.00 | 52 | P/FINAL | 2025-06-11 | 16:14 | 2025-06-11 | 14:16 | ELENA | 2 | 0.02 | 0.02 | / | / |  | 1.357 |  |  | 1.29 | 160 |  | Csilla |  | 3 | 1
1 | 0.00 | 53 | P/FINAL | 2025-06-11 | 16:16 | 2025-06-11 | 14:16 | ELENA | 2 | 0.00 | 0.02 | / | / |  |  |  |  | 1.10 |  |  | Csilla |  | 3 | 1
2 | 0.18 | 54 | P/FINAL | 2025-06-12 | 14:39 | 2025-06-12 | 08:09 | Roland | 1 | 0.17 | 0.18 | / | / |  | 1.371 |  |  | 1.53 | 170 |  | Andrea |  | 3 | 2 | 84454
2 | 0.18 | 55 | P/FINAL | 2025-06-12 | 14:46 | 2025-06-12 | 08:09 | Roland | 2 | 0.17 | 0.18 | / | / |  |  |  |  | 1.85 | 184 |  | Andrea |  | 3 | 2 | 84454
3 | 0.72 | 56 | P/FINAL | 2025-06-12 | 14:57 | 2025-06-12 | 08:09 | ROLAND | 1 | 0.69 | 0.75 | / | / |  | 1.373 |  |  | 1.65 | 168 |  | Andrea |  | 3 | 3 | 62400
3 | 0.72 | 57 | P/FINAL | 2025-06-12 | 15:05 | 2025-06-12 | 08:09 | ROLAND | 2 | 0.68 | 0.74 | / | / |  |  |  |  | 1.84 | 160 |  | Andrea |  | 3 | 3 | 62400
1 | 0.00 | 58 | P/FINAL | 2025-06-12 | 15:14 | 2025-06-12 | 08:09 | ROLAND | 1 | 0.00 | 0.00 | / | / |  | 1.345 |  |  | 1.57 | 169 |  | Andrea |  | 3 | 1 | 62400
1 | 0.00 | 59 | P/FINAL | 2025-06-12 | 15:21 | 2025-06-12 | 08:09 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 1.45 | 176 |  | Andrea |  | 3 | 1 | 62400
2 | 0.18 | 60 | P/FINAL | 2025-06-12 | 15:26 | 2025-06-12 | 08:09 | ROLAND | 1 | 0.19 | 0.17 | / | / |  |  |  |  | 1.59 |  |  | Andrea |  | 3 | 2 | 84454
3 | 0.72 | 61 | P/FINAL | 2025-06-12 | 15:27 | 2025-06-12 | 08:09 | ROLAND | 1 | 0.76 | 0.77 | / | / |  |  |  |  | 1.79 |  |  | Andrea |  | 3 | 3 | 62400
3 | 0.72 | 62 | P/FINAL | 2025-06-12 | 15:39 | 2025-06-12 | 08:09 | ROLAND | 2 | 0.75 | 0.77 | / | / |  |  |  |  | 1.76 |  |  | Andrea |  | 3 | 3 | 62400
2 | 0.18 | 63 | P/FINAL | 2025-06-12 | 15:40 | 2025-06-12 | 08:09 | ROLAND | 2 | 0.19 | 0.20 | / | / |  |  |  |  | 1.60 |  |  | Andrea |  | 3 | 2 | 84454
2 | 0.18 | 64 | Old A | 2025-06-12 | 15:49 | 2025-06-12 | 08:09 | ROLAND | 2 | 0.20 | 0.18 | / | / |  | 1.357 |  |  | 2.54 |  |  | Andrea |  | 3 | 2 | 84454 | OLD: LOT:1054 EXP:05/2028
3 | 0.72 | 65 | Old A | 2025-06-12 | 15:50 | 2025-06-12 | 08:09 | ROLAND | 2 | 0.75 | 0.77 | / | / |  | 1.355 |  |  | 2.79 |  |  | Andrea |  | 3 | 3 | 62400 | OLD: LOT:1054 EXP:05/2028
1 | 0.00 | 66 | Old A | 2025-06-12 | 16:01 | 2025-06-12 | 08:09 | ROLAND | 2 | 0.01 | 0.00 | / | / |  | 1.392 |  |  | 2.10 |  |  | Andrea |  | 3 | 1 |  | OLD: LOT:1054 EXP:05/2028
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 0.01 mg/L | 11 | 22 | 0.01 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
17 | 34 | 0.18 mg/L | 17 | 34 | 0.18 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
16 | 32 | 0.74 mg/L | 16 | 32 | 0.74 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.01 | YES
0.18 | 0.15 ÷ 0.21 | 0.18 | YES
0.72 | 0.66 ÷ 0.78 | 0.74 | YES
Validation Date | by