## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
1184 | HI774-0 | CP-R71 | W 41/1 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate ULR Reagent | 2028-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 0.90 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-07 | 2025-10-14 | 2 HEAD |  |  | 1187
[6 empty] | Expiration A | Expiration B | Expiration D
2028-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97105 | CTO-844 | HI97115 | CTO-708
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.02 |  | MR104 |  | 0.02 | & | 5% | 100% |  | 1.5 | 1.2 | 1.6
2 | 0.18 | 0.15 | 0.21
3 | 0.72 | 0.66 | 0.78
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-10-07 | 15:15 | 2025-10-07 | 13:44 | ERIKA |  | 0.00 | 0.00 | / | / |  |  |  |  | 97.0 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-10-07 | 15:16 | 2025-10-07 | 13:44 | ERIKA |  | 0.00 | 0.00 | / | / |  |  |  |  | 1.05 |  |  | Andrea V |  | 3 | 1
2 | 0.18 | 3 | Old A | 2025-10-07 | 15:18 | 2025-10-07 | 13:44 | ERIKA |  | 0.21 | 0.20 | / | / |  |  |  |  | 1.02 |  |  | Andrea V |  | 3 | 2 | 112855
2 | 0.18 | 4 | Old A | 2025-10-07 | 15:18 | 2025-10-07 | 13:44 | ERIKA |  | 0.19 | 0.19 | / | / |  |  |  |  | 1.19 |  |  | Andrea V |  | 3 | 2 | 112855
3 | 0.72 | 5 | Old A | 2025-10-07 | 15:21 | 2025-10-07 | 13:44 | ERIKA |  | 0.77 | 0.76 | / | / |  |  |  |  | 1.84 |  |  | Andrea V |  | 3 | 3 | 112855
3 | 0.72 | 6 | Old A | 2025-10-07 | 15:22 | 2025-10-07 | 13:44 | ERIKA |  | 0.75 | 0.77 | / | / |  |  |  |  | 1.06 |  |  | Andrea V |  | 3 | 3 | 112855
2 | 0.18 | 7 | Valid | 2025-10-07 | 15:29 | 2025-10-07 | 13:44 | ERIKA |  | 0.20 | 0.20 | / | / |  |  |  |  | 0.75 |  |  | Andrea V |  | 3 | 2 | 112855
2 | 0.18 | 8 | Valid | 2025-10-07 | 15:29 | 2025-10-07 | 13:44 | ERIKA |  | 0.17 | 0.17 | / | / |  |  |  |  | 0.39 |  |  | Andrea V |  | 3 | 2 | 112855
2 | 0.18 | 9 | Valid | 2025-10-07 | 15:30 | 2025-10-07 | 13:44 | ERIKA |  | 0.18 | 0.19 | / | / |  | 1.165 |  |  | 0.37 |  |  | Andrea V |  | 3 | 2 | 112855
3 | 0.72 | 10 | Valid | 2025-10-07 | 15:32 | 2025-10-07 | 13:44 | ERIKA |  | 0.77 | 0.77 | / | / |  |  |  |  | 0.49 |  |  | Andrea V |  | 3 | 3 | 112855
3 | 0.72 | 11 | Valid | 2025-10-07 | 15:33 | 2025-10-07 | 13:44 | ERIKA |  | 0.77 | 0.77 | / | / |  | 1.156 |  |  | 0.39 |  |  | Andrea V |  | 3 | 3 | 112855
3 | 0.72 | 12 | Valid | 2025-10-07 | 15:34 | 2025-10-07 | 13:44 | ERIKA |  | 0.76 | 0.77 | / | / |  |  |  |  | 0.33 |  |  | Andrea V |  | 3 | 3 | 112855
1 | 0.00 | 13 | Valid | 2025-10-07 | 15:35 | 2025-10-07 | 13:44 | ERIKA |  | 0.00 | 0.00 | / | / |  |  |  |  | 0.42 |  |  | Andrea V |  | 3 | 1 | 112855
1 | 0.00 | 14 | Valid | 2025-10-07 | 15:36 | 2025-10-07 | 13:44 | ERIKA |  | 0.00 | 0.00 | / | / |  | 1.150 |  |  | 0.33 |  |  | Andrea V |  | 3 | 1 | 112855
1 | 0.00 | 15 | Old A | 2025-10-09 | 12:05 | 2025-10-09 | 09:16 | ELENA | 2 | 0.02 | 0.01 | / | / |  |  |  |  | 1.29 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 16 | Old A | 2025-10-09 | 12:05 | 2025-10-09 | 09:16 | ELENA | 2 | 0.02 | 0.02 | / | / |  |  |  |  | 1.63 |  |  | Andrea V |  | 3 | 1
3 | 0.72 | 17 | Old A | 2025-10-09 | 12:06 | 2025-10-09 | 09:16 | ELENA | 2 | 0.74 | 0.74 | / | / |  |  |  |  | 1.69 |  |  | Andrea V |  | 3 | 3
3 | 0.72 | 18 | Old A | 2025-10-09 | 12:06 | 2025-10-09 | 09:16 | ELENA | 2 | 0.73 | 0.72 | / | / |  |  |  |  | 1.84 |  |  | Andrea V |  | 3 | 3
2 | 0.18 | 19 | Old A | 2025-10-09 | 12:07 | 2025-10-09 | 09:16 | ELENA | 2 | 0.20 | 0.21 | / | / |  |  |  |  | 1.22 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 20 | Old A | 2025-10-09 | 12:07 | 2025-10-09 | 09:16 | ELENA | 2 | 0.21 | 0.21 | / | / |  |  |  |  | 1.16 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 21 | P/FINAL | 2025-10-09 | 12:07 | 2025-10-09 | 09:16 | ELENA | 2 | 0.20 | 0.18 | / | / |  |  |  |  | 0.47 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 22 | P/FINAL | 2025-10-09 | 12:07 | 2025-10-09 | 09:16 | ELENA | 2 | 0.20 | 0.17 | / | / |  | 1.220 |  |  | 0.83 | 167 |  | Andrea V |  | 3 | 2
2 | 0.18 | 23 | P/FINAL | 2025-10-09 | 12:08 | 2025-10-09 | 09:16 | ELENA | 2 | 0.20 | 0.18 | / | / |  |  |  |  | 0.62 | 182 |  | Andrea V |  | 3 | 2
3 | 0.72 | 24 | P/FINAL | 2025-10-09 | 12:08 | 2025-10-09 | 09:16 | ELENA | 2 | 0.77 | 0.74 | / | / |  |  |  |  | 0.65 | 190 |  | Andrea V |  | 3 | 3
3 | 0.72 | 25 | P/FINAL | 2025-10-09 | 12:08 | 2025-10-09 | 09:16 | ELENA | 2 | 0.77 | 0.74 | / | / |  | 1.198 |  |  | 0.64 | 175 |  | Andrea V |  | 3 | 3
3 | 0.72 | 26 | P/FINAL | 2025-10-09 | 12:08 | 2025-10-09 | 09:16 | ELENA | 2 | 0.75 | 0.75 | / | / |  |  |  |  | 0.64 | 167 |  | Andrea V |  | 3 | 3
1 | 0.00 | 27 | P/FINAL | 2025-10-09 | 12:09 | 2025-10-09 | 09:16 | ELENA | 2 | 0.02 | 0.02 | / | / |  | 1.202 |  |  | 0.64 | 156 |  | Andrea V |  | 3 | 1
1 | 0.00 | 28 | P/FINAL | 2025-10-09 | 12:10 | 2025-10-09 | 09:16 | ELENA | 2 | 0.01 | 0.02 | / | / |  |  |  |  | 0.71 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 29 | P/FINAL | 2025-10-09 | 16:14 | 2025-10-09 | 14:28 | ROLAND | 2 | 0.00 | 0.00 | / | / |  | 1.225 |  |  | 0.57 | 163 |  | Andrea V |  | 3 | 1
1 | 0.00 | 30 | P/FINAL | 2025-10-09 | 16:14 | 2025-10-09 | 14:28 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 0.56 |  |  | Andrea V |  | 3 | 1
2 | 0.18 | 31 | P/FINAL | 2025-10-09 | 16:15 | 2025-10-09 | 14:28 | ROLAND | 2 | 0.16 | 0.18 | / | / |  | 1.280 |  |  | 0.52 | 172 |  | Andrea V |  | 3 | 2
2 | 0.18 | 32 | P/FINAL | 2025-10-09 | 16:15 | 2025-10-09 | 14:28 | ROLAND | 2 | 0.16 | 0.18 | / | / |  |  |  |  | 0.60 | 180 |  | Andrea V |  | 3 | 2
2 | 0.18 | 33 | P/FINAL | 2025-10-09 | 16:15 | 2025-10-09 | 14:28 | ROLAND | 2 | 0.16 | 0.17 | / | / |  |  |  |  | 0.58 | 179 |  | Andrea V |  | 3 | 2
3 | 0.72 | 34 | P/FINAL | 2025-10-09 | 16:15 | 2025-10-09 | 14:28 | ROLAND | 2 | 0.72 | 0.75 | / | / |  |  |  |  | 0.82 | 169 |  | Andrea V |  | 3 | 3
3 | 0.72 | 35 | P/FINAL | 2025-10-09 | 16:16 | 2025-10-09 | 14:28 | ROLAND | 2 | 0.72 | 0.73 | / | / |  | 1.249 |  |  | 0.65 | 183 |  | Andrea V |  | 3 | 3
3 | 0.72 | 36 | P/FINAL | 2025-10-09 | 16:16 | 2025-10-09 | 14:28 | ROLAND | 2 | 0.72 | 0.72 | / | / |  |  |  |  | 0.68 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 37 | Old A | 2025-10-10 | 09:39 | 2025-10-10 | 07:20 | ELENA | 2 | 0.02 | 0.02 | / | / |  |  |  |  | 1.17 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 38 | Old A | 0.032025/10/10 | 09:40 | 2025-10-10 | 07:20 | ELENA | 2 | 0.03 | 0.04 | / | / |  |  |  |  | 2.18 |  |  | Andrea V |  | 3 | 1
2 | 0.18 | 39 | Old A | 2025-10-10 | 09:41 | 2025-10-10 | 07:20 | ELENA | 2 | 0.21 | 0.21 | / | / |  |  |  |  | 1.23 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 40 | Old A | 2025-10-10 | 09:41 | 2025-10-10 | 07:20 | ELENA | 2 | 0.21 | 0.21 | / | / |  |  |  |  | 1.19 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 41 | P/FINAL | 2025-10-10 | 09:43 | 2025-10-10 | 07:20 | ELENA | 2 | 0.18 | 0.20 | / | / |  |  |  |  | 0.58 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 42 | P/FINAL | 2025-10-10 | 09:45 | 2025-10-10 | 07:20 | ELENA | 2 | 0.19 | 0.21 | / | / |  | 1.115 |  |  | 0.50 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 43 | P/FINAL | 2025-10-10 | 09:46 | 2025-10-10 | 07:20 | ELENA | 2 | 0.20 | 0.21 | / | / |  |  |  |  | 0.47 | 171 |  | Andrea V |  | 3 | 2
1 | 0.00 | 44 | P/FINAL | 2025-10-10 | 09:48 | 2025-10-10 | 07:20 | ELENA | 2 | 0.02 | 0.02 | / | / |  |  |  |  | 0.64 | 175 |  | Andrea V |  | 3 | 1
1 | 0.00 | 45 | P/FINAL | 2025-10-10 | 09:48 | 2025-10-10 | 07:20 | ELENA | 2 | 0.00 | 0.00 | / | / |  | 1.158 |  |  | 0.69 | 171 |  | Andrea V |  | 3 | 1
3 | 0.72 | 46 | P/FINAL | 2025-10-10 | 09:51 | 2025-10-10 | 07:20 | ELENA | 2 | 0.77 | 0.76 | / | / |  |  |  |  | 0.82 | 186 |  | Andrea V |  | 3 | 3
3 | 0.72 | 47 | P/FINAL | 2025-10-10 | 09:52 | 2025-10-10 | 07:20 | ELENA | 2 | 0.73 | 0.74 | / | / |  | 1.118 |  |  | 0.39 | 155 |  | Andrea V |  | 3 | 3
3 | 0.72 | 48 | P/FINAL | 2025-10-10 | 09:53 | 2025-10-10 | 07:20 | ELENA | 2 | 0.76 | 0.74 | / | / |  |  |  |  | 0.57 | 169 |  | Andrea V |  | 3 | 3
1 | 0.00 | 49 | Old A | 2025-10-10 | 10:00 | 2025-10-10 | 07:20 | ELENA | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 1.33 |  |  | Andrea V |  | 3 | 1
3 | 0.72 | 50 | Old A | 2025-10-10 | 10:00 | 2025-10-10 | 07:20 | ELENA | 2 | 0.74 | 0.72 | / | / |  |  |  |  | 1.40 |  |  | Andrea V |  | 3 | 3
3 | 0.72 | 51 | Old A | 2025-10-10 | 10:01 | 2025-10-10 | 07:20 | ELENA | 2 | 0.73 | 0.73 | / | / |  |  |  |  | 1.47 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 52 | Old A | 2025-10-13 | 10:03 | 2025-10-10 | 14:50 | ROLAND | 2 | 0.00 | 0.01 | / | / |  |  |  |  | 1.41 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 53 | Old A | 2025-10-13 | 10:03 | 2025-10-10 | 14:50 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 1.56 |  |  | Andrea V |  | 3 | 1
2 | 0.18 | 54 | Old A | 2025-10-13 | 10:05 | 2025-10-10 | 14:50 | ROLAND | 2 | 0.21 | 0.20 | / | / |  |  |  |  | 1.02 |  |  | Andrea V |  | 3 | 2 | 112855
2 | 0.18 | 55 | Old A | 2025-10-13 | 10:06 | 2025-10-10 | 14:50 | ROLAND | 2 | 0.21 | 0.21 | / | / |  |  |  |  | 1.35 |  |  | Andrea V |  | 3 | 2 | 112855
3 | 0.72 | 56 | Old A | 2025-10-13 | 10:06 | 2025-10-10 | 14:50 | ROLAND | 2 | 0.72 | 0.72 | / | / |  |  |  |  | 1.07 |  |  | Andrea V |  | 3 | 3 | 112855
3 | 0.72 | 57 | Old A | 2025-10-13 | 10:06 | 2025-10-10 | 14:50 | ROLAND | 2 | 0.75 | 0.74 | / | / |  |  |  |  | 1.40 |  |  | Andrea V |  | 3 | 3 | 112855
1 | 0.00 | 58 | P/FINAL | 2025-10-13 | 10:24 | 2025-10-10 | 14:50 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 0.92 |  |  | Andrea V |  | 3 | 1 | 112855
1 | 0.00 | 59 | P/FINAL | 2025-10-13 | 10:26 | 2025-10-10 | 14:50 | ROLAND | 2 | 0.00 | 0.00 | / | / |  | 1.144 |  |  | 0.631 |  |  | Andrea V |  | 3 | 1 | 112855
2 | 0.18 | 60 | P/FINAL | 2025-10-13 | 10:26 | 2025-10-10 | 14:50 | ROLAND | 2 | 0.21 | 0.21 | / | / |  |  |  |  | 0.68 | 182 |  | Andrea V |  | 3 | 2 | 112855
2 | 0.18 | 61 | P/FINAL | 2025-10-13 | 10:27 | 2025-10-10 | 14:50 | ROLAND | 2 | 0.21 | 0.20 | / | / |  |  |  |  | 0.58 | 183 |  | Andrea V |  | 3 | 2 | 112855
2 | 0.18 | 62 | P/FINAL | 2025-10-13 | 10:27 | 2025-10-10 | 14:50 | ROLAND | 2 | 0.18 | 0.17 | / | / |  | 1.104 |  |  | 0.63 | 177 |  | Andrea V |  | 3 | 2 | 112855
3 | 0.72 | 63 | P/FINAL | 2025-10-13 | 10:29 | 2025-10-10 | 14:50 | ROLAND | 2 | 0.77 | 0.78 | / | / |  |  |  |  | 0.69 | 176 |  | Andrea V |  | 3 | 3 | 112855
3 | 0.72 | 64 | P/FINAL | 2025-10-13 | 10:30 | 2025-10-10 | 14:50 | ROLAND | 2 | 0.76 | 0.76 | / | / |  | 1.153 |  |  | 0.64 | 158 |  | Andrea V |  | 3 | 3 | 112855
3 | 0.72 | 65 | P/FINAL | 2025-10-13 | 10:31 | 2025-10-10 | 14:50 | ROLAND | 2 | 0.78 | 0.78 | / | / |  |  |  |  | 0.50 | 157 |  | Andrea V |  | 3 | 3 | 112855
1 | 0.00 | 66 | P/FINAL | 2025-10-13 | 11:58 | 2025-10-13 | 09:02 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 0.76 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 67 | P/FINAL | 2025-10-13 | 11:58 | 2025-10-13 | 09:02 | ROLAND | 2 | 0.00 | 0.00 | / | / |  | 1.107 |  |  | 0.80 |  |  | Andrea V |  | 3 | 1
2 | 0.18 | 68 | P/FINAL | 2025-10-13 | 11:58 | 2025-10-13 | 09:02 | ROLAND | 2 | 0.19 | 0.21 | / | / |  |  |  |  | 0.53 | 170 |  | Andrea V |  | 3 | 2
2 | 0.18 | 69 | P/FINAL | 2025-10-13 | 11:59 | 2025-10-13 | 09:02 | ROLAND | 2 | 0.20 | 0.18 | / | / |  | 1.187 |  |  | 0.57 | 169 |  | Andrea V |  | 3 | 2
2 | 0.18 | 70 | P/FINAL | 2025-10-13 | 11:59 | 2025-10-13 | 09:02 | ROLAND | 2 | 0.17 | 0.17 | / | / |  |  |  |  | 0.45 | 169 |  | Andrea V |  | 3 | 2
3 | 0.72 | 71 | P/FINAL | 2025-10-13 | 11:59 | 2025-10-13 | 09:02 | ROLAND | 2 | 0.75 | 0.75 | / | / |  |  |  |  | 1.08 | 174 |  | Andrea V |  | 3 | 3
3 | 0.72 | 72 | P/FINAL | 2025-10-13 | 11:59 | 2025-10-13 | 09:02 | ROLAND | 2 | 0.72 | 0.74 | / | / |  | 1.145 |  |  | 0.64 | 169 |  | Andrea V |  | 3 | 3
3 | 0.72 | 73 | P/FINAL | 2025-10-13 | 12:00 | 2025-10-13 | 09:02 | ROLAND | 2 | 0.77 | 0.78 | / | / |  |  |  |  | 0.53 | 178 |  | Andrea V |  | 3 | 3
1 | 0.00 | 74 | Old A | 2025-10-14 | 08:31 | 2025-10-14 | 07:51 | ROLAND | 2 | 0.02 | 0.02 | / | / |  |  |  |  | 5.12 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 75 | Old A | 2025-10-14 | 08:31 | 2025-10-14 | 07:51 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 1.35 |  |  | Andrea V |  | 3 | 1
2 | 0.18 | 76 | Old A | 2025-10-14 | 08:33 | 2025-10-14 | 07:51 | ROLAND | 2 | 0.19 | 0.18 | / | / |  |  |  |  | 1.67 |  |  | Andrea V |  | 3 | 2 | 110526
2 | 0.18 | 77 | Old A | 2025-10-14 | 08:34 | 2025-10-14 | 07:51 | ROLAND | 2 | 0.19 | 0.18 | / | / |  |  |  |  | 1.75 |  |  | Andrea V |  | 3 | 2 | 110526
3 | 0.72 | 78 | Old A | 2025-10-14 | 08:35 | 2025-10-14 | 07:51 | ROLAND | 2 | 0.72 | 0.72 | / | / |  |  |  |  | 1.37 |  |  | Andrea V |  | 3 | 3 | 110526
3 | 0.72 | 79 | Old A | 2025-10-14 | 08:38 | 2025-10-14 | 07:51 | ROLAND | 2 | 0.73 | 0.73 | / | / |  |  |  |  | 1.62 |  |  | Andrea V |  | 3 | 3 | 110526
1 | 0.00 | 80 | P/FINAL | 2025-10-14 | 08:39 | 2025-10-14 | 07:51 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 0.57 |  |  | Andrea V |  | 3 | 1 | 110526
1 | 0.00 | 81 | P/FINAL | 2025-10-14 | 08:41 | 2025-10-14 | 07:51 | ROLAND | 2 | 0.00 | 0.00 | / | / |  | 1.144 |  |  | 0.67 |  |  | Andrea V |  | 3 | 1 | 110526
2 | 0.18 | 82 | P/FINAL | 2025-10-14 | 08:43 | 2025-10-14 | 07:51 | ROLAND | 2 | 0.17 | 0.17 | / | / |  |  |  |  | 0.76 | 185 |  | Andrea V |  | 3 | 2 | 110526
2 | 0.18 | 83 | P/FINAL | 2025-10-14 | 08:44 | 2025-10-14 | 07:51 | ROLAND | 2 | 0.17 | 0.18 | / | / |  | 1.169 |  |  | 0.57 | 180 |  | Andrea V |  | 3 | 2 | 110526
2 | 0.18 | 84 | P/FINAL | 2025-10-14 | 08:44 | 2025-10-14 | 07:51 | ROLAND | 2 | 0.19 | 0.18 | / | / |  |  |  |  | 0.62 | 151 |  | Andrea V |  | 3 | 2 | 110526
3 | 0.72 | 85 | P/FINAL | 2025-10-14 | 08:47 | 2025-10-14 | 07:51 | ROLAND | 2 | 0.74 | 0.74 | / | / |  |  |  |  | 0.67 | 176 |  | Andrea V |  | 3 | 3 | 110526
3 | 0.72 | 86 | P/FINAL | 2025-10-14 | 08:47 | 2025-10-14 | 07:51 | ROLAND | 2 | 0.71 | 0.71 | / | / |  | 1.166 |  |  | 0.69 | 178 |  | Andrea V |  | 3 | 3 | 110526
3 | 0.72 | 87 | P/FINAL | 2025-10-14 | 08:48 | 2025-10-14 | 07:51 | ROLAND | 2 | 0.74 | 0.75 | / | / |  |  |  |  | 0.64 | 162 |  | Andrea V |  | 3 | 3 | 110526
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0 mg/L | 12 | 24 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 0.19 mg/L | 18 | 36 | 0.19 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 0.75 mg/L | 18 | 36 | 0.75 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.00 | YES
0.18 | 0.15 ÷ 0.21 | 0.19 | YES
0.72 | 0.66 ÷ 0.78 | 0.75 | YES
Validation Date | by