## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
1187 | HI774-0 | CP-R71 | W 39/1 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate ULR Reagent | 2028-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 0.90 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-26 | 2025-09-30 | 2 HEAD |  |  | 1162
[6 empty] | Expiration A | Expiration B | Expiration D
2028-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97105 | CTO-844 | HI97115 | CTO-708
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.02 |  | MR104 |  | 0.02 | & | 5% | 100% |  | 1.5 | 1.2 | 1.6
2 | 0.18 | 0.15 | 0.21
3 | 0.72 | 0.66 | 0.78
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97105 | M. 2 HI97115 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-09-26 | 13:12 | 2025-09-26 | 12:44 | ERIKA |  | 0.00 | 0.00 | / | / |  |  |  |  | 1.11 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-09-26 | 13:12 | 2025-09-26 | 12:44 | ERIKA |  | 0.00 | 0.00 | / | / |  |  |  |  | 3.94 |  |  | Andrea V |  | 3 | 1
2 | 0.18 | 3 | Old A | 2025-09-26 | 13:13 | 2025-09-26 | 12:44 | ERIKA |  | 0.20 | 0.15 | / | / |  |  |  |  | 3.64 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 4 | Old A | 2025-09-26 | 13:13 | 2025-09-26 | 12:44 | ERIKA |  | 0.18 | 0.17 | / | / |  |  |  |  | 3.45 |  |  | Andrea V |  | 3 | 2
3 | 0.72 | 5 | Old A | 2025-09-26 | 13:14 | 2025-09-26 | 12:44 | ERIKA |  | 0.70 | 0.67 | / | / |  |  |  |  | 3.96 |  |  | Andrea V |  | 3 | 3
2 | 0.18 | 6 | Valid | 2025-09-26 | 13:22 | 2025-09-26 | 12:44 | ERIKA |  | 0.18 | 0.17 | / | / |  |  |  |  | 0.63 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 7 | Valid | 2025-09-26 | 13:28 | 2025-09-26 | 12:44 | ERIKA |  | 0.16 | 0.19 | / | / |  | 1.175 |  |  | 0.86 |  |  | Andrea V |  | 3 | 2
3 | 0.72 | 8 | Valid | 2025-09-26 | 13:31 | 2025-09-26 | 12:44 | ERIKA |  | 0.74 | 0.73 | / | / |  | 1.181 |  |  | 0.75 |  |  | Andrea V |  | 3 | 3 | 20635
2 | 0.18 | 9 | Valid | 2025-09-26 | 13:36 | 2025-09-26 | 12:44 | ERIKA |  | 0.27 | 0.30 | / | / |  |  |  |  | 0.67 |  |  | Andrea V |  | 3 | 2 | 20635
2 | 0.18 | 10 | Valid | 2025-09-26 | 13:57 | 2025-09-26 | 12:44 | ERIKA |  | 0.16 | 0.17 | / | / |  |  |  |  | 1.00 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 11 | Valid | 2025-09-26 | 13:58 | 2025-09-26 | 12:44 | ERIKA |  | 0.15 | 0.16 | / | / |  |  |  |  | 0.67 |  |  | Andrea V |  | 3 | 2
3 | 0.72 | 12 | Valid | 2025-09-26 | 14:08 | 2025-09-26 | 12:44 | ERIKA |  | 0.71 | 0.71 | / | / |  |  |  |  | 1.28 |  |  | Andrea V |  | 3 | 3
3 | 0.72 | 13 | Valid | 2025-09-26 | 14:08 | 2025-09-26 | 12:44 | ERIKA |  | 0.73 | 0.72 | / | / |  | 1.165 |  |  | 0.84 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 14 | Valid | 2025-09-26 | 14:13 | 2025-09-26 | 12:44 | ERIKA |  | 0.00 | 0.01 | / | / |  |  |  |  | 0.62 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 15 | Valid | 2025-09-26 | 14:13 | 2025-09-26 | 12:44 | ERIKA |  | 0.00 | 0.01 | / | / |  |  |  |  | 0.72 |  |  | Andrea V |  | 3 | 1
2 | 0.18 | 16 | P/FINAL | 2025-09-29 | - | 2025-09-29 | - | ROLAND |  | - | - | / | / | - |  |  |  | - |  |  | Kinga |  | 3 | 2 | 85012
2 | 0.18 | 17 | P/FINAL | 2025-09-29 | - | 2025-09-29 | - | ROLAND |  | - | - | / | / | - |  |  |  | - |  |  | Kinga |  | 3 | 2 | 85012
3 | 0.72 | 18 | P/FINAL | 2025-09-29 | 12:43 | 2025-09-29 | 12:28 | ROLAND | 2 | 0.72 | 0.72 | / | / |  |  |  |  | 0.85 | 174 |  | Andrea V |  | 3 | 3 | 112855
3 | 0.72 | 19 | P/FINAL | 2025-09-29 | 12:49 | 2025-09-29 | 12:28 | ROLAND | 2 | 0.71 | 0.72 | / | / |  |  |  |  | 0.87 | 183 |  | Andrea V |  | 3 | 3 | 112855
3 | 0.72 | 20 | P/FINAL | 2025-09-29 | 12:49 | 2025-09-29 | 12:28 | ROLAND | 2 | 0.76 | 0.78 | / | / |  |  |  |  | 1.01 | 176 |  | Andrea V |  | 3 | 3 | 112855
1 | 0.00 | 21 | P/FINAL | 2025-09-29 | 12:54 | 2025-09-29 | 12:28 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 1.70 | 183 |  | Andrea V |  | 3 | 1 | 112855
1 | 0.00 | 22 | P/FINAL | 2025-09-29 | 12:55 | 2025-09-29 | 12:28 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 0.91 | 182 |  | Andrea V |  | 3 | 1 | 112855
1 | 0.00 | 23 | Old A | 2025-09-29 | 14:12 | 2025-09-29 | 12:28 | ROLAND |  | 0.00 | 0.00 | / | / |  |  |  |  | 0.93 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 24 | Old A | 2025-09-29 | 14:12 | 2025-09-29 | 12:28 | ROLAND |  | 0.00 | 0.00 | / | / |  |  |  |  | 0.85 |  |  | Andrea V |  | 3 | 1
3 | 0.72 | 25 | Old A | 2025-09-29 | 14:17 | 2025-09-29 | 12:28 | ROLAND |  | 0.72 | 0.69 | / | / |  |  |  |  | 1.50 |  |  | Andrea V |  | 3 | 3
3 | 0.72 | 26 | Old A | 2025-09-29 | 14:18 | 2025-09-29 | 12:28 | ROLAND |  | 0.72 | 0.71 | / | / |  |  |  |  | 1.48 |  |  | Andrea V |  | 3 | 3
2 | 0.18 | 27 | Old A | 2025-09-29 | 14:26 | 2025-09-29 | 12:28 | ROLAND |  | 0.18 | 0.17 | / | / |  |  |  |  | 1.59 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 28 | Old A | 2025-09-29 | 14:26 | 2025-09-29 | 12:28 | ROLAND |  | 0.18 | 0.17 | / | / |  |  |  |  | 1.23 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 29 | P/FINAL | 2025-09-29 | 14:27 | 2025-09-29 | 12:28 | ROLAND |  | 0.15 | 0.16 | / | / |  |  |  |  | 0.78 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 30 | P/FINAL | 2025-09-29 | 14:29 | 2025-09-29 | 12:28 | ROLAND |  | 0.16 | 0.16 | / | / |  | 1.168 |  |  | 1.43 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 31 | P/FINAL | 2025-09-29 | 14:34 | 2025-09-29 | 12:28 | ROLAND |  | 0.17 | 0.18 | / | / |  |  |  |  | 1.32 |  |  | Andrea V |  | 3 | 2
1 | 0.00 | 32 | P/FINAL | 2025-09-29 | 15:55 | 2025-09-29 | 14:36 | ELENA | 2 | 0.00 | 0.00 | / | / |  | 1.357 |  |  | 1.13 |  |  | Kinga |  | 3 | 1 | 112855
1 | 0.00 | 33 | P/FINAL | 2025-09-29 | 15:55 | 2025-09-29 | 14:36 | ELENA | 2 | 0.01 | 0.00 | / | / |  |  |  |  | 1.05 | 183 |  | Kinga |  | 3 | 1 | 112855
2 | 0.18 | 34 | P/FINAL | 2025-09-29 | 15:55 | 2025-09-29 | 14:36 | ELENA | 2 | 0.16 | 0.21 | / | / |  |  |  |  | 0.92 | 173 |  | Kinga |  | 3 | 2 | 112855
2 | 0.18 | 35 | P/FINAL | 2025-09-29 | 15:56 | 2025-09-29 | 14:36 | ELENA | 2 | 0.16 | 0.16 | / | / |  | 1.186 |  |  | 0.84 | 178 |  | Kinga |  | 3 | 2 | 112855
2 | 0.18 | 36 | P/FINAL | 2025-09-29 | 15:56 | 2025-09-29 | 14:36 | ELENA | 2 | 0.16 | 0.16 | / | / |  |  |  |  | 0.85 | 167 |  | Kinga |  | 3 | 2 | 112855
3 | 0.72 | 37 | P/FINAL | 2025-09-29 | 15:56 | 2025-09-29 | 14:36 | ELENA | 2 | 0.75 | 0.75 | / | / |  |  |  |  | 0.99 |  |  | Kinga |  | 3 | 3 | 112855
3 | 0.72 | 38 | P/FINAL | 2025-09-29 | 15:57 | 2025-09-29 | 14:36 | ELENA | 2 | 0.73 | 0.75 | / | / |  |  |  |  | 1.46 |  |  | Kinga |  | 3 | 3 | 112855
3 | 0.72 | 39 | P/FINAL | 2025-09-29 | 15:57 | 2025-09-29 | 14:36 | ELENA | 2 | 0.70 | 0.73 | / | / |  | 1.188 |  |  | 0.88 |  |  | Kinga |  | 3 | 3 | 112855
1 | 0.00 | 40 | P/FINAL | 2025-09-30 | 08:22 | 2025-09-30 | 08:08 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 1.21 |  |  | Kinga |  | 3 | 1 | 112855
1 | 0.00 | 41 | P/FINAL | 2025-09-30 | 08:22 | 2025-09-30 | 08:08 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 0.95 |  |  | Kinga |  | 3 | 1 | 112855
1 | 0.00 | 42 | Old A | 2025-09-30 | 08:24 | 2025-09-30 | 08:08 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 0.98 |  |  | Kinga |  | 3 | 1 | 112855
1 | 0.00 | 43 | Old A | 2025-09-30 | 08:24 | 2025-09-30 | 08:08 | ROLAND | 2 | 0.00 | 0.00 | / | / |  | 1.163 |  |  | 0.89 |  |  | Kinga |  | 3 | 1 | 112855
2 | 0.18 | 44 | Old A | 2025-09-30 | 08:25 | 2025-09-30 | 08:08 | ROLAND | 2 | 0.18 | 0.20 | / | / |  |  |  |  | 1.23 |  |  | Kinga |  | 3 | 2 | 112855
2 | 0.18 | 45 | Old A | 2025-09-30 | 08:25 | 2025-09-30 | 08:08 | ROLAND | 2 | 0.17 | 0.18 | / | / |  |  |  |  | 1.22 |  |  | Kinga |  | 3 | 2 | 112855
2 | 0.18 | 46 | P/FINAL | 2025-09-30 | 08:26 | 2025-09-30 | 08:08 | ROLAND | 2 | 0.20 | 0.18 | / | / |  |  |  |  | 1.25 | 166 |  | Kinga |  | 3 | 2 | 112855
2 | 0.18 | 47 | P/FINAL | 2025-09-30 | 08:27 | 2025-09-30 | 08:08 | ROLAND | 2 | 0.18 | 0.15 | / | / |  |  |  |  | 1.32 | 168 |  | Kinga |  | 3 | 2 | 112855
2 | 0.18 | 48 | P/FINAL | 2025-09-30 | 08:28 | 2025-09-30 | 08:08 | ROLAND | 2 | 0.16 | 0.17 | / | / |  | 1.228 |  |  | 1.32 | 170 |  | Kinga |  | 3 | 2 | 112855
3 | 0.72 | 49 | Old A | 2025-09-30 | 08:30 | 2025-09-30 | 08:08 | ROLAND | 2 | 0.72 | 0.70 | / | / |  |  |  |  | 1.80 | 172 |  | Kinga |  | 3 | 3 | 112855
3 | 0.72 | 50 | Old A | 2025-09-30 | 08:31 | 2025-09-30 | 08:08 | ROLAND | 2 | 0.71 | 0.70 | / | / |  |  |  |  | 1.79 | 182 |  | Kinga |  | 3 | 3 | 112855
3 | 0.72 | 51 | P/FINAL | 2025-09-30 | 08:35 | 2025-09-30 | 08:08 | ROLAND | 2 | 0.72 | 0.72 | / | / |  |  |  |  | 1.17 | 167 |  | Kinga |  | 3 | 3 | 112855
3 | 0.72 | 52 | P/FINAL | 2025-09-30 | 08:36 | 2025-09-30 | 08:08 | ROLAND | 2 | 0.75 | 0.75 | / | / |  | 1.137 |  |  | 1.35 |  |  | Kinga |  | 3 | 3 | 112855
3 | 0.72 | 53 | P/FINAL | 2025-09-30 | 08:36 | 2025-09-30 | 08:08 | ROLAND | 2 | 0.72 | 0.74 | / | / |  |  |  |  | 1.35 |  |  | Kinga |  | 3 | 3 | 112855
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.73 mg/L | 9 | 18 | 0.73 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.00 | YES
0.18 | 0.15 ÷ 0.21 | 0.14 | NO
0.72 | 0.66 ÷ 0.78 | 0.73 | YES
Validation Date | by