## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
1228 | HI774-0 | CP-R71 | W 44/1 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate ULR Reagent | 2028-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 0.90 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-03 | 2025-11-06 | 2 HEAD |  |  | 1218 |  | 2 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
2028-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO-730 | HI97115 | CTO-740
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.18 | 0.15 | 0.21 |  | MR104 |  | 0.02 | & | 5% | 100% |  | 1.5 | 1.2 | 1.6
3 | 0.72 | 0.66 | 0.78
1 | 0.00 | 0.00 | 0.02
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97115 | M. 2 HI97115 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.18 | 1 | Old A | 2025-11-03 | 08:19 | 2025-10-31 | 15:25 | ERIKA |  | 0.19 | 0.19 | / | / |  |  |  |  | 3.00 |  |  | Kinga |  | 3 | 2 | 95240
2 | 0.18 | 2 | Old A | 2025-11-03 | 08:20 | 2025-10-31 | 15:25 | ERIKA |  | 0.19 | 0.20 | / | / |  |  |  |  | 2.06 |  |  | Kinga |  | 3 | 2 | 95240
3 | 0.72 | 3 | Old A | 2025-11-03 | 08:21 | 2025-10-31 | 15:25 | ERIKA |  | 0.73 | 0.73 | / | / |  |  |  |  | 1.91 |  |  | Kinga |  | 3 | 3 | 95240
3 | 0.72 | 4 | Old A | 2025-11-03 | 08:21 | 2025-10-31 | 15:25 | ERIKA |  | 0.76 | 0.73 | / | / |  |  |  |  | 1.78 |  |  | Kinga |  | 3 | 3 | 95240
1 | 0.00 | 5 | Old A | 2025-11-03 | 08:22 | 2025-10-31 | 15:25 | ERIKA |  | 0.01 | 0.01 | / | / |  |  |  |  | 2.69 |  |  | Kinga |  | 3 | 1 | 95240
1 | 0.00 | 6 | Old A | 2025-11-03 | 08:22 | 2025-10-31 | 15:25 | ERIKA |  | 0.00 | 0.00 | / | / |  |  |  |  | 2.53 |  |  | Kinga |  | 3 | 1 | 95240
2 | 0.18 | 7 | Valid | 2025-11-03 | 08:28 | 2025-10-31 | 15:25 | ERIKA |  | 0.18 | 0.17 | / | / |  |  |  |  | 1.15 |  |  | Kinga |  | 3 | 2 | 95240
2 | 0.18 | 8 | Valid | 2025-11-03 | 08:29 | 2025-10-31 | 15:25 | ERIKA |  | 0.17 | 0.18 | / | / |  | 1.215 |  |  | 0.81 |  |  | Kinga |  | 3 | 2 | 95240
2 | 0.18 | 9 | Valid | 2025-11-03 | 08:29 | 2025-10-31 | 15:25 | ERIKA |  | 0.18 | 0.20 | / | / |  |  |  |  | 0.83 |  |  | Kinga |  | 3 | 2 | 95240
3 | 0.72 | 10 | Valid | 2025-11-03 | 08:30 | 2025-10-31 | 15:25 | ERIKA |  | 0.78 | 0.76 | / | / |  |  |  |  | 8.88 |  |  | Kinga |  | 3 | 3 | 95240
3 | 0.72 | 11 | Valid | 2025-11-03 | 08:31 | 2025-10-31 | 15:25 | ERIKA |  | 0.76 | 0.78 | / | / |  |  |  |  | 1.86 |  |  | Kinga |  | 3 | 3 | 95240
3 | 0.72 | 12 | Valid | 2025-11-03 | 08:31 | 2025-10-31 | 15:25 | ERIKA |  | 0.76 | 0.77 | / | / |  | 1.241 |  |  | 1.89 |  |  | Kinga |  | 3 | 3 | 95240
1 | 0.00 | 13 | Valid | 2025-11-03 | 08:36 | 2025-10-31 | 15:25 | ERIKA |  | 0.02 | 0.02 | / | / |  |  |  |  | 1.18 |  |  | Kinga |  | 3 | 1 | 95240
1 | 0.00 | 14 | Valid | 2025-11-03 | 08:36 | 2025-10-31 | 15:25 | ERIKA |  | 0.01 | 0.02 | / | / |  | 1.306 |  |  | 1.21 |  |  | Kinga |  | 3 | 1 | 95240
2 | 0.18 | 15 | P/FINAL | 2025-11-05 | 09:25 | 2025-11-05 | 07:30 | ELENA | 2 | 0.17 | 0.17 | / | / |  |  |  |  | 0.43 |  |  | Andrea V |  | 3 | 2 | 95240
2 | 0.18 | 16 | P/FINAL | 2025-11-05 | 09:26 | 2025-11-05 | 07:30 | ELENA | 2 | 0.21 | 0.18 | / | / |  | 1.266 |  |  | 0.67 | 176 |  | Andrea V |  | 3 | 2 | 95240
2 | 0.18 | 17 | P/FINAL | 2025-11-05 | 09:27 | 2025-11-05 | 07:30 | ELENA | 2 | 0.17 | 0.18 | / | / |  |  |  |  | 0.56 | 167 |  | Andrea V |  | 3 | 2 | 95240
3 | 0.72 | 18 | P/FINAL | 2025-11-05 | 09:27 | 2025-11-05 | 07:30 | ELENA | 2 | 0.72 | 0.71 | / | / |  |  |  |  | 0.50 |  |  | Andrea V |  | 3 | 3 | 95240
3 | 0.72 | 19 | P/FINAL | 2025-11-05 | 09:28 | 2025-11-05 | 07:30 | ELENA | 2 | 0.76 | 0.75 | / | / |  | 1.255 |  |  | 0.55 | 166 |  | Andrea V |  | 3 | 3 | 95240
3 | 0.72 | 20 | P/FINAL | 2025-11-05 | 09:29 | 2025-11-05 | 07:30 | ELENA | 2 | 0.75 | 0.74 | / | / |  |  |  |  | 0.79 | 153 |  | Andrea V |  | 3 | 3 | 95240
1 | 0.00 | 21 | P/FINAL | 2025-11-05 | 09:31 | 2025-11-05 | 07:30 | ELENA | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 0.66 | 177 |  | Andrea V |  | 3 | 1 | 95240
1 | 0.00 | 22 | P/FINAL | 2025-11-05 | 09:32 | 2025-11-05 | 07:30 | ELENA | 2 | 0.00 | 0.00 | / | / |  | 1.254 |  |  | 0.53 | 166 |  | Andrea V |  | 3 | 1 | 95240
2 | 0.18 | 23 | Old A | 2025-11-05 | 09:42 | 2025-11-05 | 07:30 | ELENA | 2 | 0.19 | 0.19 | / | / |  |  |  |  | 1.45 |  |  | Andrea V |  | 3 | 2 | 95240
2 | 0.18 | 24 | Old A | 2025-11-05 | 09:42 | 2025-11-05 | 07:30 | ELENA | 2 | 0.19 | 0.19 | / | / |  | 1.426 |  |  | 1.51 |  |  | Andrea V |  | 3 | 2 | 95240
3 | 0.72 | 25 | Old A | 2025-11-05 | 09:44 | 2025-11-05 | 07:30 | ELENA | 2 | 0.72 | 0.73 | / | / |  |  |  |  | 1.22 | 184 |  | Andrea V |  | 3 | 3 | 95240
3 | 0.72 | 26 | Old A | 2025-11-05 | 09:45 | 2025-11-05 | 07:30 | ELENA | 2 | 0.74 | 0.75 | / | / |  |  |  |  | 1.27 | 190 |  | Andrea V |  | 3 | 3 | 95240
1 | 0.00 | 27 | Old A | 2025-11-05 | 09:46 | 2025-11-05 | 07:30 | ELENA | 2 | 0.02 | 0.00 | / | / |  |  |  |  | 1.10 | 183 |  | Andrea V |  | 3 | 1 | 95240
1 | 0.00 | 28 | Old A | 2025-11-05 | 09:47 | 2025-11-05 | 07:30 | ELENA | 2 | 0.02 | 0.02 | / | / |  | 1.465 |  |  | 1.14 | 173 |  | Andrea V |  | 3 | 1 | 95240
3 | 0.72 | 29 | P/FINAL | 2025-11-06 | 15:29 | 2025-11-06 | 14:40 | ROLAND | 2 | 0.78 | 0.78 | / | / |  |  |  |  | 1.57 | 157 |  | Kinga |  | 3 | 3 | 95240
3 | 0.72 | 30 | P/FINAL | 2025-11-06 | 15:30 | 2025-11-06 | 14:40 | ROLAND | 2 | 0.77 | 0.78 | / | / |  |  |  |  | 2.0 |  |  | Kinga |  | 3 | 3 | 95240
3 | 0.72 | 31 | P/FINAL | 2025-11-06 | 15:32 | 2025-11-06 | 14:40 | ROLAND | 2 | 0.76 | 0.77 | / | / |  | 1.337 |  |  | 1.16 |  |  | Kinga |  | 3 | 3 | 95240
2 | 0.18 | 32 | P/FINAL | 2025-11-06 | 15:33 | 2025-11-06 | 14:40 | ROLAND | 2 | 0.21 | 0.21 | / | / |  |  |  |  | 0.65 |  |  | Kinga |  | 3 | 2 | 95240
2 | 0.18 | 33 | P/FINAL | 2025-11-06 | 15:33 | 2025-11-06 | 14:40 | ROLAND | 2 | 0.21 | 0.21 | / | / |  |  |  |  | 0.90 |  |  | Kinga |  | 3 | 2 | 95240
2 | 0.18 | 34 | P/FINAL | 2025-11-06 | 15:34 | 2025-11-06 | 14:40 | ROLAND | 2 | 0.19 | 0.20 | / | / |  |  |  |  | 0.86 |  |  | Kinga |  | 3 | 2 | 95240
3 | 0.72 | 35 | Old A | 2025-11-06 | 15:35 | 2025-11-06 | 14:40 | ROLAND | 2 | 0.75 | 0.76 | / | / |  |  |  |  | 0.73 |  |  | Kinga |  | 3 | 3 | 95240
3 | 0.72 | 36 | Old A | 2025-11-06 | 15:36 | 2025-11-06 | 14:40 | ROLAND | 2 | 0.77 | 0.78 | / | / |  |  |  |  | 1.33 |  |  | Kinga |  | 3 | 3 | 95240
2 | 0.18 | 37 | Old A | 2025-11-06 | 15:44 | 2025-11-06 | 14:40 | ROLAND | 2 | 0.21 | 0.21 | / | / |  |  |  |  | 8.42 |  |  | Kinga |  | 3 | 2 | 95240
2 | 0.18 | 38 | Old A | 2025-11-06 | 15:46 | 2025-11-06 | 14:40 | ROLAND | 2 | 0.20 | 0.21 | / | / |  |  |  |  | 5.02 |  |  | Kinga |  | 3 | 2 | 95240
1 | 0.00 | 39 | Old A | 2025-11-06 | 15:47 | 2025-11-06 | 14:40 | ROLAND | 2 | 0.02 | 0.03 | / | / |  |  |  |  | 3.47 |  |  | Kinga |  | 3 | 1 | 95240
2 | 0.18 | 40 | Old A | 2025-11-10 | 08:23 | 2025-11-10 | 07:50 | ROLAND | 2 | 0.20 | 0.20 | / | / |  |  |  |  | 0.70 |  |  | Kinga |  | 3 | 2 | 95240
2 | 0.18 | 41 | Old A | 2025-11-10 | 08:23 | 2025-11-10 | 07:50 | ROLAND | 2 | 0.21 | 0.21 | / | / |  |  |  |  | 1.16 |  |  | Kinga |  | 3 | 2 | 95240
3 | 0.72 | 42 | Old A | 2025-11-10 | 08:24 | 2025-11-10 | 07:50 | ROLAND | 2 | 0.77 | 0.78 | / | / |  |  |  |  | 1.84 |  |  | Kinga |  | 3 | 3 | 95240
3 | 0.72 | 43 | Old A | 2025-11-10 | 08:25 | 2025-11-10 | 07:50 | ROLAND | 2 | 0.73 | 0.73 | / | / |  |  |  |  | 1.54 |  |  | Kinga |  | 3 | 3 | 95240
1 | 0.00 | 44 | P/FINAL | 2025-11-10 | 08:31 | 2025-11-10 | 07:50 | ROLAND | 2 | 0.04 | 0.02 | / | / |  |  |  |  | 1.48 |  |  | Kinga |  | 3 | 1 | 95240
1 | 0.00 | 45 | Old A | 2025-11-10 | 08:31 | 2025-11-10 | 07:50 | ROLAND | 2 | 0.04 | 0.01 | / | / |  |  |  |  | 1.87 |  |  | Kinga |  | 3 | 1 | 95240
2 | 0.18 | 46 | P/FINAL | 2025-11-10 | 08:39 | 2025-11-10 | 07:50 | ROLAND | 2 | 0.18 | 0.19 | / | / |  |  |  |  | 0.69 | 166 |  | Kinga |  | 3 | 2 | 95240
2 | 0.18 | 47 | P/FINAL | 2025-11-10 | 08:39 | 2025-11-10 | 07:50 | ROLAND | 2 | 0.21 | 0.21 | / | / |  | 1.420 |  |  | 1.30 | 181 |  | Kinga |  | 3 | 2 | 95240
2 | 0.18 | 48 | P/FINAL | 2025-11-10 | 08:40 | 2025-11-10 | 07:50 | ROLAND | 2 | 0.15 | 0.16 | / | / |  |  |  |  | 1.71 | 182 |  | Kinga |  | 3 | 2 | 95240
3 | 0.72 | 49 | P/FINAL | 2025-11-10 | 08:41 | 2025-11-10 | 07:50 | ROLAND | 2 | 0.77 | 0.78 | / | / |  |  |  |  | 1.25 | 175 |  | Kinga |  | 3 | 3 | 95240
3 | 0.72 | 50 | P/FINAL | 2025-11-10 | 08:41 | 2025-11-10 | 07:50 | ROLAND | 2 | 0.75 | 0.76 | / | / |  |  |  |  | 0.75 | 175 |  | Kinga |  | 3 | 3 | 95240
3 | 0.72 | 51 | P/FINAL | 2025-11-10 | 08:42 | 2025-11-10 | 07:50 | ROLAND | 2 | 0.76 | 0.77 | / | / |  | 1.312 |  |  | 0.87 | 168 |  | Kinga |  | 3 | 3 | 95240
1 | 0.00 | 52 | P/FINAL | 2025-11-10 | 08:43 | 2025-11-10 | 07:50 | ROLAND | 2 | 0.04 | 0.02 | / | / |  |  |  |  | 1.00 |  |  | Kinga |  | 3 | 1 | 95240
1 | 0.00 | 53 | P/FINAL | 2025-11-10 | 08:44 | 2025-11-10 | 07:50 | ROLAND | 2 | 0.02 | 0.02 | / | / |  | 1.447 |  |  | 2.14 |  |  | Kinga |  | 3 | 1 | 95240
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.19 mg/L | 9 | 18 | 0.19 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.76 mg/L | 9 | 18 | 0.76 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0.02 mg/L | 5 | 10 | 0.02 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.02 | YES
0.18 | 0.15 ÷ 0.21 | 0.19 | YES
0.72 | 0.66 ÷ 0.78 | 0.76 | YES
Validation Date | by