## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
1250 | HI774-0 | CP-R71 | W 47/1 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate ULR Reagent | 2028-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 0.90 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-20 | 2025-11-25 | 2 HEAD |  |  | 1008
[6 empty] | Expiration A | Expiration B | Expiration D
2028-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO-708 | HI97115 | CTO-743
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.18 | 0.15 | 0.21 |  | MR104 |  | 0.02 | & | 5% | 100% |  | 1.5 | 1.2 | 1.6
1 | 0.00 | 0.00 | 0.02
3 | 0.72 | 0.66 | 0.78
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97115 | M. 2 HI97115 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.18 | 1 | Old A | 2025-11-20 | 13:50 | 2025-11-20 | 13:21 | ERIKA |  | 0.19 | 0.20 | / | / |  |  |  |  | 7.98 |  |  | Kinga |  | 3 | 2 | 95240
2 | 0.18 | 2 | Old A | 2025-11-20 | 13:51 | 2025-11-20 | 13:21 | ERIKA |  | 0.20 | 0.20 | / | / |  |  |  |  | 10.9 |  |  | Kinga |  | 3 | 2 | 95240
1 | 0.00 | 3 | Old A | 2025-11-20 | 13:56 | 2025-11-20 | 13:21 | ERIKA |  | 0.02 | 0.03 | / | / |  |  |  |  | 6.42 |  |  | Kinga |  | 3 | 1 | 95240
1 | 0.00 | 4 | Old A | 2025-11-20 | 13:57 | 2025-11-20 | 13:21 | ERIKA |  | 0.02 | 0.02 | / | / |  |  |  |  | 6.12 |  |  | Kinga |  | 3 | 1 | 95240
2 | 0.18 | 5 | Valid | 2025-11-20 | 13:58 | 2025-11-20 | 13:21 | ERIKA |  | 0.16 | 0.17 | / | / |  | 1.201 |  |  | 2.26 |  |  | Kinga |  | 3 | 2 | 95240
2 | 0.18 | 6 | Valid | 2025-11-20 | 13:59 | 2025-11-20 | 13:21 | ERIKA |  | 0.16 | 0.16 | / | / |  |  |  |  | 1.21 |  |  | Kinga |  | 3 | 2 | 95240
2 | 0.18 | 7 | Valid | 2025-11-20 | 13:59 | 2025-11-20 | 13:21 | ERIKA |  | 0.18 | 0.19 | / | / |  |  |  |  | 2.21 |  |  | Kinga |  | 3 | 2 | 95240
3 | 0.72 | 8 | Valid | 2025-11-20 | 14:02 | 2025-11-20 | 13:21 | ERIKA |  | 0.70 | 0.67 | / | / |  | 1.217 |  |  | 1.53 |  |  | Kinga |  | 3 | 3 | 95240
3 | 0.72 | 9 | Valid | 2025-11-20 | 14:03 | 2025-11-20 | 13:21 | ERIKA |  | 0.78 | 0.78 | / | / |  |  |  |  | 1.91 |  |  | Kinga |  | 3 | 3 | 95240
3 | 0.72 | 10 | Valid | 2025-11-20 | 14:05 | 2025-11-20 | 13:21 | ERIKA |  | 0.71 | 0.69 | / | / |  |  |  |  | 1.58 |  |  | Kinga |  | 3 | 3 | 95240
1 | 0.00 | 11 | Valid | 2025-11-20 | 14:14 | 2025-11-20 | 13:21 | ERIKA |  | 0.00 | 0.00 | / | / |  | 1.216 |  |  | 1.05 |  |  | Kinga |  | 3 | 1 | 95240
1 | 0.00 | 12 | Valid | 2025-11-20 | 14:15 | 2025-11-20 | 13:21 | ERIKA |  | 0.00 | 0.00 | / | / |  |  |  |  | 2.28 |  |  | Kinga |  | 3 | 1 | 95240
2 | 0.18 | 13 | Old A | 2025-11-24 | 09:27 | 2025-11-24 | 08:19 | Roland | 2 | 0.21 | 0.21 | / | / |  |  |  |  | 19.3 |  |  | Kinga |  | 3 | 2 | 95240
2 | 0.18 | 14 | Old A | 2025-11-24 | 09:28 | 2025-11-24 | 08:19 | Roland | 2 | 0.19 | 0.20 | / | / |  |  |  |  | 13.0 |  |  | Kinga |  | 3 | 2 | 95240
3 | 0.72 | 15 | Old A | 2025-11-24 | 09:29 | 2025-11-24 | 08:19 | Roland | 2 | 0.77 | 0.76 | / | / |  |  |  |  | 10.6 |  |  | Kinga |  | 3 | 3 | 95240
3 | 0.72 | 16 | Old A | 2025-11-24 | 09:30 | 2025-11-24 | 08:19 | Roland | 2 | 0.73 | 0.77 | / | / |  |  |  |  | 17.7 |  |  | Kinga |  | 3 | 3 | 95240
1 | 0.00 | 17 | Old A | 2025-11-24 | 09:32 | 2025-11-24 | 08:19 | Roland | 2 | 0.01 | 0.02 | / | / |  |  |  |  | 0.10 |  |  | Kinga |  | 3 | 1 | 95240
2 | 0.18 | 18 | P/FINAL | 2025-11-24 | 09:39 | 2025-11-24 | 08:19 | Roland | 2 | 0.16 | 0.17 | / | / |  |  |  |  | 2.95 |  |  | Kinga |  | 3 | 2 | 95240
2 | 0.18 | 19 | P/FINAL | 2025-11-24 | 09:40 | 2025-11-24 | 08:19 | Roland | 2 | 0.17 | 0.16 | / | / |  | 1.196 |  |  | 2.62 | 152 |  | Kinga |  | 3 | 2 | 95240
2 | 0.18 | 20 | P/FINAL | 2025-11-24 | 09:43 | 2025-11-24 | 08:19 | Roland | 2 | 0.17 | 0.16 | / | / |  |  |  |  | 1.13 | 182 |  | Kinga |  | 3 | 2 | 95240
3 | 0.72 | 21 | P/FINAL | 2025-11-24 | 09:46 | 2025-11-24 | 08:19 | Roland | 2 | 0.76 | 0.73 | / | / |  |  |  |  | 3.34 | 187 |  | Kinga |  | 3 | 3 | 95240
3 | 0.72 | 22 | P/FINAL | 2025-11-24 | 09:47 | 2025-11-24 | 08:19 | Roland | 2 | 0.70 | 0.71 | / | / |  | 1.232 |  |  | 2.54 | 176 |  | Kinga |  | 3 | 3 | 95240
3 | 0.72 | 23 | P/FINAL | 2025-11-24 | 09:49 | 2025-11-24 | 08:19 | Roland | 2 | 0.70 | 0.71 | / | / |  |  |  |  | 5.29 | 145 |  | Kinga |  | 3 | 3 | 95240
1 | 0.00 | 24 | P/FINAL | 2025-11-24 | 09:55 | 2025-11-24 | 08:19 | Roland | 2 | 0.00 | 0.01 | / | / |  | 1.324 |  |  | 3.16 | 177 |  | Kinga |  | 3 | 1 | 95240
1 | 0.00 | 25 | P/FINAL | 2025-11-24 | 09:56 | 2025-11-24 | 08:19 | Roland | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 1.48 | 198 |  | Kinga |  | 3 | 1 | 95240
2 | 0.18 | 26 | P/FINAL | 2025-11-24 | 15:05 | 2025-11-24 | 14:15 | ELENA | 2 | 0.18 | 0.19 | / | / |  | 1.170 |  |  | 1.51 |  |  | Kinga |  | 3 | 2
2 | 0.18 | 27 | P/FINAL | 2025-11-24 | 15:05 | 2025-11-24 | 14:15 | ELENA | 2 | 0.20 | 0.20 | / | / |  |  |  |  | 2.37 |  |  | Kinga |  | 3 | 2
2 | 0.18 | 28 | P/FINAL | 2025-11-24 | 15:06 | 2025-11-24 | 14:15 | ELENA | 2 | 0.19 | 0.19 | / | / |  |  |  |  | 2.05 | 170 |  | Kinga |  | 3 | 2
3 | 0.72 | 29 | P/FINAL | 2025-11-24 | 15:07 | 2025-11-24 | 14:15 | ELENA | 2 | 0.74 | 0.73 | / | / |  | 1.152 |  |  | 1.88 | 170 |  | Kinga |  | 3 | 3
3 | 0.72 | 30 | P/FINAL | 2025-11-24 | 15:08 | 2025-11-24 | 14:15 | ELENA | 2 | 0.76 | 0.74 | / | / |  |  |  |  | 1.89 | 171 |  | Kinga |  | 3 | 3
3 | 0.72 | 31 | P/FINAL | 2025-11-24 | 15:09 | 2025-11-24 | 14:15 | ELENA | 2 | 0.74 | 0.72 | / | / |  |  |  |  | 2.11 | 157 |  | Kinga |  | 3 | 3
1 | 0.00 | 32 | P/FINAL | 2025-11-24 | 15:18 | 2025-11-24 | 14:15 | ELENA | 2 | 0.02 | 0.03 | / | / |  |  |  |  | 2.00 | 156 |  | Kinga |  | 3 | 1
1 | 0.00 | 33 | P/FINAL | 2025-11-24 | 15:20 | 2025-11-24 | 14:15 | ELENA | 2 | 0.02 | 0.02 | / | / |  | 1.161 |  |  | 2.72 | 165 |  | Kinga |  | 3 | 1
1 | 0.00 | 34 | Old A | 2025-11-25 | 09:46 | 2025-11-25 | 08:18 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 1.25 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 35 | Old A | 2025-11-25 | 09:46 | 2025-11-25 | 08:18 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 1.37 |  |  | Kinga |  | 3 | 1
2 | 0.18 | 36 | Old A | 2025-11-25 | 09:47 | 2025-11-25 | 08:18 | ROLAND | 2 | 0.18 | 0.16 | / | / |  |  |  |  | 1.90 |  |  | Kinga |  | 3 | 2
2 | 0.18 | 37 | Old A | 2025-11-25 | 09:47 | 2025-11-25 | 08:18 | ROLAND | 2 | 0.17 | 0.15 | / | / |  |  |  |  | 1.08 |  |  | Kinga |  | 3 | 2
3 | 0.72 | 38 | Old A | 2025-11-25 | 09:47 | 2025-11-25 | 08:18 | ROLAND | 2 | 0.70 | 0.71 | / | / |  |  |  |  | 1.40 |  |  | Kinga |  | 3 | 3
3 | 0.72 | 39 | Old A | 2025-11-25 | 09:48 | 2025-11-25 | 08:18 | ROLAND | 2 | 0.71 | 0.71 | / | / |  |  |  |  | 1.30 |  |  | Kinga |  | 3 | 3
2 | 0.18 | 40 | P/FINAL | 2025-11-25 | 09:48 | 2025-11-25 | 08:18 | ROLAND | 2 | 0.19 | 0.16 | / | / |  |  |  |  | 1.66 |  |  | Kinga |  | 3 | 2
2 | 0.18 | 41 | P/FINAL | 2025-11-25 | 09:48 | 2025-11-25 | 08:18 | ROLAND | 2 | 0.16 | 0.16 | / | / |  | 1.206 |  |  | 0.92 |  |  | Kinga |  | 3 | 2
2 | 0.18 | 42 | P/FINAL | 2025-11-25 | 09:49 | 2025-11-25 | 08:18 | ROLAND | 2 | 0.19 | 0.19 | / | / |  |  |  |  | 1.53 | 151 |  | Kinga |  | 3 | 2
3 | 0.72 | 43 | P/FINAL | 2025-11-25 | 09:49 | 2025-11-25 | 08:18 | ROLAND | 2 | 0.72 | 0.70 | / | / |  |  |  |  | 2.40 | 177 |  | Kinga |  | 3 | 3
3 | 0.72 | 44 | P/FINAL | 2025-11-25 | 09:49 | 2025-11-25 | 08:18 | ROLAND | 2 | 0.72 | 0.72 | / | / |  | 1.187 |  |  | 1.79 | 179 |  | Kinga |  | 3 | 3
3 | 0.72 | 45 | P/FINAL | 2025-11-25 | 09:50 | 2025-11-25 | 08:18 | ROLAND | 2 | 0.72 | 0.72 | / | / |  |  |  |  | 1.43 | 154 |  | Kinga |  | 3 | 3
1 | 0.00 | 46 | P/FINAL | 2025-11-25 | 09:50 | 2025-11-25 | 08:18 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 3.19 | 164 |  | Kinga |  | 3 | 1
1 | 0.00 | 47 | P/FINAL | 2025-11-25 | 09:50 | 2025-11-25 | 08:18 | ROLAND | 2 | 0.00 | 0.00 | / | / |  | 1.138 |  |  | 1.23 | 163 |  | Kinga |  | 3 | 1
1 | 0.00 | 48 | P/FINAL | 2025-11-25 | 15:11 | 2025-11-25 | 14:10 | ELENA | 2 | 0.01 | 0.00 | / | / |  |  |  |  | 1.89 | 118 |  | Kinga |  | 3 | 1 | 103728
1 | 0.00 | 49 | P/FINAL | 2025-11-25 | 15:11 | 2025-11-25 | 14:10 | ELENA | 2 | 0.01 | 0.02 | / | / |  |  |  |  | 1.45 | 176 |  | Kinga |  | 3 | 1 | 103728
2 | 0.18 | 50 | P/FINAL | 2025-11-25 | 15:12 | 2025-11-25 | 14:10 | ELENA | 2 | 0.20 | 0.21 | / | / |  | 1.156 |  |  | 3.03 | 157 |  | Kinga |  | 3 | 2 | 103728
2 | 0.18 | 51 | P/FINAL | 2025-11-25 | 15:12 | 2025-11-25 | 14:10 | ELENA | 2 | 0.17 | 0.17 | / | / |  |  |  |  | 2.78 | 174 |  | Kinga |  | 3 | 2 | 103728
2 | 0.18 | 52 | P/FINAL | 2025-11-25 | 15:13 | 2025-11-25 | 14:10 | ELENA | 2 | 0.21 | 0.21 | / | / |  |  |  |  | 3.17 | 162 |  | Kinga |  | 3 | 2 | 103728
3 | 0.72 | 53 | P/FINAL | 2025-11-25 | 15:13 | 2025-11-25 | 14:10 | ELENA | 2 | 0.74 | 0.73 | / | / |  | 1.209 |  |  | 2.78 | 165 |  | Kinga |  | 3 | 3 | 103728
3 | 0.72 | 54 | P/FINAL | 2025-11-25 | 15:14 | 2025-11-25 | 14:10 | ELENA | 2 | 0.75 | 0.72 | / | / |  |  |  |  | 2.78 | 170 |  | Kinga |  | 3 | 3 | 103728
3 | 0.72 | 55 | P/FINAL | 2025-11-25 | 15:14 | 2025-11-25 | 14:10 | ELENA | 2 | 0.72 | 0.70 | / | / |  |  |  |  | 2.48 | 171 |  | Kinga |  | 3 | 3 | 103728
1 | 0.00 | 56 | P/FINAL | 2025-11-26 | 14:43 | 2025-11-26 | 14:11 | ELENA | 2 | 0.02 | 0.00 | / | / |  | 1.202 |  |  | 1.50 |  |  | Kinga |  | 3 | 1 | 103728
1 | 0.00 | 57 | P/FINAL | 2025-11-26 | 14:44 | 2025-11-26 | 14:11 | ELENA | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 2.01 | 148 |  | Kinga |  | 3 | 1 | 103728
2 | 0.18 | 58 | P/FINAL | 2025-11-26 | 14:45 | 2025-11-26 | 14:11 | ELENA | 2 | 0.15 | 0.16 | / | / |  |  |  |  | 1.76 | 168 |  | Kinga |  | 3 | 2 | 103728
2 | 0.18 | 59 | P/FINAL | 2025-11-26 | 14:45 | 2025-11-26 | 14:11 | ELENA | 2 | 0.16 | 0.17 | / | / |  |  |  |  | 1.15 | 170 |  | Kinga |  | 3 | 2 | 103728
2 | 0.18 | 60 | P/FINAL | 2025-11-26 | 14:46 | 2025-11-26 | 14:11 | ELENA | 2 | 0.18 | 0.19 | / | / |  | 1.174 |  |  | 1.21 | 153 |  | Kinga |  | 3 | 2 | 103728
3 | 0.72 | 61 | P/FINAL | 2025-11-26 | 14:51 | 2025-11-26 | 14:11 | ELENA | 2 | 0.67 | 0.68 | / | / |  | 1.209 |  |  | 3.40 | 167 |  | Kinga |  | 3 | 3 | 103728
3 | 0.72 | 62 | P/FINAL | 2025-11-26 | 14:52 | 2025-11-26 | 14:11 | ELENA | 2 | 0.73 | 0.75 | / | / |  |  |  |  | 3.47 | 170 |  | Kinga |  | 3 | 3 | 103728
3 | 0.72 | 63 | P/FINAL | 2025-11-26 | 14:52 | 2025-11-26 | 14:11 | ELENA | 2 | 0.78 | 0.78 | / | / |  |  |  |  | 2.92 | 162 |  | Kinga |  | 3 | 3 | 103728
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 0.18 mg/L | 9 | 18 | 0.18 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 0.01 mg/L | 10 | 20 | 0.01 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 0.73 mg/L | 15 | 30 | 0.73 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.01 | YES
0.18 | 0.15 ÷ 0.21 | 0.18 | YES
0.72 | 0.66 ÷ 0.78 | 0.73 | YES
Validation Date | by