## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI736-0 | HI774-0
1300 | HI774-0 | CP-R71 | W 04/1 |  | Parameter Formula | P-PO4 | PO4
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Phosphate ULR Reagent | 2029-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
180 | 165 | 195
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 0.90 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2026-01-20 | 2026-01-23 | 2 HEAD |  |  | 1250
[6 empty] | Expiration A | Expiration B | Expiration D
2028-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97715 | CTO-708 | HI97105 | CTO-743
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.18 | 0.15 | 0.21 |  | MR104 |  | 0.02 | & | 5% | 100% |  | 1.5 | 1.2 | 1.6
3 | 0.72 | 0.66 | 0.78
1 | 0.00 | 0.00 | 0.02
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97715 | M. 2 HI97105 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.18 | 1 | Old A | 2026-01-20 | 10:51 | 2026-01-20 | 08:31 | ERIKA |  | 0.19 | 0.21 | / | / |  |  |  |  | 1.91 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 2 | Old A | 2026-01-20 | 10:52 | 2026-01-20 | 08:31 | ERIKA |  | 0.20 | 0.21 | / | / |  |  |  |  | 1.53 |  |  | Andrea V |  | 3 | 2
3 | 0.72 | 3 | Old A | 2026-01-20 | 10:52 | 2026-01-20 | 08:31 | ERIKA |  | 0.75 | 0.75 | / | / |  |  |  |  | 1.96 |  |  | Andrea V |  | 3 | 3
3 | 0.72 | 4 | Old A | 2026-01-20 | 10:52 | 2026-01-20 | 08:31 | ERIKA |  | 0.76 | 0.75 | / | / |  |  |  |  | 1.88 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 5 | Old A | 2026-01-20 | 10:53 | 2026-01-20 | 08:31 | ERIKA |  | 0.01 | 0.02 | / | / |  |  |  |  | 1.76 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 6 | Old A | 2026-01-20 | 10:53 | 2026-01-20 | 08:31 | ERIKA |  | 0.13 | 0.13 | / | / |  |  |  |  | 2.11 |  |  | Andrea V |  | 3 | 1
2 | 0.18 | 7 | Valid | 2026-01-20 | 11:09 | 2026-01-20 | 08:31 | ERIKA |  | 0.20 | 0.18 | / | / |  |  |  |  | 0.51 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 8 | Valid | 2026-01-20 | 11:10 | 2026-01-20 | 08:31 | ERIKA |  | 0.18 | 0.19 | / | / |  | 1.331 |  |  | 0.65 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 9 | Valid | 2026-01-20 | 11:14 | 2026-01-20 | 08:31 | ERIKA |  | 0.19 | 0.21 | / | / |  |  |  |  | 0.58 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 10 | Valid | 2026-01-20 | 11:18 | 2026-01-20 | 08:31 | ERIKA |  | 0.74 | 0.72 | / | / |  |  |  |  | 0.81 |  |  | Andrea V |  | 3 | 2
3 | 0.72 | 11 | Valid | 2026-01-20 | 11:19 | 2026-01-20 | 08:31 | ERIKA |  | 0.73 | 0.73 | / | / |  | 1.326 |  |  | 0.94 |  |  | Andrea V |  | 3 | 3
3 | 0.72 | 12 | Valid | 2026-01-20 | 11:21 | 2026-01-20 | 08:31 | ERIKA |  | 0.70 | 0.70 | / | / |  |  |  |  | 0.70 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 13 | Valid | 2026-01-20 | 11:22 | 2026-01-20 | 08:31 | ERIKA |  | 0.00 | 0.02 | / | / |  |  |  |  | 1.01 |  |  | Andrea V |  | 3 | 1 | 103728
1 | 0.00 | 14 | Valid | 2026-01-20 | 11:22 | 2026-01-20 | 08:31 | ERIKA |  | 0.02 | 0.02 | / | / |  | 1.362 |  |  | 0.74 |  |  | Andrea V |  | 3 | 1 | 103728
2 | 0.18 | 15 | Old A | 2026-01-22 | 10:25 | 2026-01-22 | 08:48 | ROLAND | 2 | 0.21 | 0.18 | / | / |  |  |  |  | 4.97 |  |  | Andrea V |  | 3 | 2
2 | 0.18 | 16 | Old A | 2026-01-22 | 10:25 | 2026-01-22 | 08:48 | ROLAND | 2 | 0.19 | 0.18 | / | / |  |  |  |  | 3.89 |  |  | Andrea V |  | 3 | 2
3 | 0.72 | 17 | Old A | 2026-01-22 | 10:25 | 2026-01-22 | 08:48 | ROLAND | 2 | 0.70 | 0.70 | / | / |  |  |  |  | 5.49 |  |  | Andrea V |  | 3 | 3
3 | 0.72 | 18 | Old A | 2026-01-22 | 10:25 | 2026-01-22 | 08:48 | ROLAND | 2 | 0.68 | 0.70 | / | / |  |  |  |  | 5.48 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 19 | Old A | 2026-01-22 | 10:26 | 2026-01-22 | 08:48 | ROLAND | 2 | 0.02 | 0.00 | / | / |  |  |  |  | 1.90 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 20 | Old A | 2026-01-22 | 10:26 | 2026-01-22 | 08:48 | ROLAND | 2 | 0.01 | 0.01 | / | / |  |  |  |  | 2.77 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 21 | P/FINAL | 2026-01-22 | 10:26 | 2026-01-22 | 08:48 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 1.06 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 22 | Old A | 2026-01-22 | 10:27 | 2026-01-22 | 08:48 | ROLAND | 2 | 0.02 | 0.02 | / | / |  | 1.334 |  |  | 1.82 | 176 |  | Andrea V |  | 3 | 1
2 | 0.18 | 23 | P/FINAL | 2026-01-22 | 10:27 | 2026-01-22 | 08:48 | ROLAND | 2 | 0.18 | 0.19 | / | / |  |  |  |  | 1.48 | 179 |  | Andrea V |  | 3 | 2
2 | 0.18 | 24 | P/FINAL | 2026-01-22 | 10:28 | 2026-01-22 | 08:48 | ROLAND | 2 | 0.18 | 0.17 | / | / |  | 1.373 |  |  | 1.18 | 152 |  | Andrea V |  | 3 | 2
2 | 0.18 | 25 | P/FINAL | 2026-01-22 | 10:28 | 2026-01-22 | 08:48 | ROLAND | 2 | 0.17 | 0.17 | / | / |  |  |  |  | 1.23 | 176 |  | Andrea V |  | 3 | 2
3 | 0.72 | 26 | P/FINAL | 2026-01-22 | 10:29 | 2026-01-22 | 08:48 | ROLAND | 2 | 0.72 | 0.72 | / | / |  |  |  |  | 1.24 | 185 |  | Andrea V |  | 3 | 3
3 | 0.72 | 27 | P/FINAL | 2026-01-22 | 10:29 | 2026-01-22 | 08:48 | ROLAND | 2 | 0.71 | 0.71 | / | / |  | 1.316 |  |  | 1.01 |  |  | Andrea V |  | 3 | 3
3 | 0.72 | 28 | P/FINAL | 2026-01-22 | 10:29 | 2026-01-22 | 08:48 | ROLAND | 2 | 0.70 | 0.70 | / | / |  |  |  |  | 2.71 |  |  | Andrea V |  | 3 | 3
2 | 0.18 | 29 | P/FINAL | 2026-01-22 | 14:52 | 2026-01-22 | 14:35 | 14:35 | 2 | 0.21 | 0.20 | / | / |  |  |  |  | 1.37 |  |  | Kinga |  | 3 | 2
2 | 0.18 | 30 | P/FINAL | 2026-01-22 | 14:53 | 2026-01-22 | 14:35 | 14:35 | 2 | 0.20 | 0.20 | / | / |  | 1.430 |  |  | 1.70 | 161 |  | Kinga |  | 3 | 2
2 | 0.18 | 31 | P/FINAL | 2026-01-22 | 14:53 | 2026-01-22 | 14:35 | 14:35 | 2 | 0.20 | 0.19 | / | / |  |  |  |  | 1.17 | 184 |  | Kinga |  | 3 | 2
3 | 0.72 | 32 | P/FINAL | 2026-01-22 | 14:54 | 2026-01-22 | 14:35 | 14:35 | 2 | 0.72 | 0.74 | / | / |  |  |  |  | 1.95 | 181 |  | Kinga |  | 3 | 3 | 103728
3 | 0.72 | 33 | P/FINAL | 2026-01-22 | 14:54 | 2026-01-22 | 14:35 | 14:35 | 2 | 0.70 | 0.70 | / | / |  | 1.412 |  |  | 0.99 | 138 |  | Kinga |  | 3 | 3 | 103728
3 | 0.72 | 34 | P/FINAL | 2026-01-22 | 14:55 | 2026-01-22 | 14:35 | 14:35 | 2 | 0.72 | 0.70 | / | / |  |  |  |  | 0.99 | 181 |  | Kinga |  | 3 | 3 | 103728
1 | 0.00 | 35 | P/FINAL | 2026-01-22 | 15:02 | 2026-01-22 | 14:35 | 14:35 | 2 | 0.00 | 0.00 | / | / | - | 1.527 |  |  | 1.25 | 148 |  | Kinga |  | 3 | 1 | 103728
1 | 0.00 | 36 | P/FINAL | 2026-01-22 | 15:03 | 2026-01-22 | 14:35 | 14:35 | 2 | 0.01 | 0.00 | / | / |  |  |  |  | 1.47 |  |  | Kinga |  | 3 | 1 | 103728
1 | 0.00 | 37 | Old A | 2026-01-23 | 08:27 | 2026-01-23 | 07:56 | ROLAND | 2 | 0.02 | 0.02 | / | / |  |  |  |  | 3.64 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 38 | Old A | 2026-01-23 | 08:27 | 2026-01-23 | 07:56 | ROLAND | 2 | 0.00 | 0.00 | / | / |  |  |  |  | 3.55 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 39 | P/FINAL | 2026-01-23 | 08:31 | 2026-01-23 | 07:56 | ROLAND | 2 | 0.02 | 0.00 | / | / |  | 1.373 |  |  | 1.71 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 40 | P/FINAL | 2026-01-23 | 08:31 | 2026-01-23 | 07:56 | ROLAND | 2 | 0.02 | 0.02 | / | / |  |  |  |  | 1.89 |  |  | Kinga |  | 3 | 1
2 | 0.18 | 41 | Old A | 2026-01-23 | 08:33 | 2026-01-23 | 07:56 | ROLAND | 2 | 0.17 | 0.18 | / | / |  | 1.328 |  |  | 3.89 |  |  | Kinga |  | 3 | 2
2 | 0.18 | 42 | Old A | 2026-01-23 | 08:34 | 2026-01-23 | 07:56 | ROLAND | 2 | 0.18 | 0.18 | / | / |  |  |  |  | 3.50 |  |  | Kinga |  | 3 | 2
3 | 0.72 | 43 | Old A | 2026-01-23 | 08:35 | 2026-01-23 | 07:56 | ROLAND | 2 | 0.72 | 0.73 | / | / |  |  |  |  | 4.37 |  |  | Kinga |  | 3 | 3
3 | 0.72 | 44 | Old A | 2026-01-23 | 08:37 | 2026-01-23 | 07:56 | ROLAND | 2 | 0.72 | 0.72 | / | / |  |  |  |  | 3.60 | 174 |  | Kinga |  | 3 | 3
2 | 0.18 | 45 | P/FINAL | 2026-01-23 | 08:39 | 2026-01-23 | 07:56 | ROLAND | 2 | 0.18 | 0.18 | / | / |  |  |  |  | 1.02 | 175 |  | Kinga |  | 3 | 2
2 | 0.18 | 46 | P/FINAL | 2026-01-23 | 08:40 | 2026-01-23 | 07:56 | ROLAND | 2 | 0.18 | 0.17 | / | / |  | 1.334 |  |  | 1.04 | 186 |  | Kinga |  | 3 | 2
2 | 0.18 | 47 | P/FINAL | 2026-01-23 | 08:41 | 2026-01-23 | 07:56 | ROLAND | 2 | 0.17 | 0.17 | / | / |  |  |  |  | 1.27 | 182 |  | Kinga |  | 3 | 2
3 | 0.72 | 48 | P/FINAL | 2026-01-23 | 08:45 | 2026-01-23 | 07:56 | ROLAND | 2 | 0.72 | 0.73 | / | / |  | 1.334 |  |  | 1.97 | 186 |  | Kinga |  | 3 | 3
3 | 0.72 | 49 | P/FINAL | 2026-01-23 | 08:45 | 2026-01-23 | 07:56 | ROLAND | 2 | 0.72 | 0.74 | / | / |  |  |  |  | 1.70 | 187 |  | Kinga |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.18 mg/L | 9 | 18 | 0.18 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0.72 mg/L | 8 | 16 | 0.72 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0.01 mg/L | 5 | 10 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.01 | YES
0.18 | 0.15 ÷ 0.21 | 0.18 | YES
0.72 | 0.66 ÷ 0.78 | 0.72 | YES
Validation Date | by