## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI96773A-0
0760 | HI96773A-0 | CP-R72 | W43/1 |  | Parameter Formula | Carbohydrazide
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Oxygen Scavenger Reagent A | 2027-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0760 | 1583
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2017-10-01 | 2027-02-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 150.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-10-30 | 2024-10-31 | PRECI |  |  | 0448
[6 empty] | Expiration A | Expiration B | Expiration D
2027-02-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI83399 | CTO-520
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.20 | 0.18 | 0.22 |  |  |  | 0.02 | & | 2% | 100%
3 | 0.80 | 0.76 | 0.84
1 | 0.00 | 0.00 | 0.02
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI83399 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.20 | 1 | Old A | 2024-10-21 | 12:22 | 2024-10-21 | 11:54 | ERIKA |  | 0.20 | 0.20 | / | / | 0.516 |  |  |  | 4.66 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 2 | Old A | 2024-10-21 | 12:22 | 2024-10-21 | 11:54 | ERIKA |  | 0.20 | 0.20 | / | / | 0.526 |  |  |  | 4.59 |  | 1 | Kinga |  | 3 | 2
3 | 0.80 | 3 | Old A | 2024-10-21 | 12:27 | 2024-10-21 | 11:54 | ERIKA |  | 0.80 | 0.80 | / | / | 2.070 |  |  |  | 1.58 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 4 | Old A | 2024-10-21 | 12:32 | 2024-10-21 | 11:54 | ERIKA |  | 0.81 | 0.80 | / | / |  |  |  |  | 1.58 |  | 1 | Kinga |  | 3 | 3
2 | 0.20 | 5 | Valid | 2024-10-21 | 12:33 | 2024-10-21 | 11:54 | ERIKA |  | 0.21 | 0.21 | / | / | 0.546 |  |  |  | 0.30 |  | 1 | Kinga |  | 3 | 2
2 | 0.20 | 6 | Valid | 2024-10-21 | 12:33 | 2024-10-21 | 11:54 | ERIKA |  | 0.21 | 0.21 | / | / | 0.550 |  |  |  | 0.21 |  | 1 | Kinga |  | 3 | 2
3 | 0.80 | 7 | Valid | 2024-10-21 | 12:40 | 2024-10-21 | 11:54 | ERIKA |  | 0.80 | 0.80 | / | / | 2.086 |  |  |  | 0.21 |  | 1 | Kinga |  | 3 | 3
3 | 0.80 | 8 | Valid | 2024-10-21 | 12:41 | 2024-10-21 | 11:54 | ERIKA |  | 0.80 | 0.80 | / | / | 2.081 |  |  |  | 0.21 |  | 1 | Kinga |  | 3 | 3
1 | 0.00 | 9 | Valid | 2024-10-21 | 12:43 | 2024-10-21 | 11:54 | ERIKA |  | 0.01 | 0.00 | / | / | 0.001 |  |  |  | 0.45 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 10 | Valid | 2024-10-21 | 12:44 | 2024-10-21 | 11:54 | ERIKA |  | 0.00 | 0.00 | / | / | -0.021 |  |  |  | 0.35 |  | 1 | Kinga |  | 3 | 1
2 | 0.20 | 11 | P/Final | 2024-10-31 | 10:05 | 2024-10-31 | 15:12 | FLORICA |  | 0.19 | 0.19 | / | / | 0.493 |  |  |  | 614 | 192 | 1 | Brigitta P |  | 3 | 2
2 | 0.20 | 12 | P/Final | 2024-10-31 | 10:06 | 2024-10-31 | 15:12 | FLORICA |  | 0.19 | 0.19 | / | / | 0.493 |  |  |  | 0.39 | 188 | 1 | Brigitta P |  | 3 | 2
2 | 0.20 | 13 | P/Final | 2024-10-31 | 10:11 | 2024-10-31 | 15:12 | FLORICA |  | 0.19 | 0.18 | / | / | 0.483 |  |  |  | 0.52 | 185 | 1 | Brigitta P |  | 3 | 2
2 | 0.20 | 14 | P/Final | 2024-10-31 | 10:12 | 2024-10-31 | 15:12 | FLORICA |  | 0.19 | 0.19 | / | / | 0.500 |  |  |  | 0.51 |  | 1 | Brigitta P |  | 3 | 2
3 | 0.80 | 15 | P/Final | 2024-10-31 | 10:41 | 2024-10-31 | 15:12 | FLORICA |  | 0.76 | 0.76 | / | / | 1.951 |  |  |  | 0.34 | 182 | 1 | Brigitta P |  | 3 | 3
3 | 0.80 | 16 | P/Final | 2024-10-31 | 10:42 | 2024-10-31 | 15:12 | FLORICA |  | 0.76 | 0.76 | / | / | 1.965 |  |  |  | 0.52 | 193 | 1 | Brigitta P |  | 3 | 3
3 | 0.80 | 17 | P/Final | 2024-10-31 | 10:42 | 2024-10-31 | 15:12 | FLORICA |  | 0.76 | 0.76 | / | / | 1.983 |  |  |  | 0.21 |  | 1 | Brigitta P |  | 3 | 3
3 | 0.80 | 18 | P/Final | 2024-10-31 | 10:43 | 2024-10-31 | 15:12 | FLORICA |  | 0.61 | 0.61 | / | / | 1.574 |  |  |  | 0.33 | 168 | 1 | Brigitta P |  | 3 | 3
1 | 0.00 | 19 | P/Final | 2024-10-31 | 10:43 | 2024-10-31 | 15:12 | FLORICA |  | 0.00 | 0.01 | / | / | 0.005 | [5 empty] | 1 | Brigitta P |  | 3 | 3
1 | 0.00 | 20 | P/Final | 2024-10-31 | 10:43 | 2024-10-31 | 15:12 | FLORICA |  | 0.00 | 0.01 | / | / | 0.001 | [5 empty] | 1 | Brigitta P |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.19 mg/L | 4 | 8 | 0.19 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.72 mg/L | 3 | 6 | 0.76 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.01 mg/L | 2 | 4 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.01 | YES
0.20 | 0.18 ÷ 0.22 | 0.19 | YES
0.80 | 0.76 ÷ 0.84 | 0.76 | YES
Validation Date | by