## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI96776-0 | HI96777A-0
0812 | HI96776-0 | CP-R73 | W46/1 |  | Parameter Formula | Fe II | Fe
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron(II) Reagent | 2029-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
140 | 125 | 155
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0812
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-11-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 6.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/MARK | 2024-11-14 | 2024-11-14 | PRECI |  |  | H002
[6 empty] | Expiration A | Expiration B | Expiration D
2026-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI83399 | CTO-529 | HI801 | CTO-775
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-319 | HI98703 | CTO-869
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 2.00 | 1.86 | 2.14 |  |  |  | 0.10 | & | 2% | 100% |  | 5.2 | 4.0 | 6.5
3 | 5.00 | 4.80 | 5.20
1 | 0.00 | 0.00 | 0.10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI83399 | M. 2 HI801 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 2.00 | 1 | P/Final | 2024-11-14 | 14:16 | 2024-11-14 | 07:36 | NINA | PRECI | 2.05 | 2.05 | / | / | 0.820 |  |  |  | 0.40 |  | 1 | Brigitta P |  | 3 | 2
2 | 2.00 | 2 | P/Final | 2024-11-14 | 14:16 | 2024-11-14 | 07:36 | NINA | PRECI | 2.05 | 2.04 | / | / | 0.819 |  |  |  | 0.40 |  | 1 | Brigitta P |  | 3 | 2
2 | 2.00 | 3 | P/Final | 2024-11-14 | 14:16 | 2024-11-14 | 07:36 | NINA | PRECI | 2.04 | 2.04 | / | / | 0.819 | 5.130 |  |  | 0.42 | 121 | 1 | Brigitta P |  | 3 | 2
2 | 2.00 | 4 | Old A | 2024-11-14 | 14:17 | 2024-11-14 | 07:36 | NINA | PRECI | 2.09 | 2.09 | / | / | 0.838 |  |  |  | 9.78 |  | 1 | Brigitta P |  | 3 | 2
3 | 5.00 | 5 | P/Final | 2024-11-14 | 14:17 | 2024-11-14 | 07:36 | NINA | PRECI | 5.09 | 5.08 | / | / | 2.006 | 5.128 |  |  | 0.49 | 123 | 1 | Brigitta P |  | 3 | 3
3 | 5.00 | 6 | P/Final | 2024-11-14 | 14:18 | 2024-11-14 | 07:36 | NINA | PRECI | 5.10 | 5.09 | / | / | 2.009 |  |  |  | 0.59 |  | 1 | Brigitta P |  | 3 | 3
3 | 5.00 | 7 | P/Final | 2024-11-14 | 14:18 | 2024-11-14 | 07:36 | NINA | PRECI | 5.11 | 5.10 | / | / | 2.010 |  |  |  | 0.52 | 123 | 1 | Brigitta P |  | 3 | 3
3 | 5.00 | 8 | Old A | 2024-11-14 | 14:19 | 2024-11-14 | 07:36 | NINA | PRECI | 5.14 | 5.13 | / | / | 2.025 |  |  |  | 10.1 | 129 | 1 | Brigitta P |  | 3 | 3
1 | 0.00 | 9 | P/Final | 2024-11-14 | 14:19 | 2024-11-14 | 07:36 | NINA | PRECI | 0.00 | 0.00 | / | / | 0.001 | 5.059 |  |  | 0.48 |  | 1 | Brigitta P |  | 3 | 1
1 | 0.00 | 10 | P/Final | 2024-11-14 | 14:19 | 2024-11-14 | 07:36 | NINA | PRECI | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.58 |  | 1 | Brigitta P |  | 3 | 1
1 | 0.00 | 11 | Old A | 2024-11-14 | 14:20 | 2024-11-14 | 07:36 | NINA | PRECI | 0.00 | 0.00 | / | / | 0.017 |  |  |  | 6.35 |  | 1 | Brigitta P |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 2.05 mg/L | 3 | 6 | 2.05 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 5.1 mg/L | 3 | 6 | 5.1 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.10 | 0.00 | YES
2.00 | 1.86 ÷ 2.14 | 2.05 | YES
5.00 | 4.80 ÷ 5.20 | 5.10 | YES
Validation Date | by