## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI96776-0 | HI96777A-0
1296 | HI96776-0 | CP-R73 | W 03/1 |  | Parameter Formula | Fe II | Fe
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron(II) Reagent | 2031-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
140 | 125 | 155
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 6.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2026-01-15 | 2026-01-20 | PRECI |  |  | 1134
[6 empty] | Expiration A | Expiration B | Expiration D
2030-08-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI83399 | CTO-520
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-797
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.10 |  |  |  | 0.10 | & | 2% | 100% |  | 5.2 | 4.0 | 6.5
2 | 2.00 | 1.86 | 2.14
3 | 5.00 | 4.80 | 5.20
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI83399 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2026-01-16 | 06:22 | 2026-01-15 | 15:45 | ERIKA |  | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 1.04 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2026-01-16 | 06:24 | 2026-01-15 | 15:45 | ERIKA |  | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 1.07 |  |  | Andrea V |  | 3 | 1
2 | 2.00 | 3 | Old A | 2026-01-16 | 06:31 | 2026-01-15 | 15:45 | ERIKA |  | 1.88 | 1.86 | / | / | 0.756 |  |  |  | 2.05 |  |  | Andrea V |  | 3 | 2
3 | 5.00 | 4 | Old A | 2026-01-16 | 06:33 | 2026-01-15 | 15:45 | ERIKA |  | 4.82 | 4.83 | / | / | 1.904 |  |  |  | 5.15 |  |  | Andrea V |  | 3 | 3
3 | 5.00 | 5 | Old A | 2026-01-16 | 06:40 | 2026-01-15 | 15:45 | ERIKA |  | 4.87 | 4.84 | / | / | 1.925 |  |  |  | 2.92 |  |  | Andrea V |  | 3 | 3
2 | 2.00 | 6 | Old A | 2026-01-16 | 06:42 | 2026-01-15 | 15:45 | ERIKA |  | 1.87 | 1.86 | / | / | 0.751 |  |  |  | 1.29 |  |  | Andrea V |  | 3 | 2
2 | 2.00 | 7 | Valid | 2026-01-16 | 06:49 | 2026-01-15 | 15:45 | ERIKA |  | 1.86 | 1.86 | / | / | 0.746 | 5.361 |  |  | 1.25 |  |  | Andrea V |  | 3 | 2
3 | 5.00 | 8 | Valid | 2026-01-16 | 06:50 | 2026-01-15 | 15:45 | ERIKA |  | 4.80 | 4.80 | / | / | 1.898 |  |  |  | 0.36 |  |  | Andrea V |  | 3 | 3
3 | 5.00 | 9 | Valid | 2026-01-16 | 06:51 | 2026-01-15 | 15:45 | ERIKA |  | 4.82 | 4.80 | / | / | 1.906 | 5.361 |  |  | 0.54 |  |  | Andrea V |  | 3 | 3
2 | 2.00 | 10 | Valid | 2026-01-16 | 06:52 | 2026-01-15 | 15:45 | ERIKA |  | 1.86 | 1.85 | / | / | 0.747 |  |  |  | 0.50 |  |  | Andrea V |  | 3 | 2
3 | 5.00 | 11 | Valid | 2026-01-16 | 06:53 | 2026-01-15 | 15:45 | ERIKA |  | 4.85 | 4.81 | / | / | 1.914 |  |  |  | 0.38 |  |  | Andrea V |  | 3 | 3
2 | 2.00 | 12 | Valid | 2026-01-16 | 06:55 | 2026-01-15 | 15:45 | ERIKA |  | 1.86 | 1.85 | / | / | 0.747 |  |  |  | 0.75 |  |  | Andrea V |  | 3 | 2
1 | 0.00 | 13 | Valid | 2026-01-16 | 06:58 | 2026-01-15 | 15:45 | ERIKA |  | 0.00 | 0.00 | / | / | 0.003 | 5.371 |  |  | 0.36 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 14 | Valid | 2026-01-16 | 06:59 | 2026-01-15 | 15:45 | ERIKA |  | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.27 |  |  | Andrea V |  | 3 | 1
2 | 2.00 | 15 | P/FINAL | 2026-01-20 | 11:36 | 2026-01-19 | 14:42 | FLORICA |  | 1.86 | 1.85 | / | / | 0.746 |  |  |  | 3.52 |  |  | Andrea V |  | 3 | 2
2 | 2.00 | 16 | P/FINAL | 2026-01-20 | 11:36 | 2026-01-19 | 14:42 | FLORICA |  | 1.86 | 1.86 | / | / | 0.748 |  |  |  | 1.26 |  |  | Andrea V |  | 3 | 2
2 | 2.00 | 17 | P/FINAL | 2026-01-20 | 11:37 | 2026-01-19 | 14:42 | FLORICA |  | 1.86 | 1.90 | / | / | 0.746 |  |  |  | 2.28 |  |  | Andrea V |  | 3 | 2
2 | 2.00 | 18 | Old A | 2026-01-20 | 11:39 | 2026-01-19 | 14:42 | FLORICA |  | 1.88 | 1.87 | / | / | 0.756 | 5.245 |  |  | 2.05 | 138 |  | Andrea V |  | 3 | 2
3 | 5.00 | 19 | Old A | 2026-01-20 | 11:40 | 2026-01-19 | 14:42 | FLORICA |  | 4.82 | 4.82 | / | / | 1.900 |  |  |  | 5.15 | 134 |  | Andrea V |  | 3 | 3
3 | 5.00 | 20 | P/FINAL | 2026-01-20 | 11:41 | 2026-01-19 | 14:42 | FLORICA |  | 4.80 | 4.82 | / | / | 1.897 |  |  |  | 1.42 | 140 |  | Andrea V |  | 3 | 3
3 | 5.00 | 21 | P/FINAL | 2026-01-20 | 11:41 | 2026-01-19 | 14:42 | FLORICA |  | 4.76 | 4.80 | / | / | 1.880 |  |  |  | 1.13 | 136 |  | Andrea V |  | 3 | 3
3 | 5.00 | 22 | P/FINAL | 2026-01-20 | 11:42 | 2026-01-19 | 14:42 | FLORICA |  | 4.80 | 4.81 | / | / | 1.892 | 5.247 |  |  | 1.39 | 132 |  | Andrea V |  | 3 | 3
1 | 0.00 | 23 | P/FINAL | 2026-01-20 | 11:42 | 2026-01-19 | 14:42 | FLORICA |  | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.96 | 141 |  | Andrea V |  | 3 | 1
1 | 0.00 | 24 | P/FINAL | 2026-01-20 | 11:43 | 2026-01-19 | 14:42 | FLORICA |  | 0.00 | 0.00 | / | / | -0.001 | 5.258 |  |  | 1.06 |  |  | Andrea V |  | 3 | 1
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.87 mg/L | 3 | 6 | 1.87 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 4.8 mg/L | 3 | 6 | 4.8 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.10 | 0.00 | YES
2.00 | 1.86 ÷ 2.14 | 1.87 | YES
5.00 | 4.80 ÷ 5.20 | 4.80 | YES
Validation Date | by