## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI96776-0 | HI96777A-0
0812 | HI96777A-0 | CP-R73 | W46/1 |  | Parameter Formula | Fe II | Fe
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron(II)/(III) Reagent A | 2029-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
140 | 125 | 155
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0812 | 0578
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-11-01 | 2029-05-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 6.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK/ERIKA | 2024-11-14 | 2024-11-14 | PRECI |  |  | 0516
[6 empty] | Expiration A | Expiration B | Expiration D
2029-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI83399 | CTO-441
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-319 | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 2.00 | 1.86 | 2.14 |  | MR33 |  | 0.10 | & | 2% | 100% |  | 5.2 | 4.0 | 6.5
3 | 5.00 | 4.80 | 5.20
1 | 0.00 | 0.00 | 0.10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI83399 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 2.00 | 1 | Valid | 2024-11-12 | 09:37 | 2024-11-11 |  | MARK/ERIKA |  | 1.99 | 1.96 | / | / | 0.797 |  |  |  | 0.72 |  | 1 | Brigitta P |  | 3 | 2 | 82909
2 | 2.00 | 2 | Valid | 2024-11-12 | 09:38 | 2024-11-11 |  | MARK/ERIKA |  | 1.99 | 1.95 | / | / | 0.797 |  |  |  | 0.68 |  | 1 | Brigitta P |  | 3 | 2 | 82909
2 | 2.00 | 3 | Valid | 2024-11-12 | 09:40 | 2024-11-11 |  | MARK/ERIKA |  | 1.99 | 1.96 | / | / | 0.796 |  |  |  | 0.74 |  | 1 | Brigitta P |  | 3 | 2 | 82909
2 | 2.00 | 4 | Old A | 2024-11-12 | 09:42 | 2024-11-11 |  | MARK/ERIKA |  | 1.99 | 1.97 | / | / | 0.799 |  |  |  | 0.74 |  | 1 | Brigitta P |  | 3 | 2 | 82909
3 | 5.00 | 5 | Valid | 2024-11-12 | 09:53 | 2024-11-11 |  | MARK/ERIKA |  | 4.96 | 4.92 | / | / | 1.960 |  |  |  | 0.76 |  | 1 | Brigitta P |  | 3 | 3 | 82909
3 | 5.00 | 6 | Valid | 2024-11-12 | 09:53 | 2024-11-11 |  | MARK/ERIKA |  | 4.97 | 4.91 | / | / | 1.962 |  |  |  | 0.78 |  | 1 | Brigitta P |  | 3 | 3 | 82909
3 | 5.00 | 7 | Valid | 2024-11-12 | 09:54 | 2024-11-11 |  | MARK/ERIKA |  | 4.96 | 4.88 | / | / | 1.958 |  |  |  | 0.77 |  | 1 | Brigitta P |  | 3 | 3 | 82909
3 | 5.00 | 8 | Old A | 2024-11-12 | 09:55 | 2024-11-11 |  | MARK/ERIKA |  | 5.02 | 4.95 | / | / | 1.981 |  |  |  | 0.77 |  | 1 | Brigitta P |  | 3 | 3 | 82909
1 | 0.00 | 9 | Valid | 2024-11-12 | 10:02 | 2024-11-11 |  | MARK/ERIKA |  | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.83 |  | 1 | Brigitta P |  | 3 | 1 | 82909
1 | 0.00 | 10 | Valid | 2024-11-12 | 10:03 | 2024-11-11 |  | MARK/ERIKA |  | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 0.72 |  | 1 | Brigitta P |  | 3 | 1 | 82909
1 | 0.00 | 11 | Old A | 2024-11-12 | 10:03 | 2024-11-11 |  | MARK/ERIKA |  | 0.00 | 0.00 | / | / | 0.022 |  |  |  | 0.92 |  | 1 | Brigitta P |  | 3 | 1 | 82909
2 | 2.00 | 12 | Old A | 2024-11-15 | 12:31 | 2024-11-14 | 14:22 | FLORICA |  | 2.05 | 2.02 | / | / | 0.820 |  |  |  | 8.00 |  | 1 | Kinga |  | 3 | 2 | 82909
2 | 2.00 | 13 | P/Final | 2024-11-15 | 12:33 | 2024-11-14 | 14:22 | FLORICA |  | 1.99 | 1.99 | / | / | 0.797 | 4.603 |  |  | 1.21 | 113 | 1 | Kinga |  | 3 | 2 | 82909
2 | 2.00 | 14 | P/Final | 2024-11-15 | 12:33 | 2024-11-14 | 14:22 | FLORICA |  | 1.99 | 1.99 | / | / | 0.792 | 4.581 |  |  | 1.50 | 126 | 1 | Kinga |  | 3 | 2 | 82909
3 | 5.00 | 15 | Old A | 2024-11-15 | 12:34 | 2024-11-14 | 14:22 | FLORICA |  | 4.99 | 5.00 | / | / | 1.971 |  |  |  | 8.32 |  | 1 | Kinga |  | 3 | 3 | 82909
3 | 5.00 | 16 | P/Final | 2024-11-15 | 12:34 | 2024-11-14 | 14:22 | FLORICA |  | 4.91 | 4.93 | / | / | 1.937 |  |  |  | 1.07 | 129 | 1 | Kinga |  | 3 | 3 | 82909
3 | 5.00 | 17 | P/Final | 2024-11-15 | 12:35 | 2024-11-14 | 14:22 | FLORICA |  | 4.92 | 4.97 | / | / | 1.944 | 4.650 |  |  | 1.08 | 116 | 1 | Kinga |  | 3 | 3 | 82909
1 | 0.00 | 18 | Old A | 2024-11-15 | 12:36 | 2024-11-14 | 14:22 | FLORICA |  | 0.04 | 0.04 | / | / | 0.043 |  |  |  | 1.05 |  | 1 | Kinga |  | 3 | 1 | 82909
1 | 0.00 | 19 | P/Final | 2024-11-15 | 12:36 | 2024-11-14 | 14:22 | FLORICA |  | 0.00 | 0.00 | / | / | 0.017 | 4.554 |  |  | 1.40 |  | 1 | Kinga |  | 3 | 1 | 82909
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 1.99 mg/L | 2 | 4 | 1.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 4.93 mg/L | 2 | 4 | 4.93 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 2 | 0 mg/L | 1 | 2 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.10 | 0.00 | YES
2.00 | 1.86 ÷ 2.14 | 1.99 | YES
5.00 | 4.80 ÷ 5.20 | 4.93 | YES
Validation Date | by