## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI96776-0 | HI96777A-0
1022 | HI96777A-0 | CP-R73 | W 19 |  | Parameter Formula | Fe II | Fe
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron(II)/(III) Reagent A | 2030-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
140 | 125 | 155
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1022 | 0578
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-05-01 | 2029-05-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 6.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-06 | 2025-05-09 | PRECI |  |  | 0812
[6 empty] | Expiration A | Expiration B | Expiration D
2029-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI83399 | CTO-532 | HI83399 | CTO-528
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 2.00 | 1.86 | 2.14 |  | MR33 |  | 0.10 | & | 2% | 100% |  | 5.2 | 4.0 | 6.5
3 | 5.00 | 4.80 | 5.20
1 | 0.00 | 0.00 | 0.10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 2.00 | 1 | Old A | 2025-05-06 | 11:05 | 2025-05-06 | 11:53 | ERIKA |  | 2.01 | 2.01 | / | / |  | 4.730 |  |  | 2.41 |  | 1 | Kinga |  | 3 | 2 | 115430
2 | 2.00 | 2 | Old A | 2025-05-06 | 11:06 | 2025-05-06 | 11:53 | ERIKA |  | 2.00 | 2.00 | / | / |  | 4.703 |  |  | 2.41 |  | 1 | Kinga |  | 3 | 2 | 115430
3 | 5.00 | 3 | Old A | 2025-05-06 | 11:15 | 2025-05-06 | 11:53 | ERIKA |  | 5.03 | 5.01 | / | / |  | 4.720 |  |  | 3.11 |  | 1 | Kinga |  | 3 | 3 | 115430
3 | 5.00 | 4 | Old A | 2025-05-06 | 11:16 | 2025-05-06 | 11:53 | ERIKA |  | 5.02 | 5.01 | / | / |  | 4.672 |  |  | 3.16 |  | 1 | Kinga |  | 3 | 3 | 115430
2 | 2.00 | 5 | Valid | 2025-05-06 | 12:31 | 2025-05-06 | 11:53 | ERIKA |  | 2.00 | 2.00 | / | / |  |  |  |  | 0.87 |  | 1 | Kinga |  | 3 | 2 | 115430
2 | 2.00 | 6 | Valid | 2025-05-06 | 12:34 | 2025-05-06 | 11:53 | ERIKA |  | 2.00 | 2.01 | / | / |  | 4.773 |  |  | 0.88 |  | 1 | Kinga |  | 3 | 2 | 115430
2 | 2.00 | 7 | Valid | 2025-05-06 | 12:39 | 2025-05-06 | 11:53 | ERIKA |  | 2.00 | 1.98 | / | / |  | 4.763 |  |  | 0.68 |  | 1 | Kinga |  | 3 | 2 | 115430
3 | 5.00 | 8 | Valid | 2025-05-06 | 12:41 | 2025-05-06 | 11:53 | ERIKA |  | 4.98 | 4.95 | / | / |  | 4.742 |  |  | 0.66 |  | 1 | Kinga |  | 3 | 3 | 115430
3 | 5.00 | 9 | Valid | 2025-05-06 | 12:41 | 2025-05-06 | 11:53 | ERIKA |  | 4.99 | 5.00 | / | / |  | 4.748 |  |  | 0.68 |  | 1 | Kinga |  | 3 | 3 | 115430
3 | 5.00 | 10 | Valid | 2025-05-06 | 12:44 | 2025-05-06 | 11:53 | ERIKA |  | 4.97 | 4.92 | / | / |  |  |  |  | 0.72 |  | 1 | Kinga |  | 3 | 3 | 115430
1 | 0.00 | 11 | Valid | 2025-05-06 | 12:48 | 2025-05-06 | 11:53 | ERIKA |  | 0.00 | 0.00 | / | / |  | 4.808 |  |  | 0.86 |  | 1 | Kinga |  | 3 | 1 | 115430
1 | 0.00 | 12 | Valid | 2025-05-06 | 12:48 | 2025-05-06 | 11:53 | ERIKA |  | 0.00 | 0.00 | / | / |  | 4.805 |  |  | 0.81 |  | 1 | Kinga |  | 3 | 1 | 115430
3 | 5.00 | 13 | Old A | 2025-05-09 | 09:55 | 2025-05-09 | 08:52 | FLORICA |  | 4.95 | 4.94 | / | / |  |  |  |  | 2.10 |  | 1 | Kinga |  | 3 | 3 | 115130
1 | 0.00 | 14 | Old A | 2025-05-09 | 09:57 | 2025-05-09 | 08:52 | FLORICA |  | 0.00 | 0.00 | / | / |  |  |  |  | 2.17 |  | 1 | Kinga |  | 3 | 1 | 115130
3 | 5.00 | 15 | Old A | 2025-05-09 | 09:57 | 2025-05-09 | 08:52 | FLORICA |  | 4.95 | 4.98 | / | / |  |  |  |  | 0.61 |  | 1 | Kinga |  | 3 | 3 | 115130
2 | 2.00 | 16 | P/FINAL | 2025-05-09 | 10:01 | 2025-05-09 | 08:52 | FLORICA |  | 1.94 | 1.95 | / | / |  | 4.666 |  |  | 1.07 |  | 1 | Kinga |  | 3 | 2 | 115130
2 | 2.00 | 17 | P/FINAL | 2025-05-09 | 10:01 | 2025-05-09 | 08:52 | FLORICA |  | 1.96 | 1.96 | / | / |  |  |  |  | 1.05 |  | 1 | Kinga |  | 3 | 2 | 115130
2 | 2.00 | 18 | P/FINAL | 2025-05-09 | 10:02 | 2025-05-09 | 08:52 | FLORICA |  | 1.96 | 1.95 | / | / |  |  |  |  | 0.80 | 140 | 1 | Kinga |  | 3 | 2 | 115130
3 | 5.00 | 19 | P/FINAL | 2025-05-09 | 10:16 | 2025-05-09 | 08:52 | FLORICA |  | 4.93 | 4.93 | / | / |  |  |  |  | 0.84 | 139 | 1 | Kinga |  | 3 | 3 | 115130
3 | 5.00 | 20 | P/FINAL | 2025-05-09 | 10:19 | 2025-05-09 | 08:52 | FLORICA |  | 4.92 | 4.93 | / | / |  | 4.685 |  |  | 0.97 | 146 | 1 | Kinga |  | 3 | 3 | 115130
3 | 5.00 | 21 | P/FINAL | 2025-05-09 | 10:21 | 2025-05-09 | 08:52 | FLORICA |  | 4.93 | 4.94 | / | / |  |  |  |  | 0.70 | 143 | 1 | Kinga |  | 3 | 3 | 115130
1 | 0.00 | 22 | P/FINAL | 2025-05-09 | 10:26 | 2025-05-09 | 08:52 | FLORICA |  | 0.00 | 0.00 | / | / |  |  |  |  | 0.69 | 141 | 1 | Kinga |  | 3 | 1 | 115130
1 | 0.00 | 23 | P/FINAL | 2025-05-09 | 10:27 | 2025-05-09 | 08:52 | FLORICA |  | 0.00 | 0.00 | / | / |  | 4.742 |  |  | 0.67 |  | 1 | Kinga |  | 3 | 1 | 115130
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.95 mg/L | 3 | 6 | 1.95 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 4.93 mg/L | 3 | 6 | 4.93 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.10 | 0.00 | YES
2.00 | 1.86 ÷ 2.14 | 1.95 | YES
5.00 | 4.80 ÷ 5.20 | 4.93 | YES
Validation Date | by