## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI96776-0 | HI96777A-0
1134 | HI96777A-0 | CP-R73 | W 34/1 |  | Parameter Formula | Fe II | Fe
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron(II)/(III) Reagent A | 2030-08-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
140 | 125 | 155
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1134 | 0578
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-08-01 | 2029-05-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 6.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-02 | 2025-09-02 | PRECI |  |  | 0812
[6 empty] | Expiration A | Expiration B | Expiration D
2029-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI83399 | CTO-529 | HI83399 | CTO-532
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.10 |  | MR33 |  | 0.10 | & | 2% | 100% |  | 5.2 | 4.0 | 6.5
2 | 2.00 | 1.86 | 2.14
3 | 5.00 | 4.80 | 5.20
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-09-02 | 08:49 | 2025-09-02 | 07:01 | GABRIELLA | PRECI | 0.00 | 0.00 | / | / |  |  |  |  | 3.68 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-09-02 | 08:51 | 2025-09-02 | 07:01 | GABRIELLA | PRECI | 0.00 | 0.00 | / | / |  |  |  |  | 4.37 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 3 | P/FINAL | 2025-09-02 | 08:53 | 2025-09-02 | 07:01 | GABRIELLA | PRECI | 0.00 | 0.00 | / | / |  |  |  |  | 1.46 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 4 | P/FINAL | 2025-09-02 | 08:54 | 2025-09-02 | 07:01 | GABRIELLA | PRECI | 0.00 | 0.00 | / | / |  | 4.716 |  |  | 1.33 |  | 1 | Kinga |  | 3 | 1
2 | 2.00 | 5 | Old A | 2025-09-02 | 09:00 | 2025-09-02 | 07:01 | GABRIELLA | PRECI | 1.97 | 1.98 | / | / |  |  |  |  | 2.41 |  | 1 | Kinga |  | 3 | 2 | 820225
2 | 2.00 | 6 | Old A | 2025-09-02 | 09:02 | 2025-09-02 | 07:01 | GABRIELLA | PRECI | 1.99 | 1.99 | / | / |  |  |  |  | 2.93 | 132 | 1 | Kinga |  | 3 | 2 | 820225
3 | 5.00 | 7 | Old A | 2025-09-02 | 09:05 | 2025-09-02 | 07:01 | GABRIELLA | PRECI | 4.99 | 5.00 | / | / |  | 4.677 |  |  | 3.04 | 142 | 1 | Kinga |  | 3 | 3 | 820225
3 | 5.00 | 8 | Old A | 2025-09-02 | 09:06 | 2025-09-02 | 07:01 | GABRIELLA | PRECI | 5.02 | 4.99 | / | / |  |  |  |  | 3.15 | 141 | 1 | Kinga |  | 3 | 3 | 820225
2 | 2.00 | 9 | P/FINAL | 2025-09-02 | 09:13 | 2025-09-02 | 07:01 | GABRIELLA | PRECI | 1.97 | 1.97 | / | / |  |  |  |  | 1.09 | 138 | 1 | Kinga |  | 3 | 2 | 820225
2 | 2.00 | 10 | P/FINAL | 2025-09-02 | 09:14 | 2025-09-02 | 07:01 | GABRIELLA | PRECI | 1.96 | 1.97 | / | / |  |  |  |  | 1.09 | 143 | 1 | Kinga |  | 3 | 2 | 820225
2 | 2.00 | 11 | P/FINAL | 2025-09-02 | 09:15 | 2025-09-02 | 07:01 | GABRIELLA | PRECI | 1.96 | 1.98 | / | / |  | 4.723 |  |  | 1.03 | 142 | 1 | Kinga |  | 3 | 2 | 820225
3 | 5.00 | 12 | P/FINAL | 2025-09-02 | 09:23 | 2025-09-02 | 07:01 | GABRIELLA | PRECI | 4.96 | 4.96 | / | / |  |  |  |  | 1.03 |  | 1 | Kinga |  | 3 | 3 | 820225
3 | 5.00 | 13 | P/FINAL | 2025-09-02 | 09:24 | 2025-09-02 | 07:01 | GABRIELLA | PRECI | 4.97 | 4.97 | / | / |  |  |  |  | 0.87 |  | 1 | Kinga |  | 3 | 3 | 820225
3 | 5.00 | 14 | P/FINAL | 2025-09-02 | 09:25 | 2025-09-02 | 07:01 | GABRIELLA | PRECI | 4.94 | 4.95 | / | / |  |  |  |  | 1.23 |  | 1 | Kinga |  | 3 | 3 | 820225
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.97 mg/L | 3 | 6 | 1.97 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 4.96 mg/L | 3 | 6 | 4.96 mg/L