## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI96777B-0
1093 | HI96777B-0 | CP-R74 | W 26/1 |  | Parameter Formula | Fe
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iron(II)/(III) Reagent B | 2030-06-01 | L57 Powder |  |  | Laboratory | TABLET 2 | Production
Ref Weight. | Min (mg) | Max (mg)
105 | 95 | 115
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0812 | 1093
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-11-01 | 2030-06-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 6.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/MARK | 2025-06-26 | 2025-07-18 | 1 HEAD |  |  |  | 0578
[6 empty] | Expiration A | Expiration B | Expiration D
2029-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI83399 | CTO-528 | HI83399 | CTO-532
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 2.00 | 1.86 | 2.14 |  | MR33 |  | 0.10 | & | 2% | 100% |  | 5.2 | 4.0 | 6.5
3 | 5.00 | 4.80 | 5.20 | [8 empty] | 5.2 | 4.0 | 6.5
1 | 0.00 | 0.00 | 0.10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI83399 | M. 2 HI83399 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 2.00 | 1 | Old B | 2025-06-27 | 10:33 | 2025-06-26 | 11:48 | ERIKA |  | 1.96 | 1.94 | / | / |  |  |  |  | 2.90 |  | 1 | Kinga |  | 3 | 2
2 | 2.00 | 2 | Old B | 2025-06-27 | 10:34 | 2025-06-26 | 11:48 | ERIKA |  | 1.97 | 1.96 | / | / |  |  |  |  | 2.87 |  | 1 | Kinga |  | 3 | 2
3 | 5.00 | 3 | Old B | 2025-06-27 | 10:35 | 2025-06-26 | 11:48 | ERIKA |  | 4.93 | 4.91 | / | / |  |  |  |  | 3.49 |  | 1 | Kinga |  | 3 | 3
3 | 5.00 | 4 | Old B | 2025-06-27 | 10:36 | 2025-06-26 | 11:48 | ERIKA |  | 4.99 | 4.96 | / | / |  |  |  |  | 3.51 |  | 1 | Kinga |  | 3 | 3
1 | 0.00 | 5 | Old B | 2025-06-27 | 10:37 | 2025-06-26 | 11:48 | ERIKA |  | 0.00 | 0.00 | / | / |  |  | 4.667 |  | 3.64 |  | 1 | Kinga |  | 3 | 1
2 | 2.00 | 6 | Valid | 2025-06-27 | 10:44 | 2025-06-26 | 11:48 | ERIKA |  | 1.98 | 1.89 | / | / |  |  |  |  | 2.42 |  | 1 | Kinga |  | 3 | 2
2 | 2.00 | 7 | Valid | 2025-06-27 | 10:44 | 2025-06-26 | 11:48 | ERIKA |  | 1.97 | 1.95 | / | / |  |  |  |  | 1.94 |  | 1 | Kinga |  | 3 | 2
2 | 2.00 | 8 | Valid | 2025-06-27 | 10:45 | 2025-06-26 | 11:48 | ERIKA |  | 1.90 | 1.88 | / | / |  |  |  |  | 1.87 |  | 1 | Kinga |  | 3 | 2
3 | 5.00 | 9 | Valid | 2025-06-27 | 10:47 | 2025-06-26 | 11:48 | ERIKA |  | 4.92 | 4.86 | / | / |  |  | 4.666 |  | 2.33 |  | 1 | Kinga |  | 3 | 3 | 115130
3 | 5.00 | 10 | Valid | 2025-06-27 | 10:47 | 2025-06-26 | 11:48 | ERIKA |  | 4.90 | 4.86 | / | / |  |  |  |  | 2.30 |  | 1 | Kinga |  | 3 | 3 | 115130
3 | 5.00 | 11 | Valid | 2025-06-27 | 10:48 | 2025-06-26 | 11:48 | ERIKA |  | 4.93 | 4.89 | / | / |  |  |  |  | 2.65 |  | 1 | Kinga |  | 3 | 3 | 115130
1 | 0.00 | 12 | Valid | 2025-06-27 | 10:53 | 2025-06-26 | 11:48 | ERIKA |  | 0.02 | 0.02 | / | / |  |  |  |  | 2.45 |  | 1 | Kinga |  | 3 | 1 | 115130
1 | 0.00 | 13 | Valid | 2025-06-27 | 10:54 | 2025-06-26 | 11:48 | ERIKA |  | 0.00 | 0.00 | / | / |  |  | 4.678 |  | 2.52 |  | 1 | Kinga |  | 3 | 1 | 115130
2 | 2.00 | 14 | P/FINAL | 2025-07-11 | 08:14 | 2025-07-10 | 19:24 | ELENA |  | 1.98 | 2.03 | / | / |  |  |  |  | 3.08 |  | 1 | Kinga |  | 3 | 2
2 | 2.00 | 15 | P/FINAL | 2025-07-11 | 08:14 | 2025-07-10 | 19:24 | ELENA |  | 1.97 | 2.02 | / | / |  |  |  |  | 3.06 | 110 | 1 | Kinga |  | 3 | 2
2 | 2.00 | 16 | P/FINAL | 2025-07-11 | 08:14 | 2025-07-10 | 19:24 | ELENA |  | 1.98 | 2.01 | / | / |  |  | 4.578 |  | 3.75 | 127 | 1 | Kinga |  | 3 | 2
3 | 5.00 | 17 | P/FINAL | 2025-07-11 | 08:15 | 2025-07-10 | 19:24 | ELENA |  | 4.90 | 4.96 | / | / |  |  |  |  | 3.21 | 113 | 1 | Kinga |  | 3 | 3
3 | 5.00 | 18 | P/FINAL | 2025-07-11 | 08:15 | 2025-07-10 | 19:24 | ELENA |  | 4.93 | 5.00 | / | / |  |  |  |  | 2.80 | 108 | 1 | Kinga |  | 3 | 3
3 | 5.00 | 19 | P/FINAL | 2025-07-11 | 08:16 | 2025-07-10 | 19:24 | ELENA |  | 4.93 | 4.98 | / | / |  |  | 4.570 |  | 3.45 | 107 | 1 | Kinga |  | 3 | 3
1 | 0.00 | 20 | P/FINAL | 2025-07-11 | 08:16 | 2025-07-10 | 19:24 | ELENA |  | 0.00 | 0.00 | / | / |  |  |  |  | 3.73 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 21 | P/FINAL | 2025-07-11 | 08:16 | 2025-07-10 | 19:24 | ELENA |  | 0.00 | 0.00 | / | / |  |  | 4.520 |  | 3.73 |  | 1 | Kinga |  | 3 | 1
2 | 2.00 | 22 | P/FINAL | 2025-07-11 | 16:21 | 2025-07-11 | 14:45 | ELENA |  | 1.97 | 2.00 | / | / |  |  |  |  | 2.08 |  | 1 | Andrea V |  | 3 | 2 | 115130
2 | 2.00 | 23 | P/FINAL | 2025-07-11 | 16:22 | 2025-07-11 | 14:45 | ELENA |  | 1.96 | 2.00 | / | / |  |  | 4.568 |  | 1.72 | 94 | 1 | Andrea V |  | 3 | 2 | 115130
2 | 2.00 | 24 | P/FINAL | 2025-07-11 | 16:23 | 2025-07-11 | 14:45 | ELENA |  | 1.96 | 1.99 | / | / |  |  |  |  | 1.75 | 91 | 1 | Andrea V |  | 3 | 2 | 115130
1 | 0.00 | 25 | P/FINAL | 2025-07-11 | 16:24 | 2025-07-11 | 14:45 | ELENA |  | 0.00 | 0.02 | / | / |  |  | 4.525 |  | 2.32 | 94 | 1 | Andrea V |  | 3 | 1 | 115130
1 | 0.00 | 26 | P/FINAL | 2025-07-11 | 16:25 | 2025-07-11 | 14:45 | ELENA |  | 0.00 | 0.00 | / | / |  |  |  |  | 2.02 | 95 | 1 | Andrea V |  | 3 | 1 | 115130
3 | 5.00 | 27 | P/FINAL | 2025-07-11 | 16:28 | 2025-07-11 | 14:45 | ELENA |  | 4.86 | 4.92 | / | / |  |  | 4.525 |  | 2.86 | 93 | 1 | Andrea V |  | 3 | 3 | 115130
3 | 5.00 | 28 | P/FINAL | 2025-07-11 | 16:29 | 2025-07-11 | 14:45 | ELENA |  | 4.84 | 4.89 | / | / |  |  |  |  | 3.63 | 96 | 1 | Andrea V |  | 3 | 3 | 115130
3 | 5.00 | 29 | P/FINAL | 2025-07-11 | 16:29 | 2025-07-11 | 14:45 | ELENA |  | 4.86 | 4.91 | / | / |  |  |  |  | 4.03 |  | 1 | Andrea V |  | 3 | 3 | 115130
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 1.99 mg/L | 6 | 12 | 1.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 4.92 mg/L | 6 | 12 | 4.92 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.10 | 0.00 | YES
2.00 | 1.86 ÷ 2.14 | 1.99 | YES
5.00 | 4.80 ÷ 5.20 | 4.92 | YES
Validation Date | by