## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI96781A-0
1292 | HI96781A-0 | CP-R75 | W 03/1 |  | Parameter Formula | Cr
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Chromium Reagent A | 2031-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
60 | 50 | 70
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1292 | 0336 | 4302
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2031-01-01 | 2028-11-01 | 2030-01-01
Reagent Range Min | Reagent Range Max
0 µg/L | 1000 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2026-01-14 | 2026-01-14 | 1 HEAD |  |  | 0335
[6 empty] | Expiration A | Expiration B | Expiration D
2028-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI802 | CTO-867 | HI801 | CTO-775
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI93703 | CTO-766
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 10 |  | MR91 |  | 10 | or | 3% | 100% |  | 1.5 | 1.0 | 2.0
2 | 200 | 190 | 210 | [8 empty] | 1.5 | 1.0 | 2.0
3 | 400 | 388 | 412
4 | 800 | 776 | 824
5 | 900 | 873 | 927
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI802 | M. 2 HI801 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Valid | 2026-01-14 | 12:57 | 2026-01-14 | 09:53 | ERIKA |  | 0 | 0 | / | / | 0.035 |  |  |  | 34.08 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 2 | Valid | 2026-01-14 | 12:58 | 2026-01-14 | 09:53 | ERIKA |  | 10 | 10 | / | / | 0.044 |  |  |  | 33.46 |  | 1 | Andrea V |  | 3 | 1
2 | 200 | 3 | Valid | 2026-01-14 | 12:59 | 2026-01-14 | 09:53 | ERIKA |  | 204 | 198 | / | / | 0.208 |  |  |  | 31.43 |  | 1 | Andrea V |  | 3 | 2
2 | 200 | 4 | Valid | 2026-01-14 | 13:00 | 2026-01-14 | 09:53 | ERIKA |  | 205 | 203 | / | / | 0.209 |  |  |  | 45.75 |  | 1 | Andrea V |  | 3 | 2
3 | 400 | 5 | Valid | 2026-01-14 | 13:00 | 2026-01-14 | 09:53 | ERIKA |  | 404 | 405 | / | / | 0.376 |  |  |  | 34.40 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 6 | Valid | 2026-01-14 | 13:01 | 2026-01-14 | 09:53 | ERIKA |  | 406 | 405 | / | / | 0.378 |  |  |  | 35.65 |  | 1 | Andrea V |  | 3 | 3
4 | 800 | 7 | Valid | 2026-01-14 | 13:01 | 2026-01-14 | 09:53 | ERIKA |  | 793 | 784 | / | / | 0.697 |  |  |  | 38.30 |  | 1 | Andrea V |  | 3 | 4
4 | 800 | 8 | Valid | 2026-01-14 | 13:02 | 2026-01-14 | 09:53 | ERIKA |  | 801 | 799 | / | / | 0.703 |  |  |  | 36.86 |  | 1 | Andrea V |  | 3 | 4
1 | 0 | 9 | Old A | 2026-01-14 | 13:05 | 2026-01-14 | 09:53 | ERIKA |  | 0 | 0 | / | / | -0.004 |  |  |  | 58 |  | 1 | Andrea V |  | 3 | 1 |  | HI96781V-0 LOT: 4303
2 | 200 | 10 | Old A | 2026-01-14 | 13:05 | 2026-01-14 | 09:53 | ERIKA |  | 202 | 193 | / | / | 0.206 |  |  |  | 24.01 |  | 1 | Andrea V |  | 3 | 2 |  | HI96781V-0 LOT: 4303
3 | 400 | 11 | Old A | 2026-01-14 | 13:07 | 2026-01-14 | 09:53 | ERIKA |  | 397 | 391 | / | / | 0.370 |  |  |  | 25.96 |  | 1 | Andrea V |  | 3 | 3 |  | HI96781V-0 LOT: 4303
4 | 800 | 12 | Old A | 2026-01-14 | 13:08 | 2026-01-14 | 09:53 | ERIKA |  | 782 | 777 | / | / | 0.688 |  |  |  | 28.67 |  | 1 | Andrea V |  | 3 | 4 |  | HI96781V-0 LOT: 4303
5 | 900 | 13 | Old A | 2026-01-14 | 13:08 | 2026-01-14 | 09:53 | ERIKA |  | 892 | 889 | / | / | 0.777 |  |  |  | 35.64 |  | 1 | Andrea V |  | 3 | 5 |  | HI96781V-0 LOT: 4303
5 | 900 | 14 | Valid | 2026-01-14 | 13:16 | 2026-01-14 | 09:53 | ERIKA |  | 897 | 886 | / | / | 0.781 |  |  |  | 41.09 |  | 1 | Andrea V |  | 3 | 5
5 | 900 | 15 | Valid | 2026-01-14 | 13:16 | 2026-01-14 | 09:53 | ERIKA |  | 898 | 890 | / | / | 0.782 |  |  |  | 33.66 |  | 1 | Andrea V |  | 3 | 5
1 | 0 | 16 | P/FINAL | 2026-01-15 | 12:17 | 2026-01-14 | 16:50 | TAMARA | 1 | 8 | 10 | / | / | 0.043 |  |  |  | 32.30 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 17 | P/FINAL | 2026-01-15 | 12:18 | 2026-01-14 | 16:50 | TAMARA | 1 | 0 | 0 | / | / | 0.029 |  |  |  | 38.43 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 18 | P/FINAL | 2026-01-15 | 12:18 | 2026-01-14 | 16:50 | TAMARA | 1 | 0 | 0 | / | / | 0.032 |  |  |  | 23.81 |  | 1 | Andrea V |  | 3 | 1
1 | 0 | 19 | P/FINAL | 2026-01-15 | 12:19 | 2026-01-14 | 16:50 | TAMARA | 1 | 0 | 0 | / | / | 0.028 |  |  |  | 28.31 | 69 | 1 | Andrea V |  | 3 | 1
2 | 200 | 20 | P/FINAL | 2026-01-15 | 12:19 | 2026-01-14 | 16:50 | TAMARA | 1 | 206 | 206 | / | / | 0.210 |  |  |  | 30.30 |  | 1 | Andrea V |  | 3 | 2
2 | 200 | 21 | P/FINAL | 2026-01-15 | 12:20 | 2026-01-14 | 16:50 | TAMARA | 1 | 205 | 205 | / | / | 0.209 |  |  |  | 28.58 |  | 1 | Andrea V |  | 3 | 2
2 | 200 | 22 | P/FINAL | 2026-01-15 | 12:20 | 2026-01-14 | 16:50 | TAMARA | 1 | 199 | 199 | / | / | 0.204 |  |  |  | 42.56 |  | 1 | Andrea V |  | 3 | 2
2 | 200 | 23 | P/FINAL | 2026-01-15 | 12:21 | 2026-01-14 | 16:50 | TAMARA | 1 | 206 | 207 | / | / | 0.210 |  |  |  | 33.28 | 57 | 1 | Andrea V |  | 3 | 2
3 | 400 | 24 | P/FINAL | 2026-01-15 | 12:21 | 2026-01-14 | 16:50 | TAMARA | 1 | 396 | 399 | / | / | 0.369 |  |  |  | 35.24 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 25 | P/FINAL | 2026-01-15 | 12:22 | 2026-01-14 | 16:50 | TAMARA | 1 | 403 | 406 | / | / | 0.375 |  |  |  | 28.34 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 26 | P/FINAL | 2026-01-15 | 12:22 | 2026-01-14 | 16:50 | TAMARA | 1 | 403 | 400 | / | / | 0.375 |  |  |  | 32.27 |  | 1 | Andrea V |  | 3 | 3
3 | 400 | 27 | P/FINAL | 2026-01-15 | 12:23 | 2026-01-14 | 16:50 | TAMARA | 1 | 402 | 403 | / | / | 0.374 |  |  |  | 30.35 | 64 | 1 | Andrea V |  | 3 | 3
4 | 800 | 28 | P/FINAL | 2026-01-15 | 12:32 | 2026-01-14 | 16:50 | TAMARA | 1 | 776 | 780 | / | / | 0.683 |  |  |  | 34.08 |  | 1 | Andrea V |  | 3 | 4
4 | 800 | 29 | P/FINAL | 2026-01-15 | 12:33 | 2026-01-14 | 16:50 | TAMARA | 1 | 776 | 781 | / | / | 0.683 |  |  |  | 34.22 |  | 1 | Andrea V |  | 3 | 4
4 | 800 | 30 | P/FINAL | 2026-01-15 | 12:33 | 2026-01-14 | 16:50 | TAMARA | 1 | 799 | 802 | / | / | 0.702 |  |  |  | 41.65 |  | 1 | Andrea V |  | 3 | 4
4 | 800 | 31 | P/FINAL | 2026-01-15 | 12:34 | 2026-01-14 | 16:50 | TAMARA | 1 | 787 | 792 | / | / | 0.692 |  |  |  | 31.88 | 52 | 1 | Andrea V |  | 3 | 4
5 | 900 | 32 | P/FINAL | 2026-01-15 | 12:44 | 2026-01-14 | 16:50 | TAMARA | 1 | 880 | 881 | / | / | 0.767 |  |  |  | 76 |  | 1 | Andrea V |  | 3 | 5
5 | 900 | 33 | P/FINAL | 2026-01-15 | 12:45 | 2026-01-14 | 16:50 | TAMARA | 1 | 885 | 885 | / | / | 0.771 |  |  |  | 67 |  | 1 | Andrea V |  | 3 | 5
5 | 900 | 34 | P/FINAL | 2026-01-15 | 12:46 | 2026-01-14 | 16:50 | TAMARA | 1 | 880 | 889 | / | / | 0.767 |  |  |  | 79 |  | 1 | Andrea V |  | 3 | 5
5 | 900 | 35 | P/FINAL | 2026-01-15 | 12:46 | 2026-01-14 | 16:50 | TAMARA | 1 | 900 | 898 | / | / | 0.783 |  |  |  | 65 | 64 | 1 | Andrea V |  | 3 | 5
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 2 µg/L | 4 | 8 | 2 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 204 µg/L | 4 | 8 | 204 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 402 µg/L | 4 | 8 | 402 µg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 787 µg/L | 4 | 8 | 787 µg/L
Standard # 5
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 887 µg/L | 4 | 8 | 887 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 2 | YES
200 | 190 ÷ 210 | 204 | YES
400 | 388 ÷ 412 | 402 | YES
800 | 776 ÷ 824 | 787 | YES
900 | 873 ÷ 927 | 887 | YES
Validation Date | by