## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI781B-0
0871 | HI781B-0 | CP-R78 | W 50/1 |  | Parameter Formula | NO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Nitrate LR Reagent B | 2029-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
/ | / | /
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1496 | 0871 | H029 |  |  |  | 2210 | 0871 | H040
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2028-12-01 | 2029-12-01 | 2025-11-01 |  |  |  | 2029-12-01 | 2029-12-01 | 2026-03-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-12-17 | 2024-12-18 | 1HEAD |  |  | 1496 | H011
[6 empty] | Expiration A | Expiration B | Expiration D
[6 empty] | 2028-12-01 | 2025-11-01
Meter
Meter 1 Family | Meter 1 Code
HI97115 | CTO-708
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | L84-029 | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.02 | 0.75 | 1.29 |  | MR101 |  | 0.25 | & | 2% | 100%
3 | 2.52 | 2.22 | 2.82
4 | 4.03 | 3.70 | 4.36 | [8 empty] | 2.0 | 1.9 | 2.1
1 | 0.00 | 0.00 | 0.25
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.02 | 1 | Old B | 2024-12-16 | 09:19 | 2024-12-13 | 15:35 | EVELIN |  | 1.06 | / | / | / |  |  |  |  | 6.60 |  | 1 | Brigitta P |  | 3 | 2
2 | 1.02 | 2 | Valid | 2024-12-16 | 09:45 | 2024-12-13 | 15:35 | EVELIN |  | 1.08 | / | / | / |  |  |  | 1.682 | 7.70 |  | 1 | Monika |  | 3 | 2
2 | 1.02 | 3 | Valid | 2024-12-16 | 09:45 | 2024-12-13 | 15:35 | EVELIN |  | 1.03 | / | / | / |  |  |  |  | 9.70 |  | 1 | Monika |  | 3 | 2
3 | 2.52 | 4 | Old B | 2024-12-16 | 09:47 | 2024-12-13 | 15:35 | EVELIN |  | 2.63 | / | / | / |  |  |  |  | 8.07 |  | 1 | Monika |  | 3 | 3
3 | 2.52 | 5 | Valid | 2024-12-16 | 09:47 | 2024-12-13 | 15:35 | EVELIN |  | 2.53 | / | / | / |  |  |  | 1.909 | 7.69 |  | 1 | Monika |  | 3 | 3
3 | 2.52 | 6 | Valid | 2024-12-16 | 09:47 | 2024-12-13 | 15:35 | EVELIN |  | 2.48 | / | / | / |  |  |  |  | 7.79 |  | 1 | Monika |  | 3 | 3
4 | 4.03 | 7 | Old B | 2024-12-16 | 10:05 | 2024-12-13 | 15:35 | EVELIN |  | 4.06 | / | / | / |  |  |  |  | 7.75 |  | 1 | Monika |  | 3 | 4
4 | 4.03 | 8 | Valid | 2024-12-16 | 10:06 | 2024-12-13 | 15:35 | EVELIN |  | 3.82 | / | / | / |  |  |  | 2.038 | 7.21 |  | 1 | Monika |  | 3 | 4
4 | 4.03 | 9 | Valid | 2024-12-16 | 10:06 | 2024-12-13 | 15:35 | EVELIN |  | 3.82 | / | / | / |  |  |  |  | 7.23 |  | 1 | Monika |  | 3 | 4
1 | 0.00 | 10 | Valid | 2024-12-16 | 10:14 | 2024-12-13 | 15:35 | EVELIN |  | 0.08 | / | / | / |  |  |  |  | 7.45 |  | 1 | Monika |  | 3 | 1
2 | 1.02 | 11 | P/Final | 2024-12-18 | 12:41 | 2024-12-17 | 14:49 | NINA | PRECI | 1.05 | / | / | / |  |  |  | 1.900 | 7.19 | 155 | 1 | Monika |  | 3 | 2
2 | 1.02 | 12 | P/Final | 2024-12-18 | 12:41 | 2024-12-17 | 14:49 | NINA | PRECI | 0.81 | / | / | / |  |  |  |  | 7.49 | 146 | 1 | Monika |  | 3 | 2
3 | 2.52 | 13 | P/Final | 2024-12-18 | 12:42 | 2024-12-17 | 14:49 | NINA | PRECI | 2.66 | / | / | / |  |  |  | 2.057 | 4.76 | 151 | 1 | Monika |  | 3 | 3
3 | 2.52 | 14 | P/Final | 2024-12-18 | 12:42 | 2024-12-17 | 14:49 | NINA | PRECI | 2.55 | / | / | / |  |  |  |  | 4.89 | 142 | 1 | Monika |  | 3 | 3
4 | 4.03 | 15 | P/Final | 2024-12-18 | 12:43 | 2024-12-17 | 14:49 | NINA | PRECI | 4.16 | / | / | / |  |  |  | 1.991 | 4.72 |  | 1 | Monika |  | 3 | 4
4 | 4.03 | 16 | P/Final | 2024-12-18 | 12:43 | 2024-12-17 | 14:49 | NINA | PRECI | 4.06 | / | / | / |  |  |  |  | 4.52 |  | 1 | Monika |  | 3 | 4
2 | 1.02 | 17 | P/Final | 2024-12-18 | 13:38 | 2024-12-18 | 06:57 | Florica | PRECI | 0.91 | / | / | / |  |  |  |  | 7.45 | 140 | 1 | Monika |  | 3 | 2
2 | 1.02 | 18 | P/Final | 2024-12-18 | 13:38 | 2024-12-18 | 06:57 | Florica | PRECI | 0.85 | / | / | / |  |  |  |  | 6.67 | 142 | 1 | Monika |  | 3 | 2
3 | 2.52 | 19 | P/Final | 2024-12-18 | 13:39 | 2024-12-18 | 06:57 | Florica | PRECI | 2.58 | / | / | / |  |  |  |  | 4.95 | 140 | 1 | Monika |  | 3 | 3
3 | 2.52 | 20 | P/Final | 2024-12-18 | 13:39 | 2024-12-18 | 06:57 | Florica | PRECI | 2.51 | / | / | / |  |  |  |  | 4.72 | 147 | 1 | Monika |  | 3 | 3
4 | 4.03 | 21 | P/Final | 2024-12-18 | 13:40 | 2024-12-18 | 06:57 | Florica | PRECI | 3.76 | / | / | / |  |  |  |  | 5.29 |  | 1 | Monika |  | 3 | 4
4 | 4.03 | 22 | P/Final | 2024-12-18 | 13:40 | 2024-12-18 | 06:57 | Florica | PRECI | 4.16 | / | / | / |  |  |  |  | 4.31 |  | 1 | Monika |  | 3 | 4
1 | 0.00 | 23 | P/Final | 2024-12-18 | 13:40 | 2024-12-18 | 06:57 | Florica | PRECI | 0.04 | / | / | / |  |  |  |  | 9.7 |  | 1 | Monika |  | 3 | 1
2 | 1.02 | 24 | P/Final | 2024-12-18 | 16:48 | 2024-12-18 | 14:31 | NINA | PRECI | 0.89 | / | / | / |  |  |  |  | 0.80 | 162 | 1 | Brigitta P |  | 3 | 2
2 | 1.02 | 25 | P/Final | 2024-12-18 | 16:45 | 2024-12-18 | 14:31 | NINA | PRECI | 0.87 | / | / | / |  |  |  | 1.807 | 6.67 | 159 | 1 | Brigitta P |  | 3 | 2
2 | 1.02 | 26 | P/Final | 2024-12-18 | 16:45 | 2024-12-18 | 14:31 | NINA | PRECI | 0.89 | / | / | / |  |  |  |  | 6.90 | 164 | 1 | Brigitta P |  | 3 | 2
3 | 2.52 | 27 | P/Final | 2024-12-18 | 16:50 | 2024-12-18 | 14:31 | NINA | PRECI | 2.47 | / | / | / |  |  |  | 1.860 | 10.7 | 159 | 1 | Brigitta P |  | 3 | 2
3 | 2.52 | 28 | P/Final | 2024-12-18 | 16:50 | 2024-12-18 | 14:31 | NINA | PRECI | 2.47 | / | / | / |  |  |  |  | 6.16 | 161 | 1 | Brigitta P |  | 3 | 2
3 | 2.52 | 29 | P/Final | 2024-12-18 | 16:50 | 2024-12-18 | 14:31 | NINA | PRECI | 2.49 | / | / | / |  |  |  |  | 7.08 |  | 1 | Brigitta P |  | 3 | 2
4 | 4.03 | 30 | P/Final | 2024-12-18 | 16:50 | 2024-12-18 | 14:31 | NINA | PRECI | 4.13 | / | / | / |  |  |  | 1.859 | 6.69 |  | 1 | Brigitta P |  | 3 | 2
4 | 4.03 | 31 | P/Final | 2024-12-18 | 16:50 | 2024-12-18 | 14:31 | NINA | PRECI | 4.17 | / | / | / |  |  |  |  | 6.19 |  | 1 | Brigitta P |  | 3 | 2
4 | 4.03 | 32 | P/Final | 2024-12-18 | 16:50 | 2024-12-18 | 14:31 | NINA | PRECI | 3.80 | / | / | / |  |  |  |  | 7.08 |  | 1 | Brigitta P |  | 3 | 2
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 7 | 0.9 mg/L | 7 | 7 | 0.9 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 7 | 2.53 mg/L | 7 | 7 | 2.53 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 7 | 4.03 mg/L | 7 | 7 | 4.03 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 1 | 0.04 mg/L | 1 | 1 | 0.04 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.25 | 0.04 | YES
1.02 | 0.75 ÷ 1.29 | 0.90 | YES
2.52 | 2.22 ÷ 2.82 | 2.53 | YES
4.03 | 3.70 ÷ 4.36 | 4.03 | YES
Validation Date | by