## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI782-0
0894 | HI782-0 | CP-R80 | W 03/1 |  | Parameter Formula | NO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Nitrate HR Reagent | 2030-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
206 | 196 | 216
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 75.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | [5 empty] | 0869
[6 empty] | Expiration A | Expiration B | Expiration D
2029-12-01
Meter
Meter 1 Family | Meter 1 Code
HI97115 | CTO-741
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 35.0 | 31.3 | 38.7 |  | MR101 |  | 2.0 | & | 4.9% | 100%
2 | 15.0 | 12.3 | 17.7
4 | 60.0 | 55.1 | 64.9 | [8 empty] | 1.7 | 1.5 | 1.9
1 | 0.0 | 0.0 | 2.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97115 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 35.0 | 1 | Old A | 2025-01-15 | 11:22 | 2025-01-15 | 10:21 | ERIKA |  | 34.8 | / | / | / |  |  |  |  | 1.04 |  |  | Kinga |  | 3 | 3
2 | 15.0 | 2 | Old A | 2025-01-15 | 11:23 | 2025-01-15 | 10:21 | ERIKA |  | 15.5 | / | / | / |  |  |  |  | 1.58 |  |  | Kinga |  | 3 | 2
4 | 60.0 | 3 | Old A | 2025-01-15 | 11:27 | 2025-01-15 | 10:21 | ERIKA |  | 55.5 | / | / | / |  |  |  |  | 0.82 |  |  | Kinga |  | 3 | 4 |  | TEORETICAL WEIGHT
1 | 0.0 | 4 | Old A | 2025-01-15 | 11:30 | 2025-01-15 | 10:21 | ERIKA |  | 0.0 | / | / | / |  |  |  |  | 1.47 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 5 | Valid | 2025-01-15 | 11:36 | 2025-01-15 | 10:21 | ERIKA |  | 16.9 | / | / | / |  |  |  |  | 2.15 |  |  | Kinga |  | 3 | 2
2 | 15.0 | 6 | Valid | 2025-01-15 | 11:39 | 2025-01-15 | 10:21 | ERIKA |  | 17.6 | / | / | / |  |  |  | 1.757 | 2.83 |  |  | Kinga |  | 3 | 2
3 | 35.0 | 7 | Valid | 2025-01-15 | 11:42 | 2025-01-15 | 10:21 | ERIKA |  | 38.2 | / | / | / |  |  |  |  | 1.50 |  |  | Kinga |  | 3 | 3
3 | 35.0 | 8 | Valid | 2025-01-15 | 11:47 | 2025-01-15 | 10:21 | ERIKA |  | 38.7 | / | / | / |  |  |  | 1.772 | 1.60 |  |  | Kinga |  | 3 | 3
4 | 60.0 | 9 | Valid | 2025-01-15 | 11:49 | 2025-01-15 | 10:21 | ERIKA |  | 63.4 | / | / | / |  |  |  |  | 1.36 |  |  | Kinga |  | 3 | 4
4 | 60.0 | 10 | Valid | 2025-01-15 | 11:52 | 2025-01-15 | 10:21 | ERIKA |  | 64.3 | / | / | / |  |  |  | 1.767 | 1.98 |  |  | Kinga |  | 3 | 4
1 | 0.0 | 11 | Valid | 2025-01-15 | 11:59 | 2025-01-15 | 10:21 | ERIKA |  | 0.0 | / | / | / |  |  |  |  | 2.60 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 12 | Valid | 2025-01-15 | 12:00 | 2025-01-15 | 10:21 | ERIKA |  | 0.0 | / | / | / |  |  |  | 1.850 | 4.50 |  |  | Kinga |  | 3 | 1
3 | 35.0 | 13 | Old A | 2025-01-17 | 08:59 | 2025-01-17 | 08:10 | ELENA | 2 | 37.0 | / | / | / |  |  |  |  | 1.57 | 215 |  | Kinga |  | 3 | 3
3 | 35.0 | 14 | P/FINAL | 2025-01-17 | 09:00 | 2025-01-17 | 08:10 | ELENA | 2 | 38.1 | / | / | / |  |  |  | 1.800 | 1.34 | 219 |  | Kinga |  | 3 | 3
3 | 35.0 | 15 | P/FINAL | 2025-01-17 | 09:00 | 2025-01-17 | 08:10 | ELENA | 2 | 38.2 | / | / | / |  |  |  |  | 1.36 | 203 |  | Kinga |  | 3 | 3
4 | 60.0 | 16 | Old A | 2025-01-17 | 09:01 | 2025-01-17 | 08:10 | ELENA | 2 | 64.0 | / | / | / |  |  |  |  | 1.20 | 210 |  | Kinga |  | 3 | 4
4 | 60.0 | 17 | P/FINAL | 2025-01-17 | 09:01 | 2025-01-17 | 08:10 | ELENA | 2 | 63.1 | / | / | / |  |  |  | 1.761 | 1.56 | 205 |  | Kinga |  | 3 | 4
4 | 60.0 | 18 | P/FINAL | 2025-01-17 | 09:01 | 2025-01-17 | 08:10 | ELENA | 2 | 60.5 | / | / | / |  |  |  |  | 1.57 | 205 |  | Kinga |  | 3 | 4
2 | 15.0 | 19 | Old A | 2025-01-17 | 09:02 | 2025-01-17 | 08:10 | ELENA | 2 | 15.4 | / | / | / |  |  |  | 1.779 | 1.45 | 215 |  | Kinga |  | 3 | 2
2 | 15.0 | 20 | P/FINAL | 2025-01-17 | 09:03 | 2025-01-17 | 08:10 | ELENA | 2 | 15.5 | / | / | / |  |  |  |  | 15.3 |  |  | Kinga |  | 3 | 2
2 | 15.0 | 21 | P/FINAL | 2025-01-17 | 09:03 | 2025-01-17 | 08:10 | ELENA | 2 | 17.3 | / | / | / |  |  |  | 1.780 | 1.68 |  |  | Kinga |  | 3 | 2
2 | 15.0 | 22 | P/FINAL | 2025-01-17 | 10:40 | 2025-01-17 | 08:10 | ELENA | 2 |  | / | / | / | [7 empty] | Kinga |  | 3 | 2
2 | 15.0 | 23 | P/Prod | 2025-01-17 | 11:01 | 2025-01-17 | 10:40 | ELENA | 2 | 15.7 | / | / | / |  |  |  |  | 1.21 | 209 |  | Kinga |  | 3 | 2
2 | 15.0 | 24 | P/Prod | 2025-01-17 | 11:03 | 2025-01-17 | 10:40 | ELENA | 2 | 15.8 | / | / | / |  |  |  | 1.802 | 1.15 | 205 |  | Kinga |  | 3 | 2
3 | 35.0 | 25 | P/Prod | 2025-01-17 | 11:08 | 2025-01-17 | 10:40 | ELENA | 2 | 38.6 | / | / | / |  |  |  | 1.790 | 1.15 | 212 |  | Kinga |  | 3 | 3
3 | 35.0 | 26 | P/Prod | 2025-01-17 | 11:09 | 2025-01-17 | 10:40 | ELENA | 2 | 38.4 | / | / | / |  |  |  |  | 1.43 | 212 |  | Kinga |  | 3 | 3
4 | 60.0 | 27 | P/Prod | 2025-01-17 | 11:12 | 2025-01-17 | 10:40 | ELENA | 2 | 61.9 | / | / | / |  |  |  | 1.731 | 1.43 | 208 |  | Kinga |  | 3 | 4
4 | 60.0 | 28 | P/Prod | 2025-01-17 | 11:14 | 2025-01-17 | 10:40 | ELENA | 2 | 60.1 | / | / | / |  |  |  |  | 1.49 | 218 |  | Kinga |  | 3 | 4
1 | 0.0 | 29 | P/Prod | 2025-01-17 | 11:24 | 2025-01-17 | 10:40 | ELENA |  | 0.0 | / | / | / |  |  |  |  | 2.00 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 30 | P/Prod | 2025-01-17 | 11:25 | 2025-01-17 | 10:40 | ELENA |  | 0.0 | / | / | / |  |  |  |  | 2.13 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 31 | Old A | 2025-01-17 | 11:25 | 2025-01-17 | 10:40 | ELENA |  | 16.7 | / | / | / |  |  |  |  | 1.42 |  |  | Kinga |  | 3 | 2
3 | 35.0 | 32 | Old A | 2025-01-17 | 11:26 | 2025-01-17 | 10:40 | ELENA |  | 36.8 | / | / | / |  |  |  |  | 0.88 |  |  | Kinga |  | 3 | 3
4 | 60.0 | 33 | Old A | 2025-01-17 | 11:26 | 2025-01-17 | 10:40 | ELENA |  | 57.3 | / | / | / |  |  |  |  | 0.79 |  |  | Kinga |  | 3 | 4
2 | 15.0 | 34 | P/Prod | 2025-01-17 | 12:55 | 2025-01-17 | 12:31 | ELENA |  | 17.7 | / | / | / |  |  |  |  | 1.28 |  |  | Kinga |  | 3 | 2
2 | 15.0 | 35 | P/Prod | 2025-01-17 | 12:56 | 2025-01-17 | 12:31 | ELENA |  | 16.7 | / | / | / |  |  |  | 1.784 | 1.57 | 206 |  | Kinga |  | 3 | 2
3 | 35.0 | 36 | P/Prod | 2025-01-17 | 12:57 | 2025-01-17 | 12:31 | ELENA |  | 36.2 | / | / | / |  |  |  |  | 1.51 | 198 |  | Kinga |  | 3 | 3
3 | 35.0 | 37 | P/Prod | 2025-01-17 | 12:58 | 2025-01-17 | 12:31 | ELENA |  | 38.4 | / | / | / |  |  |  | 1.760 | 1.53 | 192 |  | Kinga |  | 3 | 3
4 | 60.0 | 38 | P/Prod | 2025-01-17 | 13:01 | 2025-01-17 | 12:31 | ELENA |  | 60.8 | / | / | / |  |  |  |  | 1.62 | 211 |  | Kinga |  | 3 | 4
4 | 60.0 | 39 | P/Prod | 2025-01-17 | 13:01 | 2025-01-17 | 12:31 | ELENA |  | 62.0 | / | / | / |  |  |  | 1.785 | 1.62 | 211 |  | Kinga |  | 3 | 4
1 | 0.0 | 40 | P/Prod | 2025-01-17 | 13:02 | 2025-01-17 | 12:31 | ELENA |  | 0.0 | / | / | / |  |  |  |  | 2.26 | 210 |  | Kinga |  | 3 | 1
1 | 0.0 | 41 | P/Prod | 2025-01-17 | 13:03 | 2025-01-17 | 12:31 | ELENA |  | 0.0 | / | / | / |  |  |  | 5.954 | 4.01 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 42 | P/Prod | 2025-01-17 | 14:52 | 2025-01-17 | 14:34 | NINA |  | 15.5 | / | / | / |  |  |  |  | 1.41 | 195 |  | Kinga |  | 3 | 2
2 | 15.0 | 43 | P/Prod | 2025-01-17 | 14:53 | 2025-01-17 | 14:34 | NINA |  | 14.8 | / | / | / |  |  |  | 1.813 | 4.44 | 198 |  | Kinga |  | 3 | 2
3 | 35.0 | 44 | P/Prod | 2025-01-17 | 14:54 | 2025-01-17 | 14:34 | NINA |  | 34.8 | / | / | / |  |  |  |  | 1.51 | 203 |  | Kinga |  | 3 | 3
3 | 35.0 | 45 | P/Prod | 2025-01-17 | 14:54 | 2025-01-17 | 14:34 | NINA |  | 35.8 | / | / | / |  |  |  | 1.803 | 1.44 | 190 |  | Kinga |  | 3 | 3
4 | 60.0 | 46 | P/Prod | 2025-01-17 | 14:58 | 2025-01-17 | 14:34 | NINA |  | 55.4 | / | / | / |  |  |  |  | 1.21 | 192 |  | Kinga |  | 3 | 4
4 | 60.0 | 47 | P/Prod | 2025-01-17 | 14:59 | 2025-01-17 | 14:34 | NINA |  | 59.7 | / | / | / |  |  |  | 1.787 | 1.70 | 181 |  | Kinga |  | 3 | 4
1 | 0.0 | 48 | P/Prod | 2025-01-17 | 15:02 | 2025-01-17 | 14:34 | NINA |  | 0.0 | / | / | / |  |  |  |  | 1.62 | 181 |  | Kinga |  | 3 | 1
1 | 0.0 | 49 | P/Prod | 2025-01-17 | 15:02 | 2025-01-17 | 14:34 | NINA |  | 0.0 | / | / | / |  |  |  | 2.000 | 1.52 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 50 | P/Prod | 2025-01-20 | 08:36 | 2025-01-20 | 08:16 | ROLAND |  | 16.0 | / | / | / |  |  |  | 1.787 | 4.60 | 195 |  | Kinga |  | 3 | 2
2 | 15.0 | 51 | P/Prod | 2025-01-20 | 08:37 | 2025-01-20 | 08:16 | ROLAND |  | 15.9 | / | / | / |  |  |  |  | 5.51 | 194 |  | Kinga |  | 3 | 2
3 | 35.0 | 52 | P/Prod | 2025-01-20 | 08:39 | 2025-01-20 | 08:16 | ROLAND |  | 38.5 | / | / | / |  |  |  | 1.974 | 1.63 | 210 |  | Kinga |  | 3 | 3
3 | 35.0 | 53 | P/Prod | 2025-01-20 | 08:40 | 2025-01-20 | 08:16 | ROLAND |  | 38.1 | / | / | / |  |  |  |  | 1.58 | 198 |  | Kinga |  | 3 | 3
4 | 60.0 | 54 | P/Prod | 2112025/01/20 | 08:42 | 2025-01-20 | 08:16 | ROLAND |  | 60.6 | / | / | / |  |  |  | 1.802 | 1.51 | 211 |  | Kinga |  | 3 | 4
4 | 60.0 | 55 | P/Prod | 2112025/01/20 | 08:43 | 2025-01-20 | 08:16 | ROLAND |  | 62.1 | / | / | / |  |  |  |  | 1.47 | 208 |  | Kinga |  | 3 | 4
1 | 0.0 | 56 | P/Prod | 2112025/01/20 | 08:45 | 2025-01-20 | 08:16 | ROLAND |  | 0.0 | / | / | / |  |  |  |  | 1.73 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 57 | P/Prod | 2112025/01/20 | 08:45 | 2025-01-20 | 08:16 | ROLAND |  | 0.0 | / | / | / |  |  |  | 1.806 | 1.75 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 58 | P/Prod | 2025-01-20 | 11:28 | 2025-01-20 | 11:07 | NINA |  | 14.9 | / | / | / |  |  |  |  | 1.48 | 214 |  | Kinga |  | 3 | 2
2 | 15.0 | 59 | P/Prod | 2025-01-20 | 11:28 | 2025-01-20 | 11:07 | NINA |  | 14.9 | / | / | / |  |  |  | 1.807 | 1.65 | 207 |  | Kinga |  | 3 | 2
3 | 35.0 | 60 | P/Prod | 2025-01-20 | 11:31 | 2025-01-20 | 11:07 | NINA |  | 37.1 | / | / | / |  |  |  |  | 1.42 | 212 |  | Kinga |  | 3 | 3
3 | 35.0 | 61 | P/Prod | 2025-01-20 | 11:33 | 2025-01-20 | 11:07 | NINA |  | 37.5 | / | / | / |  |  |  | 1.803 | 1.31 | 207 |  | Kinga |  | 3 | 3
4 | 60.0 | 62 | P/Prod | 2025-01-20 | 11:41 | 2025-01-20 | 11:07 | NINA |  | 58.7 | / | / | / |  |  |  |  | 1.33 | 199 |  | Kinga |  | 3 | 4
4 | 60.0 | 63 | P/Prod | 2025-01-20 | 11:42 | 2025-01-20 | 11:07 | NINA |  | 61.0 | / | / | / |  |  |  | 1.822 | 1.51 | 210 |  | Kinga |  | 3 | 4
1 | 0.0 | 64 | P/Prod | 2025-01-20 | 11:44 | 2025-01-20 | 11:07 | NINA |  | 0.0 | / | / | / |  |  |  |  | 3.25 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 65 | P/Prod | 2025-01-20 | 11:45 | 2025-01-20 | 11:07 | NINA |  | 0.0 | / | / | / |  |  |  | 1.855 | 3.13 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 66 | P/Prod | 2025-01-20 | 14:07 | 2025-01-20 | 13:04 | NINA |  | 14.6 | / | / | / |  |  |  |  | 2.19 | 199 |  | Kinga |  | 3 | 2
2 | 15.0 | 67 | P/Prod | 2025-01-20 | 14:08 | 2025-01-20 | 13:04 | NINA |  | 16.1 | / | / | / |  |  |  | 1.805 | 2.75 | 209 |  | Kinga |  | 3 | 2
3 | 35.0 | 68 | P/Prod | 2025-01-20 | 14:13 | 2025-01-20 | 13:04 | NINA |  | 35.4 | / | / | / |  |  |  |  | 1.32 | 191 |  | Kinga |  | 3 | 3
3 | 35.0 | 69 | P/Prod | 2025-01-20 | 14:14 | 2025-01-20 | 13:04 | NINA |  | 35.2 | / | / | / |  |  |  | 1.801 | 1.34 | 202 |  | Kinga |  | 3 | 3
4 | 60.0 | 70 | P/Prod | 2025-01-20 | 14:19 | 2025-01-20 | 13:04 | NINA |  | 56.6 | / | / | / |  |  |  |  | 1.39 | 195 |  | Kinga |  | 3 | 4
4 | 60.0 | 71 | P/Prod | 2025-01-20 | 14:20 | 2025-01-20 | 13:04 | NINA |  | 60.9 | / | / | / |  |  |  | 1.816 | 1.44 | 210 |  | Kinga |  | 3 | 4
1 | 0.0 | 72 | P/Prod | 2025-01-20 | 14:23 | 2025-01-20 | 13:04 | NINA |  | 0.0 | / | / | / |  |  |  |  | 1.73 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 73 | P/Prod | 2025-01-20 | 14:23 | 2025-01-20 | 13:04 | NINA |  | 0.0 | / | / | / |  |  |  | 1.884 | 3.06 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 74 | P/Prod | 2025-01-20 | 15:32 | 2025-01-20 | 15:00 | ELENA | 2 | 16.0 | / | / | / |  |  |  |  | 2.82 | 184 |  | Brigitta P |  | 3 | 2
2 | 15.0 | 75 | P/Prod | 2025-01-20 | 15:32 | 2025-01-20 | 15:00 | ELENA | 2 | 15.6 | / | / | / |  |  |  |  | 1.62 | 200 |  | Brigitta P |  | 3 | 2
3 | 35.0 | 76 | P/Prod | 2025-01-20 | 15:33 | 2025-01-20 | 15:00 | ELENA | 2 | 38.7 | / | / | / |  |  |  |  | 1.95 | 206 |  | Brigitta P |  | 3 | 3
3 | 35.0 | 77 | P/Prod | 2025-01-20 | 15:33 | 2025-01-20 | 15:00 | ELENA | 2 | 38.5 | / | / | / |  |  |  |  | 2.66 | 197 |  | Brigitta P |  | 3 | 3
4 | 60.0 | 78 | P/Prod | 2025-01-20 | 15:35 | 2025-01-20 | 15:00 | ELENA | 2 | 60.1 | / | / | / |  |  |  |  | 1.77 | 190 |  | Brigitta P |  | 3 | 4
4 | 60.0 | 79 | P/Prod | 2025-01-20 | 15:36 | 2025-01-20 | 15:00 | ELENA | 2 | 58.5 | / | / | / |  |  |  |  | 1.40 | 201 |  | Brigitta P |  | 3 | 4
2 | 15.0 | 80 | P/Prod | 2025-01-20 | 17:40 | 2025-01-20 | 17:20 | ELENA | 2 | 15.7 | / | / | / |  |  |  |  | 1.56 |  |  | Brigitta P |  | 3 | 2
2 | 15.0 | 81 | P/Prod | 2025-01-20 | 17:41 | 2025-01-20 | 17:20 | ELENA | 2 | 15.6 | / | / | / |  |  |  |  | 1.44 |  |  | Brigitta P |  | 3 | 2
3 | 35.0 | 82 | P/Prod | 2025-01-20 | 17:43 | 2025-01-20 | 17:20 | ELENA | 2 | 38.5 | / | / | / |  |  |  |  | 1.70 |  |  | Brigitta P |  | 3 | 3
3 | 35.0 | 83 | P/Prod | 2025-01-20 | 17:43 | 2025-01-20 | 17:20 | ELENA | 2 | 37.9 | / | / | / |  |  |  |  | 1.51 |  |  | Brigitta P |  | 3 | 3
4 | 60.0 | 84 | P/Prod | 2025-01-20 | 17:46 | 2025-01-20 | 17:20 | ELENA | 2 | 61.9 | / | / | / |  |  |  |  | 1.40 |  |  | Brigitta P |  | 3 | 4
4 | 60.0 | 85 | P/Prod | 2025-01-20 | 17:47 | 2025-01-20 | 17:20 | ELENA | 2 | 62.1 | / | / | / |  |  |  |  | 1.40 |  |  | Brigitta P |  | 3 | 4
3 | 35.0 | 86 | P/Prod | 2025-01-20 | 18:57 | 2025-01-20 | 18:31 | ELENA | 2 | 37.8 | / | / | / |  |  |  |  | 1.06 |  |  | Brigitta P |  | 3 | 3
3 | 35.0 | 87 | P/Prod | 2025-01-20 | 18:57 | 2025-01-20 | 18:31 | ELENA | 2 | 36.2 | / | / | / |  |  |  |  | 1.41 |  |  | Brigitta P |  | 3 | 3
2 | 15.0 | 88 | P/Prod | 2025-01-20 | 20:44 | 2025-01-20 | 20:16 | ELENA | 2 | 15.0 | / | / | / |  |  |  |  | 1.03 |  |  | Brigitta P |  | 3 | 2
2 | 15.0 | 89 | P/Prod | 2025-01-20 | 20:45 | 2025-01-20 | 20:16 | ELENA | 2 | 15.2 | / | / | / |  |  |  |  | 1 |  |  | Brigitta P |  | 3 | 2
3 | 35.0 | 90 | P/Prod | 2025-01-20 | 20:45 | 2025-01-20 | 20:16 | ELENA | 2 | 38.3 | / | / | / |  |  |  |  | 1.23 |  |  | Brigitta P |  | 3 | 3
3 | 35.0 | 91 | P/Prod | 2025-01-20 | 20:45 | 2025-01-20 | 20:16 | ELENA | 2 | 37.9 | / | / | / |  |  |  |  | 1.20 |  |  | Brigitta P |  | 3 | 3
4 | 60.0 | 92 | P/Prod | 2025-01-20 | 20:49 | 2025-01-20 | 20:16 | ELENA | 2 | 60.5 | / | / | / |  |  |  |  | 1.35 |  |  | Brigitta P |  | 3 | 4
4 | 60.0 | 93 | P/Prod | 2025-01-20 | 20:49 | 2025-01-20 | 20:16 | ELENA | 2 | 63.4 | / | / | / |  |  |  |  | 1.09 |  |  | Brigitta P |  | 3 | 4
1 | 0.0 | 94 | P/Prod | 2025-01-20 | 20:49 | 2025-01-20 | 20:16 | ELENA | 2 | 0.0 | / | / | / |  |  |  |  | 1.09 |  |  | Brigitta P |  | 3 | 1
1 | 0.0 | 95 | P/Prod | 2025-01-20 | 20:50 | 2025-01-20 | 20:16 | ELENA | 2 | 0.0 | / | / | / |  |  |  |  | 1.00 |  |  | Brigitta P |  | 3 | 1
2 | 15.0 | 96 | P/Prod | 2025-01-21 | 08:57 | 2025-01-21 | 08:30 | ROLAND |  | 14.4 | / | / | / |  |  |  | 1.850 | 1.25 | 183 |  | Monika |  | 3 | 2
2 | 15.0 | 97 | P/Prod | 2025-01-21 | 08:58 | 2025-01-21 | 08:30 | ROLAND |  | 15.5 | / | / | / |  |  |  |  | 3.87 | 218 |  | Monika |  | 3 | 2
3 | 35.0 | 98 | P/Prod | 2025-01-21 | 09:03 | 2025-01-21 | 08:30 | ROLAND |  | 34.4 | / | / | / |  |  |  | 1.836 | 1.26 | 171 |  | Monika |  | 3 | 3
3 | 35.0 | 99 | P/Prod | 2025-01-21 | 09:04 | 2025-01-21 | 08:30 | ROLAND |  | 37.7 | / | / | / |  |  |  |  | 1.30 | 171 |  | Monika |  | 3 | 3
4 | 60.0 | 100 | P/Prod | 2025-01-21 | 09:09 | 2025-01-21 | 08:30 | ROLAND |  | 58.3 | / | / | / |  |  |  | 1.840 | 1.35 | 193 |  | Monika |  | 3 | 4
4 | 60.0 | 101 | P/Prod | 2025-01-21 | 09:09 | 2025-01-21 | 08:30 | ROLAND |  | 59.0 | / | / | / |  |  |  |  | 1.73 | 196 |  | Monika |  | 3 | 4
1 | 0.0 | 102 | P/Prod | 2025-01-21 | 09:13 | 2025-01-21 | 08:30 | ROLAND |  | 0.0 | / | / | / |  |  |  | 1.823 | 3.22 |  |  | Monika |  | 3 | 1
1 | 0.0 | 103 | P/Prod | 2025-01-21 | 09:14 | 2025-01-21 | 08:30 | ROLAND |  | 0.0 | / | / | / |  |  |  | 1.834 | 2.36 |  |  | Monika |  | 3 | 1
2 | 15.0 | 104 | P/Prod | 2025-01-21 | 11:30 | 2025-01-21 | 11:07 | NINA |  | 16.1 | / | / | / |  |  |  | 1.815 | 2.36 | 206 |  | Monika |  | 3 | 2
2 | 15.0 | 105 | P/Prod | 2025-01-21 | 11:31 | 2025-01-21 | 11:07 | NINA |  | 14.8 | / | / | / |  |  |  |  | 2.36 | 213 |  | Monika |  | 3 | 2
3 | 35.0 | 106 | P/Prod | 2025-01-21 | 11:33 | 2025-01-21 | 11:07 | NINA |  | 37.4 | / | / | / |  |  |  | 1.816 | 1.55 | 213 |  | Monika |  | 3 | 3
3 | 35.0 | 107 | P/Prod | 2025-01-21 | 11:34 | 2025-01-21 | 11:07 | NINA |  | 35.0 | / | / | / |  |  |  |  | 1.28 | 220 |  | Monika |  | 3 | 3
4 | 60.0 | 108 | P/Prod | 2025-01-21 | 11:36 | 2025-01-21 | 11:07 | NINA |  | 59.8 | / | / | / |  |  |  | 1.817 | 2.17 | 216 |  | Monika |  | 3 | 4
4 | 60.0 | 109 | P/Prod | 2025-01-21 | 11:36 | 2025-01-21 | 11:07 | NINA |  | 63.4 | / | / | / |  |  |  |  | 1.55 | 217 |  | Monika |  | 3 | 4
1 | 0.0 | 110 | P/Prod | 2025-01-21 | 11:39 | 2025-01-21 | 11:07 | NINA |  | 0.0 | / | / | / |  |  |  |  | 4.72 |  |  | Monika |  | 3 | 1
1 | 0.0 | 111 | P/Prod | 2025-01-21 | 11:40 | 2025-01-21 | 11:07 | NINA |  | 0.0 | / | / | / |  |  |  | 1.719 | 5.51 |  |  | Monika |  | 3 | 1
2 | 15.0 | 112 | P/Prod | 2025-01-21 | 14:59 | 2025-01-21 | 14:31 | ELENA | 2 | 14.1 | / | / | / |  |  |  |  | 5.51 |  |  | Kinga |  | 3 | 2
2 | 15.0 | 113 | P/Prod | 2025-01-21 | 14:59 | 2025-01-21 | 14:31 | ELENA | 2 | 14.4 | / | / | / |  |  |  | 1.857 | 1.59 |  |  | Kinga |  | 3 | 2
3 | 35.0 | 114 | P/Prod | 2025-01-21 | 14:59 | 2025-01-21 | 14:31 | ELENA | 2 | 37.5 | / | / | / |  |  |  |  | 1.59 | 206 |  | Kinga |  | 3 | 3
3 | 35.0 | 115 | P/Prod | 2025-01-21 | 15:00 | 2025-01-21 | 14:31 | ELENA | 2 | 37.7 | / | / | / |  |  |  | 1.848 | 1.32 | 208 |  | Kinga |  | 3 | 3
4 | 60.0 | 116 | P/Prod | 2025-01-21 | 15:01 | 2025-01-21 | 14:31 | ELENA | 2 | 61.2 | / | / | / |  |  |  |  | 1.62 | 212 |  | Kinga |  | 3 | 4
4 | 60.0 | 117 | P/Prod | 2025-01-21 | 15:02 | 2025-01-21 | 14:31 | ELENA | 2 | 60.2 | / | / | / |  |  |  | 1.859 | 1.35 | 207 |  | Kinga |  | 3 | 4
1 | 0.0 | 118 | P/Prod | 2025-01-21 | 15:03 | 2025-01-21 | 14:31 | ELENA | 2 | 0.0 | / | / | / |  |  |  |  | 3.34 | 211 |  | Kinga |  | 3 | 1
1 | 0.0 | 119 | P/Prod | 2025-01-21 | 15:03 | 2025-01-21 | 14:31 | ELENA | 2 | 0.0 | / | / | / |  |  |  | 1.833 | 1.95 | 211 |  | Kinga |  | 3 | 1
1 | 0.0 | 120 | P/Prod | 2025-01-21 | 18:02 | 2025-01-21 | 16:40 | ELENA | 2 | 0.0 | / | / | / |  |  |  |  | 2.12 |  |  | Brigitta P |  | 3 | 1
1 | 0.0 | 121 | P/Prod | 2025-01-21 | 18:03 | 2025-01-21 | 16:40 | ELENA | 2 | 0.0 | / | / | / |  |  |  |  | 1.85 |  |  | Brigitta P |  | 3 | 1
2 | 15.0 | 122 | P/Prod | 2025-01-21 | 18:03 | 2025-01-21 | 16:40 | ELENA | 2 | 15.5 | / | / | / |  |  |  | 1.845 | 3.03 | 206 |  | Brigitta P |  | 3 | 2
2 | 15.0 | 123 | P/Prod | 2025-01-21 | 18:04 | 2025-01-21 | 16:40 | ELENA | 2 | 15.8 | / | / | / |  |  |  |  | 3.66 | 208 |  | Brigitta P |  | 3 | 2
3 | 35.0 | 124 | P/Prod | 2025-01-21 | 18:04 | 2025-01-21 | 16:40 | ELENA | 2 | 37.2 | / | / | / |  |  |  | 1.850 | 1.29 | 211 |  | Brigitta P |  | 3 | 3
3 | 35.0 | 125 | P/Prod | 2025-01-21 | 18:05 | 2025-01-21 | 16:40 | ELENA | 2 | 37.0 | / | / | / |  |  |  |  | 1.30 | 208 |  | Brigitta P |  | 3 | 3
4 | 60.0 | 126 | P/Prod | 2025-01-21 | 18:05 | 2025-01-21 | 16:40 | ELENA | 2 | 62.8 | / | / | / |  |  |  | 1.837 | 1.57 | 220 |  | Brigitta P |  | 3 | 3
4 | 60.0 | 127 | P/Prod | 2025-01-21 | 18:05 | 2025-01-21 | 16:40 | ELENA | 2 | 64.2 | / | / | / |  |  |  |  | 1.49 |  |  | Brigitta P |  | 3 | 3
2 | 15.0 | 128 | P/Prod | 2025-01-21 | 18:57 | 2025-01-21 | 18:30 | ELENA | 2 | 16.5 | / | / | / |  |  |  | 1.820 | 1.28 |  |  | Brigitta P |  | 3 | 2
2 | 15.0 | 129 | P/Prod | 2025-01-21 | 18:57 | 2025-01-21 | 18:30 | ELENA | 2 | 15.7 | / | / | / |  |  |  |  | 1.41 |  |  | Brigitta P |  | 3 | 2
4 | 60.0 | 130 | P/Prod | 2025-01-21 | 18:58 | 2025-01-21 | 18:30 | ELENA | 2 | 60.9 | / | / | / |  |  |  | 1.818 | 1.54 | 210 |  | Brigitta P |  | 3 | 4
4 | 60.0 | 131 | P/Prod | 2025-01-21 | 18:58 | 2025-01-21 | 18:30 | ELENA | 2 | 62.1 | / | / | / |  |  |  |  | 1.54 | 212 |  | Brigitta P |  | 3 | 4
3 | 35.0 | 132 | P/Prod | 2025-01-21 | 18:59 | 2025-01-21 | 18:30 | ELENA | 2 | 36.3 | / | / | / |  |  |  | 1.825 | 1.36 | 206 |  | Brigitta P |  | 3 | 4
3 | 35.0 | 133 | P/Prod | 2025-01-21 | 18:59 | 2025-01-21 | 18:30 | ELENA | 2 | 36.9 | / | / | / |  |  |  |  | 1.48 | 210 |  | Brigitta P |  | 3 | 4
1 | 0.0 | 134 | P/Prod | 2025-01-21 | 19:00 | 2025-01-21 | 18:30 | ELENA | 2 | 0.0 | / | / | / |  |  |  |  | 2.70 | 219 |  | Brigitta P |  | 3 | 1
1 | 0.0 | 135 | P/Prod | 2025-01-21 | 19:00 | 2025-01-21 | 18:30 | ELENA | 2 | 0.0 | / | / | / |  |  |  |  | 0.14 |  |  | Brigitta P |  | 3 | 1
2 | 15.0 | 136 | P/Prod | 2025-01-21 | 19:58 | 2025-01-21 | 19:41 | ELENA | 2 | 15.0 | / | / | / |  |  |  | 1.832 | 1.31 | 211 |  | Brigitta P |  | 3 | 2
2 | 15.0 | 137 | P/Prod | 2025-01-21 | 19:59 | 2025-01-21 | 19:41 | ELENA | 2 | 15.7 | / | / | / |  |  |  |  | 1.68 | 209 |  | Brigitta P |  | 3 | 2
3 | 35.0 | 138 | P/Prod | 2025-01-21 | 20:02 | 2025-01-21 | 19:41 | ELENA | 2 | 37.3 | / | / | / |  |  |  | 1.830 | 1.33 | 207 |  | Brigitta P |  | 3 | 3
3 | 35.0 | 139 | P/Prod | 2025-01-21 | 20:02 | 2025-01-21 | 19:41 | ELENA | 2 | 37.1 | / | / | / |  |  |  |  | 1.19 | 198 |  | Brigitta P |  | 3 | 3
4 | 60.0 | 140 | P/Prod | 2025-01-21 | 20:15 | 2025-01-21 | 19:41 | ELENA | 2 | 62.0 | / | / | / |  |  |  | 1.845 | 1.51 | 195 |  | Brigitta P |  | 3 | 4
4 | 60.0 | 141 | P/Prod | 2025-01-21 | 20:15 | 2025-01-21 | 19:41 | ELENA | 2 | 61.7 | / | / | / |  |  |  |  | 1.14 | 206 |  | Brigitta P |  | 3 | 4
2 | 15.0 | 142 | P/Prod | 2025-01-21 | 21:09 | 2025-01-21 | 20:41 | ELENA | 2 | 15.8 | / | / | / |  |  |  |  | 1.35 | 206 |  | Brigitta P |  | 3 | 2
2 | 15.0 | 143 | P/Prod | 2025-01-21 | 21:09 | 2025-01-21 | 20:41 | ELENA | 2 | 15.7 | / | / | / |  |  |  | 1.854 | 1.33 | 197 |  | Brigitta P |  | 3 | 2
3 | 35.0 | 144 | P/Prod | 2025-01-21 | 21:10 | 2025-01-21 | 20:41 | ELENA | 2 | 35.6 | / | / | / |  |  |  |  | 1.32 | 200 |  | Brigitta P |  | 3 | 3
3 | 35.0 | 145 | P/Prod | 2025-01-21 | 21:11 | 2025-01-21 | 20:41 | ELENA | 2 | 36.6 | / | / | / |  |  |  | 1.840 | 1.22 | 209 |  | Brigitta P |  | 3 | 3
4 | 60.0 | 146 | P/Prod | 2025-01-21 | 21:11 | 2025-01-21 | 20:41 | ELENA | 2 | 60.1 | / | / | / |  |  |  |  | 1.27 | 198 |  | Brigitta P |  | 3 | 4
4 | 60.0 | 147 | P/Prod | 2025-01-21 | 21:11 | 2025-01-21 | 20:41 | ELENA | 2 | 60.8 | / | / | / |  |  |  | 1.830 | 1.43 | 216 |  | Brigitta P |  | 3 | 4
2 | 15.0 | 148 | P/Prod | 2025-01-22 | 08:35 | 2025-01-22 | 07:51 | ROLAND |  | 15.0 | / | / | / |  |  |  |  | 3.85 | 200 |  | Kinga |  | 3 | 2
2 | 15.0 | 149 | P/Prod | 2025-01-22 | 08:36 | 2025-01-22 | 07:51 | ROLAND |  | 15.5 | / | / | / |  |  |  | 1.890 | 4.94 | 203 |  | Kinga |  | 3 | 2
3 | 35.0 | 150 | P/Prod | 2025-01-22 | 08:37 | 2025-01-22 | 07:51 | ROLAND |  | 36.4 | / | / | / |  |  |  |  | 4.94 | 227 |  | Kinga |  | 3 | 3
3 | 35.0 | 151 | P/Prod | 2025-01-22 | 08:38 | 2025-01-22 | 07:51 | ROLAND |  | 37.2 | / | / | / |  |  |  |  | 1.35 | 211 |  | Kinga |  | 3 | 3
4 | 60.0 | 152 | P/Prod | 2025-01-22 | 08:40 | 2025-01-22 | 07:51 | ROLAND |  | 61.0 | / | / | / |  |  |  |  | 1.87 | 211 |  | Kinga |  | 3 | 4
4 | 60.0 | 153 | P/Prod | 2025-01-22 | 08:41 | 2025-01-22 | 07:51 | ROLAND |  | 58.2 | / | / | / |  |  |  |  | 2.40 | 234 |  | Kinga |  | 3 | 4
1 | 0.0 | 154 | P/Prod | 2025-01-22 | 08:41 | 2025-01-22 | 07:51 | ROLAND |  | 0.0 | / | / | / |  |  |  |  | 2.40 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 155 | P/Prod | 2025-01-22 | 08:43 | 2025-01-22 | 07:51 | ROLAND |  | 0.0 | / | / | / |  |  |  |  | 1.57 |  |  | Kinga |  | 3 | 1
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
38 | 38 | 37.1 mg/L | 38 | 38 | 37.1 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
37 | 36 | 15.6 mg/L | 36 | 36 | 15.6 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
36 | 36 | 60.7 mg/L | 36 | 36 | 60.7 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
26 | 26 | 0 mg/L | 26 | 26 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 2.0 | 0.0 | YES
15.0 | 12.3 ÷ 17.7 | 15.6 | YES
35.0 | 31.3 ÷ 38.7 | 37.1 | YES
60.0 | 55.1 ÷ 64.9 | 60.7 | YES
Validation Date | by