## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI782-0
0898 | HI782-0 | CP-R80 | W 04/1 |  | Parameter Formula | NO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Nitrate HR Reagent | 2030-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
206 | 196 | 216
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 75.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-01-22 | 2025-01-28 | 2HEAD |  |  | 0800
[6 empty] | Expiration A | Expiration B | Expiration D
2029-11-01
Meter
Meter 1 Family | Meter 1 Code
HI801 | CTO-740
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 15.0 | 12.3 | 17.7 |  | MR101 |  | 2.0 | & | 4.9% | 100%
3 | 35.0 | 31.3 | 38.7
4 | 60.0 | 55.1 | 64.9 | [8 empty] | 1.7 | 1.5 | 1.9
1 | 0.0 | 0.0 | 2.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 15.0 | 1 | Valid | 2025-01-21 | 14:33 | 2025-01-21 | 14:20 | ERIKA |  | 16.7 | / | / | / |  |  |  | 1.822 | 1.21 |  |  | Kinga |  | 3 | 2
2 | 15.0 | 2 | Valid | 2025-01-21 | 14:33 | 2025-01-21 | 14:20 | ERIKA |  | 16.9 | / | / | / |  |  |  |  | 1.44 |  |  | Kinga |  | 3 | 2
3 | 35.0 | 3 | Valid | 2025-01-21 | 14:36 | 2025-01-21 | 14:20 | ERIKA |  | 38.7 | / | / | / |  |  |  | 1.813 | 1.91 |  |  | Kinga |  | 3 | 3
3 | 35.0 | 4 | Valid | 2025-01-21 | 14:37 | 2025-01-21 | 14:20 | ERIKA |  | 38.5 | / | / | / |  |  |  |  | 1.72 |  |  | Kinga |  | 3 | 3
4 | 60.0 | 5 | Valid | 2025-01-21 | 14:38 | 2025-01-21 | 14:20 | ERIKA |  | 64.2 | / | / | / |  |  |  | 1.816 | 3.39 |  |  | Kinga |  | 3 | 4
4 | 60.0 | 6 | Valid | 2025-01-21 | 14:39 | 2025-01-21 | 14:20 | ERIKA |  | 63.3 | / | / | / |  |  |  |  | 2.18 |  |  | Kinga |  | 3 | 4
1 | 0.0 | 7 | Valid | 2025-01-21 | 14:40 | 2025-01-21 | 14:20 | ERIKA |  | 0.0 | / | / | / |  |  |  | 1.833 | 3.57 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 8 | Valid | 2025-01-21 | 14:40 | 2025-01-21 | 14:20 | ERIKA |  | 0.0 | / | / | / |  |  |  |  | 3.31 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 9 | P/Prod | 2025-01-22 | 10:26 | 2025-01-22 | 09:51 | ROLAND |  | 14.7 | / | / | / |  |  |  |  | 3.40 | 195 |  | Kinga |  | 3 | 2
2 | 15.0 | 10 | P/Prod | 2025-01-22 | 10:27 | 2025-01-22 | 09:51 | ROLAND |  | 14.5 | / | / | / |  |  |  | 1.868 | 2.84 | 195 |  | Kinga |  | 3 | 2
3 | 35.0 | 11 | P/Prod | 2025-01-22 | 10:29 | 2025-01-22 | 09:51 | ROLAND |  | 34.6 | / | / | / |  |  |  |  | 1.79 | 203 |  | Kinga |  | 3 | 3
3 | 35.0 | 12 | P/Prod | 2025-01-22 | 10:29 | 2025-01-22 | 09:51 | ROLAND |  | 35.9 | / | / | / |  |  |  | 1.886 | 2.08 | 199 |  | Kinga |  | 3 | 3
4 | 60.0 | 13 | P/Prod | 2025-01-22 | 10:31 | 2025-01-22 | 09:51 | ROLAND |  | 55.5 | / | / | / |  |  |  |  | 1.16 | 198 |  | Kinga |  | 3 | 4
4 | 60.0 | 14 | P/Prod | 2025-01-22 | 10:32 | 2025-01-22 | 09:51 | ROLAND |  | 56.2 | / | / | / |  |  |  | 1.854 | 2.02 | 197 |  | Kinga |  | 3 | 4
1 | 0.0 | 15 | P/Prod | 2025-01-22 | 10:33 | 2025-01-22 | 09:51 | ROLAND |  | 0.0 | / | / | / |  |  |  |  | 1.83 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 16 | P/Prod | 2025-01-22 | 10:33 | 2025-01-22 | 09:51 | ROLAND |  | 0.0 | / | / | / |  |  |  | 1.880 | 1.63 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 17 | P/Prod | 2025-01-22 | 11:48 | 2025-01-22 | 11:27 | ROLAND |  | 12.9 | / | / | / |  |  |  |  | 1.63 | 185 |  | Kinga |  | 3 | 2
2 | 15.0 | 18 | P/Prod | 2025-01-22 | 11:49 | 2025-01-22 | 11:27 | ROLAND |  | 14.3 | / | / | / |  |  |  | 1.851 | 1.83 | 190 |  | Kinga |  | 3 | 2
3 | 35.0 | 19 | P/Prod | 2025-01-22 | 11:51 | 2025-01-22 | 11:27 | ROLAND |  | 34.6 | / | / | / |  |  |  |  | 1.27 | 202 |  | Kinga |  | 3 | 3
3 | 35.0 | 20 | P/Prod | 2025-01-22 | 11:51 | 2025-01-22 | 11:27 | ROLAND |  | 35.6 | / | / | / |  |  |  | 1.824 | 1.18 | 200 |  | Kinga |  | 3 | 3
4 | 60.0 | 21 | P/Prod | 2025-01-22 | 11:54 | 2025-01-22 | 11:27 | ROLAND |  | 56.7 | / | / | / |  |  |  |  | 1.72 | 184 |  | Kinga |  | 3 | 4
4 | 60.0 | 22 | P/Prod | 2025-01-22 | 11:55 | 2025-01-22 | 11:27 | ROLAND |  | 60.6 | / | / | / |  |  |  | 1.853 | 1.88 | 176 |  | Kinga |  | 3 | 4
1 | 0.0 | 23 | P/Prod | 2025-01-22 | 12:03 | 2025-01-22 | 11:27 | ROLAND |  | 0.0 | / | / | / |  |  |  |  | 1.34 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 24 | P/Prod | 2025-01-22 | 12:04 | 2025-01-22 | 11:27 | ROLAND |  | 0.0 | / | / | / |  |  |  | 1.880 | 3.23 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 25 | P/Prod | 2025-01-22 | 14:08 | 2025-01-22 | 12:57 | ROLAND |  | 14.8 | / | / | / |  |  |  |  | 1.47 |  |  | Kinga |  | 3 | 2
2 | 15.0 | 26 | P/Prod | 2025-01-22 | 14:08 | 2025-01-22 | 12:57 | ROLAND |  | 13.9 | / | / | / |  |  |  |  | 1.79 |  |  | Kinga |  | 3 | 2
3 | 35.0 | 27 | P/Prod | 2025-01-22 | 14:22 | 2025-01-22 | 12:57 | ROLAND |  | 36.9 | / | / | / |  |  |  |  | 1.79 | 196 |  | Kinga |  | 3 | 3
3 | 35.0 | 28 | P/Prod | 2025-01-22 | 14:23 | 2025-01-22 | 12:57 | ROLAND |  | 37.5 | / | / | / |  |  |  | 1.852 | 1.40 | 188 |  | Kinga |  | 3 | 3
4 | 60.0 | 29 | P/Prod | 2025-01-22 | 14:25 | 2025-01-22 | 12:57 | ROLAND |  | 64.0 | / | / | / |  |  |  |  | 1.49 | 198 |  | Kinga |  | 3 | 4
4 | 60.0 | 30 | P/Prod | 2025-01-22 | 14:26 | 2025-01-22 | 12:57 | ROLAND |  | 58.8 | / | / | / |  |  |  | 1.840 | 1.45 | 196 |  | Kinga |  | 3 | 4
1 | 0.0 | 31 | P/Prod | 2025-01-22 | 14:27 | 2025-01-22 | 12:57 | ROLAND |  | 0.0 | / | / | / |  |  |  |  | 1.45 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 32 | P/Prod | 2025-01-22 | 14:27 | 2025-01-22 | 12:57 | ROLAND |  | 0.0 | / | / | / |  |  |  | 1.845 | 2.09 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 33 | P/Prod | 2025-01-22 | 14:52 | 2025-01-22 | 14:26 | ELENA |  | 14.6 | / | / | / |  |  |  | 1.863 | 1.37 | 202 |  | Kinga |  | 3 | 2
2 | 15.0 | 34 | P/Prod | 2025-01-22 | 14:53 | 2025-01-22 | 14:26 | ELENA |  | 13.7 | / | / | / |  |  |  |  | 1.20 | 207 |  | Kinga |  | 3 | 2
3 | 35.0 | 35 | P/Prod | 2025-01-22 | 14:56 | 2025-01-22 | 14:26 | ELENA |  | 32.6 | / | / | / |  |  |  | 1.850 | 1.23 | 207 |  | Kinga |  | 3 | 3
3 | 35.0 | 36 | P/Prod | 2025-01-22 | 14:57 | 2025-01-22 | 14:26 | ELENA |  | 36.0 | / | / | / |  |  |  |  | 1.35 | 206 |  | Kinga |  | 3 | 3
4 | 60.0 | 37 | P/Prod | 2025-01-22 | 15:03 | 2025-01-22 | 14:26 | ELENA |  | 57.9 | / | / | / |  |  |  | 1.872 | 1.31 | 205 |  | Kinga |  | 3 | 4
4 | 60.0 | 38 | P/Prod | 2025-01-22 | 15:03 | 2025-01-22 | 14:26 | ELENA |  | 58.8 | / | / | / |  |  |  |  | 1.23 |  |  | Kinga |  | 3 | 4
1 | 0.0 | 39 | P/Prod | 2025-01-22 | 15:05 | 2025-01-22 | 14:26 | ELENA |  | 0.0 | / | / | / |  |  |  | 1..823 | 3.01 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 40 | P/Prod | 2025-01-22 | 15:06 | 2025-01-22 | 14:26 | ELENA |  | 0.0 | / | / | / |  |  |  |  | 1.58 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 41 | P/Prod | 2025-01-22 | 16:04 | 2025-01-22 | 15:41 | ELENA |  | 0.0 | / | / | / |  |  |  |  | 4.22 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 42 | P/Prod | 2025-01-22 | 16:05 | 2025-01-22 | 15:41 | ELENA |  | 0.0 | / | / | / |  |  |  |  | 2.77 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 43 | P/Prod | 2025-01-22 | 16:12 | 2025-01-22 | 15:41 | ELENA |  | 13.7 | / | / | / |  |  |  |  | 1.25 | 207 |  | Kinga |  | 3 | 2
2 | 15.0 | 44 | P/Prod | 2025-01-22 | 16:13 | 2025-01-22 | 15:41 | ELENA |  | 14.3 | / | / | / |  |  |  |  | 3.06 | 208 |  | Kinga |  | 3 | 2
3 | 35.0 | 45 | P/Prod | 2025-01-22 | 16:17 | 2025-01-22 | 15:41 | ELENA |  | 32.7 | / | / | / |  |  |  |  | 1.27 | 205 |  | Kinga |  | 3 | 3
3 | 35.0 | 46 | P/Prod | 2025-01-22 | 16:18 | 2025-01-22 | 15:41 | ELENA |  | 38.0 | / | / | / |  |  |  |  | 2.21 | 209 |  | Kinga |  | 3 | 3
4 | 60.0 | 47 | P/Prod | 2025-01-22 | 16:20 | 2025-01-22 | 15:41 | ELENA |  | 58.7 | / | / | / |  |  |  |  | 0.20 | 211 |  | Kinga |  | 3 | 4
4 | 60.0 | 48 | P/Prod | 2025-01-22 | 16:21 | 2025-01-22 | 15:41 | ELENA |  | 59.7 | / | / | / |  |  |  |  | 0.20 |  |  | Kinga |  | 3 | 4
3 | 35.0 | 49 | P/Prod | 2025-01-22 | 17:34 | 2025-01-22 | 17:15 | Elena | 2 | 38.2 | / | / | / |  |  |  | 1.835 | 1.22 | 208 |  | Brigitta P |  | 3 | 3 | 42112
3 | 35.0 | 50 | P/Prod | 2025-01-22 | 17:35 | 2025-01-22 | 17:15 | Elena | 2 | 37.7 | / | / | / |  |  |  |  | 1.43 | 203 |  | Brigitta P |  | 3 | 3 | 42112
2 | 15.0 | 51 | P/Prod | 2025-01-22 | 17:36 | 2025-01-22 | 17:15 | Elena | 2 | 16.9 | / | / | / |  |  |  |  | 1.55 | 209 |  | Brigitta P |  | 3 | 2 | 42112
2 | 15.0 | 52 | P/Prod | 2025-01-22 | 17:37 | 2025-01-22 | 17:15 | Elena | 2 | 17.2 | / | / | / |  |  |  | 1.831 | 1.21 | 219 |  | Brigitta P |  | 3 | 2 | 42112
4 | 60.0 | 53 | P/Prod | 2025-01-22 | 17:41 | 2025-01-22 | 17:15 | Elena | 2 | 62.1 | / | / | / |  |  |  | 1.835 | 1.57 | 206 |  | Brigitta P |  | 3 | 4 | 42112
4 | 60.0 | 54 | P/Prod | 2025-01-22 | 17:43 | 2025-01-22 | 17:15 | Elena | 2 | 63.0 | / | / | / |  |  |  | 1.885 | 1.55 | 209 |  | Brigitta P |  | 3 | 4 | 42112
1 | 0.0 | 55 | P/Prod | 2025-01-22 | 17:40 | 2025-01-22 | 17:15 | Elena | 2 | 0.0 | / | / | / |  |  |  |  | 1.35 |  |  | Brigitta P |  | 3 | 4 | 42112
1 | 0.0 | 56 | P/Prod | 2025-01-22 | 17:40 | 2025-01-22 | 17:15 | Elena | 2 | 0.0 | / | / | / |  |  |  |  | 2.55 |  |  | Brigitta P |  | 3 | 4 | 42112
1 | 0.0 | 57 | P/Prod | 2025-01-22 | 19:49 | 2025-01-22 | 19:10 | Elena | 2 | 0.0 | / | / | / |  |  |  | 1.820 | 1.55 | 211 |  | Brigitta P |  | 3 | 1 | 42112
1 | 0.0 | 58 | P/Prod | 2025-01-22 | 19:50 | 2025-01-22 | 19:10 | Elena | 2 | 0.0 | / | / | / |  |  |  |  | 2.05 | 209 |  | Brigitta P |  | 3 | 1 | 42112
2 | 15.0 | 59 | P/Prod | 2025-01-22 | 19:54 | 2025-01-22 | 19:10 | Elena | 2 | 16.2 | / | / | / |  |  |  |  | 1.41 | 205 |  | Brigitta P |  | 3 | 2 | 42112
2 | 15.0 | 60 | P/Prod | 2025-01-22 | 19:55 | 2025-01-22 | 19:10 | Elena | 2 | 17.1 | / | / | / |  |  |  | 1.834 | 1.64 | 208 |  | Brigitta P |  | 3 | 2 | 42112
3 | 35.0 | 61 | P/Prod | 2025-01-22 | 19:58 | 2025-01-22 | 19:10 | Elena | 2 | 37.2 | / | / | / |  |  |  |  | 1.48 | 200 |  | Brigitta P |  | 3 | 3 | 42112
3 | 35.0 | 62 | P/Prod | 2025-01-22 | 19:58 | 2025-01-22 | 19:10 | Elena | 2 | 38.0 | / | / | / |  |  |  | 1.828 | 1.28 | 198 |  | Brigitta P |  | 3 | 3 | 42112
4 | 60.0 | 63 | P/Prod | 2025-01-22 | 20:02 | 2025-01-22 | 19:10 | Elena | 2 | 61.2 | / | / | / |  |  |  |  | 1.43 |  |  | Brigitta P |  | 3 | 4 | 42112
4 | 60.0 | 64 | P/Prod | 2025-01-22 | 20:03 | 2025-01-22 | 19:10 | Elena | 2 | 62.8 | / | / | / |  |  |  |  | 2.53 |  |  | Brigitta P |  | 3 | 4 | 42112
2 | 15.0 | 65 | P/Prod | 2025-01-22 | 21:04 | 2025-01-22 | 20:40 | ELENA | 2 | 16.2 | / | / | / |  |  |  | 1.858 | 1.18 | 205 |  | Brigitta P |  | 3 | 2
2 | 15.0 | 66 | P/Prod | 2025-01-22 | 21:04 | 2025-01-22 | 20:40 | ELENA | 2 | 15.8 | / | / | / |  |  |  |  | 1.05 | 203 |  | Brigitta P |  | 3 | 2
3 | 35.0 | 67 | P/Prod | 2025-01-22 | 21:06 | 2025-01-22 | 20:40 | ELENA | 2 | 36.8 | / | / | / |  |  |  | 1.825 | 2.04 | 203 |  | Brigitta P |  | 3 | 3
3 | 35.0 | 68 | P/Prod | 2025-01-22 | 21:05 | 2025-01-22 | 20:40 | ELENA | 2 | 37.2 | / | / | / |  |  |  |  | 1.06 | 210 |  | Brigitta P |  | 3 | 3
4 | 60.0 | 69 | P/Prod | 2025-01-22 | 21:09 | 2025-01-22 | 20:40 | ELENA | 2 | 57.3 | / | / | / |  |  |  |  | 1.29 | 209 |  | Brigitta P |  | 3 | 4
4 | 60.0 | 70 | P/Prod | 2025-01-22 | 21:10 | 2025-01-22 | 20:40 | ELENA | 2 | 58.0 | / | / | / |  |  |  | 1.852 | 1.17 | 208 |  | Brigitta P |  | 3 | 4
2 | 15.0 | 71 | P/Prod | 2025-01-23 | 09:03 | 2025-01-23 | 08:45 | ROLAND | 2 | 15.2 | / | / | / |  |  |  | 1.800 | 1.17 | 189 |  | Kinga |  | 3 | 2 | 42112
2 | 15.0 | 72 | P/Prod | 2025-01-23 | 09:04 | 2025-01-23 | 08:45 | ROLAND | 2 | 16.0 | / | / | / |  |  |  |  | 1.10 | 198 |  | Kinga |  | 3 | 2 | 42112
4 | 60.0 | 73 | P/Prod | 2025-01-23 | 09:06 | 2025-01-23 | 08:45 | ROLAND | 2 | 57.3 | / | / | / |  |  |  |  | 1.37 | 197 |  | Kinga |  | 3 | 4 | 42112
4 | 60.0 | 74 | P/Prod | 2025-01-23 | 09:07 | 2025-01-23 | 08:45 | ROLAND | 2 | 56.7 | / | / | / |  |  |  | 1.767 | 1.30 | 187 |  | Kinga |  | 3 | 4 | 42112
3 | 35.0 | 75 | P/Prod | 2025-01-23 | 09:09 | 2025-01-23 | 08:45 | ROLAND | 2 | 35.9 | / | / | / |  |  |  | 1.786 | 0.93 | 190 |  | Kinga |  | 3 | 3 | 42112
3 | 35.0 | 76 | P/Prod | 2025-01-23 | 09:10 | 2025-01-23 | 08:45 | ROLAND | 2 | 35.2 | / | / | / |  |  |  |  | 1.07 | 200 |  | Kinga |  | 3 | 3 | 42112
2 | 15.0 | 77 | P/Prod | 2025-01-23 | 11:30 | 2025-01-23 | 11:12 | ROLAND |  | 15.4 | / | / | / |  |  |  | 1.824 | 1.54 | 212 |  | Kinga |  | 3 | 2
2 | 15.0 | 78 | P/Prod | 2025-01-23 | 11:30 | 2025-01-23 | 11:12 | ROLAND |  | 17.0 | / | / | / |  |  |  |  | 2.20 | 208 |  | Kinga |  | 3 | 2
4 | 60.0 | 79 | P/Prod | 2025-01-23 | 11:35 | 2025-01-23 | 11:12 | ROLAND |  | 57.7 | / | / | / |  |  |  | 1.790 | 2.55 | 212 |  | Kinga |  | 3 | 4
4 | 60.0 | 80 | P/Prod | 2025-01-23 | 11:35 | 2025-01-23 | 11:12 | ROLAND |  | 63.5 | / | / | / |  |  |  |  | 1.76 | 190 |  | Kinga |  | 3 | 4
3 | 35.0 | 81 | P/Prod | 2025-01-23 | 11:40 | 2025-01-23 | 11:12 | ROLAND |  | 38.1 | / | / | / |  |  |  | 1.797 | 1.65 | 213 |  | Kinga |  | 3 | 3
3 | 35.0 | 82 | P/Prod | 2025-01-23 | 11:41 | 2025-01-23 | 11:12 | ROLAND |  | 38.5 | / | / | / |  |  |  |  | 3.57 | 211 |  | Kinga |  | 3 | 3
1 | 0.0 | 83 | P/Prod | 2025-01-23 | 11:45 | 2025-01-23 | 11:12 | ROLAND |  | 0.0 | / | / | / |  |  |  | 1.843 | 3.85 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 84 | P/Prod | 2025-01-23 | 11:45 | 2025-01-23 | 11:12 | ROLAND |  | 0.0 | / | / | / |  |  |  |  | 2.80 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 85 | P/Prod | 2025-01-23 | 13:46 | 2025-01-23 | 13:02 | ROLAND |  | 16.0 | / | / | / |  |  |  | 1.805 | 1.31 | 218 |  | Kinga |  | 3 | 2
2 | 15.0 | 86 | P/Prod | 2025-01-23 | 13:46 | 2025-01-23 | 13:02 | ROLAND |  | 16.6 | / | / | / |  |  |  |  | 3.57 | 216 |  | Kinga |  | 3 | 2
4 | 60.0 | 87 | P/Prod | 2025-01-23 | 13:48 | 2025-01-23 | 13:02 | ROLAND |  | 56.6 | / | / | / |  |  |  | 1.827 | 1.33 | 212 |  | Kinga |  | 3 | 4
4 | 60.0 | 88 | P/Prod | 2025-01-23 | 13:49 | 2025-01-23 | 13:02 | ROLAND |  | 64.2 | / | / | / |  |  |  |  | 2.07 | 213 |  | Kinga |  | 3 | 4
3 | 35.0 | 89 | P/Prod | 2025-01-23 | 13:52 | 2025-01-23 | 13:02 | ROLAND |  | 37.5 | / | / | / |  |  |  | 1.843 | 1.42 | 232 |  | Kinga |  | 3 | 3
3 | 35.0 | 90 | P/Prod | 2025-01-23 | 13:53 | 2025-01-23 | 13:02 | ROLAND |  | 38.4 | / | / | / |  |  |  |  | 1.32 | 214 |  | Kinga |  | 3 | 3
1 | 0.0 | 91 | P/Prod | 2025-01-23 | 13:58 | 2025-01-23 | 13:02 | ROLAND |  | 0.0 | / | / | / |  |  |  | 1.823 | 3.65 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 92 | P/Prod | 2025-01-23 | 13:59 | 2025-01-23 | 13:02 | ROLAND |  | 0.0 | / | / | / |  |  |  |  | 3.05 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 93 | P/Prod | 2025-01-23 | 14:54 | 2025-01-23 | 14:31 | ELENA |  | 15.6 | / | / | / |  |  |  | 1.843 | 0.65 | 206 |  | Kinga |  | 3 | 2
2 | 15.0 | 94 | P/Prod | 2025-01-23 | 14:54 | 2025-01-23 | 14:31 | ELENA |  | 15.7 | / | / | / |  |  |  |  | 4.34 | 200 |  | Kinga |  | 3 | 2
4 | 60.0 | 95 | P/Prod | 2025-01-23 | 14:56 | 2025-01-23 | 14:31 | ELENA |  | 59.2 | / | / | / |  |  |  | 1.803 | 1.70 | 197 |  | Kinga |  | 3 | 4
4 | 60.0 | 96 | P/Prod | 2025-01-23 | 14:57 | 2025-01-23 | 14:31 | ELENA |  | 60.1 | / | / | / |  |  |  |  | 1.94 | 197 |  | Kinga |  | 3 | 4
3 | 35.0 | 97 | P/Prod | 2025-01-23 | 14:58 | 2025-01-23 | 14:31 | ELENA |  | 35.0 | / | / | / |  |  |  | 1.834 | 1.60 | 210 |  | Kinga |  | 3 | 3
3 | 35.0 | 98 | P/Prod | 2025-01-23 | 14:59 | 2025-01-23 | 14:31 | ELENA |  | 36.7 | / | / | / |  |  |  |  | 1.60 | 200 |  | Kinga |  | 3 | 3
1 | 0.0 | 99 | P/Prod | 2025-01-23 | 15:00 | 2025-01-23 | 14:31 | ELENA |  | 0.0 | / | / | / |  |  |  | 1.812 | 8.56 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 100 | P/Prod | 2025-01-23 | 16:17 | 2025-01-23 | 15:51 | ELENA |  | 16.0 | / | / | / |  |  |  |  | 2.13 | 199 |  | Kinga |  | 3 | 2
2 | 15.0 | 101 | P/Prod | 2025-01-23 | 16:18 | 2025-01-23 | 15:51 | ELENA |  | 17.7 | / | / | / |  |  |  | 1.268 | 8.87 | 201 |  | Kinga |  | 3 | 2
3 | 35.0 | 102 | P/Prod | 2025-01-23 | 16:19 | 2025-01-23 | 15:51 | ELENA |  | 34.2 | / | / | / |  |  |  |  | 6.27 | 205 |  | Kinga |  | 3 | 3
3 | 35.0 | 103 | P/Prod | 2025-01-23 | 16:19 | 2025-01-23 | 15:51 | ELENA |  | 36.4 | / | / | / |  |  |  | 1.261 | 2.02 | 207 |  | Kinga |  | 3 | 3
4 | 60.0 | 104 | P/Prod | 2025-01-23 | 16:20 | 2025-01-23 | 15:51 | ELENA |  | 63.1 | / | / | / |  |  |  |  | 7.12 | 210 |  | Kinga |  | 3 | 4
4 | 60.0 | 105 | P/Prod | 2025-01-23 | 16:21 | 2025-01-23 | 15:51 | ELENA |  | 63.2 | / | / | / |  |  |  | 1.261 | 8.36 | 207 |  | Kinga |  | 3 | 4
2 | 15.0 | 106 | P/Prod | 2025-01-23 | 19:00 | 2025-01-23 | 17:20 | ELENA |  | 16.5 | / | / | / |  |  |  | 1.789 | 1.55 | 202 |  | Monika |  | 3 | 2 | 42112
2 | 15.0 | 107 | P/Prod | 2025-01-23 | 19:01 | 2025-01-23 | 17:20 | ELENA |  | 16.8 | / | / | / |  |  |  |  | 1.02 | 204 |  | Monika |  | 3 | 2 | 42112
3 | 35.0 | 108 | P/Prod | 2025-01-23 | 19:04 | 2025-01-23 | 17:20 | ELENA |  | 36.9 | / | / | / |  |  |  | 1.811 | 2.04 | 207 |  | Monika |  | 3 | 3 | 42112
3 | 35.0 | 109 | P/Prod | 2025-01-23 | 19:05 | 2025-01-23 | 17:20 | ELENA |  | 38.7 | / | / | / |  |  |  |  | 1.24 | 208 |  | Monika |  | 3 | 3 | 42112
4 | 60.0 | 110 | P/Prod | 2025-01-23 | 19:07 | 2025-01-23 | 17:20 | ELENA |  | 60.0 | / | / | / |  |  |  | 1.760 | 1.40 | 209 |  | Monika |  | 3 | 4 | 42112
4 | 60.0 | 111 | P/Prod | 2025-01-23 | 19:08 | 2025-01-23 | 17:20 | ELENA |  | 60.4 | / | / | / |  |  |  |  | 1.55 | 201 |  | Monika |  | 3 | 4 | 42112
2 | 15.0 | 112 | P/Prod | 2025-01-23 | 20:10 | 2025-01-23 | 19:39 | ELENA |  | 15.5 | / | / | / |  |  |  | 1.767 | 1.19 | 204 |  | Monika |  | 3 | 2 | 42112
2 | 15.0 | 113 | P/Prod | 2025-01-23 | 20:11 | 2025-01-23 | 19:39 | ELENA |  | 16.1 | / | / | / |  |  |  |  | 1.33 | 200 |  | Monika |  | 3 | 2 | 42112
3 | 35.0 | 114 | P/Prod | 2025-01-23 | 20:14 | 2025-01-23 | 19:39 | ELENA |  | 35.4 | / | / | / |  |  |  | 1.768 | 1.23 | 210 |  | Monika |  | 3 | 3 | 42112
3 | 35.0 | 115 | P/Prod | 2025-01-23 | 20:15 | 2025-01-23 | 19:39 | ELENA |  | 37.4 | / | / | / |  |  |  |  | 1.28 | 207 |  | Monika |  | 3 | 3 | 42112
4 | 60.0 | 116 | P/Prod | 2025-01-23 | 20:18 | 2025-01-23 | 19:39 | ELENA |  | 59.0 | / | / | / |  |  |  | 1.772 | 1.29 | 204 |  | Monika |  | 3 | 4 | 42112
4 | 60.0 | 117 | P/Prod | 2025-01-23 | 20:18 | 2025-01-23 | 19:39 | ELENA |  | 60.2 | / | / | / |  |  |  |  | 1.54 | 204 |  | Monika |  | 3 | 4 | 42112
2 | 15.0 | 118 | P/Prod | 2025-01-27 | 08:31 | 2025-01-27 | 07:30 | ELENA |  | 17.6 | / | / | / |  |  |  |  | 1.67 |  |  | Brigitta P |  | 3 | 2
2 | 15.0 | 119 | P/Prod | 2025-01-27 | 08:32 | 2025-01-27 | 07:30 | ELENA |  | 17.7 | / | / | / |  |  |  |  | 9.12 |  |  | Brigitta P |  | 3 | 2
3 | 35.0 | 120 | P/Prod | 2025-01-27 | 08:34 | 2025-01-27 | 07:30 | ELENA |  | 37.9 | / | / | / |  |  |  | 1.834 | 2.43 | 186 |  | Brigitta P |  | 3 | 3
3 | 35.0 | 121 | P/Prod | 2025-01-27 | 08:35 | 2025-01-27 | 07:30 | ELENA |  | 37.8 | / | / | / |  |  |  |  | 2.08 | 203 |  | Brigitta P |  | 3 | 3
4 | 60.0 | 122 | P/Prod | 2025-01-27 | 08:36 | 2025-01-27 | 07:30 | ELENA |  | 55.4 | / | / | / |  |  |  | 1.832 | 7.71 | 208 |  | Brigitta P |  | 3 | 4
4 | 60.0 | 123 | P/Prod | 2025-01-27 | 08:37 | 2025-01-27 | 07:30 | ELENA |  | 60.6 | / | / | / |  |  |  |  | 1.49 | 215 |  | Brigitta P |  | 3 | 4
4 | 60.0 | 124 | P/Prod | 2025-01-27 | 08:37 | 2025-01-27 | 07:30 | ELENA |  | 61.3 | / | / | / |  |  |  | 1.832 | 1.76 | 197 |  | Brigitta P |  | 3 | 4
1 | 0.0 | 125 | P/Prod | 2025-01-27 | 08:38 | 2025-01-27 | 07:30 | ELENA |  | 0.0 | / | / | / |  |  |  |  | 9.35 |  |  | Brigitta P |  | 3 | 1
1 | 0.0 | 126 | P/Prod | 2025-01-27 | 08:39 | 2025-01-27 | 07:30 | ELENA |  | 0.0 | / | / | / |  |  |  | 1.769 | 7.88 |  |  | Brigitta P |  | 3 | 1
2 | 15.0 | 127 | P/Prod | 2025-01-27 | 15:01 | 2025-01-27 | 14:36 | ROLAND |  | 15.8 | / | / | / |  |  |  |  | 6.09 | 205 |  | Kinga |  | 3 | 2
2 | 15.0 | 128 | P/Prod | 2025-01-27 | 15:02 | 2025-01-27 | 14:36 | ROLAND |  | 16.3 | / | / | / |  |  |  | 1.856 | 5.34 | 190 |  | Kinga |  | 3 | 2
3 | 35.0 | 129 | P/Prod | 2025-01-27 | 15:03 | 2025-01-27 | 14:36 | ROLAND |  | 35.6 | / | / | / |  |  |  |  | 3.34 | 204 |  | Kinga |  | 3 | 3
3 | 35.0 | 130 | P/Prod | 2025-01-27 | 15:03 | 2025-01-27 | 14:36 | ROLAND |  | 35.3 | / | / | / |  |  |  | 1.848 | 2.26 | 200 |  | Kinga |  | 3 | 3
4 | 60.0 | 131 | P/Prod | 2025-01-27 | 15:05 | 2025-01-27 | 14:36 | ROLAND |  | 58.7 | / | / | / |  |  |  |  | 1.36 | 198 |  | Kinga |  | 3 | 4
4 | 60.0 | 132 | P/Prod | 2025-01-27 | 15:06 | 2025-01-27 | 14:36 | ROLAND |  | 55.8 | / | / | / |  |  |  | 1.844 | 1.31 | 201 |  | Kinga |  | 3 | 4
2 | 15.0 | 133 | P/Prod | 2025-01-27 | 16:56 | 2025-01-27 | 16:13 | Roli | 2 | 15.6 | / | / | / |  |  |  |  | 1.15 | 204 |  | Monika |  | 3 | 2 | 103504
2 | 15.0 | 134 | P/Prod | 2025-01-27 | 16:57 | 2025-01-27 | 16:13 | Roli | 2 | 14.4 | / | / | / |  |  |  | 1.804 | 0.98 | 197 |  | Monika |  | 3 | 2 | 103504
3 | 35.0 | 135 | P/Prod | 2025-01-27 | 17:00 | 2025-01-27 | 16:13 | Roli | 2 | 36.8 | / | / | / |  |  |  |  | 1.30 | 211 |  | Monika |  | 3 | 3 | 103504
3 | 35.0 | 136 | P/Prod | 2025-01-27 | 17:00 | 2025-01-27 | 16:13 | Roli | 2 | 37.3 | / | / | / |  |  |  | 1.789 | 1.13 | 206 |  | Monika |  | 3 | 3 | 103504
4 | 60.0 | 137 | P/Prod | 2025-01-27 | 17:03 | 2025-01-27 | 16:13 | Roli | 2 | 55.7 | / | / | / |  |  |  |  | 1.33 | 203 |  | Monika |  | 3 | 4 | 103504
4 | 60.0 | 138 | P/Prod | 2025-01-27 | 17:04 | 2025-01-27 | 16:13 | Roli | 2 | 56.8 | / | / | / |  |  |  | 1.787 | 1.14 | 201 |  | Monika |  | 3 | 4 | 103504
2 | 15.0 | 139 | P/Prod | 2025-01-27 | 19:22 | 2025-01-27 | 18:55 | Roli | 2 | 16.9 | / | / | / |  |  |  | 1.796 | 1.46 | 207 |  | Monika |  | 3 | 2 | 103504
2 | 15.0 | 140 | P/Prod | 2025-01-27 | 19:23 | 2025-01-27 | 18:55 | Roli | 2 | 16.9 | / | / | / |  |  |  |  | 1.26 | 204 |  | Monika |  | 3 | 2 | 103504
3 | 35.0 | 141 | P/Prod | 2025-01-27 | 19:26 | 2025-01-27 | 18:55 | Roli | 2 | 37.5 | / | / | / |  |  |  | 1.789 | 1.26 | 208 |  | Monika |  | 3 | 3 | 103504
3 | 35.0 | 142 | P/Prod | 2025-01-27 | 19:27 | 2025-01-27 | 18:55 | Roli | 2 | 37.0 | / | / | / |  |  |  |  | 1.13 | 205 |  | Monika |  | 3 | 3 | 103504
4 | 60.0 | 143 | P/Prod | 2025-01-27 | 19:29 | 2025-01-27 | 18:55 | Roli | 2 | 58.1 | / | / | / |  |  |  | 1.783 | 1.30 | 203 |  | Monika |  | 3 | 4 | 103504
4 | 60.0 | 144 | P/Prod | 2025-01-27 | 19:29 | 2025-01-27 | 18:55 | Roli | 2 | 61.5 | / | / | / |  |  |  | 1.792 | 1.36 | 207 |  | Monika |  | 3 | 4 | 103504
2 | 15.0 | 145 | P/Prod | 2025-01-27 | 21:25 | 2025-01-27 | 20:42 | Roli | 2 | 16.9 | / | / | / |  |  |  |  | 1.35 | 208 |  | Monika |  | 3 | 2 | 103504
2 | 15.0 | 146 | P/Prod | 2025-01-27 | 21:25 | 2025-01-27 | 20:42 | Roli | 2 | 17.5 | / | / | / |  |  |  |  | 1.47 | 208 |  | Monika |  | 3 | 2 | 103504
3 | 35.0 | 147 | P/Prod | 2025-01-27 | 21:28 | 2025-01-27 | 20:42 | Roli | 2 | 38.3 | / | / | / |  |  |  | 1.784 | 1.30 | 212 |  | Monika |  | 3 | 3 | 103504
3 | 35.0 | 148 | P/Prod | 2025-01-27 | 21:29 | 2025-01-27 | 20:42 | Roli | 2 | 38.5 | / | / | / |  |  |  |  | 1.29 | 205 |  | Monika |  | 3 | 3 | 103504
4 | 60.0 | 149 | P/Prod | 2025-01-27 | 21:31 | 2025-01-27 | 20:42 | Roli | 2 | 58.4 | / | / | / |  |  |  |  | 1.51 | 203 |  | Monika |  | 3 | 4 | 103504
4 | 60.0 | 150 | P/Prod | 2025-01-27 | 21:32 | 2025-01-27 | 20:42 | Roli | 2 | 58.5 | / | / | / |  |  |  | 1.780 | 1.14 | 201 |  | Monika |  | 3 | 4 | 103504
2 | 15.0 | 151 | P/Prod | 2025-01-28 | 08:22 | 2025-01-28 | 07:21 | ELENA | 2 | 17.3 | / | / | / |  |  |  |  | 2.04 | 207 |  | Kinga |  | 3 | 2
2 | 15.0 | 152 | P/Prod | 2025-01-28 | 08:22 | 2025-01-28 | 07:21 | ELENA | 2 | 16.4 | / | / | / |  |  |  | 1.859 | 1.28 | 192 |  | Kinga |  | 3 | 2
3 | 35.0 | 153 | P/Prod | 2025-01-28 | 08:24 | 2025-01-28 | 07:21 | ELENA | 2 | 34.1 | / | / | / |  |  |  |  | 1.08 | 211 |  | Kinga |  | 3 | 3
3 | 35.0 | 154 | P/Prod | 2025-01-28 | 08:25 | 2025-01-28 | 07:21 | ELENA | 2 | 35.2 | / | / | / |  |  |  | 1.862 | 1.87 | 208 |  | Kinga |  | 3 | 3
4 | 60.0 | 155 | P/Prod | 2025-01-28 | 08:28 | 2025-01-28 | 07:21 | ELENA | 2 | 55.8 | / | / | / |  |  |  |  | 1.27 | 202 |  | Kinga |  | 3 | 4
4 | 60.0 | 156 | P/Prod | 2025-01-28 | 08:29 | 2025-01-28 | 07:21 | ELENA | 2 | 57.1 | / | / | / |  |  |  | 1.865 | 1.27 | 200 |  | Kinga |  | 3 | 4
1 | 0.0 | 157 | P/Prod | 2025-01-28 | 08:32 | 2025-01-28 | 07:21 | ELENA | 2 | 0.0 | / | / | / |  |  |  |  | 2.50 |  |  | Kinga |  | 3 | 1
1 | 0.0 | 158 | P/Prod | 2025-01-28 | 08:32 | 2025-01-28 | 07:21 | ELENA | 2 | 0.0 | / | / | / |  |  |  | 1.870 | 2.67 |  |  | Kinga |  | 3 | 1
2 | 15.0 | 159 | P/Prod | 2025-01-28 | 10:00 | 2025-01-28 | 09:20 | ELENA | 2 | 15.9 | / | / | / |  |  |  |  | 1.21 | 205 |  | Kinga |  | 3 | 2
2 | 15.0 | 160 | P/Prod | 2025-01-28 | 10:00 | 2025-01-28 | 09:20 | ELENA | 2 | 17.0 | / | / | / |  |  |  | 1872 | 1.82 | 215 |  | Kinga |  | 3 | 2
3 | 35.0 | 161 | P/Prod | 2025-01-28 | 10:02 | 2025-01-28 | 09:20 | ELENA | 2 | 34.2 | / | / | / |  |  |  |  | 2.42 | 195 |  | Kinga |  | 3 | 3
3 | 35.0 | 162 | P/Prod | 2025-01-28 | 10:02 | 2025-01-28 | 09:20 | ELENA | 2 | 35.8 | / | / | / |  |  |  | 1703 | 1.42 | 211 |  | Kinga |  | 3 | 3
4 | 60.0 | 163 | P/Prod | 2025-01-28 | 10:03 | 2025-01-28 | 09:20 | ELENA | 2 | 57.3 | / | / | / |  |  |  |  | 2.65 | 205 |  | Kinga |  | 3 | 4
4 | 60.0 | 164 | P/Prod | 2025-01-28 | 10:04 | 2025-01-28 | 09:20 | ELENA | 2 | 56.8 | / | / | / |  |  |  | 1867 | 1.42 | 205 |  | Kinga |  | 3 | 4
2 | 15.0 | 165 | P/Prod | 2025-01-28 | 11:45 | 2025-01-28 | 11:20 | ELENA | 2 | 16.4 | / | / | / |  |  |  |  | 1.55 | 198 |  | Kinga |  | 3 | 2
2 | 15.0 | 166 | P/Prod | 2025-01-28 | 11:46 | 2025-01-28 | 11:20 | ELENA | 2 | 16.1 | / | / | / |  |  |  | 1.807 | 1.22 | 189 |  | Kinga |  | 3 | 2
3 | 35.0 | 167 | P/Prod | 2025-01-28 | 11:47 | 2025-01-28 | 11:20 | ELENA | 2 | 36.6 | / | / | / |  |  |  |  | 1.92 | 200 |  | Kinga |  | 3 | 3
3 | 35.0 | 168 | P/Prod | 2025-01-28 | 11:47 | 2025-01-28 | 11:20 | ELENA | 2 | 37.8 | / | / | / |  |  |  | 1.812 | 1.34 | 203 |  | Kinga |  | 3 | 3
4 | 60.0 | 169 | P/Prod | 2025-01-28 | 11:49 | 2025-01-28 | 11:20 | ELENA | 2 | 55.7 | / | / | / |  |  |  |  | 2.15 | 201 |  | Kinga |  | 3 | 4
4 | 60.0 | 170 | P/Prod | 2025-01-28 | 11:50 | 2025-01-28 | 11:20 | ELENA | 2 | 60.1 | / | / | / |  |  |  | 1.856 | 2.15 | 199 |  | Kinga |  | 3 | 4
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
46 | 46 | 15.9 mg/L | 46 | 46 | 15.9 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
46 | 46 | 36.5 mg/L | 46 | 46 | 36.5 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
47 | 47 | 59.1 mg/L | 47 | 47 | 59.1 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
23 | 23 | 0 mg/L | 23 | 23 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 2.0 | 0.0 | YES
15.0 | 12.3 ÷ 17.7 | 15.9 | YES
35.0 | 31.3 ÷ 38.7 | 36.5 | YES
60.0 | 55.1 ÷ 64.9 | 59.1 | YES
Validation Date | by