## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI782-0
0970 | HI782-0 | CP-R80 | W 12/1 |  | Parameter Formula | NO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Nitrate HR Reagent | 2030-03-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
206 | 196 | 216
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 75.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-24 | 2025-03-27 | 2HEAD |  |  | 0898
[6 empty] | Expiration A | Expiration B | Expiration D
2030-01-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO-740 | HI977115 | CTO-730
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 15.0 | 12.3 | 17.7 |  | MR101 |  | 2.0 | & | 4.9% | 100%
3 | 35.0 | 31.3 | 38.7
4 | 60.0 | 55.1 | 64.9 | [8 empty] | 1.7 | 1.5 | 1.9
1 | 0.0 | 0.0 | 2.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97115 | M. 2 HI977115 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 15.0 | 1 | Valid | 2025-03-19 | 10:36 | 2025-03-19 | 08:36 | ERIKA |  | 14.2 | 14.3 | / | / |  |  |  | 1.906 | 1.56 |  |  | Brigitta P |  | 3 | 2
2 | 15.0 | 2 | Valid | 2025-03-19 | 10:37 | 2025-03-19 | 08:36 | ERIKA |  | 16.6 | 17.1 | / | / |  |  |  | 1.899 | 3.11 |  |  | Brigitta P |  | 3 | 2
3 | 35.0 | 3 | Old A | 2025-03-19 | 10:41 | 2025-03-19 | 08:36 | ERIKA |  | 36.1 | 36.7 | / | / |  |  |  |  | 1.62 |  |  | Brigitta P |  | 3 | 3
3 | 35.0 | 4 | Valid | 2025-03-19 | 10:42 | 2025-03-19 | 08:36 | ERIKA |  | 37.8 | 38.2 | / | / |  |  |  | 1.909 | 1.79 |  |  | Brigitta P |  | 3 | 3
3 | 35.0 | 5 | Valid | 2025-03-19 | 10:43 | 2025-03-19 | 08:36 | ERIKA |  | 38.4 | 38.7 | / | / |  |  |  | 1.935 | 1.89 |  |  | Brigitta P |  | 3 | 3
4 | 60.0 | 6 | Old A | 2025-03-19 | 10:45 | 2025-03-19 | 08:36 | ERIKA |  | 59.5 | 59.8 | / | / |  |  |  |  | 1.87 |  |  | Brigitta P |  | 3 | 4
4 | 60.0 | 7 | Valid | 2025-03-19 | 10:46 | 2025-03-19 | 08:36 | ERIKA |  | 64.3 | 64.2 | / | / |  |  |  | 1.951 | 2.02 |  |  | Brigitta P |  | 3 | 4
4 | 60.0 | 8 | Valid | 2025-03-19 | 10:48 | 2025-03-19 | 08:36 | ERIKA |  | 63.1 | 62.4 | / | / |  |  |  | 1.941 | 2.02 |  |  | Brigitta P |  | 3 | 4
1 | 0.0 | 9 | ASTM D665 | 2025-03-19 | 10:50 | 2025-03-19 | 08:36 | ERIKA |  | 0.0 | 0.0 | / | / |  |  |  | 1.958 | 3.15 |  |  | Brigitta P |  | 3 | 1 |  | OLD LOT
1 | 0.0 | 10 | ASTM D665 | 2025-03-19 | 10:50 | 2025-03-19 | 08:36 | ERIKA |  | 0.0 | 0.0 | / | / |  |  |  | 1.965 | 1.93 |  |  | Brigitta P |  | 3 | 1
1 | 0.0 | 11 | ASTM D665 | 2025-03-19 | 10:50 | 2025-03-19 | 08:36 | ERIKA |  | 0.0 | 0.0 | / | / |  |  |  |  | 1.74 |  |  | Brigitta P |  | 3 | 1
2 | 15.0 | 12 | Old A | 2025-03-19 | 10:52 | 2025-03-19 | 08:36 | ERIKA |  | 10.8 | 11.2 | / | / |  |  |  |  | 1.64 |  |  | Brigitta P |  | 3 | 2
2 | 15.0 | 13 | Old A | 2025-03-19 | 10:54 | 2025-03-19 | 08:36 | ERIKA |  | 13.5 | 14.1 | / | / |  |  |  | 1.974 | 1.81 |  |  | Brigitta P |  | 3 | 2
2 | 15.0 | 14 | Old A | 2025-03-19 | 10:54 | 2025-03-19 | 08:36 | ERIKA |  | 14.0 | 14.6 | / | / |  |  |  | 1.965 | 2.21 |  |  | Brigitta P |  | 3 | 2
3 | 35.0 | 15 | Old A | 2025-03-24 | 07:44 | 2025-03-24 |  |  |  | 36.6 | 36.7 | / | / |  |  |  |  | 1.34 | 204 |  | Monika |  | 3 | 3 | 62352
3 | 35.0 | 16 | Old A | 2025-03-24 | 07:45 | 2025-03-24 |  |  |  | 36.4 | 36.6 | / | / |  |  |  |  | 1.25 | 200 |  | Monika |  | 3 | 3 | 62352
4 | 60.0 | 17 | Old A | 2025-03-24 | 07:48 | 2025-03-24 |  |  |  | 58.7 | 59.6 | / | / |  |  |  |  | 1.98 | 210 |  | Monika |  | 3 | 4 | 62352
4 | 60.0 | 18 | Old A | 2025-03-24 | 07:49 | 2025-03-24 |  |  |  | 60.3 | 61.5 | / | / |  |  |  |  | 1.50 | 204 |  | Monika |  | 3 | 4 | 62352
2 | 15.0 | 19 | Old A | 16.32025/03/24 | 07:59 | 2025-03-24 |  |  |  | 16.3 | 16.3 | / | / |  |  |  |  | 1.54 | 205 |  | Monika |  | 3 | 2 | 62352
2 | 15.0 | 20 | Old A | 16.32025/03/24 | 08:00 | 2025-03-24 |  |  |  | 15.5 | 15.3 | / | / |  |  |  |  | 1.43 | 209 |  | Monika |  | 3 | 2 | 62352
3 | 35.0 | 21 | P/Prod | 2025-03-24 | 09:47 | 2025-03-24 | 09:16 | Elena | 2 | 41.1 | 41.1 | / | / |  |  |  | 1.862 | 1.63 | 204 |  | Monika |  | 3 | 3 | 62352 | H1:Praful e pre fin si umed, culoarea gri deschis
3 | 35.0 | 22 | P/Prod | 2025-03-24 | 09:48 | 2025-03-24 | 09:16 | Elena | 2 | 46.8 | 47.2 | / | / |  |  |  | 1.839 | 1.34 | 206 |  | Monika |  | 3 | 3 | 62352 | H2:pulberea e cu granule intregi,si culoarea e gri inchis,e umed
4 | 60.0 | 23 | P/Prod | 2025-03-24 | 09:50 | 2025-03-24 | 09:16 | Elena | 2 | 63.3 | 63.9 | / | / |  |  |  | 1.843 | 1.62 | 215 |  | Monika |  | 3 | 4 | 62352
4 | 60.0 | 24 | P/Prod | 2025-03-24 | 09:54 | 2025-03-24 | 09:16 | Elena | 2 | 63.1 | 63.9 | / | / |  |  |  | 1.862 | 1.32 | 210 |  | Monika |  | 3 | 4 | 62352
2 | 15.0 | 25 | P/Prod | 2025-03-24 | 09:54 | 2025-03-24 | 09:16 | Elena | 2 | 16.0 | 16.0 | / | / |  |  |  | 1.848 | 1.76 | 203 |  | Monika |  | 3 | 2 | 62352
2 | 15.0 | 26 | P/Prod | 2025-03-24 | 09:55 | 2025-03-24 | 09:16 | Elena | 2 | 16.6 | 16.6 | / | / |  |  |  | 1.857 | 1.08 | 204 |  | Monika |  | 3 | 2 | 62352
3 | 35.0 | 27 | P/Prod | 2025-03-24 | 10:06 | 2025-03-24 | 09:16 | Elena | 2 | 38.0 | 38.1 | / | / |  |  |  | 1.878 | 1.55 | 198 |  | Monika |  | 3 | 3 | 62352
3 | 35.0 | 28 | P/Prod | 2025-03-24 | 10:07 | 2025-03-24 | 09:16 | Elena | 2 | 37.1 | 37.2 | / | / |  |  |  | 1.846 | 1.20 | 202 |  | Monika |  | 3 | 3 | 62352
3 | 35.0 | 29 | P/Prod | 2025-03-24 | 11:18 | 2025-03-24 | 10:46 | Elena | 2 | 37.0 | 37.0 | / | / |  |  |  | 1.831 | 1.08 | 199 |  | Monika |  | 3 | 3 | 62352
3 | 35.0 | 30 | P/Prod | 2025-03-24 | 11:19 | 2025-03-24 | 10:46 | Elena | 2 | 38.9 | 39.0 | / | / |  |  |  | 1.849 | 1.25 | 171 |  | Monika |  | 3 | 3 | 62352
4 | 60.0 | 31 | P/Prod | 2025-03-24 | 11:21 | 2025-03-24 | 10:46 | Elena | 2 | 59.8 | 60.0 | / | / |  |  |  | 1.848 | 1.28 | 206 |  | Monika |  | 3 | 4 | 62352
4 | 60.0 | 32 | P/Prod | 2025-03-24 | 11:22 | 2025-03-24 | 10:46 | Elena | 2 | 64.4 | 64.0 | / | / |  |  |  | 1.851 | 1.45 | 211 |  | Monika |  | 3 | 4 | 62352
2 | 15.0 | 33 | P/Prod | 2025-03-24 | 11:25 | 2025-03-24 | 10:46 | Elena | 2 | 16.3 | 16.3 | / | / |  |  |  | 1.845 | 1.22 | 207 |  | Monika |  | 3 | 2 | 62352
2 | 15.0 | 34 | P/Prod | 2025-03-24 | 11:25 | 2025-03-24 | 10:46 | Elena | 2 | 16.3 | 16.4 | / | / |  |  |  | 1.838 | 1.12 | 202 |  | Monika |  | 3 | 2 | 62352
3 | 35.0 | 35 | P/Prod | 2025-03-24 | 11:30 | 2025-03-24 | 10:46 | Elena | 2 | 38.0 | 38.2 | / | / |  |  |  |  | 1.34 | 203 |  | Monika |  | 3 | 3 | 62352
3 | 35.0 | 36 | P/Prod | 2025-03-24 | 11:48 | 2025-03-24 | 10:46 | Elena | 2 | 35.3 | 35.3 | / | / |  |  |  | 1.826 | 1.26 | 210 |  | Monika |  | 3 | 3 | 62352 | EPPENDORF
3 | 35.0 | 37 | P/Prod | 2025-03-24 | 11:49 | 2025-03-24 | 10:46 | Elena | 2 | 37.2 | 37.3 | / | / |  |  |  | 1.827 | 1.33 | 215 |  | Monika |  | 3 | 3 | 62352 | EPPENDORF
1 | 0.0 | 38 | P/Prod | 2025-03-24 | 12:06 | 2025-03-24 | 10:46 | Elena | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.848 | 1.76 | 204 |  | Monika |  | 3 | 1
1 | 0.0 | 39 | P/Prod | 2025-03-24 | 12:07 | 2025-03-24 | 10:46 | Elena | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.833 | 1.20 | 202 |  | Monika |  | 3 | 1
3 | 35.0 | 40 | P/Prod | 2025-03-24 | 12:36 | 2025-03-24 | 12:07 | Elena | 2 | 38.2 | 38.4 | / | / |  |  |  | 1.870 | 1.20 | 201 |  | Monika |  | 3 | 3 | 62352
3 | 35.0 | 41 | P/Prod | 2025-03-24 | 12:38 | 2025-03-24 | 12:07 | Elena | 2 | 40.7 | 40.6 | / | / |  |  |  | 1.849 | 1.44 | 200 |  | Monika |  | 3 | 3 | 62352
4 | 60.0 | 42 | P/Prod | 2025-03-24 | 12:40 | 2025-03-24 | 12:07 | Elena | 2 | 58.9 | 61.5 | / | / |  |  |  | 1.870 | 1.44 | 202 |  | Monika |  | 3 | 4 | 62352
4 | 60.0 | 43 | P/Prod | 2025-03-24 | 12:41 | 2025-03-24 | 12:07 | Elena | 2 | 64.9 | 64.6 | / | / |  |  |  | 1.890 | 1.44 | 200 |  | Monika |  | 3 | 4 | 62352
2 | 15.0 | 44 | P/Prod | 2025-03-24 | 12:44 | 2025-03-24 | 12:07 | Elena | 2 | 14.8 | 14.8 | / | / |  |  |  | 1.871 | 1.61 | 211 |  | Monika |  | 3 | 2 | 62352
2 | 15.0 | 45 | P/Prod | 2025-03-24 | 12:44 | 2025-03-24 | 12:07 | Elena | 2 | 16.1 | 16.2 | / | / |  |  |  | 1.868 | 1.09 | 197 |  | Monika |  | 3 | 2 | 62352
3 | 35.0 | 46 | P/Prod | 2025-03-24 | 13:33 | 2025-03-24 | 13:06 | Elena | 2 | 36.6 | 36.7 | / | / |  |  |  | 1.862 | 1.14 | 213 |  | Monika |  | 3 | 3 | 62352 | Vacuum 10/10 ok
4 | 60.0 | 47 | P/Prod | 2025-03-24 | 13:36 | 2025-03-24 | 13:06 | Elena | 2 | 59.5 | 59.4 | / | / |  |  |  | 1.855 | 1.27 | 212 |  | Monika |  | 3 | 4 | 62352
4 | 60.0 | 48 | P/Prod | 2025-03-24 | 13:37 | 2025-03-24 | 13:06 | Elena | 2 | 61.4 | 61.0 | / | / |  |  |  | 1.863 | 1.12 | 204 |  | Monika |  | 3 | 4 | 62352
2 | 15.0 | 49 | P/Prod | 2025-03-24 | 13:41 | 2025-03-24 | 13:06 | Elena | 2 | 14.4 | 14.5 | / | / |  |  |  | 1.859 | 1.11 | 212 |  | Monika |  | 3 | 2 | 62352
2 | 15.0 | 50 | P/Prod | 2025-03-24 | 13:41 | 2025-03-24 | 13:06 | Elena | 2 | 15.8 | 15.9 | / | / |  |  |  | 1.850 | 1.04 | 202 |  | Monika |  | 3 | 2 | 62352
1 | 0.0 | 51 | ASTM D665 | 2025-03-24 | 13:52 | 2025-03-24 | 13:06 | Elena | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.95 | 211 |  | Monika |  | 3 | 1
1 | 0.0 | 52 | ASTM D665 | 2025-03-24 | 13:54 | 2025-03-24 | 13:06 | Elena | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.29 | 207 |  | Monika |  | 3 | 1
3 | 35.0 | 53 | P/Prod | 2025-03-24 | 14:37 | 2025-03-24 | 14:07 | Roland | 2 | 35.7 | 35.7 | / | / |  |  |  | 1.850 | 1.78 | 206 |  | Brigitta |  | 3 | 3
3 | 35.0 | 54 | P/Prod | 2025-03-24 | 14:38 | 2025-03-24 | 14:07 | Roland | 2 | 38.7 | 39.0 | / | / |  |  |  | 1.855 | 1.97 | 206 |  | Brigitta |  | 3 | 3
4 | 60.0 | 55 | P/Prod | 2025-03-24 | 14:40 | 2025-03-24 | 14:07 | Roland | 2 | 62.3 | 62.0 | / | / |  |  |  | 1.864 | 1.44 | 207 |  | Brigitta |  | 3 | 4
4 | 60.0 | 56 | P/Prod | 2025-03-24 | 14:40 | 2025-03-24 | 14:07 | Roland | 2 | 64.2 | 64.2 | / | / |  |  |  | 1.872 | 1.42 | 207 |  | Brigitta |  | 3 | 4
2 | 15.0 | 57 | P/Prod | 2025-03-24 | 14:43 | 2025-03-24 | 14:07 | Roland | 2 | 14.3 | 14.4 | / | / |  |  |  | 1.878 | 1.32 | 206 |  | Brigitta |  | 3 | 2
2 | 15.0 | 58 | P/Prod | 2025-03-24 | 14:44 | 2025-03-24 | 14:07 | Roland | 2 | 15.6 | 15.5 | / | / |  |  |  | 1.863 | 1.14 | 220 |  | Brigitta |  | 3 | 2
3 | 35.0 | 59 | P/Prod | 2025-03-24 | 15:22 | 2025-03-24 | 15:01 | ROLAND | 2 | 37.9 | 37.9 | / | / |  |  |  | 1.865 | 1.70 | 204 |  | Brigitta P |  | 3 | 3
3 | 35.0 | 60 | P/Prod | 2025-03-24 | 15:23 | 2025-03-24 | 15:01 | ROLAND | 2 | 38.2 | 38.2 | / | / |  |  |  | 1.865 | 1.46 | 203 |  | Brigitta P |  | 3 | 3
4 | 60.0 | 61 | P/Prod | 2025-03-24 | 15:25 | 2025-03-24 | 15:01 | ROLAND | 2 | 63.1 | 62.1 | / | / |  |  |  | 1.868 | 1.70 | 205 |  | Brigitta P |  | 3 | 4
4 | 60.0 | 62 | P/Prod | 2025-03-24 | 15:25 | 2025-03-24 | 15:01 | ROLAND | 2 | 64.2 | 63.7 | / | / |  |  |  | 1.860 | 1.43 | 200 |  | Brigitta P |  | 3 | 4
2 | 15.0 | 63 | P/Prod | 2025-03-24 | 15:25 | 2025-03-24 | 15:01 | ROLAND | 2 | 15.4 | 15.5 | / | / |  |  |  | 1.864 | 1.66 | 191 |  | Brigitta P |  | 3 | 4
2 | 15.0 | 64 | P/Prod | 2025-03-24 | 15:25 | 2025-03-24 | 15:01 | ROLAND | 2 | 18.0 | 18.0 | / | / |  |  |  | 1.864 | 0.99 | 204 |  | Brigitta P |  | 3 | 4
3 | 35.0 | 65 | P/Prod | 2025-03-24 | 17:00 | 2025-03-24 | 16:27 | Roland | 2 | 38.7 | 38.7 | / | / |  |  |  |  | 0.99 | 203 |  | Brigitta P |  | 3 | 3 | 62352
3 | 35.0 | 66 | P/Prod | 2025-03-24 | 17:00 | 2025-03-24 | 16:27 | Roland | 2 | 38.0 | 38.0 | / | / |  |  |  | 1.866 | 1.73 | 204 |  | Brigitta P |  | 3 | 3 | 62352
4 | 60.0 | 67 | P/Prod | 2025-03-24 | 17:02 | 2025-03-24 | 16:27 | Roland | 2 | 61.8 | 61.4 | / | / |  |  |  |  | 1.21 | 203 |  | Brigitta P |  | 3 | 4 | 62352
4 | 60.0 | 68 | P/Prod | 2025-03-24 | 17:02 | 2025-03-24 | 16:27 | Roland | 2 | 62.3 | 62.3 | / | / |  |  |  | 1.860 | 1.21 | 206 |  | Brigitta P |  | 3 | 4 | 62352
2 | 15.0 | 69 | P/Prod | 2025-03-24 | 17:03 | 2025-03-24 | 16:27 | Roland | 2 | 15.6 | 15.7 | / | / |  |  |  |  | 1.20 | 205 |  | Brigitta P |  | 3 | 2
2 | 15.0 | 70 | P/Prod | 2025-03-24 | 17:00 | 2025-03-24 | 16:27 | Roland | 2 | 16.6 | 16.9 | / | / |  |  |  | 1.859 | 1.22 | 207 |  | Brigitta P |  | 3 | 2
1 | 0.0 | 71 | P/Prod | 2025-03-24 | 17:06 | 2025-03-24 | 16:27 | Roland | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.950 | 1.15 | 200 |  | Brigitta P |  | 3 | 1 | sw4
3 | 35.0 | 72 | P/Prod | 2025-03-24 | 19:23 | 2025-03-24 | 18:51 | Roland | 2 | 38.6 | 38.8 | / | / |  |  |  |  | 1.13 | 205 |  | Brigitta P |  | 3 | 3 | sw4
3 | 35.0 | 73 | P/Prod | 2025-03-24 | 19:23 | 2025-03-24 | 18:51 | Roland | 2 | 38.0 | 38.4 | / | / |  |  |  | 1.873 | 1.25 | 197 |  | Brigitta P |  | 3 | 3 | sw4
2 | 15.0 | 74 | P/Prod | 2025-03-24 | 19:20 | 2025-03-24 | 18:51 | Roland | 2 | 15.9 | 16.1 | / | / |  |  |  | 1.863 | 1.66 | 209 |  | Brigitta P |  | 3 | 3 | sw4
2 | 15.0 | 75 | P/Prod | 2025-03-24 | 19:25 | 2025-03-24 | 18:51 | Roland | 2 | 15.8 | 15.8 | / | / |  |  |  |  | 1.25 | 213 |  | Brigitta P |  | 3 | 3 | sw4
4 | 60.0 | 76 | P/Prod | 2025-03-24 | 19:25 | 2025-03-24 | 18:51 | Roland | 2 | 64.0 | 64.5 | / | / |  |  |  | 1.861 | 1.27 | 216 |  | Brigitta P |  | 3 | 3 | sw4
4 | 60.0 | 77 | P/Prod | 2025-03-24 | 19:25 | 2025-03-24 | 18:51 | Roland | 2 | 64.8 | 64.4 | / | / |  |  |  |  | 1.35 | 206 |  | Brigitta P |  | 3 | 3 | sw4
4 | 60.0 | 78 | P/Prod | 2025-03-24 | 19:53 | 2025-03-24 | 18:51 | Roland | 2 | 63.1 | 63.3 | / | / |  |  |  | 1.861 | 1.39 | 232 |  | Brigitta P |  | 3 | 4 | sw4
3 | 35.0 | 79 | P/Prod | 2025-03-24 | 19:54 | 2025-03-24 | 18:51 | Roland | 2 | 38.4 | 38.6 | / | / |  |  |  |  | 1.56 | 232 |  | Brigitta P |  | 3 | 3 | sw4
4 | 60.0 | 80 | P/Prod | 2025-03-24 | 19:55 | 2025-03-24 | 18:51 | Roland | 2 | 63.0 | 63.9 | / | / |  |  |  |  | 1.84 | 225 |  | Brigitta P |  | 3 | 4 | sw4
2 | 15.0 | 81 | P/Prod | 2025-03-24 | 19:55 | 2025-03-24 | 18:51 | Roland | 2 | 17.5 | 17.6 | / | / |  |  |  |  | 1.37 | 226 |  | Brigitta P |  | 3 | 4 | sw4
3 | 35.0 | 82 | P/Prod | 2025-03-24 | 21:22 | 2025-03-24 | 20:30 | Roland | 2 | 38.2 | 38.3 | / | / |  |  |  | 1.842 | 1.25 | 212 |  | Brigitta P |  | 3 | 3 | sw4
3 | 35.0 | 83 | P/Prod | 2025-03-24 | 21:23 | 2025-03-24 | 20:30 | Roland | 2 | 39.2 | 38.7 | / | / |  |  |  |  | 1.43 | 211 |  | Brigitta P |  | 3 | 3 | sw4
4 | 60.0 | 84 | P/Prod | 2025-03-24 | 21:23 | 2025-03-24 | 20:30 | Roland | 2 | 59.3 | 59.2 | / | / |  |  |  | 1.847 | 1.56 | 204 |  | Brigitta P |  | 3 | 4 | sw4
4 | 60.0 | 85 | P/Prod | 2025-03-24 | 21:24 | 2025-03-24 | 20:30 | Roland | 2 | 63.4 | 63.6 | / | / |  |  |  |  | 1.65 | 213 |  | Brigitta P |  | 3 | 4 | sw4
2 | 15.0 | 86 | P/Prod | 2025-03-24 | 21:25 | 2025-03-24 | 20:30 | Roland | 2 | 17.0 | 17.0 | / | / |  |  |  | 1.874 | 1.24 | 217 |  | Brigitta P |  | 3 | 2 | sw4
2 | 15.0 | 87 | P/Prod | 2025-03-24 | 21:26 | 2025-03-24 | 20:30 | Roland | 2 | 17.7 | 17.7 | / | / |  |  |  |  | 1.23 | 213 |  | Brigitta P |  | 3 | 2 | sw4
3 | 35.0 | 88 | P/Prod | 2025-03-25 | 07:39 | 2025-03-25 | 07:05 | ELENA | 2 | 38.6 | 38.7 | / | / |  |  |  |  | 1.12 | 201 |  | Brigitta P |  | 3 | 3 | 2218
3 | 35.0 | 89 | P/Prod | 2025-03-25 | 07:39 | 2025-03-25 | 07:05 | ELENA | 2 | 36.7 | 36.7 | / | / |  |  |  | 1.846 | 1.23 | 213 |  | Brigitta P |  | 3 | 3 | 2218
4 | 60.0 | 90 | P/Prod | 2025-03-25 | 07:40 | 2025-03-25 | 07:05 | ELENA | 2 | 64.0 | 64.0 | / | / |  |  |  |  | 1.53 | 206 |  | Brigitta P |  | 3 | 4 | 2218
4 | 60.0 | 91 | P/Prod | 2025-03-25 | 07:40 | 2025-03-25 | 07:05 | ELENA | 2 | 55.3 | 55.6 | / | / |  |  |  | 1.837 | 1.20 | 214 |  | Brigitta P |  | 3 | 4 | 2218
2 | 15.0 | 92 | P/Prod | 2025-03-25 | 07:42 | 2025-03-25 | 07:05 | ELENA | 2 | 16.6 | 16.3 | / | / |  |  |  |  | 1.39 | 203 |  | Brigitta P |  | 3 | 2 | 2218
2 | 15.0 | 93 | P/Prod | 2025-03-25 | 07:43 | 2025-03-25 | 07:05 | ELENA | 2 | 16.5 | 16.5 | / | / |  |  |  | 1.860 | 1.36 | 212 |  | Brigitta P |  | 3 | 2 | 2218
3 | 35.0 | 94 | P/Prod | 2025-03-25 | 08:51 | 2025-03-25 | 08:15 | ELENA | 2 | 37.1 | 36.9 | / | / |  |  |  |  | 1.85 | 204 |  | Brigitta P |  | 3 | 3 | 62352
3 | 35.0 | 95 | P/Prod | 2025-03-25 | 08:51 | 2025-03-25 | 08:15 | ELENA | 2 | 38.7 | 38.9 | / | / |  |  |  | 1.859 | 1.58 | 208 |  | Brigitta P |  | 3 | 3 | 62352
4 | 60.0 | 96 | P/Prod | 2025-03-25 | 08:52 | 2025-03-25 | 08:15 | ELENA | 2 | 60.3 | 60.1 | / | / |  |  |  |  | 1.72 | 213 |  | Brigitta P |  | 3 | 4 | 62352
4 | 60.0 | 97 | P/Prod | 2025-03-25 | 08:52 | 2025-03-25 | 08:15 | ELENA | 2 | 60.8 | 60.4 | / | / |  |  |  | 1.846 | 1.30 | 198 |  | Brigitta P |  | 3 | 4 | 62352
2 | 15.0 | 98 | P/Prod | 2025-03-25 | 08:53 | 2025-03-25 | 08:15 | ELENA | 2 | 15.8 | 15.8 | / | / |  |  |  |  | 1.23 | 206 |  | Brigitta P |  | 3 | 2 | 62352
2 | 15.0 | 99 | P/Prod | 2025-03-25 | 08:53 | 2025-03-25 | 08:15 | ELENA | 2 | 15.2 | 15.3 | / | / |  |  |  | 1.839 | 1.26 | 203 |  | Brigitta P |  | 3 | 2 | 62352
1 | 0.0 | 100 | P/Prod | 2025-03-25 | 08:54 | 2025-03-25 | 08:15 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.851 | 1.15 |  |  | Brigitta P |  | 3 | 1 | 62352
3 | 35.0 | 101 | P/Prod | 2025-03-25 | 10:26 | 2025-03-25 | 09:45 | ELENA | 2 | 38.0 | 37.9 | / | / |  |  |  | 1.859 | 1.59 | 210 |  | Kinga |  | 3 | 3 | 62352
3 | 35.0 | 102 | P/Prod | 2025-03-25 | 10:27 | 2025-03-25 | 09:45 | ELENA | 2 | 37.1 | 37.2 | / | / |  |  |  | 1.861 | 1.47 | 201 |  | Kinga |  | 3 | 3 | 62352
4 | 60.0 | 103 | P/Prod | 2025-03-25 | 10:28 | 2025-03-25 | 09:45 | ELENA | 2 | 60.4 | 60.1 | / | / |  |  |  | 1.878 | 1.62 | 211 |  | Kinga |  | 3 | 4 | 62352
4 | 60.0 | 104 | P/Prod | 2025-03-25 | 10:29 | 2025-03-25 | 09:45 | ELENA | 2 | 62.4 | 62.3 | / | / |  |  |  | 1.879 | 1.81 | 190 |  | Kinga |  | 3 | 4 | 62352
2 | 15.0 | 105 | P/Prod | 2025-03-25 | 10:30 | 2025-03-25 | 09:45 | ELENA | 2 | 14.2 | 14.4 | / | / |  |  |  | 1.875 | 1.52 | 190 |  | Kinga |  | 3 | 2 | 62352
2 | 15.0 | 106 | P/Prod | 2025-03-25 | 10:32 | 2025-03-25 | 09:45 | ELENA | 2 | 16.0 | 15.8 | / | / |  |  |  | 1.858 | 2.57 | 189 |  | Kinga |  | 3 | 2 | 62352
3 | 35.0 | 107 | P/Prod | 2025-03-25 | 11:59 | 2025-03-25 | 11:36 | ELENA | 2 | 37.7 | 37.7 | / | / |  |  |  | 1.857 | 1.52 | 209 |  | Kinga |  | 3 | 3 | 62352
3 | 35.0 | 108 | P/Prod | 2025-03-25 | 12:01 | 2025-03-25 | 11:36 | ELENA | 2 | 38.2 | 38.3 | / | / |  |  |  | 1.858 | 1.75 | 207 |  | Kinga |  | 3 | 3 | 62352
4 | 60.0 | 109 | P/Prod | 2025-03-25 | 12:03 | 2025-03-25 | 11:36 | ELENA | 2 | 56.9 | 56.8 | / | / |  |  |  | 1.863 | 1.57 | 202 |  | Kinga |  | 3 | 4 | 62352
4 | 60.0 | 110 | P/Prod | 2025-03-25 | 12:03 | 2025-03-25 | 11:36 | ELENA | 2 | 61.2 | 61.3 | / | / |  |  |  | 1.867 | 1.27 | 209 |  | Kinga |  | 3 | 4 | 62352
2 | 15.0 | 111 | P/Prod | 2025-03-25 | 12:06 | 2025-03-25 | 11:36 | ELENA | 2 | 16.1 | 16.3 | / | / |  |  |  | 1.870 | 1.98 | 201 |  | Kinga |  | 3 | 2 | 62352
2 | 15.0 | 112 | P/Prod | 2025-03-25 | 12:06 | 2025-03-25 | 11:36 | ELENA | 2 | 16.2 | 16.3 | / | / |  |  |  | 1.859 | 1.30 | 190 |  | Kinga |  | 3 | 2 | 62352
1 | 0.0 | 113 | P/Prod | 2025-03-25 | 12:07 | 2025-03-25 | 11:36 | ELENA | 2 | 0.1 | 0.0 | / | / |  |  |  | 1.844 | 1.92 | 197 |  | Kinga |  | 3 | 1 | 62352
1 | 0.0 | 114 | P/Prod | 2025-03-25 | 12:08 | 2025-03-25 | 11:36 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.859 | 1.91 | 197 |  | Kinga |  | 3 | 1 | 62352
3 | 35.0 | 115 | P/Prod | 2025-03-25 | 13:32 | 2025-03-25 | 13:02 | ELENA | 2 | 38.7 | 38.5 | / | / |  |  |  |  | 1.30 | 218 |  | Kinga |  | 3 | 3
3 | 35.0 | 116 | P/Prod | 2025-03-25 | 13:33 | 2025-03-25 | 13:02 | ELENA | 2 | 38.3 | 38.4 | / | / |  |  |  | 1.857 | 1.25 | 207 |  | Kinga |  | 3 | 3
4 | 60.0 | 117 | P/Prod | 2025-03-25 | 13:35 | 2025-03-25 | 13:02 | ELENA | 2 | 56.3 | 56.5 | / | / |  |  |  |  | 1.20 | 201 |  | Kinga |  | 3 | 4 | 62352
4 | 60.0 | 118 | P/Prod | 2025-03-25 | 13:35 | 2025-03-25 | 13:02 | ELENA | 2 | 58.5 | 58.6 | / | / |  |  |  | 1.868 | 1.34 | 208 |  | Kinga |  | 3 | 4 | 62352
2 | 15.0 | 119 | P/Prod | 2025-03-25 | 13:36 | 2025-03-25 | 13:02 | ELENA | 2 | 16.8 | 16.8 | / | / |  |  |  |  | 1.25 | 211 |  | Kinga |  | 3 | 2 | 62352
2 | 15.0 | 120 | P/Prod | 2025-03-25 | 13:36 | 2025-03-25 | 13:02 | ELENA | 2 | 16.8 | 16.9 | / | / |  |  |  | 1.862 | 1.14 | 209 |  | Kinga |  | 3 | 2 | 62352
3 | 35.0 | 121 | P/Prod | 2025-03-25 | 15:00 | 2025-03-25 | 14:31 | ROLAND | 2 | 38.0 | 38.1 | / | / |  |  |  | 2.012 | 1.41 | 217 |  | Monika |  | 3 | 3 | 62352
3 | 35.0 | 122 | P/Prod | 2025-03-25 | 15:00 | 2025-03-25 | 14:31 | ROLAND | 2 | 39.0 | 39.2 | / | / |  |  |  | 2.005 | 1.26 | 207 |  | Monika |  | 3 | 3 | 62352
4 | 60.0 | 123 | P/Prod | 2025-03-25 | 15:04 | 2025-03-25 | 14:31 | ROLAND | 2 | 59.1 | 60.3 | / | / |  |  |  | 2.004 | 1.26 | 207 |  | Monika |  | 3 | 4 | 62352
4 | 60.0 | 124 | P/Prod | 2025-03-25 | 15:04 | 2025-03-25 | 14:31 | ROLAND | 2 | 59.8 | 59.6 | / | / |  |  |  | 2.006 | 1.42 | 205 |  | Monika |  | 3 | 4 | 62352
2 | 15.0 | 125 | P/Prod | 2025-03-25 | 15:07 | 2025-03-25 | 14:31 | ROLAND | 2 | 16.2 | 16.3 | / | / |  |  |  | 2.009 | 1.15 | 206 |  | Monika |  | 3 | 2 | 62352 | Vacuum 10/10 ok
2 | 15.0 | 126 | P/Prod | 2025-03-25 | 15:08 | 2025-03-25 | 14:31 | ROLAND | 2 | 16.6 | 16.6 | / | / |  |  |  | 2.007 | 0.97 | 198 |  | Monika |  | 3 | 2 | 62352
1 | 0.0 | 127 | P/Prod | 2025-03-25 | 15:21 | 2025-03-25 | 14:31 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.58 | 219 |  | Monika |  | 3 | 1 | 62352 | SW4 LOT:2218
1 | 0.0 | 128 | P/Prod | 2025-03-25 | 15:22 | 2025-03-25 | 14:31 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 2.01 | 217 |  | Monika |  | 3 | 1 | 62352
3 | 35.0 | 129 | P/Prod | 2025-03-25 | 15:27 | 2025-03-25 | 14:31 | ROLAND | 2 | 38.5 | 38.6 | / | / |  |  |  |  | 1.28 | 207 |  | Monika |  | 3 | 3 | 62352
3 | 35.0 | 130 | P/Prod | 2025-03-25 | 15:55 | 2025-03-25 | 15:29 | ROLAND | 2 | 38.1 | 38.1 | / | / |  |  |  | 1.978 | 1.67 | 216 |  | Kinga |  | 3 | 3 | 62352
3 | 35.0 | 131 | P/Prod | 2025-03-25 | 15:55 | 2025-03-25 | 15:29 | ROLAND | 2 | 38.3 | 38.3 | / | / |  |  |  | 1.982 | 1.91 | 213 |  | Kinga |  | 3 | 3 | 62352
2 | 15.0 | 132 | P/Prod | 2025-03-25 | 15:59 | 2025-03-25 | 15:29 | ROLAND | 2 | 15.1 | 15.2 | / | / |  |  |  | 1.970 | 2.56 | 210 |  | Kinga |  | 3 | 2 | 62352
2 | 15.0 | 133 | P/Prod | 2025-03-25 | 16:00 | 2025-03-25 | 15:29 | ROLAND | 2 | 16.7 | 16.6 | / | / |  |  |  | 1.966 | 1.30 | 210 |  | Kinga |  | 3 | 2 | 62352
4 | 60.0 | 134 | P/Prod | 2025-03-25 | 16:07 | 2025-03-25 | 15:29 | ROLAND | 2 | 62.5 | 62.4 | / | / |  |  |  | 1.999 | 1.89 | 205 |  | Kinga |  | 3 | 4 | 62352
4 | 60.0 | 135 | P/Prod | 2025-03-25 | 16:08 | 2025-03-25 | 15:29 | ROLAND | 2 | 64.7 | 64.8 | / | / |  |  |  | 1.982 | 1.61 | 213 |  | Kinga |  | 3 | 4 | 62352
3 | 35.0 | 136 | P/Prod | 2025-03-25 | 18:52 | 2025-03-25 | 17:02 | ROLAND | 2 | 39.4 | 39.7 | / | / |  |  |  |  | 1.98 | 218 |  | Monika |  | 3 | 3 | 62352 | VACUUM 10/10 OK
3 | 35.0 | 137 | P/Prod | 2025-03-25 | 18:52 | 2025-03-25 | 17:02 | ROLAND | 2 | 40.9 | 41.3 | / | / |  |  |  |  | 1.23 | 214 |  | Monika |  | 3 | 3 | 62352
4 | 60.0 | 138 | P/Prod | 2025-03-25 | 18:55 | 2025-03-25 | 17:02 | ROLAND | 2 | 62.2 | 62.8 | / | / |  |  |  |  | 1.33 | 213 |  | Monika |  | 3 | 4 | 62352
4 | 60.0 | 139 | P/Prod | 2025-03-25 | 18:58 | 2025-03-25 | 17:02 | ROLAND | 2 | 63.4 | 63.6 | / | / |  |  |  |  | 1.23 | 216 |  | Monika |  | 3 | 4 | 62352
2 | 15.0 | 140 | P/Prod | 2025-03-25 | 18:58 | 2025-03-25 | 17:02 | ROLAND | 2 | 16.3 | 16.3 | / | / |  |  |  |  | 1.52 | 211 |  | Monika |  | 3 | 2 | 62352
2 | 15.0 | 141 | P/Prod | 2025-03-25 | 19:00 | 2025-03-25 | 17:02 | ROLAND | 2 | 16.8 | 16.9 | / | / |  |  |  |  | 1.17 | 209 |  | Monika |  | 3 | 2 | 62352
3 | 35.0 | 142 | P/Prod | 2025-03-25 | 19:09 | 2025-03-25 | 17:02 | ROLAND | 2 | 38.5 | 38.6 | / | / |  |  |  |  | 1.62 | 216 |  | Monika |  | 3 | 3 | 62352
3 | 35.0 | 143 | P/Prod | 2025-03-25 | 19:11 | 2025-03-25 | 17:02 | ROLAND | 2 | 39.1 | 39.3 | / | / |  |  |  |  | 1.41 | 206 |  | Monika |  | 3 | 3 | 62352
3 | 35.0 | 144 | Old A | 2025-03-25 | 19:37 | 2025-03-25 | 17:02 | ROLAND | 2 | 37.8 | 37.8 | / | / |  |  |  | 1.967 | 1.49 | 210 |  | Monika |  | 3 | 3 | 43815
3 | 35.0 | 145 | Old A | 2025-03-25 | 19:38 | 2025-03-25 | 17:02 | ROLAND | 2 | 38.1 | 38.5 | / | / |  |  |  | 1.977 | 1.40 | 198 |  | Monika |  | 3 | 3 | 43815
3 | 35.0 | 146 | P/Prod | 2025-03-25 | 19:52 | 2025-03-25 | 19:23 | ROLAND | 2 | 39.9 | 39.9 | / | / |  |  |  | 1.941 | 1.64 | 216 |  | Monika |  | 3 | 3 | 43815
3 | 35.0 | 147 | P/Prod | 2025-03-25 | 19:52 | 2025-03-25 | 19:23 | ROLAND | 2 | 41.5 | 41.6 | / | / |  |  |  | 1.939 | 1.26 | 206 |  | Monika |  | 3 | 3 | 43815
4 | 60.0 | 148 | P/Prod | 2025-03-25 | 19:58 | 2025-03-25 | 19:23 | ROLAND | 2 | 60.6 | 61.0 | / | / |  |  |  | 1.943 | 1.39 | 213 |  | Monika |  | 3 | 4 | 62352 | 22.9 C
4 | 60.0 | 149 | P/Prod | 2025-03-25 | 19:59 | 2025-03-25 | 19:23 | ROLAND | 2 | 63.5 | 63.6 | / | / |  |  |  | 1.941 | 1.44 | 207 |  | Monika |  | 3 | 4 | 62352
3 | 35.0 | 150 | P/Prod | 2025-03-25 | 20:11 | 2025-03-25 | 19:23 | ROLAND | 2 | 39.8 | 39.8 | / | / |  |  |  | 1.940 | 1.67 | 190 |  | Monika |  | 3 | 3 | 43815 | 25.0 C
3 | 35.0 | 151 | P/Prod | 2025-03-25 | 20:16 | 2025-03-25 | 19:23 | ROLAND | 2 | 39.0 | 39.2 | / | / |  |  |  | 1.934 | 1.50 | 212 |  | Monika |  | 3 | 3 | 43815 | 25.0 C
3 | 35.0 | 152 | EPP:250mg | 2025-03-25 | 20:31 | 2025-03-25 | 19:23 | ROLAND | 2 | 40.7 | 40.8 | / | / |  |  |  | 1.909 | 1.73 | 250 |  | Monika |  | 3 | 3 | 43815 | Eppendorf
3 | 35.0 | 153 | EPP:250mg | 2025-03-25 | 20:32 | 2025-03-25 | 19:23 | ROLAND | 2 | 40.5 | 40.5 | / | / |  |  |  | 1.908 | 1.88 | 250 |  | Monika |  | 3 | 3 | 43815
3 | 35.0 | 154 | EPP:170mg | 2025-03-25 | 20:51 | 2025-03-25 | 19:23 | ROLAND | 2 | 36.0 | 36.1 | / | / |  |  |  | 1.986 | 1.10 | 170 |  | Monika |  | 3 | 3 | 43815 | eppendorf
3 | 35.0 | 155 | EPP:170mg | 2025-03-25 | 20:51 | 2025-03-25 | 19:23 | ROLAND | 2 | 38.7 | 38.9 | / | / |  |  |  | 1.982 | 1.22 | 170 |  | Monika |  | 3 | 3 | 43815
4 | 60.0 | 156 | EPP:171mg | 2025-03-25 | 21:08 | 2025-03-25 | 19:23 | ROLAND | 2 | 57.9 | 58.1 | / | / |  |  |  | 1.990 | 1.22 | 171 |  | Monika |  | 3 | 4 | 62352 | Temp:23.1C
2 | 15.0 | 157 | EPP:172mg | 2025-03-25 | 21:10 | 2025-03-25 | 19:23 | ROLAND | 2 | 17.3 | 17.4 | / | / |  |  |  | 1.978 | 1.08 | 172 |  | Monika |  | 3 | 2 | 62352
3 | 35.0 | 158 | EPP:170mg | 2025-03-25 | 21:48 | 2025-03-25 | 19:23 | ROLAND | 2 | 39.8 | 40.0 | / | / |  |  |  |  | 1.29 | 170 |  | Monika |  | 3 | 3 | 43815 | EPP FROM PWD BAG
3 | 35.0 | 159 | EPP:170mg | 2025-03-25 | 21:48 | 2025-03-25 | 19:23 | ROLAND | 2 | 18.9 | 18.9 | / | / |  |  |  |  | 1.54 | 170 |  | Monika |  | 3 | 3 | 43815 | EPP FROM PWD BAG
4 | 60.0 | 160 | EPP:170mg | 2025-03-25 | 21:51 | 2025-03-25 | 19:23 | ROLAND | 2 | 67.5 | 69.1 | / | / |  |  |  |  | 1.69 | 170 |  | Monika |  | 3 | 4 |  | EPP FROM PWD BAG/ce nu era in masina
3 | 35.0 | 161 | P/Prod | 2025-03-26 | 07:26 | 2025-03-26 |  | ELENA | 2 | 33.2 | 33.1 | / | / |  |  |  | 2.031 | 1.04 | 179 |  | Brigitta P |  | 3 | 3
3 | 35.0 | 162 | P/Prod | 2025-03-26 | 07:26 | 2025-03-26 |  | ELENA | 2 | 32.1 | 32.2 | / | / |  |  |  |  | 0.98 | 187 |  | Brigitta P |  | 3 | 3
2 | 15.0 | 163 | P/Prod | 2025-03-26 | 07:27 | 2025-03-26 |  | ELENA | 2 | 14.0 | 14.3 | / | / |  |  |  | 1.975 | 2.18 | 196 |  | Brigitta P |  | 3 | 2
2 | 15.0 | 164 | P/Prod | 2025-03-26 | 07:28 | 2025-03-26 |  | ELENA | 2 | 14.6 | 14.6 | / | / |  |  |  |  | 1.50 | 177 |  | Brigitta P |  | 3 | 2
4 | 60.0 | 165 | P/Prod | 2025-03-26 | 07:31 |  |  |  |  | 57.0 | 57.2 | / | / |  |  |  | 1.985 | 1.16 | 176 |  | Brigitta P |  | 3 | 4
4 | 60.0 | 166 | P/Prod | 2025-03-26 | 07:33 |  |  |  |  | 55.3 | 55.1 | / | / |  |  |  |  | 1.16 | 170 |  | Brigitta P |  | 3 | 4
3 | 35.0 | 167 | P/Prod | 2025-03-26 | 08:31 | 2025-03-26 | 08:13 | ELENA | 2 | 35.8 | 35.9 | / | / |  |  |  | 1.963 | 1.04 | 167 |  | Brigitta P |  | 3 | 3
3 | 35.0 | 168 | P/Prod | 2025-03-26 | 08:33 | 2025-03-26 | 08:13 | ELENA | 2 | 35.0 | 35.0 | / | / |  |  |  | 1.957 | 1.11 | 176 |  | Kinga |  | 3 | 2 | 43815
4 | 60.0 | 169 | P/Prod | 2025-03-26 | 08:35 | 2025-03-26 | 08:13 | ELENA | 2 | 55.2 | 55.9 | / | / |  |  |  | 1.978 | 1.27 | 168 |  | Kinga |  | 3 | 4 | 43815
4 | 60.0 | 170 | P/Prod | 2025-03-26 | 08:36 | 2025-03-26 | 08:13 | ELENA | 2 | 56.2 | 56.3 | / | / |  |  |  | 1.971 | 1.33 | 189 |  | Kinga |  | 3 | 4 | 43815
2 | 15.0 | 171 | P/Prod | 2025-03-26 | 08:37 | 2025-03-26 | 08:13 | ELENA | 2 | 14.6 | 14.4 | / | / |  |  |  | 1.990 | 1.68 | 177 |  | Kinga |  | 3 | 2 | 43815
2 | 15.0 | 172 | P/Prod | 2025-03-26 | 08:38 | 2025-03-26 | 08:13 | ELENA | 2 | 15.1 | 15.0 | / | / |  |  |  | 1.978 | 1.30 | 181 |  | Kinga |  | 3 | 2 | 43815
3 | 35.0 | 173 | P/Prod | 2025-03-26 | 09:34 | 2025-03-26 | 09:16 | ELENA | 2 | 34.8 | 34.8 | / | / |  |  |  | 1.948 | 1.19 | 184 |  | Kinga |  | 3 | 3 | 43815
3 | 35.0 | 174 | P/Prod | 2025-03-26 | 09:35 | 2025-03-26 | 09:16 | ELENA | 2 | 35.7 | 35.8 | / | / |  |  |  | 1.948 | 1.77 | 164 |  | Kinga |  | 3 | 3 | 43815
4 | 60.0 | 175 | P/Prod | 2025-03-26 | 09:36 | 2025-03-26 | 09:16 | ELENA | 2 | 55.1 | 55.6 | / | / |  |  |  | 1.918 | 1.24 | 184 |  | Kinga |  | 3 | 4 | 43815
4 | 60.0 | 176 | P/Prod | 2025-03-26 | 09:37 | 2025-03-26 | 09:16 | ELENA | 2 | 58.7 | 60.1 | / | / |  |  |  | 1.989 | 1.24 | 165 |  | Kinga |  | 3 | 4 | 43815
2 | 15.0 | 177 | P/Prod | 2025-03-26 | 09:37 | 2025-03-26 | 09:16 | ELENA | 2 | 15.9 | 15.8 | / | / |  |  |  | 1.998 | 2.86 | 177 |  | Kinga |  | 3 | 2 | 43815
2 | 15.0 | 178 | P/Prod | 2025-03-26 | 09:38 | 2025-03-26 | 09:16 | ELENA | 2 | 16.3 | 16.4 | / | / |  |  |  | 1.999 | 2.89 | 187 |  | Kinga |  | 3 | 2 | 43815
3 | 35.0 | 179 | P/Prod | 2025-03-26 | 11:04 | 2025-03-26 | 10:50 | ELENA | 2 | 33.9 | 33.9 | / | / |  |  |  | 1.962 | 1.34 | 167 |  | Kinga |  | 3 | 3 | 43815
3 | 35.0 | 180 | P/Prod | 2025-03-26 | 11:05 | 2025-03-26 | 10:50 | ELENA | 2 | 34.6 | 34.9 | / | / |  |  |  | 1.952 | 1.16 | 180 |  | Kinga |  | 3 | 3 | 43815
4 | 60.0 | 181 | P/Prod | 2025-03-26 | 11:07 | 2025-03-26 | 10:50 | ELENA | 2 | 57.2 | 57.7 | / | / |  |  |  | 1.967 | 1.00 | 173 |  | Kinga |  | 3 | 4 | 43815
4 | 60.0 | 182 | P/Prod | 2025-03-26 | 11:08 | 2025-03-26 | 10:50 | ELENA | 2 | 57.4 | 57.8 | / | / |  |  |  | 1.966 | 1.16 | 174 |  | Kinga |  | 3 | 4 | 43815
2 | 15.0 | 183 | P/Prod | 2025-03-26 | 11:10 | 2025-03-26 | 10:50 | ELENA | 2 | 13.4 | 13.3 | / | / |  |  |  | 1.987 | 1.07 | 176 |  | Kinga |  | 3 | 2 | 43815
2 | 15.0 | 184 | P/Prod | 2025-03-26 | 11:10 | 2025-03-26 | 10:50 | ELENA | 2 | 13.8 | 14.0 | / | / |  |  |  | 1.964 | 1.17 | 172 |  | Kinga |  | 3 | 2 | 43815
1 | 0.0 | 185 | P/Prod | 2025-03-26 | 11:11 | 2025-03-26 | 10:50 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.959 | 3.24 | 170 |  | Kinga |  | 3 | 1 | 43815
1 | 0.0 | 186 | P/Prod | 2025-03-26 | 11:12 | 2025-03-26 | 10:50 | ELENA | 2 | 0.0 | 0.1 | / | / |  |  |  | 1.936 | 2.78 | 176 |  | Kinga |  | 3 | 1 | 43815
3 | 35.0 | 187 | P/Prod | 2025-03-26 | 12:29 | 2025-03-26 | 12:10 | ELENA | 2 | 35.0 | 35.5 | / | / |  |  |  | 1.938 | 1.53 | 174 |  | Kinga |  | 3 | 3 | 43815
3 | 35.0 | 188 | P/Prod | 2025-03-26 | 12:30 | 2025-03-26 | 12:10 | ELENA | 2 | 37.4 | 38.1 | / | / |  |  |  | 1.943 | 2.14 | 166 |  | Kinga |  | 3 | 3 | 43815
4 | 60.0 | 189 | P/Prod | 2025-03-26 | 12:32 | 2025-03-26 | 12:10 | ELENA | 2 | 55.8 | 55.9 | / | / |  |  |  | 1.968 | 1.34 | 178 |  | Kinga |  | 3 | 4 | 43815
4 | 60.0 | 190 | P/Prod | 2025-03-26 | 12:33 | 2025-03-26 | 12:10 | ELENA | 2 | 56.6 | 56.8 | / | / |  |  |  | 1.956 | 1.11 | 178 |  | Kinga |  | 3 | 4 | 43815
2 | 15.0 | 191 | P/Prod | 2025-03-26 | 12:34 | 2025-03-26 | 12:10 | ELENA | 2 | 14.8 | 14.8 | / | / |  |  |  | 1.943 | 2.49 | 186 |  | Kinga |  | 3 | 2 | 43815
2 | 15.0 | 192 | P/Prod | 2025-03-26 | 12:35 | 2025-03-26 | 12:10 | ELENA | 2 | 14.6 | 14.5 | / | / |  |  |  | 1.956 | 2.65 | 176 |  | Kinga |  | 3 | 2 | 43815
3 | 35.0 | 193 | P/Prod | 2025-03-26 | 13:47 | 2025-03-26 | 13:12 | ELENA | 2 | 32.8 | 32.7 | / | / |  |  |  | 1.983 | 1.01 | 165 |  | Kinga |  | 3 | 3 | 43815
3 | 35.0 | 194 | P/Prod | 2025-03-26 | 13:48 | 2025-03-26 | 13:12 | ELENA | 2 | 37.1 | 37.0 | / | / |  |  |  | 1.970 | 1.05 | 184 |  | Kinga |  | 3 | 3 | 43815
4 | 60.0 | 195 | P/Prod | 2025-03-26 | 13:50 | 2025-03-26 | 13:12 | ELENA | 2 | 56.9 | 57.0 | / | / |  |  |  | 1.970 | 1.13 | 171 |  | Kinga |  | 3 | 4 | 43815
4 | 60.0 | 196 | P/Prod | 2025-03-26 | 13:51 | 2025-03-26 | 13:12 | ELENA | 2 | 61.3 | 61.3 | / | / |  |  |  | 1.968 | 1.12 | 175 |  | Kinga |  | 3 | 4 | 43815
2 | 15.0 | 197 | P/Prod | 2025-03-26 | 13:53 | 2025-03-26 | 13:12 | ELENA | 2 | 15.0 | 15.0 | / | / |  |  |  | 1.944 | 1.33 | 169 |  | Kinga |  | 3 | 2 | 43815
2 | 15.0 | 198 | P/Prod | 2025-03-26 | 13:54 | 2025-03-26 | 13:12 | ELENA | 2 | 15.9 | 16.0 | / | / |  |  |  | 1.943 | 1.02 | 177 |  | Kinga |  | 3 | 2 | 43815
3 | 35.0 | 199 | P/Prod | 2025-03-26 | 15:11 | 2025-03-26 | 14:48 | ROLAND | 2 | 35.6 | 35.7 | / | / |  |  |  | 1.951 | 0.90 | 181 |  | Monika |  | 3 | 3 | 43815 | VACUUM 10/10 OK
3 | 35.0 | 200 | P/Prod | 2025-03-26 | 15:11 | 2025-03-26 | 14:48 | ROLAND | 2 | 38.2 | 38.1 | / | / |  |  |  | 1.953 | 1.07 | 181 |  | Monika |  | 3 | 3 | 43815
4 | 60.0 | 201 | P/Prod | 2025-03-26 | 15:14 | 2025-03-26 | 14:48 | ROLAND | 2 | 60.7 | 60.6 | / | / |  |  |  | 1.948 | 1.18 | 185 |  | Monika |  | 3 | 4 | 62713
4 | 60.0 | 202 | P/Prod | 2025-03-26 | 15:15 | 2025-03-26 | 14:48 | ROLAND | 2 | 58.3 | 58.5 | / | / |  |  |  | 1.944 | 1.26 | 180 |  | Monika |  | 3 | 4 | 62713
2 | 15.0 | 203 | P/Prod | 2025-03-26 | 15:17 | 2025-03-26 | 14:48 | ROLAND | 2 | 14.6 | 14.6 | / | / |  |  |  | 1.947 | 1.04 | 179 |  | Monika |  | 3 | 2 | 62713
2 | 15.0 | 204 | P/Prod | 2025-03-26 | 15:18 | 2025-03-26 | 14:48 | ROLAND | 2 | 16.4 | 16.4 | / | / |  |  |  | 1.942 | 0.99 | 177 |  | Monika |  | 3 | 2 | 62713
3 | 35.0 | 205 | P/Prod | 2025-03-26 | 16:42 | 2025-03-26 | 16:17 | Roland | 2 | 37.7 | 37.8 | / | / |  |  |  | 1.934 | 1.25 | 184 |  | Monika |  | 3 | 3 | 43815
3 | 35.0 | 206 | P/Prod | 2025-03-26 | 16:46 | 2025-03-26 | 16:17 | Roland | 2 | 39.8 | 40.2 | / | / |  |  |  | 1.930 | 1.14 | 188 |  | Monika |  | 3 | 3 | 43815 | 23.1C
3 | 35.0 | 207 | P/Prod | 2025-03-26 | 16:46 | 2025-03-26 | 16:17 | Roland | 2 | 39.8 | 40.2 | / | / |  |  |  | 1.935 | 1.14 | 188 |  | Monika |  | 3 | 3 | 43815
4 | 60.0 | 208 | P/Prod | 2025-03-26 | 16:46 | 2025-03-26 | 16:17 | Roland | 2 | 60.3 | 60.4 | / | / |  |  |  | 1.926 | 1.16 | 179 |  | Monika |  | 3 | 4 | 43815
4 | 60.0 | 209 | P/Prod | 2025-03-26 | 16:47 | 2025-03-26 | 16:17 | Roland | 2 | 61.6 | 61.3 | / | / |  |  |  | 1.935 | 1.22 | 182 |  | Monika |  | 3 | 4 | 43815
2 | 15.0 | 210 | P/Prod | 2025-03-26 | 16:50 | 2025-03-26 | 16:17 | Roland | 2 | 15.5 | 15.6 | / | / |  |  |  | 1.935 | 1.04 | 179 |  | Monika |  | 3 | 2 | 62713
2 | 15.0 | 211 | P/Prod | 2025-03-26 | 16:50 | 2025-03-26 | 16:17 | Roland | 2 | 16.7 | 16.7 | / | / |  |  |  | 1.936 | 1.09 | 184 |  | Monika |  | 3 | 2 | 62713
3 | 35.0 | 212 | P/Prod | 2025-03-26 | 19:00 | 2025-03-26 | 18:34 | Roland | 2 | 37.8 | 37.9 | / | / |  |  |  | 1.927 | 1.06 | 183 |  | Monika |  | 3 | 3 | 43815 | VACUUM 10/10 OK
3 | 35.0 | 213 | P/Prod | 2025-03-26 | 19:01 | 2025-03-26 | 18:34 | Roland | 2 | 37.9 | 38.0 | / | / |  |  |  | 1.927 | 1.18 | 178 |  | Monika |  | 3 | 3 | 43815 | 23.9C
4 | 60.0 | 214 | P/Prod | 2025-03-26 | 19:04 | 2025-03-26 | 18:34 | Roland | 2 | 63.0 | 63.5 | / | / |  |  |  | 1.929 | 1.62 | 189 |  | Monika |  | 3 | 4 | 62713
4 | 60.0 | 215 | P/Prod | 2025-03-26 | 19:05 | 2025-03-26 | 18:34 | Roland | 2 | 64.6 | 64.3 | / | / |  |  |  | 1.931 | 1.17 | 187 |  | Monika |  | 3 | 4 | 62713
2 | 15.0 | 216 | P/Prod | 2025-03-26 | 19:07 | 2025-03-26 | 18:34 | Roland | 2 | 16.0 | 16.0 | / | / |  |  |  | 1.930 | 1.04 | 186 |  | Monika |  | 3 | 2 | 62713
2 | 15.0 | 217 | P/Prod | 2025-03-26 | 19:07 | 2025-03-26 | 18:34 | Roland | 2 | 16.9 | 16.9 | / | / |  |  |  | 1.931 | 1.06 | 180 |  | Monika |  | 3 | 2 | 62713
3 | 35.0 | 218 | P/Prod | 2025-03-26 | 21:05 | 2025-03-26 | 20:21 | Roland | 2 | 35.7 | 35.8 | / | / |  |  |  | 1.919 | 1.27 | 187 |  | Monika |  | 3 | 3 | 43815
3 | 35.0 | 219 | P/Prod | 2025-03-26 | 21:05 | 2025-03-26 | 20:21 | Roland | 2 | 38.2 | 38.4 | / | / |  |  |  | 1.922 | 1.10 | 184 |  | Monika |  | 3 | 3 | 43815
4 | 60.0 | 220 | P/Prod | 2025-03-26 | 21:08 | 2025-03-26 | 20:21 | Roland | 2 | 56.4 | 56.5 | / | / |  |  |  | 1.938 | 1.30 | 181 |  | Monika |  | 3 | 4 | 62713
4 | 60.0 | 221 | P/Prod | 2025-03-26 | 21:09 | 2025-03-26 | 20:21 | Roland | 2 | 59.6 | 59.6 | / | / |  |  |  | 1.940 | 1.11 | 181 |  | Monika |  | 3 | 4 | 62713
2 | 15.0 | 222 | P/Prod | 2025-03-26 | 21:12 | 2025-03-26 | 20:21 | Roland | 2 | 16.5 | 16.5 | / | / |  |  |  | 1.924 | 1.41 | 185 |  | Monika |  | 3 | 2 | 62713
2 | 15.0 | 223 | P/Prod | 2025-03-26 | 21:12 | 2025-03-26 | 20:21 | Roland | 2 | 16.4 | 16.5 | / | / |  |  |  | 1.926 | 1.05 | 181 |  | Monika |  | 3 | 2 | 62713
3 | 35.0 | 224 | P/FINAL | 2025-03-27 | 11:00 | 2025-03-27 | 10:36 | ELENA | 2 | 35.5 | 35.7 | / | / |  |  |  | 1.983 | 1.78 | 164 |  | Kinga |  | 3 | 3 | 62713
3 | 35.0 | 225 | P/FINAL | 2025-03-27 | 11:01 | 2025-03-27 | 10:36 | ELENA | 2 | 35.0 | 35.1 | / | / |  |  |  | 1.954 | 1.04 | 172 |  | Kinga |  | 3 | 3 | 62713
4 | 60.0 | 226 | P/FINAL | 2025-03-27 | 11:06 | 2025-03-27 | 10:36 | ELENA | 2 | 60.3 | 60.4 | / | / |  |  |  | 1.970 | 1.39 | 168 |  | Kinga |  | 3 | 4 | 62713
4 | 60.0 | 227 | P/FINAL | 2025-03-27 | 11:07 | 2025-03-27 | 10:36 | ELENA | 2 | 57.8 | 57.9 | / | / |  |  |  | 1.979 | 1.02 | 170 |  | Kinga |  | 3 | 4 | 62713
2 | 15.0 | 228 | P/FINAL | 2025-03-27 | 11:10 | 2025-03-27 | 10:36 | ELENA | 2 | 14.6 | 14.6 | / | / |  |  |  | 1.963 | 1.17 | 166 |  | Kinga |  | 3 | 2 | 62713
2 | 15.0 | 229 | P/FINAL | 2025-03-27 | 11:12 | 2025-03-27 | 10:36 | ELENA | 2 | 14.1 | 14.2 | / | / |  |  |  | 1.950 | 1.05 | 164 |  | Kinga |  | 3 | 2 | 62713
3 | 35.0 | 230 | P/FINAL | 2025-03-27 | 12:13 | 2025-03-27 |  | ELENA | 2 | 35.3 | 35.2 | / | / |  | / | / | 1.947 | 1.12 | 174 |  | Kinga |  | 3 | 3
3 | 35.0 | 231 | P/FINAL | 2025-03-27 | 12:14 | 2025-03-27 |  | ELENA | 2 | 37.7 | 37.9 | / | / |  |  |  | 1.950 | 3.04 | 173 |  | Kinga |  | 3 | 3
4 | 60.0 | 232 | P/FINAL | 2025-03-27 | 12:16 | 2025-03-27 | 11:56 | ELENA | 2 | 60.6 | 60.7 | / | / |  |  |  | 1.952 | 1.50 | 172 |  | Kinga |  | 3 | 4 | 43815
4 | 60.0 | 233 | P/FINAL | 2025-03-27 | 12:17 | 2025-03-27 | 11:56 | ELENA | 2 | 63.8 | 63.8 | / | / |  |  |  | 1.958 | 2.28 | 174 |  | Kinga |  | 3 | 4 | 43815
2 | 15.0 | 234 | P/FINAL | 2025-03-27 | 12:18 | 2025-03-27 | 11:56 | ELENA | 2 | 15.1 | 15.0 | / | / |  |  |  | 1.953 | 1.37 | 179 |  | Kinga |  | 3 | 2 | 43815
2 | 15.0 | 235 | P/FINAL | 2025-03-27 | 12:18 | 2025-03-27 | 11:56 | ELENA | 2 | 16.0 | 16.0 | / | / |  |  |  | 1.949 | 1.14 | 176 |  | Kinga |  | 3 | 2 | 43815
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
60 | 120 | 15.8 mg/L | 60 | 120 | 15.8 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
77 | 154 | 37.6 mg/L | 77 | 154 | 37.6 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
64 | 128 | 60.7 mg/L | 64 | 128 | 60.7 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 0 mg/L | 10 | 20 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 2.0 | 0.0 | YES
15.0 | 12.3 ÷ 17.7 | 15.8 | YES
35.0 | 31.3 ÷ 38.7 | 37.6 | YES
60.0 | 55.1 ÷ 64.9 | 60.7 | YES
Validation Date | by