## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI782-0
0972 | HI782-0 | CP-R80 | W 12/2 |  | Parameter Formula | NO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Nitrate HR Reagent | 2030-03-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
206 | 196 | 216
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 75.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-28 | 2025-04-01 | 2HEAD |  |  | 0898
[6 empty] | Expiration A | Expiration B | Expiration D
2030-01-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO -740 | HI97115 | CTO-743
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 15.0 | 12.3 | 17.7 |  | MR101 |  | 2.0 | & | 4.9% | 100%
3 | 35.0 | 31.3 | 38.7
4 | 60.0 | 55.1 | 64.9 | [8 empty] | 1.7 | 1.5 | 1.9
1 | 0.0 | 0.0 | 2.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97115 | M. 2 HI97115 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 15.0 | 1 | Valid | 2025-03-19 | 15:55 | 2025-03-19 | 14:24 | ERIKA |  | 16.3 | 16.4 | / | / |  |  |  | 2.063 | 1.49 |  |  | Brigitta P |  | 3 | 2 | 110123 | OLD LOT AT LAST PREP- HI782-0 LOT 0970
2 | 15.0 | 2 | Valid | 2025-03-19 | 15:55 | 2025-03-19 | 14:24 | ERIKA |  | 16.0 | 16.0 | / | / |  |  |  |  | 1.55 |  |  | Brigitta P |  | 3 | 2 | 110123
3 | 35.0 | 3 | Valid | 2025-03-19 | 15:57 | 2025-03-19 | 14:24 | ERIKA |  | 38.2 | 38.5 | / | / |  |  |  | 2.063 | 1.54 |  |  | Brigitta P |  | 3 | 3 | 110123
3 | 35.0 | 4 | Valid | 2025-03-19 | 15:59 | 2025-03-19 | 14:24 | ERIKA |  | 37.9 | 37.9 | / | / |  |  |  |  | 1.75 |  |  | Brigitta P |  | 3 | 3 | 110123
4 | 60.0 | 5 | Valid | 2025-03-19 | 16:00 | 2025-03-19 | 14:24 | ERIKA |  | 64.8 | 64.6 | / | / |  |  |  | 2.040 | 1.80 |  |  | Brigitta P |  | 3 | 4 | 110123
4 | 60.0 | 6 | Valid | 2025-03-19 | 16:00 | 2025-03-19 | 14:24 | ERIKA |  | 64.8 | 64.6 | / | / |  |  |  |  | 4.23 |  |  | Brigitta P |  | 3 | 4 | 110123
1 | 0.0 | 7 | Valid | 2025-03-19 | 16:01 | 2025-03-19 | 14:24 | ERIKA |  | 0.0 | 0.0 | / | / |  |  |  | 1.988 | 3.38 |  |  | Brigitta P |  | 3 | 1 | 110123
1 | 0.0 | 8 | Valid | 2025-03-19 | 16:01 | 2025-03-19 | 14:24 | ERIKA |  | 0.0 | 0.0 | / | / |  |  |  |  | 2.09 |  |  | Brigitta P |  | 3 | 1 | 110123
3 | 35.0 | 9 | P/Prod | 2025-03-27 | 19:23 | 2025-03-27 | 18:58 | Roland | 2 | 37.5 | 37.6 | / | / |  |  |  | 1.904 | 1.55 | 194 |  | Monika |  | 3 | 3 | 43815 | Vacuum 10/10 OK
3 | 35.0 | 10 | P/Prod | 2025-03-27 | 19:24 | 2025-03-27 | 18:58 | Roland | 2 | 36.2 | 36.3 | / | / |  |  |  | 1.898 | 1.27 | 189 |  | Monika |  | 3 | 3 | 43815 | Temp.:23.5C
4 | 60.0 | 11 | P/Prod | 2025-03-27 | 19:28 | 2025-03-27 | 18:58 | Roland | 2 | 55.6 | 56.3 | / | / |  |  |  | 1.899 | 1.33 | 189 |  | Monika |  | 3 | 4 | 62713 | In the machine remaine a little pwd from previous lot
4 | 60.0 | 12 | P/Prod | 2025-03-27 | 19:29 | 2025-03-27 | 18:58 | Roland | 2 | 56.6 | 56.8 | / | / |  |  |  | 1.905 | 0.97 | 185 |  | Monika |  | 3 | 4 | 62713 | Start with 180-190mg
2 | 15.0 | 13 | P/Prod | 2025-03-27 | 19:30 | 2025-03-27 | 18:58 | Roland | 2 | 14.8 | 14.9 | / | / |  |  |  | 1.903 | 1.05 | 180 |  | Monika |  | 3 | 2 | 62713
2 | 15.0 | 14 | P/Prod | 2025-03-27 | 19:31 | 2025-03-27 | 18:58 | Roland | 2 | 15.1 | 15.1 | / | / |  |  |  | 1.905 | 0.89 | 180 |  | Monika |  | 3 | 2 | 62713
1 | 0.0 | 15 | P/Prod | 2025-03-27 | 19:42 | 2025-03-27 | 18:58 | Roland | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.895 | 1.31 | 193 |  | Monika |  | 3 | 1
1 | 0.0 | 16 | P/Prod | 2025-03-27 | 19:43 | 2025-03-27 | 18:58 | Roland | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.900 | 1.21 | 183 |  | Monika |  | 3 | 1
3 | 35.0 | 17 | P/Prod | 2025-03-27 | 20:49 | 2025-03-27 | 20:29 | Roland | 2 | 37.8 | 37.9 | / | / |  |  |  | 1.917 | 1.19 | 190 |  | Monika |  | 3 | 3 | 43815
3 | 35.0 | 18 | P/Prod | 2025-03-27 | 20:51 | 2025-03-27 | 20:29 | Roland | 2 | 34.6 | 34.7 | / | / |  |  |  | 1.918 | 1.11 | 177 |  | Monika |  | 3 | 3 | 43815
4 | 60.0 | 19 | P/Prod | 2025-03-27 | 20:53 | 2025-03-27 | 20:29 | Roland | 2 | 58.6 | 58.9 | / | / |  |  |  | 1.901 | 1.23 | 188 |  | Monika |  | 3 | 4 | 62713
4 | 60.0 | 20 | P/Prod | 2025-03-27 | 20:54 | 2025-03-27 | 20:29 | Roland | 2 | 61.3 | 61.3 | / | / |  |  |  | 1.906 | 1.34 | 186 |  | Monika |  | 3 | 4 | 62713
2 | 15.0 | 21 | P/Prod | 2025-03-27 | 20:56 | 2025-03-27 | 20:29 | Roland | 2 | 17.0 | 16.9 | / | / |  |  |  | 1.905 | 1.50 | 188 |  | Monika |  | 3 | 2 | 62713
2 | 15.0 | 22 | P/Prod | 2025-03-27 | 20:57 | 2025-03-27 | 20:29 | Roland | 2 | 17.5 | 17.5 | / | / |  |  |  | 1.902 | 1.06 | 186 |  | Monika |  | 3 | 2 | 62713
3 | 35.0 | 23 | P/Prod | 2025-03-28 | 07:26 | 2025-03-28 | 06:55 | ELENA | 2 | 34.6 | 34.7 | / | / |  |  |  |  | 1.02 | 187 |  | Brigitta P |  | 3 | 3 | 62713
3 | 35.0 | 24 | P/Prod | 2025-03-28 | 07:27 | 2025-03-28 | 06:55 | ELENA | 2 | 37.1 | 37.2 | / | / |  |  |  | 1.913 | 0.97 | 186 |  | Brigitta P |  | 3 | 3 | 62713
4 | 60.0 | 25 | P/Prod | 2025-03-28 | 07:28 | 2025-03-28 | 06:55 | ELENA | 2 | 55.9 | 55.8 | / | / |  |  |  |  | 1.19 | 185 |  | Brigitta P |  | 3 | 4 | 62713
4 | 60.0 | 26 | P/Prod | 2025-03-28 | 07:29 | 2025-03-28 | 06:55 | ELENA | 2 | 58.9 | 59.2 | / | / |  |  |  | 1.927 | 1.07 | 189 |  | Brigitta P |  | 3 | 4 | 62713
2 | 15.0 | 27 | P/Prod | 2025-03-28 | 07:31 | 2025-03-28 | 06:55 | ELENA | 2 | 17.6 | 17.7 | / | / |  |  |  |  | 1.19 | 183 |  | Brigitta P |  | 3 | 2 | 62713
2 | 15.0 | 28 | P/Prod | 2025-03-28 | 07:31 | 2025-03-28 | 06:55 | ELENA | 2 | 16.8 | 16.7 | / | / |  |  |  |  | 1.12 | 180 |  | Brigitta P |  | 3 | 2 | 62713
2 | 15.0 | 29 | P/Prod | 2025-03-28 | 07:32 | 2025-03-28 | 06:55 | ELENA | 2 | 16.8 | 16.7 | / | / |  |  |  | 1.921 | 1.12 | 181 |  | Brigitta P |  | 3 | 2 | 62713
3 | 35.0 | 30 | P/FINAL | 2025-03-28 | 08:44 | 2025-03-28 | 08:15 | ELENA | 2 | 37.7 | 37.6 | / | / |  |  |  |  | 1.15 | 188 |  | Kinga |  | 3 | 3 | 62713
3 | 35.0 | 31 | P/FINAL | 2025-03-28 | 08:45 | 2025-03-28 | 08:15 | ELENA | 2 | 36.3 | 36.2 | / | / |  |  |  | 1.926 | 1.67 | 196 |  | Kinga |  | 3 | 3 | 62713
4 | 60.0 | 32 | P/FINAL | 2025-03-28 | 08:47 | 2025-03-28 | 08:15 | ELENA | 2 | 60.1 | 60.0 | / | / |  |  |  | 1.954 | 1.90 | 185 |  | Kinga |  | 3 | 4 | 62713
4 | 60.0 | 33 | P/FINAL | 2025-03-28 | 08:48 | 2025-03-28 | 08:15 | ELENA | 2 | 57.2 | 57.2 | / | / |  |  |  | 1.932 | 1.70 | 190 |  | Kinga |  | 3 | 4 | 62713
2 | 15.0 | 34 | P/FINAL | 2025-03-28 | 08:51 | 2025-03-28 | 08:15 | ELENA | 2 | 14.3 | 14.4 | / | / |  |  |  | 1.952 | 1.52 | 192 |  | Kinga |  | 3 | 2 | 62713
2 | 15.0 | 35 | P/FINAL | 2025-03-28 | 08:51 | 2025-03-28 | 08:15 | ELENA | 2 | 14.3 | 14.3 | / | / |  |  |  | 1.924 | 0.95 | 187 |  | Kinga |  | 3 | 2 | 62713
3 | 35.0 | 36 | P/FINAL | 2025-03-28 | 09:56 | 2025-03-28 | 09:21 | ELENA | 2 | 37.1 | 37.1 | / | / |  |  |  |  | 0.95 | 176 |  | Kinga |  | 3 | 3 | 62713
4 | 60.0 | 37 | P/FINAL | 2025-03-28 | 09:58 | 2025-03-28 | 09:21 | ELENA | 2 | 58.8 | 58.7 | / | / |  |  |  | 1.962 | 1.37 | 187 |  | Kinga |  | 3 | 4 | 62713
4 | 60.0 | 38 | P/FINAL | 2025-03-28 | 09:59 | 2025-03-28 | 09:21 | ELENA | 2 | 64.9 | 64.2 | / | / |  |  |  |  | 2.40 | 177 |  | Kinga |  | 3 | 4 | 62713
2 | 15.0 | 39 | P/FINAL | 2025-03-28 | 10:00 | 2025-03-28 | 09:21 | ELENA | 2 | 14.4 | 14.5 | / | / |  |  |  | 1.952 | 1.24 | 191 |  | Kinga |  | 3 | 2 | 62713
2 | 15.0 | 40 | P/FINAL | 2025-03-28 | 10:00 | 2025-03-28 | 09:21 | ELENA | 2 | 16.7 | 16.6 | / | / |  |  |  |  | 1.27 | 178 |  | Kinga |  | 3 | 2 | 62713
1 | 0.0 | 41 | P/FINAL | 2025-03-28 | 10:01 | 2025-03-28 | 09:21 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.27 | 169 |  | Kinga |  | 3 | 1 | 62713
3 | 35.0 | 42 | P/FINAL | 2025-03-28 | 11:22 | 2025-03-28 | 10:51 | ELENA | 2 | 37.1 | 37.2 | / | / |  |  |  | 1.925 | 1.42 | 184 |  | Kinga |  | 3 | 3 | 62713
3 | 35.0 | 43 | P/FINAL | 2025-03-28 | 11:23 | 2025-03-28 | 10:51 | ELENA | 2 | 36.0 | 36.1 | / | / |  |  |  | 1.931 | 1.16 | 178 |  | Kinga |  | 3 | 3 | 62713
4 | 60.0 | 44 | P/FINAL | 2025-03-28 | 11:26 | 2025-03-28 | 10:51 | ELENA | 2 | 58.7 | 58.7 | / | / |  |  |  | 1.933 | 1.12 | 184 |  | Kinga |  | 3 | 4 | 62713
4 | 60.0 | 45 | P/FINAL | 2025-03-28 | 11:27 | 2025-03-28 | 10:51 | ELENA | 2 | 59.2 | 59.6 | / | / |  |  |  | 1.950 | 1.35 | 192 |  | Kinga |  | 3 | 4 | 62713
2 | 15.0 | 46 | P/FINAL | 2025-03-28 | 11:29 | 2025-03-28 | 10:51 | ELENA | 2 | 13.6 | 13.8 | / | / |  |  |  | 1.942 | 2.06 | 183 |  | Kinga |  | 3 | 2 | 62713
2 | 15.0 | 47 | P/FINAL | 2025-03-28 | 11:30 | 2025-03-28 | 10:51 | ELENA | 2 | 14.8 | 14.9 | / | / |  |  |  | 1.964 | 1.29 | 198 |  | Kinga |  | 3 | 2 | 62713
3 | 35.0 | 48 | P/FINAL | 2025-03-28 | 12:23 | 2025-03-28 | 12:01 | ELENA | 2 | 35.3 | 35.5 | / | / |  |  |  | 1.963 | 1.25 | 177 |  | Kinga |  | 3 | 3 | 62713
3 | 35.0 | 49 | P/FINAL | 2025-03-28 | 12:24 | 2025-03-28 | 12:01 | ELENA | 2 | 36.1 | 36.0 | / | / |  |  |  | 1.952 | 1.19 | 182 |  | Kinga |  | 3 | 3 | 62713
4 | 60.0 | 50 | P/FINAL | 2025-03-28 | 12:26 | 2025-03-28 | 12:01 | ELENA | 2 | 58.3 | 58.6 | / | / |  |  |  | 1.936 | 1.59 | 183 |  | Kinga |  | 3 | 4 | 62713
4 | 60.0 | 51 | P/FINAL | 2025-03-28 | 12:26 | 2025-03-28 | 12:01 | ELENA | 2 | 61.8 | 61.9 | / | / |  |  |  | 1.932 | 1.28 | 187 |  | Kinga |  | 3 | 4 | 62713
2 | 15.0 | 52 | P/FINAL | 2025-03-28 | 12:27 | 2025-03-28 | 12:01 | ELENA | 2 | 17.2 | 17.2 | / | / |  |  |  | 1.928 | 1.56 | 185 |  | Kinga |  | 3 | 2 | 62713
2 | 15.0 | 53 | P/FINAL | 2025-03-28 | 12:29 | 2025-03-28 | 12:01 | ELENA | 2 | 14.4 | 14.5 | / | / |  |  |  | 1.931 | 2.08 | 180 |  | Kinga |  | 3 | 2 | 62713
3 | 35.0 | 54 | P/FINAL | 2025-03-28 | 14:28 | 2025-03-28 | 13:16 | Elena | 2 | 31.4 | 31.5 | / | / |  |  |  | 1.918 | 1.42 | 182 |  | Monika |  | 3 | 3 | 94053
1 | 0.0 | 55 | P/FINAL | 2025-03-28 | 14:30 | 2025-03-28 | 13:16 | Elena | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.911 | 1.23 | 183 |  | Monika |  | 3 | 1 | 94053 | SEAWATER 4 LOT:2218
3 | 35.0 | 56 | P/FINAL | 2025-03-28 | 14:32 | 2025-03-28 | 13:16 | Elena | 2 | 36.6 | 36.2 | / | / |  |  |  | 1.931 | 1.10 | 187 |  | Monika |  | 3 | 3 | 94053
4 | 60.0 | 57 | P/FINAL | 2025-03-28 | 14:37 | 2025-03-28 | 13:16 | Elena | 2 | 61.1 | 60.7 | / | / |  |  |  | 1.915 | 1.51 | 182 |  | Monika |  | 3 | 4 | 94053
4 | 60.0 | 58 | P/FINAL | 2025-03-28 | 14:38 | 2025-03-28 | 13:16 | Elena | 2 | 62.6 | 62.3 | / | / |  |  |  | 1.916 | 1.22 | 190 |  | Monika |  | 3 | 4 | 94053
2 | 15.0 | 59 | P/FINAL | 2025-03-28 | 14:43 | 2025-03-28 | 13:16 | Elena | 2 | 15.9 | 16.2 | / | / |  |  |  | 1.897 | 1.28 | 191 |  | Monika |  | 3 | 2 | 62713
2 | 15.0 | 60 | P/FINAL | 2025-03-28 | 14:44 | 2025-03-28 | 13:16 | Elena | 2 | 17.3 | 17.5 | / | / |  |  |  | 1.900 | 1.25 | 191 |  | Monika |  | 3 | 2 | 62713
3 | 35.0 | 61 | P/FINAL | 2025-03-28 | 15:10 | 2025-03-28 | 14:35 | Roland | 2 | 37.5 | 37.4 | / | / |  |  |  | 1.915 | 1.26 | 189 |  | Monika |  | 3 | 3 | 94053
3 | 35.0 | 62 | P/FINAL | 2025-03-28 | 15:11 | 2025-03-28 | 14:35 | Roland | 2 | 38.1 | 38.1 | / | / |  |  |  | 1.910 | 1.32 | 190 |  | Monika |  | 3 | 3 | 94053
4 | 60.0 | 63 | P/FINAL | 2025-03-28 | 15:14 | 2025-03-28 | 14:35 | Roland | 2 | 59.7 | 60.3 | / | / |  |  |  | 1.925 | 1.46 | 184 |  | Monika |  | 3 | 4 | 62713
4 | 60.0 | 64 | P/FINAL | 2025-03-28 | 15:15 | 2025-03-28 | 14:35 | Roland | 2 | 58.6 | 59.1 | / | / |  |  |  | 1.916 | 1.24 | 183 |  | Monika |  | 3 | 4 | 62713
2 | 15.0 | 65 | P/FINAL | 2025-03-28 | 15:22 | 2025-03-28 | 14:35 | Roland | 2 | 15.2 | 15.3 | / | / |  |  |  | 1.924 | 1.47 | 184 |  | Monika |  | 3 | 2 | 62713
2 | 15.0 | 66 | P/FINAL | 2025-03-28 | 15:23 | 2025-03-28 | 14:35 | Roland | 2 | 16.0 | 16.0 | / | / |  |  |  | 1.905 | 1.03 | 181 |  | Monika |  | 3 | 2 | 62713
3 | 35.0 | 67 | P/FINAL | 2025-03-28 | 16:13 | 2025-03-28 | 15:41 | Roland | 2 | 36.7 | 36.6 | / | / |  |  |  |  | 1.16 | 188 |  | Monika |  | 3 | 3 | 94053 | Vacuum 10/10 OK
3 | 35.0 | 68 | P/FINAL | 2025-03-28 | 16:14 | 2025-03-28 | 15:41 | Roland | 2 | 37.8 | 38.0 | / | / |  |  |  |  | 1.28 | 183 |  | Monika |  | 3 | 3 | 94053
4 | 60.0 | 69 | P/FINAL | 2025-03-28 | 16:17 | 2025-03-28 | 15:41 | Roland | 2 | 59.9 | 62.3 | / | / |  |  |  |  | 1.27 | 185 |  | Monika |  | 3 | 4 | 62713
2 | 15.0 | 70 | P/FINAL | 2025-03-28 | 16:19 | 2025-03-28 | 15:41 | Roland | 2 | 15.6 | 15.7 | / | / |  |  |  |  | 1.19 | 183 |  | Monika |  | 3 | 2 | 62713
2 | 15.0 | 71 | P/FINAL | 2025-03-28 | 16:19 | 2025-03-28 | 15:41 | Roland | 2 | 16.9 | 16.9 | / | / |  |  |  |  | 1.21 | 185 |  | Monika |  | 3 | 2 | 62713
3 | 35.0 | 72 | P/FINAL | 2025-03-28 | 17:40 | 2025-03-28 | 17:30 | Roland | 2 | 35.2 | 35.8 | / | / | [7 empty] | Roland |  | 3 | 3 | 94053
3 | 35.0 | 73 | P/FINAL | 2025-03-28 | 18:51 | 2025-03-28 | 18:40 | Roland | 2 | 38.4 | 38.8 | / | / | [7 empty] | Roland |  | 3 | 3 | 94053
3 | 35.0 | 74 | P/FINAL | 2025-03-28 | 19:45 | 2025-03-28 | 19:35 | Roland | 2 | 36.5 | 37.0 | / | / | [7 empty] | Roland |  | 3 | 3 | 94053
3 | 35.0 | 75 | P/FINAL | 2025-03-31 | 09:03 | 2025-03-31 | 08:20 | Roland | 2 | 35.3 | 35.4 | / | / |  |  |  | 1.954 | 1.34 | 178 |  | Monika |  | 3 | 3 | 94053
3 | 35.0 | 76 | P/FINAL | 2025-03-31 | 09:04 | 2025-03-31 | 08:20 | Roland | 2 | 34.9 | 35.2 | / | / |  |  |  | 1.913 | 1.04 | 175 |  | Monika |  | 3 | 3 | 94053
4 | 60.0 | 77 | P/FINAL | 2025-03-31 | 09:05 | 2025-03-31 | 08:20 | Roland | 2 | 59.4 | 59.4 | / | / |  |  |  | 1.916 | 1.33 | 184 |  | Monika |  | 3 | 4 | 62713
4 | 60.0 | 78 | P/FINAL | 2025-03-31 | 09:06 | 2025-03-31 | 08:20 | Roland | 2 | 56.3 | 56.8 | / | / |  |  |  | 1.924 | 1.11 | 173 |  | Monika |  | 3 | 4 | 62713
2 | 15.0 | 79 | P/FINAL | 2025-03-31 | 09:11 | 2025-03-31 | 08:20 | Roland | 2 | 15.8 | 15.9 | / | / |  |  |  | 1.894 | 1.42 | 191 |  | Monika |  | 3 | 2 | 62713
2 | 15.0 | 80 | P/FINAL | 2025-03-31 | 09:11 | 2025-03-31 | 08:20 | Roland | 2 | 15.7 | 15.8 | / | / |  |  |  | 1.891 | 1.04 | 185 |  | Monika |  | 3 | 2 | 62713
3 | 35.0 | 81 | P/FINAL | 2025-03-31 | 10:08 | 2025-03-31 | 09:22 | Roland | 2 | 35.8 | 35.9 | / | / |  |  |  | 1.916 | 1.31 | 182 |  | Monika |  | 3 | 3 | 94053 | Vacuum 10/10 ok
3 | 35.0 | 82 | P/FINAL | 2025-03-31 | 10:10 | 2025-03-31 | 09:22 | Roland | 2 | 37.2 | 37.3 | / | / |  |  |  | 1.914 | 1.31 | 180 |  | Monika |  | 3 | 3 | 94053
4 | 60.0 | 83 | P/FINAL | 2025-03-31 | 10:13 | 2025-03-31 | 09:22 | Roland | 2 | 55.6 | 55.7 | / | / |  |  |  | 1.917 | 1.13 | 176 |  | Monika |  | 3 | 4 | 62713
4 | 60.0 | 84 | P/FINAL | 2025-03-31 | 10:14 | 2025-03-31 | 09:22 | Roland | 2 | 59.2 | 59.7 | / | / |  |  |  | 1.915 | 1.03 | 174 |  | Monika |  | 3 | 4 | 62713
2 | 15.0 | 85 | P/FINAL | 2025-03-31 | 10:15 | 2025-03-31 | 09:22 | Roland | 2 | 15.2 | 15.2 | / | / |  |  |  | 1.914 | 0.97 | 179 |  | Monika |  | 3 | 2 | 62713
2 | 15.0 | 86 | P/FINAL | 2025-03-31 | 10:16 | 2025-03-31 | 09:22 | Roland | 2 | 16.0 | 16.0 | / | / |  |  |  | 1.913 | 1.39 | 173 |  | Monika |  | 3 | 2 | 62713
3 | 35.0 | 87 | P/FINAL | 2025-03-31 | 11:44 | 2025-03-31 | 11:18 | Roland | 2 | 36.0 | 36.0 | / | / |  |  |  | 1.894 | 2.76 | 178 |  | Kinga |  | 3 | 3 | 62713
3 | 35.0 | 88 | P/FINAL | 2025-03-31 | 11:45 | 2025-03-31 | 11:18 | Roland | 2 | 36.1 | 36.1 | / | / |  |  |  | 1.918 | 1.43 | 181 |  | Kinga |  | 3 | 3 | 62713
4 | 60.0 | 89 | P/FINAL | 2025-03-31 | 11:46 | 2025-03-31 | 11:18 | Roland | 2 | 62.3 | 62.8 | / | / |  |  |  | 1.920 | 2.27 | 184 |  | Kinga |  | 3 | 4 | 62713
4 | 60.0 | 90 | P/FINAL | 2025-03-31 | 11:46 | 2025-03-31 | 11:18 | Roland | 2 | 59.5 | 59.5 | / | / |  |  |  | 1.918 | 2.37 | 173 |  | Kinga |  | 3 | 4 | 62713
2 | 15.0 | 91 | P/FINAL | 2025-03-31 | 11:48 | 2025-03-31 | 11:18 | Roland | 2 | 16.6 | 16.4 | / | / |  |  |  | 1.913 | 1.75 | 175 |  | Kinga |  | 3 | 2 | 62713
2 | 15.0 | 92 | P/FINAL | 2025-03-31 | 11:49 | 2025-03-31 | 11:18 | Roland | 2 | 16.8 | 16.7 | / | / |  |  |  | 1.923 | 1.23 | 184 |  | Kinga |  | 3 | 2 | 62713
3 | 35.0 | 93 | P/FINAL | 2025-03-31 | 13:58 | 2025-03-31 | 13:17 | Roland | 2 | 36.9 | 37.0 | / | / |  |  |  | 1.896 | 1.95 | 171 |  | Monika |  | 3 | 3 | 94053
3 | 35.0 | 94 | P/FINAL | 2025-03-31 | 13:59 | 2025-03-31 | 13:17 | Roland | 2 | 38.0 | 38.3 | / | / |  |  |  | 1.903 | 1.20 | 171 |  | Monika |  | 3 | 3 | 94053
2 | 15.0 | 95 | P/FINAL | 2025-03-31 | 14:02 | 2025-03-31 | 13:17 | Roland | 2 | 16.3 | 16.4 | / | / |  |  |  | 1.908 | 1.11 | 179 |  | Monika |  | 3 | 2
2 | 15.0 | 96 | P/FINAL | 2025-03-31 | 14:03 | 2025-03-31 | 13:17 | Roland | 2 | 17.1 | 17.1 | / | / |  |  |  | 1.905 | 1.08 | 175 |  | Monika |  | 3 | 2
3 | 35.0 | 97 | P/FINAL | 2025-03-31 | 15:16 | 2025-03-31 | 14:20 | Elena | 2 | 33.3 | 33.4 | / | / |  |  |  | 1.905 | 1.12 | 179 |  | Monika |  | 3 | 3 | 94053 | Cuvete spalate
3 | 35.0 | 98 | P/FINAL | 2025-03-31 | 15:17 | 2025-03-31 | 14:20 | Elena | 2 | 34.9 | 35.2 | / | / |  |  |  | 1.913 | 1.11 | 174 |  | Monika |  | 3 | 3 | 94053 | Cuvete spalate
4 | 60.0 | 99 | P/FINAL | 2025-03-31 | 15:20 | 2025-03-31 | 14:20 | Elena | 2 | 51.4 | 51.6 | / | / |  |  |  | 1.928 | 1.11 | 182 |  | Monika |  | 3 | 4 | 23707 | Cuvete spalate
4 | 60.0 | 100 | P/FINAL | 2025-03-31 | 15:20 | 2025-03-31 | 14:20 | Elena | 2 | 56.9 | 57.3 | / | / |  |  |  | 1.910 | 1.08 | 179 |  | Monika |  | 3 | 4 | 23707 | Cuvete spalate
2 | 15.0 | 101 | P/FINAL | 2025-03-31 | 15:24 | 2025-03-31 | 14:20 | Elena | 2 | 15.1 | 15.2 | / | / |  |  |  | 1.906 | 0.94 | 178 |  | Monika |  | 3 | 2 | 23707 | Cuvete spalate
2 | 15.0 | 102 | P/FINAL | 2025-03-31 | 15:25 | 2025-03-31 | 14:20 | Elena | 2 | 9.4 | 9.5 | / | / |  |  |  | 1.906 | 1.07 | 175 |  | Monika |  | 3 | 2 | 23707 | Cuvete spalate
3 | 35.0 | 103 | P/FINAL | 2025-03-31 | 15:59 | 2025-03-31 | 15:30 | Elena | 2 | 37.5 | 37.5 | / | / |  |  |  | 1.905 | 1.19 | 179 |  | Monika |  | 3 | 3 | 94043 | New OMPI Cuvette
3 | 35.0 | 104 | P/FINAL | 2025-03-31 | 15:59 | 2025-03-31 | 15:30 | Elena | 2 | 39.5 | 39.6 | / | / |  |  |  | 1.911 | 1.19 | 181 |  | Monika |  | 3 | 3 | 94043
4 | 60.0 | 105 | P/FINAL | 2025-03-31 | 16:03 | 2025-03-31 | 15:30 | Elena | 2 | 58.6 | 59.3 | / | / |  |  |  | 1.909 | 1.19 | 187 |  | Monika |  | 3 | 4 | 23707
4 | 60.0 | 106 | P/FINAL | 2025-03-31 | 16:03 | 2025-03-31 | 15:30 | Elena | 2 | 60.3 | 60.5 | / | / |  |  |  | 1.904 | 1.08 | 177 |  | Monika |  | 3 | 4 | 23707
2 | 15.0 | 107 | P/FINAL | 2025-03-31 | 16:06 | 2025-03-31 | 15:30 | Elena | 2 | 14.9 | 15.0 | / | / |  |  |  | 1.913 | 1.00 | 176 |  | Monika |  | 3 | 2 | 23707
2 | 15.0 | 108 | P/FINAL | 2025-03-31 | 16:07 | 2025-03-31 | 15:30 | Elena | 2 | 14.4 | 14.4 | / | / |  |  |  | 1.905 | 1.16 | 175 |  | Monika |  | 3 | 2 | 23707
4 | 60.0 | 109 | P/FINAL | 2025-04-01 | 08:37 | 2025-04-01 | 07:58 | Roland | 2 | 63.6 | 63.5 | / | / |  |  |  |  | 1.48 |  |  | Brigitta P |  | 3 | 4 | 23707
4 | 60.0 | 110 | P/FINAL | 2025-04-01 | 08:37 | 2025-04-01 | 07:58 | Roland | 2 | 62.5 | 63.1 | / | / |  |  |  |  | 1.23 |  |  | Brigitta P |  | 3 | 4 | 23707
2 | 15.0 | 111 | P/FINAL | 2025-04-01 | 08:38 | 2025-04-01 | 07:58 | Roland | 2 | 17.1 | 17.0 | / | / |  |  |  |  | 1.32 |  |  | Brigitta P |  | 3 | 2 | 23707
2 | 15.0 | 112 | P/FINAL | 2025-04-01 | 08:42 | 2025-04-01 | 07:58 | Roland | 2 | 17.2 | 17.5 | / | / |  |  |  |  | 1.55 |  |  | Brigitta P |  | 3 | 2 | 23707
3 | 35.0 | 113 | P/FINAL | 2025-04-01 | 08:42 | 2025-04-01 | 07:58 | Roland | 2 | 38.4 | 38.5 | / | / |  |  |  |  | 1.28 |  |  | Brigitta P |  | 3 | 3 | 23707
3 | 35.0 | 114 | P/FINAL | 2025-04-01 | 08:43 | 2025-04-01 | 07:58 | Roland | 2 | 38.2 | 38.3 | / | / |  |  |  |  | 2.25 |  |  | Brigitta P |  | 3 | 3 | 23707
1 | 0.0 | 115 | P/FINAL | 2025-04-01 | 09:51 | 2025-04-01 | 09:19 | ROLI | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.57 |  |  | Brigitta P |  | 3 | 1
1 | 0.0 | 116 | P/FINAL | 2025-04-01 | 09:51 | 2025-04-01 | 09:19 | ROLI | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.10 | 180 |  | Brigitta P |  | 3 | 1
2 | 15.0 | 117 | P/FINAL | 2025-04-01 | 09:52 | 2025-04-01 | 09:19 | ROLI | 2 | 14.4 | 14.4 | / | / |  |  |  |  | 1.13 | 186 |  | Brigitta P |  | 3 | 2
2 | 15.0 | 118 | P/FINAL | 2025-04-01 | 09:52 | 2025-04-01 | 09:19 | ROLI | 2 | 17.7 | 17.7 | / | / |  |  |  |  | 1.34 | 186 |  | Brigitta P |  | 3 | 2
3 | 35.0 | 119 | P/FINAL | 2025-04-01 | 09:53 | 2025-04-01 | 09:19 | ROLI | 2 | 38.5 | 38.3 | / | / |  |  |  |  | 1.34 | 187 |  | Brigitta P |  | 3 | 3
3 | 35.0 | 120 | P/FINAL | 2025-04-01 | 09:54 | 2025-04-01 | 09:19 | ROLI | 2 | 38.6 | 38.6 | / | / |  |  |  |  | 1.34 | 182 |  | Brigitta P |  | 3 | 3
4 | 60.0 | 121 | P/FINAL | 2025-04-01 | 09:57 | 2025-04-01 | 09:19 | ROLI | 2 | 55.6 | 55.7 | / | / |  |  |  |  | 1.16 | 182 |  | Brigitta P |  | 3 | 4
4 | 60.0 | 122 | P/FINAL | 2025-04-01 | 09:57 | 2025-04-01 | 09:19 | ROLI | 2 | 55.6 | 55.7 | / | / |  |  |  |  | 1.16 | 185 |  | Brigitta P |  | 3 | 4
4 | 60.0 | 123 | P/FINAL | 2025-04-01 | 09:57 | 2025-04-01 | 09:19 | ROLI | 2 | 59.7 | 60.0 | / | / |  |  |  |  | 1.37 |  |  | Brigitta P |  | 3 | 4
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
37 | 74 | 15.7 mg/L | 37 | 74 | 15.7 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
38 | 76 | 36.6 mg/L | 38 | 76 | 36.6 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
34 | 68 | 59.1 mg/L | 34 | 68 | 59.1 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 6 | 12 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 2.0 | 0.0 | YES
15.0 | 12.3 ÷ 17.7 | 15.7 | YES
35.0 | 31.3 ÷ 38.7 | 36.6 | YES
60.0 | 55.1 ÷ 64.9 | 59.1 | YES
Validation Date | by