## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI782-0
1025 | HI782-0 | CP-R80 | W 18/ |  | Parameter Formula | NO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Nitrate HR Reagent | 2030-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
206 | 196 | 216
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 75.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-15 |  | 2HEAD |  |  | 0972
[6 empty] | Expiration A | Expiration B | Expiration D
2030-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO-730 | HI97115 | CTO-740
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 15.0 | 12.3 | 17.7 |  | MR101 |  | 2.0 | & | 4.9% | 100%
3 | 35.0 | 31.3 | 38.7
4 | 60.0 | 55.1 | 64.9 | [8 empty] | 1.7 | 1.5 | 1.9
1 | 0.0 | 0.0 | 2.0
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97115 | M. 2 HI97115 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 15.0 | 1 | Old A | 2025-04-30 | 15:54 | 2025-04-30 | 14:30 | ERIKA |  | 15.0 | 15.1 | / | / |  |  |  |  | 1.52 |  |  | Brigitta P |  | 3 | 2 | 23707
2 | 15.0 | 2 | Valid | 2025-04-30 | 15:54 | 2025-04-30 | 14:30 | ERIKA |  | 15.6 | 15.8 | / | / |  |  |  |  | 1.67 |  |  | Brigitta P |  | 3 | 2 | 23707
2 | 15.0 | 3 | Valid | 2025-04-30 | 15:54 | 2025-04-30 | 14:30 | ERIKA |  | 15.1 | 15.4 | / | / |  |  |  |  | 1.87 |  |  | Brigitta P |  | 3 | 2 | 23707
2 | 15.0 | 4 | Valid | 2025-04-30 | 15:56 | 2025-04-30 | 14:30 | ERIKA |  | 15.7 | 15.8 | / | / |  |  |  | 1.932 | 1.39 |  |  | Brigitta P |  | 3 | 2 | 23707
3 | 35.0 | 5 | Old A | 2025-04-30 | 16:00 | 2025-04-30 | 14:30 | ERIKA |  | 35.2 | 35.4 | / | / |  |  |  |  | 1.44 |  |  | Brigitta P |  | 3 | 3 | 23707
3 | 35.0 | 6 | Valid | 2025-04-30 | 16:00 | 2025-04-30 | 14:30 | ERIKA |  | 35.9 | 35.9 | / | / |  |  |  | 1.923 | 1.73 |  |  | Brigitta P |  | 3 | 3 | 23707
3 | 35.0 | 7 | Valid | 2025-04-30 | 16:02 | 2025-04-30 | 14:30 | ERIKA |  | 36.0 | 36.1 | / | / |  |  |  |  | 2.67 |  |  | Brigitta P |  | 3 | 3 | 23707
3 | 35.0 | 8 | Valid | 2025-04-30 | 16:03 | 2025-04-30 | 14:30 | ERIKA |  | 36.5 | 36.5 | / | / |  |  |  |  | 1.47 |  |  | Brigitta P |  | 3 | 3 | 23707
4 | 60.0 | 9 | Old A | 2025-04-30 | 16:06 | 2025-04-30 | 14:30 | ERIKA |  | 59.3 | 59.8 | / | / |  |  |  | 1.941 | 1.40 |  |  | Brigitta P |  | 3 | 4 | 23707
4 | 60.0 | 10 | Valid | 2025-04-30 | 16:06 | 2025-04-30 | 14:30 | ERIKA |  | 63.0 | 63.1 | / | / |  |  |  |  | 1.70 |  |  | Brigitta P |  | 3 | 4 | 23707
4 | 60.0 | 11 | Valid | 2025-04-30 | 16:09 | 2025-04-30 | 14:30 | ERIKA |  | 61.9 | 61.7 | / | / |  |  |  |  | 1.92 |  |  | Brigitta P |  | 3 | 4 | 23707
4 | 60.0 | 12 | Valid | 2025-04-30 | 16:09 | 2025-04-30 | 14:30 | ERIKA |  | 61.4 | 61.5 | / | / |  |  |  |  | 2.59 |  |  | Brigitta P |  | 3 | 4 | 23707
1 | 0.0 | 13 | Valid | 2025-04-30 | 16:12 | 2025-04-30 | 14:30 | ERIKA |  | 0.0 | 0.0 | / | / |  |  |  |  | 3.20 |  |  | Brigitta P |  | 3 | 1 | 23707
2 | 15.0 | 14 | P/FINAL | 2025-05-15 | 09:44 | 2025-05-15 | 09:28 | ROLAND | 2 | 14.0 | 14.0 | / | / |  |  |  | 1.967 | 2.05 | 219 |  | Brigitta P |  | 3 | 2 | 84815
2 | 15.0 | 15 | P/FINAL | 152025/05/15 | 09:45 | 2025-05-15 | 09:28 | ROLAND | 2 | 15.0 | 15.0 | / | / |  |  |  |  | 2.04 | 213 |  | Brigitta P |  | 3 | 2 | 84815
3 | 35.0 | 16 | P/FINAL | 152025/05/15 | 09:47 | 2025-05-15 | 09:28 | ROLAND | 2 | 37.5 | 37.5 | / | / |  |  |  | 1.937 | 1.37 | 225 |  | Brigitta P |  | 3 | 3 | 84815
3 | 35.0 | 17 | P/FINAL | 152025/05/15 | 09:48 | 2025-05-15 | 09:28 | ROLAND | 2 | 36.3 | 36.4 | / | / |  |  |  |  | 1.60 | 229 |  | Brigitta P |  | 3 | 3 | 84815
3 | 35.0 | 18 | P/FINAL | 152025/05/15 | 09:53 | 2025-05-15 | 09:28 | ROLAND | 2 | 37.6 | 37.5 | / | / |  |  |  |  | 1.75 | 225 |  | Brigitta P |  | 3 | 3 | 84815
3 | 35.0 | 19 | P/FINAL | 152025/05/15 | 09:54 | 2025-05-15 | 09:28 | ROLAND | 2 | 37.1 | 37.0 | / | / |  |  |  |  | 2.04 | 241 |  | Brigitta P |  | 3 | 3 | 84815
4 | 60.0 | 20 | P/FINAL | 152025/05/15 | 10:02 | 2025-05-15 | 09:28 | ROLAND | 2 | 59.3 | 59.6 | / | / |  |  |  |  | 1.34 |  |  | Brigitta P |  | 3 | 4 | 84815
4 | 60.0 | 21 | P/FINAL | 152025/05/15 | 10:02 | 2025-05-15 | 09:28 | ROLAND | 2 | 57.9 | 57.9 | / | / |  |  |  |  | 1.63 |  |  | Brigitta P |  | 3 | 4 | 84815
4 | 60.0 | 22 | P/FINAL | 152025/05/15 | 10:15 | 2025-05-15 | 09:56 | ROLAND | 2 | 60.2 | 60.1 | / | / |  |  |  | 1.943 | 1.37 |  |  | Brigitta P |  | 3 | 4 | 84815
4 | 60.0 | 23 | P/FINAL | 152025/05/15 | 10:15 | 2025-05-15 | 09:56 | ROLAND | 2 | 60.5 | 60.2 | / | / |  |  |  |  | 1.39 |  |  | Brigitta P |  | 3 | 4 | 84815
3 | 35.0 | 24 | P/FINAL | 152025/05/15 | 10:16 | 2025-05-15 | 09:56 | ROLAND | 2 | 37.0 | 37.0 | / | / |  |  |  | 1.939 | 1.73 |  |  | Brigitta P |  | 3 | 3 | 84815
3 | 35.0 | 25 | P/FINAL | 152025/05/15 | 10:16 | 2025-05-15 | 09:56 | ROLAND | 2 | 37.2 | 37.3 | / | / |  |  |  |  | 1.78 |  |  | Brigitta P |  | 3 | 3 | 84815
2 | 15.0 | 26 | P/FINAL | 152025/05/15 | 10:17 | 2025-05-15 | 09:56 | ROLAND | 2 | 15.0 | 15.0 | / | / |  |  |  | 1.958 | 2.03 |  |  | Brigitta P |  | 3 | 2 | 84815
2 | 15.0 | 27 | P/FINAL | 152025/05/15 | 10:17 | 2025-05-15 | 09:56 | ROLAND | 2 | 15.2 | 15.3 | / | / |  |  |  |  | 2.09 |  |  | Brigitta P |  | 3 | 2 | 84815
2 | 15.0 | 28 | P/FINAL | 2025-05-15 | 11:55 | 2025-05-15 | 11:38 | ROLAND | 2 | 15.0 | 15.0 | / | / |  |  |  | 1.975 | 1.43 | 193 |  | Brigitta P |  | 3 | 2 | 23707
2 | 15.0 | 29 | P/FINAL | 2025-05-15 | 11:57 | 2025-05-15 | 11:38 | ROLAND | 2 | 15.7 | 15.8 | / | / |  |  |  |  | 1.50 | 214 |  | Brigitta P |  | 3 | 2 | 23707
3 | 35.0 | 30 | P/FINAL | 2025-05-15 | 11:57 | 2025-05-15 | 11:38 | ROLAND | 2 | 36.1 | 36.0 | / | / |  |  |  | 1.971 | 1.39 | 207 |  | Brigitta P |  | 3 | 3 | 23707
3 | 35.0 | 31 | P/FINAL | 2025-05-15 | 11:57 | 2025-05-15 | 11:38 | ROLAND | 2 | 36.7 | 36.5 | / | / |  |  |  |  | 1.43 | 199 |  | Brigitta P |  | 3 | 3 | 23707
4 | 60.0 | 32 | P/FINAL | 2025-05-15 | 12:00 | 2025-05-15 | 11:38 | ROLAND | 2 | 60.3 | 60.7 | / | / |  |  |  | 1.885 | 1.48 | 212 |  | Brigitta P |  | 3 | 4 | 23707
4 | 60.0 | 33 | P/FINAL | 2025-05-15 | 12:00 | 2025-05-15 | 11:38 | ROLAND | 2 | 63.2 | 62.1 | / | / |  |  |  |  | 1.45 | 206 |  | Brigitta P |  | 3 | 4 | 23707
2 | 15.0 | 34 | P/FINAL | 2025-05-15 | 15:08 | 2025-05-15 | 14:27 | Giorgiana | 2 | 15.1 | 15.1 | / | / |  |  |  | 1.983 | 2.15 | 214 |  | Monika |  | 3 | 2 | 23707
2 | 15.0 | 35 | P/FINAL | 2025-05-15 | 15:09 | 2025-05-15 | 14:27 | Giorgiana | 2 | 14.8 | 14.9 | / | / |  |  |  |  | 1.41 | 206 |  | Monika |  | 3 | 2 | 23707
3 | 35.0 | 36 | P/FINAL | 2025-05-15 | 15:17 | 2025-05-15 | 14:27 | Giorgiana | 2 | 33.2 | 33.4 | / | / |  |  |  | 1.950 | 1.67 | 206 |  | Monika |  | 3 | 3 | 84815
3 | 35.0 | 37 | P/FINAL | 2025-05-15 | 15:18 | 2025-05-15 | 14:27 | Giorgiana | 2 | 36.6 | 36.7 | / | / |  |  |  |  | 2.11 | 212 |  | Monika |  | 3 | 3 | 84815
4 | 60.0 | 38 | P/FINAL | 2025-05-15 | 15:22 | 2025-05-15 | 14:27 | Giorgiana | 2 | 56.8 | 55.7 | / | / |  |  |  | 1.899 | 1.32 | 208 |  | Monika |  | 3 | 4 | 23707
4 | 60.0 | 39 | P/FINAL | 2025-05-15 | 15:23 | 2025-05-15 | 14:27 | Giorgiana | 2 | 53.2 | 53.2 | / | / |  |  |  |  | 1.39 | 208 |  | Monika |  | 3 | 4 | 23707
4 | 60.0 | 40 | P/FINAL | 2025-05-15 | 15:39 | 2025-05-15 | 14:27 | Giorgiana | 2 | 60.0 | 59.7 | / | / |  |  |  |  | 1.59 | 215 |  | Monika |  | 3 | 4 | 23707
2 | 15.0 | 41 | P/FINAL | 2025-05-15 | 16:57 | 2025-05-15 | 16:27 | Giorgiana |  | 16.3 | 16.3 | / | / |  |  |  | 1.960 | 1.42 | 213 |  | Monika |  | 3 | 2 | 23707 | Vacuum 10/10 OK
2 | 15.0 | 42 | P/FINAL | 2025-05-15 | 16:58 | 2025-05-15 | 16:27 | Giorgiana |  | 16.6 | 16.5 | / | / |  |  |  |  | 2.88 | 208 |  | Monika |  | 3 | 2 | 23707 | O2:15.43%
3 | 35.0 | 43 | P/FINAL | 2025-05-15 | 17:01 | 2025-05-15 | 16:27 | Giorgiana | 2 | 36.7 | 36.7 | / | / |  |  |  | 1.925 | 1.86 | 210 |  | Monika |  | 3 | 3 | 84815 | O2:14.54%
3 | 35.0 | 44 | P/FINAL | 2025-05-15 | 17:02 | 2025-05-15 | 16:27 | Giorgiana | 2 | 36.6 | 36.6 | / | / |  |  |  |  | 1.51 | 211 |  | Monika |  | 3 | 3 | 84815 | O2:5.40%
4 | 60.0 | 45 | P/FINAL | 2025-05-15 | 17:05 | 2025-05-15 | 16:27 | Giorgiana | 2 | 56.3 | 56.5 | / | / |  |  |  | 1.945 | 1.47 | 197 |  | Monika |  | 3 | 4 | 23707 | O2:1.34%
4 | 60.0 | 46 | P/FINAL | 2025-05-15 | 17:05 | 2025-05-15 | 16:27 | Giorgiana | 2 | 59.3 | 59.2 | / | / |  |  |  |  | 1.50 | 209 |  | Monika |  | 3 | 4 | 23707
2 | 15.0 | 47 | P/FINAL | 2025-05-15 | 19:16 | 2025-05-15 | 18:40 | Giorgiana | 2 | 16.3 | 16.2 | / | / |  |  |  | 1.935 | 1.35 | 208 |  | Monika |  | 3 | 2 | 23707
2 | 15.0 | 48 | P/FINAL | 2025-05-15 | 19:17 | 2025-05-15 | 18:40 | Giorgiana | 2 | 16.7 | 16.6 | / | / |  |  |  |  | 1.56 | 213 |  | Monika |  | 3 | 2 | 23707
3 | 35.0 | 49 | P/FINAL | 2025-05-15 | 19:19 | 2025-05-15 | 18:40 | Giorgiana | 2 | 37.3 | 37.6 | / | / |  |  |  | 1.943 | 2.29 | 204 |  | Monika |  | 3 | 3 | 84815
3 | 35.0 | 50 | P/FINAL | 2025-05-15 | 19:19 | 2025-05-15 | 18:40 | Giorgiana | 2 | 38.5 | 38.6 | / | / |  |  |  |  | 1.68 | 205 |  | Monika |  | 3 | 3 | 84815
4 | 60.0 | 51 | P/FINAL | 2025-05-15 | 19:23 | 2025-05-15 | 18:40 | Giorgiana | 2 | 57.6 | 57.6 | / | / |  |  |  | 1.949 | 1.56 | 204 |  | Monika |  | 3 | 4 | 23707
1 | 0.0 | 52 | Valid | 2025-05-15 | 19:25 | 2025-05-15 | 18:40 | Giorgiana | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.40 | 215 |  | Monika |  | 3 | 1 | 23707 | SW 4 LOT:2218
2 | 15.0 | 53 | Old A | 2025-05-15 | 21:00 | 2025-05-15 | 20:40 | Giorgiana | 2 | 14.4 | 14.5 | / | / |  |  |  | 1.940 | 1.35 | 192 |  | Monika |  | 3 | 2 | 73741 PM | OLD LOT:0972 / NEW STD
3 | 35.0 | 54 | Old A | 2025-05-15 | 21:01 | 2025-05-15 | 20:40 | Giorgiana | 2 | 35.4 | 35.5 | / | / |  |  |  | 1.942 | 1.52 | 188 |  | Monika |  | 3 | 3 | 73741 PM | OLD LOT:0972 / NEW STD
4 | 60.0 | 55 | Old A | 2025-05-15 | 21:03 | 2025-05-15 | 20:40 | Giorgiana | 2 | 58.0 | 57.9 | / | / |  |  |  | 1.947 | 1.58 | 191 |  | Monika |  | 3 | 4 | 73741 PM | OLD LOT:0972 / NEW STD
2 | 15.0 | 56 | P/FINAL | 2025-05-15 | 21:15 | 2025-05-15 | 20:40 | Giorgiana | 2 | 16.0 | 16.0 | / | / |  |  |  | 1.936 | 1.20 | 201 |  | Monika |  | 3 | 2 | 73741 PM
2 | 15.0 | 57 | P/FINAL | 2025-05-15 | 21:15 | 2025-05-15 | 20:40 | Giorgiana | 2 | 15.7 | 15.7 | / | / |  |  |  |  | 1.35 | 205 |  | Monika |  | 3 | 2 | 73741 PM
4 | 60.0 | 58 | P/FINAL | 2025-05-15 | 21:18 | 2025-05-15 | 20:40 | Giorgiana | 2 | 59.8 | 59.8 | / | / |  |  |  | 1.954 | 1.29 | 203 |  | Monika |  | 3 | 4 | 73741 PM
4 | 60.0 | 59 | P/FINAL | 2025-05-15 | 21:19 | 2025-05-15 | 20:40 | Giorgiana | 2 | 61.6 | 61.3 | / | / |  |  |  |  | 1.39 | 205 |  | Monika |  | 3 | 4 | 73741 PM
3 | 35.0 | 60 | P/FINAL | 2025-05-15 | 21:23 | 2025-05-15 | 20:40 | Giorgiana | 2 | 36.7 | 36.9 | / | / |  |  |  | 1.947 | 1.60 | 198 |  | Monika |  | 3 | 3 | 84815
3 | 35.0 | 61 | P/FINAL | 2025-05-15 | 21:27 | 2025-05-15 | 20:40 | Giorgiana | 2 | 38.2 | 38.3 | / | / |  |  |  |  | 1.66 | 205 |  | Monika |  | 3 | 3 | 84815
3 | 35.0 | 62 | P/FINAL | 2025-05-16 | 07:15 | 2025-05-16 | 06:53 | ROLAND | 2 | 37.5 | 37.2 | / | / |  |  |  | 1.931 | 2.59 | 197 |  | Brigitta P |  | 3 | 3 | 73741
3 | 35.0 | 63 | P/FINAL | 2025-05-16 | 07:16 | 2025-05-16 | 06:53 | ROLAND | 2 | 37.4 | 37.6 | / | / |  |  |  |  | 1.19 | 197 |  | Brigitta P |  | 3 | 3 | 73741
2 | 15.0 | 64 | P/FINAL | 2025-05-16 | 07:16 | 2025-05-16 | 06:53 | ROLAND | 2 | 14.6 | 14.8 | / | / |  |  |  | 1.924 | 1.41 | 186 |  | Brigitta P |  | 3 | 2 | 73741
2 | 15.0 | 65 | P/FINAL | 2025-05-16 | 07:17 | 2025-05-16 | 06:53 | ROLAND | 2 | 15.9 | 16.0 | / | / |  |  |  |  | 1.69 | 206 |  | Brigitta P |  | 3 | 2 | 73741
4 | 60.0 | 66 | Old IND | 2025-05-16 | 07:19 | 2025-05-16 | 06:53 | ROLAND | 2 | 57.7 | 58.1 | / | / |  |  |  | 1.960 | 1.38 | 189 |  | Brigitta P |  | 3 | 4 | 73741
4 | 60.0 | 67 | P/FINAL | 2025-05-16 | 07:19 | 2025-05-16 | 06:53 | ROLAND | 2 | 58.0 | 58.2 | / | / |  |  |  |  | 1.01 | 196 |  | Brigitta P |  | 3 | 4 | 73741
2 | 15.0 | 68 | P/FINAL | 2025-05-16 | 09:02 | 2025-05-16 | 08:33 | ROLAND | 2 | 15.4 | 15.3 | / | / | - | / | / | 1.969 | 1.74 | 191 |  | Kinga |  | 3 | 2 | 73741
2 | 15.0 | 69 | P/FINAL | 2025-05-16 | 09:03 | 2025-05-16 | 08:33 | ROLAND | 2 | 14.6 | 14.6 | / | / |  |  |  |  | 2.08 | 197 |  | Kinga |  | 3 | 2 | 73741
3 | 35.0 | 70 | P/FINAL | 2025-05-16 | 09:05 | 2025-05-16 | 08:33 | ROLAND | 2 | 34.2 | 34.2 | / | / | - |  |  | 1.935 | 1.36 | 205 |  | Kinga |  | 3 | 3 | 73741
3 | 35.0 | 71 | P/FINAL | 2025-05-16 | 09:05 | 2025-05-16 | 08:33 | ROLAND | 2 | 32.6 | 32.7 | / | / |  |  |  |  | 3.26 | 202 |  | Kinga |  | 3 | 3 | 73741
4 | 60.0 | 72 | P/FINAL | 2025-05-16 | 09:06 | 2025-05-16 | 08:33 | ROLAND | 2 | 59.1 | 59.3 | / | / | - |  |  | 1.919 | 1.56 | 211 |  | Kinga |  | 3 | 4 | 73741
4 | 60.0 | 73 | P/FINAL | 2025-05-16 | 09:07 | 2025-05-16 | 08:33 | ROLAND | 2 | 58.2 | 60.2 | / | / |  |  |  |  | 1.75 | 216 |  | Kinga |  | 3 | 4 | 73741
2 | 15.0 | 74 | P/FINAL | 2025-05-16 | 11:28 | 2025-05-16 | 11:03 | ROLAND | 2 | 13.3 | 13.2 | / | / |  |  |  |  | 1.24 | 202 |  | Kinga |  | 3 | 2 | 73741
2 | 15.0 | 75 | P/FINAL | 2025-05-16 | 11:28 | 2025-05-16 | 11:03 | ROLAND | 2 | 13.6 | 13.5 | / | / |  |  |  | 1.907 | 1.32 | 208 |  | Kinga |  | 3 | 2 | 73741
4 | 60.0 | 76 | P/FINAL | 2025-05-16 | 11:30 | 2025-05-16 | 11:03 | ROLAND | 2 | 55.8 | 55.8 | / | / |  |  |  |  | 1.20 | 202 |  | Kinga |  | 3 | 4 | 73741
4 | 60.0 | 77 | P/FINAL | 2025-05-16 | 11:31 | 2025-05-16 | 11:03 | ROLAND | 2 | 56.4 | 56.4 | / | / |  |  |  | 1.865 | 1.30 | 208 |  | Kinga |  | 3 | 4 | 73741
3 | 35.0 | 78 | P/FINAL | 2025-05-16 | 11:40 | 2025-05-16 | 11:03 | ROLAND | 2 | 36.0 | 36.1 | / | / |  |  |  |  | 1.17 | 206 |  | Brigitta P |  | 3 | 4 | 73741
3 | 35.0 | 79 | P/FINAL | 2025-05-16 | 11:40 | 2025-05-16 | 11:03 | ROLAND | 2 | 34.7 | 34.7 | / | / |  |  |  | 1.890 | 1.25 | 216 |  | Brigitta P |  | 3 | 4 | 73741
3 | 35.0 | 80 | P/FINAL | 2025-05-16 | 15:02 | 2025-05-16 | 14:27 | Giorgiana | 2 | 33.6 | 33.6 | / | / |  |  |  | 1.925 | 1.28 | 231 |  | Monika |  | 3 | 3 | 73741 | Am anuntat productia ca e mare gramajul,in productie e in range,sunt mai mici
3 | 35.0 | 81 | P/FINAL | 2025-05-16 | 15:03 | 2025-05-16 | 14:27 | Giorgiana | 2 | 35.5 | 35.5 | / | / |  |  |  |  | 1.34 | 222 |  | Monika |  | 3 | 3 | 73741
2 | 15.0 | 82 | P/FINAL | 2025-05-16 | 15:06 | 2025-05-16 | 14:27 | Giorgiana | 2 | 13.1 | 13.1 | / | / |  |  |  | 1.914 | 1.13 | 212 |  | Monika |  | 3 | 2 | 73741
2 | 15.0 | 83 | P/FINAL | 2025-05-16 | 15:07 | 2025-05-16 | 14:27 | Giorgiana | 2 | 14.1 | 14.0 | / | / |  |  |  |  | 1.21 | 212 |  | Monika |  | 3 | 2 | 73741
4 | 60.0 | 84 | P/FINAL | 2025-05-16 | 15:11 | 2025-05-16 | 14:27 | Giorgiana | 2 | 55.1 | 56.0 | / | / |  |  |  | 1.929 | 1.19 | 215 |  | Monika |  | 3 | 4 | 73741
4 | 60.0 | 85 | P/FINAL | 2025-05-16 | 15:12 | 2025-05-16 | 14:27 | Giorgiana | 2 | 57.0 | 57.0 | / | / |  |  |  |  | 1.22 | 209 |  | Monika |  | 3 | 4 | 73741
2 | 15.0 | 86 | P/FINAL | 2025-05-16 | 16:39 | 2025-05-16 | 16:12 | Giorgiana | 2 | 14.9 | 15.0 | / | / |  |  |  | 1.926 | 1.56 | 215 |  | Monika |  | 3 | 2 | 73741 PM
2 | 15.0 | 87 | P/FINAL | 2025-05-16 | 16:39 | 2025-05-16 | 16:12 | Giorgiana | 2 | 14.2 | 14.2 | / | / |  |  |  |  | 1.58 | 223 |  | Monika |  | 3 | 2 | 73741 PM
3 | 35.0 | 88 | P/FINAL | 2025-05-16 | 16:42 | 2025-05-16 | 16:12 | Giorgiana | 2 | 33.7 | 33.8 | / | / |  |  |  | 1.937 | 1.49 | 219 |  | Monika |  | 3 | 3 | 73741 PM
3 | 35.0 | 89 | P/FINAL | 2025-05-16 | 16:42 | 2025-05-16 | 16:12 | Giorgiana | 2 | 34.7 | 34.8 | / | / |  |  |  |  | 1.36 | 225 |  | Monika |  | 3 | 3 | 73741 PM
4 | 60.0 | 90 | P/FINAL | 2025-05-16 | 16:49 | 2025-05-16 | 16:12 | Giorgiana | 2 | 56.0 | 55.5 | / | / |  |  |  | 1.925 | 1.52 | 226 |  | Monika |  | 3 | 4 | 73741 PM | Am anuntat productia ca e mare gramajul,dupa aspirare tot creste gramajul,regleaza pe masina!1
4 | 60.0 | 91 | P/FINAL | 2025-05-16 | 16:49 | 2025-05-16 | 16:12 | Giorgiana | 2 | 57.6 | 57.9 | / | / |  |  |  |  | 1.53 | 226 |  | Monika |  | 3 | 4 | 73741 PM
2 | 15.0 | 92 | P/FINAL | 2025-05-16 | 18:15 | 2025-05-16 | 17:36 | Giorgiana | 2 | 16.4 | 16.5 | / | / |  |  |  | 1.908 | 1.53 | 222 |  | Monika |  | 3 | 2 | 73741 PM | Mai scade din impuls,tot gramaj mare la head 1
2 | 15.0 | 93 | P/FINAL | 2025-05-16 | 18:16 | 2025-05-16 | 17:36 | Giorgiana | 2 | 16.6 | 16.7 | / | / |  |  |  |  | 1.37 | 216 |  | Monika |  | 3 | 2 | 73741 PM
3 | 35.0 | 94 | P/FINAL | 2025-05-16 | 18:22 | 2025-05-16 | 17:36 | Giorgiana | 2 | 35.4 | 35.5 | / | / |  |  |  | 1.910 | 1.71 | 227 |  | Monika |  | 3 | 3 | 73741 PM
3 | 35.0 | 95 | P/FINAL | 2025-05-16 | 18:22 | 2025-05-16 | 17:36 | Giorgiana | 2 | 34.2 | 34.4 | / | / |  |  |  |  | 1.29 | 207 |  | Monika |  | 3 | 3 | 73741 PM
4 | 60.0 | 96 | P/FINAL | 2025-05-16 | 18:27 | 2025-05-16 | 17:36 | Giorgiana | 2 | 55.9 | 55.7 | / | / |  |  |  | 1.916 | 1.27 | 212 |  | Monika |  | 3 | 4 | 73741 PM
4 | 60.0 | 97 | P/FINAL | 2025-05-16 | 18:28 | 2025-05-16 | 17:36 | Giorgiana | 2 | 59.6 | 59.5 | / | / |  |  |  |  | 1.28 | 212 |  | Monika |  | 3 | 4 | 73741 PM
1 | 0.0 | 98 | P/FINAL | 2025-05-16 | 18:40 | 2025-05-16 | 17:36 | Giorgiana | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.905 | 1.69 | 224 |  | Monika |  | 3 | 1 | 73741 PM | SW4 LOT:2218
1 | 0.0 | 99 | ASTM D665 | 2025-05-16 | 18:40 | 2025-05-16 | 17:36 | Giorgiana | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.903 | 1.53 | 212 |  | Monika |  | 3 | 1 | 73741 PM | MR109 LOT:1230604035
2 | 15.0 | 100 | P/FINAL | 2025-05-16 | 20:07 | 2025-05-16 | 19:12 | Giorgiana | 2 | 13.3 | 13.4 | / | / |  |  |  | 1.929 | 1.65 | 215 |  | Monika |  | 3 | 2 | 73741 PM
2 | 15.0 | 101 | P/FINAL | 2025-05-16 | 20:08 | 2025-05-16 | 19:12 | Giorgiana | 2 | 13.9 | 13.9 | / | / |  |  |  |  | 1.47 | 214 |  | Monika |  | 3 | 2 | 73741 PM
3 | 35.0 | 102 | P/FINAL | 2025-05-16 | 20:09 | 2025-05-16 | 19:12 | Giorgiana | 2 | 34.8 | 35.0 | / | / |  |  |  | 1.931 | 1.34 | 211 |  | Monika |  | 3 | 3 | 73741 PM
3 | 35.0 | 103 | P/FINAL | 2025-05-16 | 20:10 | 2025-05-16 | 19:12 | Giorgiana | 2 | 35.4 | 35.7 | / | / |  |  |  |  | 1.49 | 205 |  | Monika |  | 3 | 3 | 73741 PM
4 | 60.0 | 104 | P/FINAL | 2025-05-16 | 20:15 | 2025-05-16 | 19:12 | Giorgiana | 2 | 56.9 | 56.7 | / | / |  |  |  | 1.929 | 1.54 | 215 |  | Monika |  | 3 | 4 | 73741 PM
4 | 60.0 | 105 | P/FINAL | 2025-05-16 | 20:15 | 2025-05-16 | 19:12 | Giorgiana | 2 | 59.7 | 59.1 | / | / |  |  |  |  | 1.30 | 218 |  | Monika |  | 3 | 4 | 73741 PM
2 | 15.0 | 106 | P/FINAL | 2025-05-19 | 07:19 | 2025-05-19 | 06:51 | GIORGIANA | 2 | 14.4 | 14.4 | / | / |  |  |  | 1.829 | 2.33 | 196 |  | Brigitta P |  | 3 | 2 | 63958
2 | 15.0 | 107 | P/FINAL | 2025-05-19 | 07:19 | 2025-05-19 | 06:51 | GIORGIANA | 2 | 15.7 | 15.7 | / | / |  |  |  |  | 1.80 | 203 |  | Brigitta P |  | 3 | 2 | 63958
3 | 35.0 | 108 | P/FINAL | 2025-05-19 | 07:20 | 2025-05-19 | 06:51 | GIORGIANA | 2 | 36.4 | 36.5 | / | / |  |  |  | 1.897 | 1.37 | 197 |  | Brigitta P |  | 3 | 3 | 63958
3 | 35.0 | 109 | P/FINAL | 2025-05-19 | 07:20 | 2025-05-19 | 06:51 | GIORGIANA | 2 | 38.5 | 38.4 | / | / |  |  |  |  | 1.46 | 194 |  | Brigitta P |  | 3 | 3 | 63958
4 | 60.0 | 110 | P/FINAL | 2025-05-19 | 07:21 | 2025-05-19 | 06:51 | GIORGIANA | 2 | 56.5 | 56.8 | / | / |  |  |  | 1.869 | 1.13 | 194 |  | Brigitta P |  | 3 | 4 | 63958
4 | 60.0 | 111 | P/FINAL | 2025-05-19 | 07:21 | 2025-05-19 | 06:51 | GIORGIANA | 2 | 58.9 | 59.4 | / | / |  |  |  |  | 1.19 | 201 |  | Brigitta P |  | 3 | 4 | 63958
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
30 | 60 | 15.1 mg/L | 30 | 60 | 15.1 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
32 | 64 | 36.1 mg/L | 32 | 64 | 36.1 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
29 | 58 | 58.2 mg/L | 29 | 58 | 58.2 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 2 | 0 mg/L | 1 | 2 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 2.0 | 0.0 | YES
15.0 | 12.3 ÷ 17.7 | 15.1 | YES
35.0 | 31.3 ÷ 38.7 | 36.1 | YES
60.0 | 55.1 ÷ 64.9 | 58.2 | YES
Validation Date | by