## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI782-0
1141 | HI782-0 | CP-R80 | W 32/1 |  | Parameter Formula | NO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Nitrate HR Reagent | 2030-08-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
206 | 196 | 216
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 75.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-08-05 | 2025-08-21 | 2 HEAD |  |  | 1045
[6 empty] | Expiration A | Expiration B | Expiration D
2030-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO-730 | HI97115 | CTO-740
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.0 | 0.0 | 2.0 |  | MR101 |  | 2.0 | & | 4.9% | 100%
2 | 15.0 | 12.3 | 17.7
3 | 35.0 | 31.3 | 38.7 | [8 empty] | 1.7 | 1.5 | 1.9
4 | 60.0 | 55.1 | 64.9
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 Label17 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.0 | 1 | Old A | 2025-08-05 | 09:46 | 2025-08-05 | 08:29 | MARK |  | 0.0 | 0.0 | / | / |  |  |  |  | 1.29 |  |  | Andrea V |  | 3 | 1 | 23843
1 | 0.0 | 2 | Old A | 2025-08-05 | 09:47 | 2025-08-05 | 08:29 | MARK |  | 0.0 | 0.0 | / | / |  |  |  |  | 0.98 |  |  | Andrea V |  | 3 | 1 | 23843
2 | 15.0 | 3 | Old A | 2025-08-05 | 09:50 | 2025-08-05 | 08:29 | MARK |  | 14.2 | 14.2 | / | / |  |  |  |  | 1.02 |  |  | Andrea V |  | 3 | 2 | 23843
2 | 15.0 | 4 | Old A | 2025-08-05 | 09:51 | 2025-08-05 | 08:29 | MARK |  | 12.9 | 12.9 | / | / |  |  |  |  | 2.75 |  |  | Andrea V |  | 3 | 2 | 23843
3 | 35.0 | 5 | Old A | 2025-08-05 | 09:53 | 2025-08-05 | 08:29 | MARK |  | 34.0 | 34.2 | / | / |  |  |  |  | 1.25 |  |  | Andrea V |  | 3 | 3 | 23843
3 | 35.0 | 6 | Old A | 2025-08-05 | 09:55 | 2025-08-05 | 08:29 | MARK |  | 33.9 | 33.9 | / | / |  |  |  |  | 1.22 |  |  | Andrea V |  | 3 | 3 | 23843
4 | 60.0 | 7 | Old A | 2025-08-05 | 09:58 | 2025-08-05 | 08:29 | MARK |  | 57.3 | 57.2 | / | / |  |  |  |  | 0.99 |  |  | Andrea V |  | 3 | 4 | 23843
4 | 60.0 | 8 | Old A | 2025-08-05 | 09:58 | 2025-08-05 | 08:29 | MARK |  | 56.2 | 56.1 | / | / |  |  |  |  | 1.01 |  |  | Andrea V |  | 3 | 4 | 23843
1 | 0.0 | 9 | Valid | 2025-08-05 | 10:01 | 2025-08-05 | 08:29 | MARK |  | 0.0 | 0.0 | / | / |  |  |  | 1.907 | 1.11 |  |  | Andrea V |  | 3 | 1 | 23843
1 | 0.0 | 10 | Valid | 2025-08-05 | 10:01 | 2025-08-05 | 08:29 | MARK |  | 0.0 | 0.0 | / | / |  |  |  |  | 0.61 |  |  | Andrea V |  | 3 | 1 | 23843
2 | 15.0 | 11 | Valid | 2025-08-05 | 10:02 | 2025-08-05 | 08:29 | MARK |  | 13.7 | 13.8 | / | / |  |  |  | 1.815 | 0.59 |  |  | Andrea V |  | 3 | 2 | 23843
2 | 15.0 | 12 | Valid | 2025-08-05 | 10:03 | 2025-08-05 | 08:29 | MARK |  | 13.6 | 13.7 | / | / |  |  |  |  | 0.70 |  |  | Andrea V |  | 3 | 2 | 23843
3 | 35.0 | 13 | Valid | 2025-08-05 | 10:05 | 2025-08-05 | 08:29 | MARK |  | 32.9 | 33.1 | / | / |  |  |  |  | 1.11 |  |  | Andrea V |  | 3 | 3 | 23843
3 | 35.0 | 14 | Valid | 2025-08-05 | 10:06 | 2025-08-05 | 08:29 | MARK |  | 34.5 | 34.4 | / | / |  |  |  | 1.824 | 1.37 |  |  | Andrea V |  | 3 | 3 | 23843
4 | 60.0 | 15 | Valid | 2025-08-05 | 10:07 | 2025-08-05 | 08:29 | MARK |  | 57.7 | 57.8 | / | / |  |  |  |  | 1.04 |  |  | Andrea V |  | 3 | 4 | 23843
4 | 60.0 | 16 | Valid | 2025-08-05 | 10:07 | 2025-08-05 | 08:29 | MARK |  | 59.1 | 59.0 | / | / |  |  |  | 1.839 | 1.17 |  |  | Andrea V |  | 3 | 4 | 23843
1 | 0.0 | 17 | Old A | 2025-08-08 | 09:28 | 2025-08-08 | 08:31 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.79 |  |  | Andrea V |  | 3 | 1
1 | 0.0 | 18 | Old A | 2025-08-08 | 09:28 | 2025-08-08 | 08:31 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.05 |  |  | Andrea V |  | 3 | 1
2 | 15.0 | 19 | Old A | 2025-08-08 | 09:29 | 2025-08-08 | 08:31 | ROLAND | 2 | 14.0 | 13.9 | / | / |  |  |  |  | 0.96 |  |  | Andrea V |  | 3 | 2 | 23843
2 | 15.0 | 20 | Old A | 2025-08-08 | 09:29 | 2025-08-08 | 08:31 | ROLAND | 2 | 13.7 | 13.7 | / | / |  |  |  |  | 0.99 |  |  | Andrea V |  | 3 | 2 | 23843
3 | 35.0 | 21 | Old A | 2025-08-08 | 09:31 | 2025-08-08 | 08:31 | ROLAND | 2 | 33.9 | 33.9 | / | / |  |  |  |  | 1.20 |  |  | Andrea V |  | 3 | 3 | 23843
3 | 35.0 | 22 | Old A | 2025-08-08 | 09:31 | 2025-08-08 | 08:31 | ROLAND | 2 | 35.0 | 35.0 | / | / |  |  |  |  | 1.04 |  |  | Andrea V |  | 3 | 3 | 23843
4 | 60.0 | 23 | Old A | 2025-08-08 | 09:32 | 2025-08-08 | 08:31 | ROLAND | 2 | 56.0 | 56.1 | / | / |  |  |  |  | 1.09 |  |  | Andrea V |  | 3 | 4 | 23843
4 | 60.0 | 24 | Old A | 2025-08-08 | 09:33 | 2025-08-08 | 08:31 | ROLAND | 2 | 55.8 | 56.0 | / | / |  |  |  |  | 1.16 |  |  | Andrea V |  | 3 | 4 | 23843
1 | 0.0 | 25 | P/FINAL | 2025-08-08 | 09:44 | 2025-08-08 | 08:31 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.65 | 217 |  | Andrea V |  | 3 | 1 | 23843
1 | 0.0 | 26 | P/FINAL | 2025-08-08 | 09:45 | 2025-08-08 | 08:31 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.56 | 204 |  | Andrea V |  | 3 | 1 | 23843
2 | 15.0 | 27 | P/FINAL | 2025-08-08 | 09:46 | 2025-08-08 | 08:31 | ROLAND | 2 | 14.1 | 14.0 | / | / |  |  |  |  | 0.84 | 211 |  | Andrea V |  | 3 | 2 | 23843
2 | 15.0 | 28 | P/FINAL | 2025-08-08 | 09:46 | 2025-08-08 | 08:31 | ROLAND | 2 | 15.0 | 14.8 | / | / |  |  |  |  | 1.83 | 217 |  | Andrea V |  | 3 | 2 | 23843
2 | 15.0 | 29 | P/FINAL | 2025-08-08 | 09:49 | 2025-08-08 | 08:31 | ROLAND | 2 | 14.3 | 14.2 | / | / |  |  |  |  | 0.76 | 201 |  | Andrea V |  | 3 | 2 | 23843
3 | 35.0 | 30 | P/FINAL | 2025-08-08 | 09:52 | 2025-08-08 | 08:31 | ROLAND | 2 | 34.7 | 34.5 | / | / |  |  |  |  | 0.78 | 204 |  | Andrea V |  | 3 | 3 | 23843
3 | 35.0 | 31 | P/FINAL | 2025-08-08 | 09:54 | 2025-08-08 | 08:31 | ROLAND | 2 | 33.4 | 33.3 | / | / |  |  |  |  | 0.74 | 202 |  | Andrea V |  | 3 | 3 | 23843
3 | 35.0 | 32 | P/FINAL | 2025-08-08 | 09:55 | 2025-08-08 | 08:31 | ROLAND | 2 | 35.6 | 35.3 | / | / |  |  |  |  | 0.77 | 202 |  | Andrea V |  | 3 | 3 | 23843
4 | 60.0 | 33 | P/FINAL | 2025-08-08 | 10:00 | 2025-08-08 | 08:31 | ROLAND | 2 | 59.3 | 59.0 | / | / |  |  |  |  | 1.12 | 214 |  | Andrea V |  | 3 | 4 | 23843
4 | 60.0 | 34 | P/FINAL | 2025-08-08 | 10:01 | 2025-08-08 | 08:31 | ROLAND | 2 | 53.5 | 53.7 | / | / |  |  |  |  | 0.77 | 198 |  | Andrea V |  | 3 | 4 | 23843
4 | 60.0 | 35 | P/FINAL | 2025-08-08 | 10:04 | 2025-08-08 | 08:31 | ROLAND | 2 | 59.3 | 58.8 | / | / |  |  |  |  | 1.11 | 198 |  | Andrea V |  | 3 | 4 | 23843
4 | 60.0 | 36 | P/FINAL | 2025-08-08 | 10:13 | 2025-08-08 | 08:31 | ROLAND | 2 | 59.9 | 60.0 | / | / |  |  |  |  | 0.97 | 212 |  | Andrea V |  | 3 | 4 | 23843
1 | 0.0 | 37 | P/FINAL | 2025-08-08 | 11:37 | 2025-08-08 | 11:11 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.01 | 196 |  | Andrea V |  | 3 | 1
1 | 0.0 | 38 | P/FINAL | 2025-08-08 | 11:37 | 2025-08-08 | 11:11 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.51 | 212 |  | Andrea V |  | 3 | 1
2 | 15.0 | 39 | P/FINAL | 2025-08-08 | 11:41 | 2025-08-08 | 11:11 | ROLAND | 2 | 14.2 | 14.0 | / | / |  |  |  |  | 0.72 | 205 |  | Andrea V |  | 3 | 2 | 23843
2 | 15.0 | 40 | P/FINAL | 2025-08-08 | 11:42 | 2025-08-08 | 11:11 | ROLAND | 2 | 15.2 | 15.2 | / | / |  |  |  |  | 0.78 | 210 |  | Andrea V |  | 3 | 2 | 23843
2 | 15.0 | 41 | P/FINAL | 2025-08-08 | 11:47 | 2025-08-08 | 11:11 | ROLAND | 2 | 15.1 | 15.1 | / | / |  |  |  |  | 0.76 | 216 |  | Andrea V |  | 3 | 2 | 23843
3 | 35.0 | 42 | P/FINAL | 2025-08-08 | 11:56 | 2025-08-08 | 11:11 | ROLAND | 2 | 34.1 | 34.5 | / | / |  |  |  |  | 0.76 | 208 |  | Andrea V |  | 3 | 3 | 23843
3 | 35.0 | 43 | P/FINAL | 2025-08-08 | 11:56 | 2025-08-08 | 11:11 | ROLAND | 2 | 36.6 | 36.7 | / | / |  |  |  |  | 0.70 | 196 |  | Andrea V |  | 3 | 3 | 23843
3 | 35.0 | 44 | P/FINAL | 2025-08-08 | 11:57 | 2025-08-08 | 11:11 | ROLAND | 2 | 35.0 | 35.0 | / | / |  |  |  |  | 0.67 | 206 |  | Andrea V |  | 3 | 3 | 23843
4 | 60.0 | 45 | P/FINAL | 2025-08-08 | 12:02 | 2025-08-08 | 11:11 | ROLAND | 2 | 61.7 | 61.8 | / | / |  |  |  |  | 0.89 | 212 |  | Andrea V |  | 3 | 4 | 23843
4 | 60.0 | 46 | P/FINAL | 2025-08-08 | 12:02 | 2025-08-08 | 11:11 | ROLAND | 2 | 58.4 | 58.2 | / | / |  |  |  |  | 1.05 | 215 |  | Andrea V |  | 3 | 4 | 23843
4 | 60.0 | 47 | P/FINAL | 2025-08-08 | 12:08 | 2025-08-08 | 11:11 | ROLAND | 2 | 58.9 | 58.3 | / | / |  |  |  |  | 0.90 | 205 |  | Andrea V |  | 3 | 4 | 23843
1 | 0.0 | 48 | Old A | 2025-08-11 | 08:32 | 2025-08-11 | 08:06 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 42.6 |  |  | Andrea V |  | 3 | 1
1 | 0.0 | 49 | Old A | 2025-08-11 | 08:32 | 2025-08-11 | 08:06 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.20 |  |  | Andrea V |  | 3 | 1
2 | 15.0 | 50 | Old A | 2025-08-11 | 08:35 | 2025-08-11 | 08:06 | ROLAND | 2 | 15.9 | 15.9 | / | / |  |  |  |  | 1.11 |  |  | Andrea V |  | 3 | 2 | 84633
2 | 15.0 | 51 | Old A | 2025-08-11 | 08:36 | 2025-08-11 | 08:06 | ROLAND | 2 | 14.7 | 14.6 | / | / |  |  |  |  | 0.99 |  |  | Andrea V |  | 3 | 2 | 84633
3 | 35.0 | 52 | Old A | 2025-08-11 | 08:37 | 2025-08-11 | 08:06 | ROLAND | 2 | 37.5 | 37.5 | / | / |  |  |  |  | 1.21 |  |  | Andrea V |  | 3 | 2 | 84633
3 | 35.0 | 53 | Old A | 2025-08-11 | 08:39 | 2025-08-11 | 08:06 | ROLAND | 2 | 37.6 | 37.5 | / | / |  |  |  |  | 1.07 |  |  | Andrea V |  | 3 | 3 | 84633
4 | 60.0 | 54 | Old A | 2025-08-11 | 08:44 | 2025-08-11 | 08:06 | ROLAND | 2 | 58.8 | 58.6 | / | / |  |  |  |  | 1.33 |  |  | Andrea V |  | 3 | 4 | 84633
4 | 60.0 | 55 | Old A | 2025-08-11 | 08:44 | 2025-08-11 | 08:06 | ROLAND | 2 | 59.9 | 59.8 | / | / |  |  |  |  | 1.21 |  |  | Andrea V |  | 3 | 4 | 84633
1 | 0.0 | 56 | P/FINAL | 2025-08-11 | 08:51 | 2025-08-11 | 08:06 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.84 | 201 |  | Andrea V |  | 3 | 1 | 84633
1 | 0.0 | 57 | P/FINAL | 2025-08-11 | 08:53 | 2025-08-11 | 08:06 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.827 | 1.17 | 196 |  | Andrea V |  | 3 | 1 | 84633
2 | 15.0 | 58 | P/FINAL | 2025-08-11 | 08:56 | 2025-08-11 | 08:06 | ROLAND | 2 | 14.1 | 14.0 | / | / |  |  |  | 1.740 | 0.71 | 206 |  | Andrea V |  | 3 | 2 | 84633
2 | 15.0 | 59 | P/FINAL | 2025-08-11 | 08:58 | 2025-08-11 | 08:06 | ROLAND | 2 | 15.0 | 14.9 | / | / |  |  |  |  | 0.79 | 209 |  | Andrea V |  | 3 | 2 | 84633
2 | 15.0 | 60 | P/FINAL | 2025-08-11 | 09:03 | 2025-08-11 | 08:06 | ROLAND | 2 | 13.7 | 13.5 | / | / |  |  |  |  | 0.70 | 180 |  | Andrea V |  | 3 | 2 | 84633
3 | 35.0 | 61 | P/FINAL | 2025-08-11 | 09:03 | 2025-08-11 | 08:06 | ROLAND | 2 | 38.3 | 38.3 | / | / |  |  |  | 1.763 | 0.62 | 205 |  | Andrea V |  | 3 | 3 | 84633
3 | 35.0 | 62 | P/FINAL | 2025-08-11 | 09:08 | 2025-08-11 | 08:06 | ROLAND | 2 | 34.8 | 35.2 | / | / |  |  |  |  | 0.63 | 191 |  | Andrea V |  | 3 | 3 | 84633
3 | 35.0 | 63 | P/FINAL | 2025-08-11 | 09:09 | 2025-08-11 | 08:06 | ROLAND | 2 | 37.3 | 36.9 | / | / |  |  |  |  | 0.91 | 198 |  | Andrea V |  | 3 | 3 | 84633
4 | 60.0 | 64 | P/FINAL | 2025-08-11 | 09:26 | 2025-08-11 | 08:06 | ROLAND | 2 | 56.8 | 57.2 | / | / |  |  |  |  | 0.97 | 200 |  | Andrea V |  | 3 | 4
4 | 60.0 | 65 | P/FINAL | 2025-08-11 | 09:27 | 2025-08-11 | 08:06 | ROLAND | 2 | 55.8 | 56.1 | / | / |  |  |  | 1.773 | 0.73 | 202 |  | Andrea V |  | 3 | 4
4 | 60.0 | 66 | P/FINAL | 2025-08-11 | 09:28 | 2025-08-11 | 08:06 | ROLAND | 2 | 59.5 | 59.3 | / | / |  |  |  |  | 1.03 | 206 |  | Andrea V |  | 3 | 4
1 | 0.0 | 67 | P/FINAL | 2025-08-11 | 11:29 | 2025-08-11 | 10:39 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.66 | 199 |  | Andrea V |  | 3 | 1
1 | 0.0 | 68 | P/FINAL | 2025-08-11 | 11:30 | 2025-08-11 | 10:39 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.973 | 1.16 | 204 |  | Andrea V |  | 3 | 1
2 | 15.0 | 69 | P/FINAL | 2025-08-11 | 11:34 | 2025-08-11 | 10:39 | ROLAND | 2 | 15.2 | 15.1 | / | / |  |  |  |  | 0.74 | 204 |  | Andrea V |  | 3 | 2 | 84633
2 | 15.0 | 70 | P/FINAL | 2025-08-11 | 11:35 | 2025-08-11 | 10:39 | ROLAND | 2 | 14.2 | 14.1 | / | / |  |  |  | 1.883 | 0.68 | 203 |  | Andrea V |  | 3 | 2 | 84633
2 | 15.0 | 71 | P/FINAL | 2025-08-11 | 11:35 | 2025-08-11 | 10:39 | ROLAND | 2 | 14.7 | 14.7 | / | / |  |  |  |  | 0.64 | 203 |  | Andrea V |  | 3 | 2 | 84633
3 | 35.0 | 72 | P/FINAL | 2025-08-11 | 11:36 | 2025-08-11 | 10:39 | ROLAND | 2 | 34.1 | 33.9 | / | / |  |  |  |  | 0.69 | 201 |  | Andrea V |  | 3 | 3 | 84633
3 | 35.0 | 73 | P/FINAL | 2025-08-11 | 11:38 | 2025-08-11 | 10:39 | ROLAND | 2 | 33.2 | 33.1 | / | / |  |  |  | 1.899 | 0.61 | 203 |  | Andrea V |  | 3 | 3 | 84633
3 | 35.0 | 74 | P/FINAL | 2025-08-11 | 11:39 | 2025-08-11 | 10:39 | ROLAND | 2 | 35.0 | 35.0 | / | / |  |  |  |  | 0.67 | 189 |  | Andrea V |  | 3 | 3 | 84633
4 | 60.0 | 75 | P/FINAL | 2025-08-11 | 11:46 | 2025-08-11 | 10:39 | ROLAND | 2 | 57.5 | 57.7 | / | / |  |  |  |  | 0.68 | 184 |  | Andrea V |  | 3 | 4 | 84633
4 | 60.0 | 76 | P/FINAL | 2025-08-11 | 11:47 | 2025-08-11 | 10:39 | ROLAND | 2 | 56.5 | 56.4 | / | / |  |  |  | 1.925 | 1.02 | 197 |  | Andrea V |  | 3 | 4 | 84633
4 | 60.0 | 77 | P/FINAL | 2025-08-11 | 11:48 | 2025-08-11 | 10:39 | ROLAND | 2 | 60.1 | 60.0 | / | / |  |  |  |  | 0.94 | 193 |  | Andrea V |  | 3 | 4 | 84633
1 | 0.0 | 78 | P/FINAL | 2025-08-11 | 14:01 | 2025-08-11 | 12:40 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.69 | 202 |  | Andrea V |  | 3 | 1
1 | 0.0 | 79 | P/FINAL | 2025-08-11 | 14:02 | 2025-08-11 | 12:40 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.961 | 0.66 | 200 |  | Andrea V |  | 3 | 1
2 | 15.0 | 80 | P/FINAL | 2025-08-11 | 14:03 | 2025-08-11 | 12:40 | ROLAND | 2 | 13.8 | 13.8 | / | / |  |  |  |  | 0.94 | 207 |  | Andrea V |  | 3 | 2 | 84633
2 | 15.0 | 81 | P/FINAL | 2025-08-11 | 14:03 | 2025-08-11 | 12:40 | ROLAND | 2 | 14.1 | 14.1 | / | / |  |  |  | 1.868 | 0.73 | 193 |  | Andrea V |  | 3 | 2 | 84633
2 | 15.0 | 82 | P/FINAL | 2025-08-11 | 14:21 | 2025-08-11 | 12:40 | ROLAND | 2 | 14.4 | 14.5 | / | / |  |  |  |  | 2.13 | 200 |  | Andrea V |  | 3 | 2 | 84633
3 | 35.0 | 83 | P/FINAL | 2025-08-11 | 14:22 | 2025-08-11 | 12:40 | ROLAND | 2 | 34.0 | 33.9 | / | / |  |  |  |  | 0.70 | 191 |  | Andrea V |  | 3 | 3 | 84633
3 | 35.0 | 84 | P/FINAL | 2025-08-11 | 14:22 | 2025-08-11 | 12:40 | ROLAND | 2 | 36.4 | 36.4 | / | / |  |  |  | 1.904 | 0.64 | 205 |  | Andrea V |  | 3 | 3 | 84633
3 | 35.0 | 85 | P/FINAL | 2025-08-11 | 14:23 | 2025-08-11 | 12:40 | ROLAND | 2 | 35.6 | 35.3 | / | / |  |  |  |  | 0.81 | 190 |  | Andrea V |  | 3 | 3 | 84633
4 | 60.0 | 86 | P/FINAL | 2025-08-11 | 14:24 | 2025-08-11 | 12:40 | ROLAND | 2 | 59.9 | 60.2 | / | / |  |  |  |  | 0.93 | 204 |  | Andrea V |  | 3 | 4 | 84633
4 | 60.0 | 87 | P/FINAL | 2025-08-11 | 14:24 | 2025-08-11 | 12:40 | ROLAND | 2 | 61.0 | 61.1 | / | / |  |  |  | 1.899 | 0.76 | 207 |  | Andrea V |  | 3 | 4 | 84633
4 | 60.0 | 88 | P/FINAL | 2025-08-11 | 14:25 | 2025-08-11 | 12:40 | ROLAND | 2 | 58.2 | 58.3 | / | / |  |  |  |  | 0.71 | 189 |  | Andrea V |  | 3 | 4 | 84633
1 | 0.0 | 89 | Old A | 2025-08-12 | 08:27 | 2025-08-12 | 07:49 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.77 |  |  | Andrea V |  | 3 | 1
2 | 15.0 | 90 | Old A | 2025-08-12 | 08:29 | 2025-08-12 | 07:49 | ROLAND | 2 | 14.0 | 14.2 | / | / |  |  |  |  | 1.15 |  |  | Andrea V |  | 3 | 2 | 84633
2 | 15.0 | 91 | Old A | 2025-08-12 | 08:30 | 2025-08-12 | 07:49 | ROLAND | 2 | 13.3 | 13.5 | / | / |  |  |  |  | 1.12 |  |  | Andrea V |  | 3 | 2 | 84633
3 | 35.0 | 92 | Old A | 2025-08-12 | 08:33 | 2025-08-12 | 07:49 | ROLAND | 2 | 33.3 | 33.3 | / | / |  |  |  |  | 1.17 |  |  | Andrea V |  | 3 | 3 | 84633
3 | 35.0 | 93 | Old A | 2025-08-12 | 08:34 | 2025-08-12 | 07:49 | ROLAND | 2 | 35.3 | 35.5 | / | / |  |  |  |  | 1.07 |  |  | Andrea V |  | 3 | 3 | 84633
4 | 60.0 | 94 | Old A | 2025-08-12 | 08:37 | 2025-08-12 | 07:49 | ROLAND | 2 | 55.5 | 55.3 | / | / |  |  |  |  | 1.25 |  |  | Andrea V |  | 3 | 4 | 84633
4 | 60.0 | 95 | Old A | 2025-08-12 | 08:38 | 2025-08-12 | 07:49 | ROLAND | 2 | 59.0 | 58.9 | / | / |  |  |  |  | 1.28 |  |  | Andrea V |  | 3 | 4 | 84633
1 | 0.0 | 96 | P/FINAL | 2025-08-12 | 08:43 | 2025-08-12 | 07:49 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.81 | 210 |  | Andrea V |  | 3 | 1
1 | 0.0 | 97 | P/FINAL | 2025-08-12 | 08:44 | 2025-08-12 | 07:49 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.900 | 0.66 | 208 |  | Andrea V |  | 3 | 1
2 | 15.0 | 98 | P/FINAL | 2025-08-12 | 08:48 | 2025-08-12 | 07:49 | ROLAND | 2 | 14.2 | 14.1 | / | / |  |  |  |  | 0.90 | 199 |  | Andrea V |  | 3 | 2 | 84633
2 | 15.0 | 99 | P/FINAL | 2025-08-12 | 08:48 | 2025-08-12 | 07:49 | ROLAND | 2 | 14.8 | 14.9 | / | / |  |  |  | 1.858 | 0.68 | 201 |  | Andrea V |  | 3 | 2 | 84633
2 | 15.0 | 100 | P/FINAL | 2025-08-12 | 08:52 | 2025-08-12 | 07:49 | ROLAND | 2 | 14.6 | 14.7 | / | / |  |  |  |  | 0.68 | 176 |  | Andrea V |  | 3 | 2 | 84633
3 | 35.0 | 101 | P/FINAL | 2025-08-12 | 08:53 | 2025-08-12 | 07:49 | ROLAND | 2 | 34.6 | 34.5 | / | / |  |  |  |  | 1.19 | 181 |  | Andrea V |  | 3 | 3 | 84633
3 | 35.0 | 102 | P/FINAL | 2025-08-12 | 08:55 | 2025-08-12 | 07:49 | ROLAND | 2 | 34.6 | 34.9 | / | / |  |  |  | 1.852 | 0.78 | 194 |  | Andrea V |  | 3 | 3 | 84633
3 | 35.0 | 103 | P/FINAL | 2025-08-12 | 08:56 | 2025-08-12 | 07:49 | ROLAND | 2 | 33.8 | 33.9 | / | / |  |  |  |  | 0.75 | 195 |  | Andrea V |  | 3 | 3 | 84633
4 | 60.0 | 104 | P/FINAL | 2025-08-12 | 09:00 | 2025-08-12 | 07:49 | ROLAND | 2 | 55.4 | 55.2 | / | / |  |  |  |  | 0.86 | 184 |  | Andrea V |  | 3 | 4 | 84633
4 | 60.0 | 105 | P/FINAL | 2025-08-12 | 09:01 | 2025-08-12 | 07:49 | ROLAND | 2 | 57.7 | 58.2 | / | / |  |  |  | 1.876 | 0.70 | 198 |  | Andrea V |  | 3 | 4 | 84633
4 | 60.0 | 106 | P/FINAL | 2025-08-12 | 09:04 | 2025-08-12 | 07:49 | ROLAND | 2 | 56.2 | 56.2 | / | / |  |  |  |  | 0.97 | 188 |  | Andrea V |  | 3 | 4 | 84633
1 | 0.0 | 107 | P/FINAL | 2025-08-12 | 10:39 | 2025-08-12 | 09:37 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.83 | 196 |  | Andrea V |  | 3 | 1
1 | 0.0 | 108 | P/FINAL | 2025-08-12 | 10:41 | 2025-08-12 | 09:37 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.949 | 0.98 | 199 |  | Andrea V |  | 3 | 1
2 | 15.0 | 109 | P/FINAL | 2025-08-12 | 10:44 | 2025-08-12 | 09:37 | ROLAND | 2 | 13.1 | 12.9 | / | / |  |  |  |  | 0.58 | 198 |  | Andrea V |  | 3 | 2 | 84633
2 | 15.0 | 110 | P/FINAL | 2025-08-12 | 10:46 | 2025-08-12 | 09:37 | ROLAND | 2 | 14.5 | 14.5 | / | / |  |  |  |  | 0.59 | 187 |  | Andrea V |  | 3 | 2 | 84633
2 | 15.0 | 111 | P/FINAL | 2025-08-12 | 10:58 | 2025-08-12 | 09:37 | ROLAND | 2 | 13.7 | 13.7 | / | / |  |  |  | 1.886 | 0.61 | 191 |  | Andrea V |  | 3 | 2 | 84633
3 | 35.0 | 112 | P/FINAL | 2025-08-12 | 10:58 | 2025-08-12 | 09:37 | ROLAND | 2 | 35.8 | 36.1 | / | / |  |  |  |  | 0.71 | 191 |  | Andrea V |  | 3 | 3 | 84633
3 | 35.0 | 113 | P/FINAL | 2025-08-12 | 11:01 | 2025-08-12 | 09:37 | ROLAND | 2 | 36.1 | 36.0 | / | / |  |  |  |  | 0.64 | 189 |  | Andrea V |  | 3 | 3 | 84633
3 | 35.0 | 114 | P/FINAL | 2025-08-12 | 11:01 | 2025-08-12 | 09:37 | ROLAND | 2 | 34.7 | 34.7 | / | / |  |  |  | 1.896 | 0.65 | 185 |  | Andrea V |  | 3 | 3 | 84633
4 | 60.0 | 115 | P/FINAL | 2025-08-12 | 11:03 | 2025-08-12 | 09:37 | ROLAND | 2 | 58.2 | 58.0 | / | / |  |  |  |  | 0.76 | 197 |  | Andrea V |  | 3 | 4 | 84633
4 | 60.0 | 116 | P/FINAL | 2025-08-12 | 11:05 | 2025-08-12 | 09:37 | ROLAND | 2 | 58.0 | 58.0 | / | / |  |  |  | 1.913 | 0.87 | 190 |  | Andrea V |  | 3 | 4 | 84633
1 | 0.0 | 117 | P/FINAL | 2025-08-12 | 11:54 | 2025-08-12 | 10:58 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.961 | 1.15 | 200 |  | Andrea V |  | 3 | 1 | 84633
1 | 0.0 | 118 | P/FINAL | 2025-08-12 | 11:54 | 2025-08-12 | 10:58 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.03 | 201 |  | Andrea V |  | 3 | 1 | 84633
2 | 15.0 | 119 | P/FINAL | 2025-08-12 | 11:58 | 2025-08-12 | 10:58 | ROLAND | 2 | 14.7 | 14.5 | / | / |  |  |  |  | 0.87 | 189 |  | Andrea V |  | 3 | 2 | 84633
2 | 15.0 | 120 | P/FINAL | 2025-08-12 | 11:59 | 2025-08-12 | 10:58 | ROLAND | 2 | 14.7 | 14.7 | / | / |  |  |  | 1.903 | 0.62 | 192 |  | Andrea V |  | 3 | 2 | 84633
2 | 15.0 | 121 | P/FINAL | 2025-08-12 | 12:03 | 2025-08-12 | 10:58 | ROLAND | 2 | 13.9 | 13.6 | / | / |  |  |  |  | 0.92 | 194 |  | Andrea V |  | 3 | 2 | 84633
3 | 35.0 | 122 | P/FINAL | 2025-08-12 | 12:03 | 2025-08-12 | 10:58 | ROLAND | 2 | 36.0 | 36.0 | / | / |  |  |  |  | 0.75 | 200 |  | Andrea V |  | 3 | 3 | 84633
3 | 35.0 | 123 | P/FINAL | 2025-08-12 | 12:06 | 2025-08-12 | 10:58 | ROLAND | 2 | 34.8 | 34.7 | / | / |  |  |  | 1.934 | 0.60 | 186 |  | Andrea V |  | 3 | 3 | 84633
3 | 35.0 | 124 | P/FINAL | 2025-08-12 | 12:07 | 2025-08-12 | 10:58 | ROLAND | 2 | 36.6 | 36.5 | / | / |  |  |  |  | 0.66 | 177 |  | Andrea V |  | 3 | 3 | 84633
4 | 60.0 | 125 | P/FINAL | 2025-08-12 | 12:11 | 2025-08-12 | 10:58 | ROLAND | 2 | 60.6 | 60.6 | / | / |  |  |  |  | 0.86 | 204 |  | Andrea V |  | 3 | 4 | 84633
4 | 60.0 | 126 | P/FINAL | 2025-08-12 | 12:11 | 2025-08-12 | 10:58 | ROLAND | 2 | 58.5 | 58.5 | / | / |  |  |  |  | 0.85 | 199 |  | Andrea V |  | 3 | 4 | 84633
4 | 60.0 | 127 | P/FINAL | 2025-08-12 | 12:17 | 2025-08-12 | 10:58 | ROLAND | 2 | 58.2 | 58.2 | / | / |  |  |  | 1.925 | 0.82 | 182 |  | Andrea V |  | 3 | 4 | 84633
4 | 60.0 | 128 | P/FINAL | 2025-08-12 | 12:17 | 2025-08-12 | 10:58 | ROLAND | 2 | 60.1 | 60.4 | / | / |  |  |  |  | 0.69 | 199 |  | Andrea V |  | 3 | 4 | 84633
1 | 0.0 | 129 | P/FINAL | 2025-08-12 | 14:04 | 2025-08-12 | 12:32 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.80 | 206 |  | Andrea V |  | 3 | 1
1 | 0.0 | 130 | P/FINAL | 2025-08-12 | 14:05 | 2025-08-12 | 12:32 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  | 2.029 | 0.59 | 198 |  | Andrea V |  | 3 | 1
2 | 15.0 | 131 | P/FINAL | 2025-08-12 | 14:07 | 2025-08-12 | 12:32 | ROLAND | 2 | 13.5 | 13.6 | / | / |  |  |  |  | 0.85 | 204 |  | Andrea V |  | 3 | 2 | 111621
2 | 15.0 | 132 | P/FINAL | 2025-08-12 | 14:07 | 2025-08-12 | 12:32 | ROLAND | 2 | 15.0 | 15.1 | / | / |  |  |  | 1.935 | 0.75 | 209 |  | Andrea V |  | 3 | 2 | 111621
2 | 15.0 | 133 | P/FINAL | 2025-08-12 | 14:11 | 2025-08-12 | 12:32 | ROLAND | 2 | 15.1 | 15.2 | / | / |  |  |  |  | 1.00 | 192 |  | Andrea V |  | 3 | 2 | 111621
3 | 35.0 | 134 | P/FINAL | 2025-08-12 | 14:12 | 2025-08-12 | 12:32 | ROLAND | 2 | 35.4 | 35.7 | / | / |  |  |  |  | 0.59 | 190 |  | Andrea V |  | 3 | 3 | 111621
3 | 35.0 | 135 | P/FINAL | 2025-08-12 | 14:13 | 2025-08-12 | 12:32 | ROLAND | 2 | 34.0 | 34.1 | / | / |  |  |  | 1.952 | 0.82 | 194 |  | Andrea V |  | 3 | 3 | 111621
3 | 35.0 | 136 | P/FINAL | 2025-08-12 | 14:14 | 2025-08-12 | 12:32 | ROLAND | 2 | 36.5 | 36.6 | / | / |  |  |  |  | 0.64 | 185 |  | Andrea V |  | 3 | 3 | 111621
4 | 60.0 | 137 | P/FINAL | 2025-08-12 | 14:18 | 2025-08-12 | 12:32 | ROLAND | 2 | 58.5 | 58.6 | / | / |  |  |  |  | 0.66 | 200 |  | Andrea V |  | 3 | 4 | 111621
4 | 60.0 | 138 | P/FINAL | 2025-08-12 | 14:18 | 2025-08-12 | 12:32 | ROLAND | 2 | 62.2 | 62.3 | / | / |  |  |  | 1.947 | 0.87 | 204 |  | Andrea V |  | 3 | 4 | 111621
4 | 60.0 | 139 | P/FINAL | 2025-08-12 | 14:19 | 2025-08-12 | 12:32 | ROLAND | 2 | 60.9 | 60.9 | / | / |  |  |  |  | 0.77 | 197 |  | Andrea V |  | 3 | 4 | 111621
1 | 0.0 | 140 | Old A | 2025-08-13 | 09:02 | 2025-08-13 | 08:13 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.53 |  |  | Andrea V |  | 3 | 1
2 | 15.0 | 141 | Old A | 2025-08-13 | 09:02 | 2025-08-13 | 08:13 | ROLAND | 2 | 15.7 | 15.7 | / | / |  |  |  |  | 1.42 |  |  | Andrea V |  | 3 | 2 | 111621
3 | 35.0 | 142 | Old A | 2025-08-13 | 09:09 | 2025-08-13 | 08:13 | ROLAND | 2 | 37.3 | 37.1 | / | / |  |  |  |  | 1.03 |  |  | Andrea V |  | 3 | 3 | 111621
4 | 60.0 | 143 | Old A | 2025-08-13 | 09:09 | 2025-08-13 | 08:13 | ROLAND | 2 | 63.3 | 63.0 | / | / |  |  |  |  | 1.16 |  |  | Andrea V |  | 3 | 4 | 111621
1 | 0.0 | 144 | P/FINAL | 2025-08-13 | 09:16 | 2025-08-13 | 08:13 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.912 | 1.24 | 189 |  | Andrea V |  | 3 | 1
1 | 0.0 | 145 | P/FINAL | 2025-08-13 | 09:16 | 2025-08-13 | 08:13 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.95 | 207 |  | Andrea V |  | 3 | 1
2 | 15.0 | 146 | P/FINAL | 2025-08-13 | 09:19 | 2025-08-13 | 08:13 | ROLAND | 2 | 14.9 | 15.0 | / | / |  |  |  | 1.779 | 0.68 | 199 |  | Andrea V |  | 3 | 2 | 111621
2 | 15.0 | 147 | P/FINAL | 2025-08-13 | 09:21 | 2025-08-13 | 08:13 | ROLAND | 2 | 15.4 | 15.3 | / | / |  |  |  |  | 0.65 | 198 |  | Andrea V |  | 3 | 2 | 111621
2 | 15.0 | 148 | P/FINAL | 2025-08-13 | 09:25 | 2025-08-13 | 08:13 | ROLAND | 2 | 15.7 | 15.5 | / | / |  |  |  |  | 0.77 | 189 |  | Andrea V |  | 3 | 2 | 111621
3 | 35.0 | 149 | P/FINAL | 2025-08-13 | 09:26 | 2025-08-13 | 08:13 | ROLAND | 2 | 34.0 | 34.0 | / | / |  |  |  | 1.807 | 0.69 | 195 |  | Andrea V |  | 3 | 3 | 111621
3 | 35.0 | 150 | P/FINAL | 2025-08-13 | 09:27 | 2025-08-13 | 08:13 | ROLAND | 2 | 36.6 | 36.8 | / | / |  |  |  |  | 0.98 | 208 |  | Andrea V |  | 3 | 3 | 111621
3 | 35.0 | 151 | P/FINAL | 2025-08-13 | 09:28 | 2025-08-13 | 08:13 | ROLAND | 2 | 37.0 | 36.9 | / | / |  |  |  |  | 0.64 | 877 |  | Andrea V |  | 3 | 3 | 111621
4 | 60.0 | 152 | P/FINAL | 2025-08-13 | 09:33 | 2025-08-13 | 08:13 | ROLAND | 2 | 59.8 | 60.0 | / | / |  |  |  |  | 0.73 | 202 |  | Andrea V |  | 3 | 4 | 111621
4 | 60.0 | 153 | P/FINAL | 2025-08-13 | 09:34 | 2025-08-13 | 08:13 | ROLAND | 2 | 61.4 | 61.1 | / | / |  |  |  | 1.808 | 0.73 | 202 |  | Andrea V |  | 3 | 4 | 111621
4 | 60.0 | 154 | P/FINAL | 2025-08-13 | 09:35 | 2025-08-13 | 08:13 | ROLAND | 2 | 61.6 | 61.4 | / | / |  |  |  |  | 0.77 | 200 |  | Andrea V |  | 3 | 4 | 111621
1 | 0.0 | 155 | P/FINAL | 2025-08-13 | 15:23 | 2025-08-13 | 10:49 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.16 | 197 |  | Andrea V |  | 3 | 1
1 | 0.0 | 156 | P/FINAL | 2025-08-13 | 15:23 | 2025-08-13 | 10:49 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.910 | 0.84 | 192 |  | Andrea V |  | 3 | 1
2 | 15.0 | 157 | P/FINAL | 2025-08-13 | 15:25 | 2025-08-13 | 10:49 | ROLAND | 2 | 14.4 | 14.6 | / | / |  |  |  |  | 0.55 | 202 |  | Andrea V |  | 3 | 2 | 111621
2 | 15.0 | 158 | P/FINAL | 2025-08-13 | 15:25 | 2025-08-13 | 10:49 | ROLAND | 2 | 13.6 | 13.7 | / | / |  |  |  | 1.850 | 0.72 | 198 |  | Andrea V |  | 3 | 2 | 111621
2 | 15.0 | 159 | P/FINAL | 2025-08-13 | 15:26 | 2025-08-13 | 10:49 | ROLAND | 2 | 14.6 | 14.6 | / | / |  |  |  |  | 0.63 | 201 |  | Andrea V |  | 3 | 2 | 111621
3 | 35.0 | 160 | P/FINAL | 2025-08-13 | 15:39 | 2025-08-13 | 10:49 | ROLAND | 2 | 31.8 | 31.5 | / | / |  |  |  |  | 1.18 | 194 |  | Andrea V |  | 3 | 3 | 111621
3 | 35.0 | 161 | P/FINAL | 2025-08-13 | 15:40 | 2025-08-13 | 10:49 | ROLAND | 2 | 34.9 | 34.7 | / | / |  |  |  | 1.846 | 0.65 | 208 |  | Andrea V |  | 3 | 3 | 111621
3 | 35.0 | 162 | P/FINAL | 2025-08-13 | 15:40 | 2025-08-13 | 10:49 | ROLAND | 2 | 32.8 | 32.9 | / | / |  |  |  |  | 0.70 | 209 |  | Andrea V |  | 3 | 3 | 111621
4 | 60.0 | 163 | P/FINAL | 2025-08-13 | 15:42 | 2025-08-13 | 10:49 | ROLAND | 2 | 56.0 | 56.8 | / | / |  |  |  |  | 0.79 | 196 |  | Andrea V |  | 3 | 4 | 111621
4 | 60.0 | 164 | P/FINAL | 2025-08-13 | 15:43 | 2025-08-13 | 10:49 | ROLAND | 2 | 56.7 | 56.3 | / | / |  |  |  | 1.872 | 0.70 | 191 |  | Andrea V |  | 3 | 4 | 111621
4 | 60.0 | 165 | P/FINAL | 2025-08-13 | 15:44 | 2025-08-13 | 10:49 | ROLAND | 2 | 59.7 | 59.8 | / | / |  |  |  |  | 0.82 | 202 |  | Andrea V |  | 3 | 4 | 111621
2 | 15.0 | 166 | P/FINAL | 2025-08-13 | 16:05 | 2025-08-13 | 12:27 | ROLAND | 2 | 14.1 | 14.2 | / | / |  |  |  |  | 0.79 | 191 |  | Andrea V |  | 3 | 2 | 111621
2 | 15.0 | 167 | P/FINAL | 2025-08-13 | 16:05 | 2025-08-13 | 12:27 | ROLAND | 2 | 14.6 | 14.4 | / | / |  |  |  | 1.864 | 0.77 | 195 |  | Andrea V |  | 3 | 2 | 111621
2 | 15.0 | 168 | P/FINAL | 2025-08-13 | 16:06 | 2025-08-13 | 12:27 | ROLAND | 2 | 13.3 | 13.2 | / | / |  |  |  |  | 0.59 | 193 |  | Andrea V |  | 3 | 2 | 111621
3 | 35.0 | 169 | P/FINAL | 2025-08-13 | 16:09 | 2025-08-13 | 12:27 | ROLAND | 2 | 34.1 | 34.2 | / | / |  |  |  |  | 1.07 | 205 |  | Andrea V |  | 3 | 3 | 111621
3 | 35.0 | 170 | P/FINAL | 2025-08-13 | 16:09 | 2025-08-13 | 12:27 | ROLAND | 2 | 33.0 | 33.1 | / | / |  |  |  | 1.861 | 1.05 | 204 |  | Andrea V |  | 3 | 3 | 111621
3 | 35.0 | 171 | P/FINAL | 2025-08-13 | 16:10 | 2025-08-13 | 12:27 | ROLAND | 2 | 32.1 | 32.0 | / | / |  |  |  |  | 0.92 | 192 |  | Andrea V |  | 3 | 3 | 111621
4 | 60.0 | 172 | P/FINAL | 2025-08-13 | 16:11 | 2025-08-13 | 12:27 | ROLAND | 2 | 56.8 | 56.0 | / | / |  |  |  |  | 0.71 | 204 |  | Andrea V |  | 3 | 4 | 111621
4 | 60.0 | 173 | P/FINAL | 2025-08-13 | 16:12 | 2025-08-13 | 12:27 | ROLAND | 2 | 58.5 | 58.5 | / | / |  |  |  | 1.882 | 1.03 | 200 |  | Andrea V |  | 3 | 4 | 111621
4 | 60.0 | 174 | P/FINAL | 2025-08-13 | 16:13 | 2025-08-13 | 12:27 | ROLAND | 2 | 56.6 | 57.1 | / | / |  |  |  |  | 1.05 | 200 |  | Andrea V |  | 3 | 4 | 111621
1 | 0.0 | 175 | P/FINAL | 2025-08-13 | 16:16 | 2025-08-13 | 12:27 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.58 | 193 |  | Andrea V |  | 3 | 1
1 | 0.0 | 176 | P/FINAL | 2025-08-13 | 16:17 | 2025-08-13 | 12:27 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.948 | 0.59 | 189 |  | Andrea V |  | 3 | 1
1 | 0.0 | 177 | Old A | 2025-08-14 | 08:41 | 2025-08-14 | 07:57 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.40 |  |  | Andrea V |  | 3 | 1
1 | 0.0 | 178 | Old A | 2025-08-14 | 08:42 | 2025-08-14 | 07:57 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.57 |  |  | Andrea V |  | 3 | 1
2 | 15.0 | 179 | Old A | 2025-08-14 | 08:47 | 2025-08-14 | 07:57 | ROLAND | 2 | 14.3 | 14.2 | / | / |  |  |  |  | 0.96 |  |  | Andrea V |  | 3 | 2 | 111621
2 | 15.0 | 180 | Old A | 2025-08-14 | 08:47 | 2025-08-14 | 07:57 | ROLAND | 2 | 14.3 | 14.3 | / | / |  |  |  |  | 0.94 |  |  | Andrea V |  | 3 | 2 | 111621
3 | 35.0 | 181 | Old A | 2025-08-14 | 08:51 | 2025-08-14 | 07:57 | ROLAND | 2 | 34.4 | 34.2 | / | / |  |  |  |  | 0.96 |  |  | Andrea V |  | 3 | 3 | 111621
3 | 35.0 | 182 | Old A | 2025-08-14 | 08:51 | 2025-08-14 | 07:57 | ROLAND | 2 | 34.2 | 34.3 | / | / |  |  |  |  | 0.91 |  |  | Andrea V |  | 3 | 3 | 111621
4 | 60.0 | 183 | Old A | 2025-08-14 | 08:54 | 2025-08-14 | 07:57 | ROLAND | 2 | 58.7 | 58.9 | / | / |  |  |  |  | 1.13 |  |  | Andrea V |  | 3 | 4 | 111621
4 | 60.0 | 184 | Old A | 2025-08-14 | 08:54 | 2025-08-14 | 07:57 | ROLAND | 2 | 57.1 | 56.8 | / | / |  |  |  |  | 1.05 |  |  | Andrea V |  | 3 | 4 | 111621
1 | 0.0 | 185 | P/FINAL | 2025-08-14 | 09:14 | 2025-08-14 | 07:57 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.21 | 199 |  | Andrea V |  | 3 | 1 | 111621
1 | 0.0 | 186 | P/FINAL | 2025-08-14 | 09:14 | 2025-08-14 | 07:57 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.904 | 0.80 | 202 |  | Andrea V |  | 3 | 1 | 111621
2 | 15.0 | 187 | P/FINAL | 2025-08-14 | 09:17 | 2025-08-14 | 07:57 | ROLAND | 2 | 14.2 | 14.2 | / | / |  |  |  |  | 1.28 | 202 |  | Andrea V |  | 3 | 2 | 111621
2 | 15.0 | 188 | P/FINAL | 2025-08-14 | 09:19 | 2025-08-14 | 07:57 | ROLAND | 2 | 13.5 | 13.7 | / | / |  |  |  | 1.829 | 0.69 | 188 |  | Andrea V |  | 3 | 2 | 111621
2 | 15.0 | 189 | P/FINAL | 2025-08-14 | 09:20 | 2025-08-14 | 07:57 | ROLAND | 2 | 13.4 | 13.3 | / | / |  |  |  |  | 1.15 | 208 |  | Andrea V |  | 3 | 2 | 111621
3 | 35.0 | 190 | P/FINAL | 2025-08-14 | 09:22 | 2025-08-14 | 07:57 | ROLAND | 2 | 32.7 | 32.9 | / | / |  |  |  |  | 0.65 | 171 |  | Andrea V |  | 3 | 3 | 111621
3 | 35.0 | 191 | P/FINAL | 2025-08-14 | 09:22 | 2025-08-14 | 07:57 | ROLAND | 2 | 36.2 | 35.9 | / | / |  |  |  | 1.844 | 1.08 | 198 |  | Andrea V |  | 3 | 3 | 111621
3 | 35.0 | 192 | P/FINAL | 2025-08-14 | 09:23 | 2025-08-14 | 07:57 | ROLAND | 2 | 34.3 | 33.5 | / | / |  |  |  |  | 0.95 | 185 |  | Andrea V |  | 3 | 3 | 111621
4 | 60.0 | 193 | P/FINAL | 2025-08-14 | 09:50 | 2025-08-14 | 07:57 | ROLAND | 2 | 56.1 | 56.3 | / | / |  |  |  |  | 0.84 | 198 |  | Andrea V |  | 3 | 4 | 111621
4 | 60.0 | 194 | P/FINAL | 2025-08-14 | 09:51 | 2025-08-14 | 07:57 | ROLAND | 2 | 56.7 | 56.2 | / | / |  |  |  |  | 3.33 | 190 |  | Andrea V |  | 3 | 4 | 111621
4 | 60.0 | 195 | P/FINAL | 2025-08-14 | 10:03 | 2025-08-14 | 07:57 | ROLAND | 2 | 58.0 | 58.5 | / | / |  |  |  | 1.854 | 0.83 | 211 |  | Andrea V |  | 3 | 4 | 111621
1 | 0.0 | 196 | Old A | 2025-08-18 | 11:30 | 2025-08-18 | 10:55 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.14 |  |  | Andrea V |  | 3 | 1
1 | 0.0 | 197 | Old A | 2025-08-18 | 11:30 | 2025-08-18 | 10:55 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.12 |  |  | Andrea V |  | 3 | 1
2 | 15.0 | 198 | Old A | 2025-08-18 | 11:32 | 2025-08-18 | 10:55 | ELENA | 2 | 13.6 | 13.5 | / | / |  |  |  |  | 0.91 |  |  | Andrea V |  | 3 | 2 | 102001
2 | 15.0 | 199 | Old A | 2025-08-18 | 11:32 | 2025-08-18 | 10:55 | ELENA | 2 | 13.8 | 13.6 | / | / |  |  |  |  | 1.25 |  |  | Andrea V |  | 3 | 2 | 102001
3 | 35.0 | 200 | Old A | 2025-08-18 | 11:36 | 2025-08-18 | 10:55 | ELENA | 2 | 33.6 | 33.0 | / | / |  |  |  |  | 1.50 |  |  | Andrea V |  | 3 | 3 | 102001
3 | 35.0 | 201 | Old A | 2025-08-18 | 11:36 | 2025-08-18 | 10:55 | ELENA | 2 | 34.6 | 34.6 | / | / |  |  |  |  | 4.47 |  |  | Andrea V |  | 3 | 3 | 102001
4 | 60.0 | 202 | Old A | 2025-08-18 | 11:41 | 2025-08-18 | 10:55 | ELENA | 2 | 55.8 | 55.7 | / | / |  |  |  |  | 1.01 |  |  | Andrea V |  | 3 | 4 | 102001
4 | 60.0 | 203 | Old A | 2025-08-18 | 11:41 | 2025-08-18 | 10:55 | ELENA | 2 | 56.6 | 56.8 | / | / |  |  |  |  | 1.07 |  |  | Andrea V |  | 3 | 4 | 102001
1 | 0.0 | 204 | P/FINAL | 2025-08-18 | 11:56 | 2025-08-18 | 10:55 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.947 | 1.39 | 197 |  | Andrea V |  | 3 | 1 | 102001
1 | 0.0 | 205 | P/FINAL | 2025-08-18 | 11:56 | 2025-08-18 | 10:55 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.88 | 198 |  | Andrea V |  | 3 | 1 | 102001
2 | 15.0 | 206 | P/FINAL | 2025-08-18 | 11:58 | 2025-08-18 | 10:55 | ELENA | 2 | 13.3 | 13.3 | / | / |  |  |  |  | 0.82 | 200 |  | Andrea V |  | 3 | 2 | 102001
2 | 15.0 | 207 | P/FINAL | 2025-08-18 | 11:58 | 2025-08-18 | 10:55 | ELENA | 2 | 13.7 | 13.8 | / | / |  |  |  | 1.858 | 2.10 | 203 |  | Andrea V |  | 3 | 2 | 102001
2 | 15.0 | 208 | P/FINAL | 2025-08-18 | 12:01 | 2025-08-18 | 10:55 | ELENA | 2 | 14.0 | 14.0 | / | / |  |  |  |  | 0.77 | 200 |  | Andrea V |  | 3 | 2 | 102001
3 | 35.0 | 209 | P/FINAL | 2025-08-18 | 12:04 | 2025-08-18 | 10:55 | ELENA | 2 | 31.3 | 31.4 | / | / |  |  |  |  | 0.76 | 213 |  | Andrea V |  | 3 | 3 | 102001
3 | 35.0 | 210 | P/FINAL | 2025-08-18 | 12:04 | 2025-08-18 | 10:55 | ELENA | 2 | 31.8 | 31.3 | / | / |  |  |  | 1.860 | 0.82 | 203 |  | Andrea V |  | 3 | 3 | 102001
3 | 35.0 | 211 | P/FINAL | 2025-08-18 | 12:05 | 2025-08-18 | 10:55 | ELENA | 2 | 34.5 | 34.7 | / | / |  |  |  |  | 0.72 | 192 |  | Andrea V |  | 3 | 3 | 102001
4 | 60.0 | 212 | P/FINAL | 2025-08-18 | 12:12 | 2025-08-18 | 10:55 | ELENA | 2 | 55.2 | 55.9 | / | / |  |  |  | 1.859 | 0.68 | 192 |  | Andrea V |  | 3 | 4 | 102001
4 | 60.0 | 213 | P/FINAL | 2025-08-18 | 12:13 | 2025-08-18 | 10:55 | ELENA | 2 | 55.1 | 55.3 | / | / |  |  |  |  | 1.22 | 208 |  | Andrea V |  | 3 | 4 | 102001
4 | 60.0 | 214 | P/FINAL | 2025-08-18 | 12:14 | 2025-08-18 | 10:55 | ELENA | 2 | 57.5 | 57.7 | / | / |  |  |  |  | 0.76 | 205 |  | Andrea V |  | 3 | 4 | 102001
1 | 0.0 | 215 | P/FINAL | 2025-08-18 | 12:33 | 2025-08-18 | 11:50 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.991 | 0.62 | 199 |  | Andrea V |  | 3 | 1 | 102001
1 | 0.0 | 216 | P/FINAL | 2025-08-18 | 12:33 | 2025-08-18 | 11:50 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.87 | 197 |  | Andrea V |  | 3 | 1 | 102001
2 | 15.0 | 217 | P/FINAL | 2025-08-18 | 12:35 | 2025-08-18 | 11:50 | ELENA | 2 | 13.5 | 13.4 | / | / |  |  |  |  | 0.67 | 203 |  | Andrea V |  | 3 | 2 | 102001
2 | 15.0 | 218 | P/FINAL | 2025-08-18 | 12:35 | 2025-08-18 | 11:50 | ELENA | 2 | 14.5 | 14.5 | / | / |  |  |  |  | 0.82 | 208 |  | Andrea V |  | 3 | 2 | 102001
2 | 15.0 | 219 | P/FINAL | 2025-08-18 | 12:38 | 2025-08-18 | 11:50 | ELENA | 2 | 13.0 | 13.0 | / | / |  |  |  | 1.890 | 1.20 | 213 |  | Andrea V |  | 3 | 2 | 102001
3 | 35.0 | 220 | P/FINAL | 2025-08-18 | 12:40 | 2025-08-18 | 11:50 | ELENA | 2 | 35.3 | 35.1 | / | / |  |  |  |  | 0.77 | 200 |  | Andrea V |  | 3 | 3 | 102001
3 | 35.0 | 221 | P/FINAL | 2025-08-18 | 12:43 | 2025-08-18 | 11:50 | ELENA | 2 | 29.8 | 29.8 | / | / |  |  |  |  | 1.52 | 184 |  | Andrea V |  | 3 | 3 | 102001
3 | 35.0 | 222 | P/FINAL | 2025-08-18 | 12:43 | 2025-08-18 | 11:50 | ELENA | 2 | 34.2 | 34.1 | / | / |  |  |  | 1.878 | 0.69 | 187 |  | Andrea V |  | 3 | 3 | 102001
4 | 60.0 | 223 | P/FINAL | 2025-08-18 | 12:46 | 2025-08-18 | 11:50 | ELENA | 2 | 56.0 | 56.0 | / | / |  |  |  |  | 0.77 | 192 |  | Andrea V |  | 3 | 4 | 102001
4 | 60.0 | 224 | P/FINAL | 2025-08-18 | 12:47 | 2025-08-18 | 11:50 | ELENA | 2 | 59.8 | 60.5 | / | / |  |  |  | 1.882 | 1.03 | 193 |  | Andrea V |  | 3 | 4 | 102001
4 | 60.0 | 225 | P/FINAL | 2025-08-18 | 12:50 | 2025-08-18 | 11:50 | ELENA | 2 | 58.3 | 58.4 | / | / |  |  |  |  | 0.71 | 190 |  | Andrea V |  | 3 | 4 | 102001
3 | 35.0 | 226 | P/FINAL | 2025-08-18 | 12:57 | 2025-08-18 | 11:50 | ELENA | 2 | 35.8 | 35.8 | / | / |  |  |  |  | 0.82 | 210 |  | Andrea V |  | 3 | 3 | 102001
1 | 0.0 | 227 | P/FINAL | 2025-08-18 | 14:19 | 2025-08-18 | 13:35 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.59 | 203 |  | Andrea V |  | 3 | 1
1 | 0.0 | 228 | P/FINAL | 2025-08-18 | 14:19 | 2025-08-18 | 13:35 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.976 | 1.01 | 213 |  | Andrea V |  | 3 | 1
2 | 15.0 | 229 | P/FINAL | 2025-08-18 | 14:25 | 2025-08-18 | 13:35 | ELENA | 2 | 14.4 | 14.3 | / | / |  |  |  |  | 0.67 | 212 |  | Andrea V |  | 3 | 2 | 102001
2 | 15.0 | 230 | P/FINAL | 2025-08-18 | 14:26 | 2025-08-18 | 13:35 | ELENA | 2 | 13.2 | 13.1 | / | / |  |  |  |  | 1.99 | 219 |  | Andrea V |  | 3 | 2 | 102001
2 | 15.0 | 231 | P/FINAL | 2025-08-18 | 14:30 | 2025-08-18 | 13:35 | ELENA | 2 | 14.6 | 14.4 | / | / |  |  |  | 1.888 | 1.37 | 202 |  | Andrea V |  | 3 | 2 | 102001
3 | 35.0 | 232 | P/FINAL | 2025-08-18 | 14:31 | 2025-08-18 | 13:35 | ELENA | 2 | 32.8 | 32.8 | / | / |  |  |  |  | 0.60 | 203 |  | Andrea V |  | 3 | 3 | 102001
3 | 35.0 | 233 | P/FINAL | 2025-08-18 | 14:34 | 2025-08-18 | 13:35 | ELENA | 2 | 34.6 | 34.4 | / | / |  |  |  | 1.898 | 1.64 | 199 |  | Andrea V |  | 3 | 3 | 102001
3 | 35.0 | 234 | P/FINAL | 2025-08-18 | 14:34 | 2025-08-18 | 13:35 | ELENA | 2 | 35.3 | 35.1 | / | / |  |  |  |  | 0.72 | 222 |  | Andrea V |  | 3 | 3 | 102001
4 | 60.0 | 235 | P/FINAL | 2025-08-18 | 14:38 | 2025-08-18 | 13:35 | ELENA | 2 | 58.6 | 58.3 | / | / |  |  |  |  | 1.12 | 208 |  | Andrea V |  | 3 | 4 | 102001
4 | 60.0 | 236 | P/FINAL | 2025-08-18 | 14:43 | 2025-08-18 | 13:35 | ELENA | 2 | 59.2 | 58.9 | / | / |  |  |  | 1.904 | 0.96 | 212 |  | Andrea V |  | 3 | 4 | 102001
4 | 60.0 | 237 | P/FINAL | 2025-08-18 | 14:44 | 2025-08-18 | 13:35 | ELENA | 2 | 58.8 | 58.6 | / | / |  |  |  |  | 1.03 | 208 |  | Andrea V |  | 3 | 4 | 102001
2 | 15.0 | 238 | P/FINAL | 2025-08-19 | 08:34 | 2025-08-18 | 15:35 | ELENA | 2 | 14.8 | 14.8 | / | / |  |  |  |  | 4.74 | 214 |  | Kinga |  | 3 | 2 | 102001
2 | 15.0 | 239 | P/FINAL | 2025-08-19 | 08:34 | 2025-08-18 | 15:35 | ELENA | 2 | 14.8 | 14.8 | / | / |  |  |  |  | 4.74 | 226 |  | Kinga |  | 3 | 2 | 102001
2 | 15.0 | 240 | P/FINAL | 2025-08-19 | 08:34 | 2025-08-18 | 15:35 | ELENA | 2 | 15.0 | 14.9 | / | / |  |  |  | 1.874 | 6.66 | 219 |  | Kinga |  | 3 | 2 | 102001
2 | 15.0 | 241 | P/FINAL | 2025-08-19 | 08:35 | 2025-08-18 | 15:35 | ELENA | 2 | 15.4 | 15.3 | / | / |  |  |  |  | 2.33 | 207 |  | Kinga |  | 3 | 2 | 102001
3 | 35.0 | 242 | P/FINAL | 2025-08-19 | 08:36 | 2025-08-18 | 15:35 | ELENA | 2 | 33.5 | 33.5 | / | / |  |  |  | 1.869 | 1.00 | 204 |  | Kinga |  | 3 | 3 | 102001
3 | 35.0 | 243 | P/FINAL | 2025-08-19 | 08:36 | 2025-08-18 | 15:35 | ELENA | 2 | 35.0 | 35.0 | / | / |  |  |  |  | 3.26 | 218 |  | Kinga |  | 3 | 3 | 102001
3 | 35.0 | 244 | P/FINAL | 2025-08-19 | 08:36 | 2025-08-18 | 15:35 | ELENA | 2 | 35.0 | 35.0 | / | / |  |  |  |  | 3.26 | 208 |  | Kinga |  | 3 | 3 | 102001
3 | 35.0 | 245 | P/FINAL | 2025-08-19 | 08:36 | 2025-08-18 | 15:35 | ELENA | 2 | 35.0 | 35.0 | / | / |  |  |  |  | 3.26 | 220 |  | Kinga |  | 3 | 3 | 102001
3 | 35.0 | 246 | P/FINAL | 2025-08-19 | 08:36 | 2025-08-18 | 15:35 | ELENA | 2 | 35.0 | 35.0 | / | / |  |  |  |  | 3.26 |  |  | Kinga |  | 3 | 3 | 102001
3 | 35.0 | 247 | P/FINAL | 2025-08-19 | 08:37 | 2025-08-18 | 15:35 | ELENA | 2 | 34.7 | 34.8 | / | / |  |  |  |  | 6.42 |  |  | Kinga |  | 3 | 3 | 102001
4 | 60.0 | 248 | P/FINAL | 2025-08-19 | 08:47 | 2025-08-18 | 15:35 | ELENA | 2 | 57.5 | 57.5 | / | / |  |  |  |  | 2.58 |  |  | Kinga |  | 3 | 4 | 102001
4 | 60.0 | 249 | P/FINAL | 2025-08-19 | 08:47 | 2025-08-18 | 15:35 | ELENA | 2 | 59.7 | 59.1 | / | / |  |  |  |  | 1.04 |  |  | Kinga |  | 3 | 4 | 102001
4 | 60.0 | 250 | P/FINAL | 2025-08-19 | 08:48 | 2025-08-18 | 15:35 | ELENA | 2 | 59.6 | 59.7 | / | / |  |  |  | 1.869 | 1.49 |  |  | Kinga |  | 3 | 4 | 102001
2 | 15.0 | 251 | P/FINAL | 2025-08-19 | 09:08 | 2025-08-19 | 08:40 | ELENA | 2 | 14.7 | 14.7 | / | / |  |  |  |  | 5.11 | 212 |  | Kinga |  | 3 | 2 | 102001
2 | 15.0 | 252 | P/FINAL | 2025-08-19 | 09:09 | 2025-08-19 | 08:40 | ELENA | 2 | 13.7 | 13.7 | / | / |  |  |  |  | 0.82 | 214 |  | Kinga |  | 3 | 2 | 102001
2 | 15.0 | 253 | P/FINAL | 2025-08-19 | 09:11 | 2025-08-19 | 08:40 | ELENA | 2 | 14.6 | 14.3 | / | / |  |  |  | 1.878 | 6.00 | 203 |  | Kinga |  | 3 | 2 | 102001
2 | 15.0 | 254 | P/FINAL | 2025-08-19 | 09:11 | 2025-08-19 | 08:40 | ELENA | 2 | 14.6 | 14.3 | / | / |  |  |  |  | 6.00 | 215 |  | Kinga |  | 3 | 2 | 102001
2 | 15.0 | 255 | P/FINAL | 2025-08-19 | 09:11 | 2025-08-19 | 08:40 | ELENA | 2 | 14.6 | 14.3 | / | / |  |  |  |  | 6.00 | 204 |  | Kinga |  | 3 | 2 | 102001
3 | 35.0 | 256 | P/FINAL | 2025-08-19 | 09:13 | 2025-08-19 | 08:40 | ELENA | 2 | 35.0 | 35.1 | / | / |  |  |  | 1.883 | 1.05 | 207 |  | Kinga |  | 3 | 3 | 102001
3 | 35.0 | 257 | P/FINAL | 2025-08-19 | 09:13 | 2025-08-19 | 08:40 | ELENA | 2 | 35.0 | 35.0 | / | / |  |  |  |  | 3.52 | 215 |  | Kinga |  | 3 | 3 | 102001
3 | 35.0 | 258 | P/FINAL | 2025-08-19 | 09:17 | 2025-08-19 | 08:40 | ELENA | 2 | 34.6 | 34.7 | / | / |  |  |  |  | 1.00 | 208 |  | Kinga |  | 3 | 3 | 102001
4 | 60.0 | 259 | P/FINAL | 2025-08-19 | 09:24 | 2025-08-19 | 08:40 | ELENA | 2 | 59.5 | 59.6 | / | / |  |  |  |  | 0.84 | 209 |  | Kinga |  | 3 | 4 | 102001
4 | 60.0 | 260 | P/FINAL | 2025-08-19 | 09:25 | 2025-08-19 | 08:40 | ELENA | 2 | 60.6 | 60.6 | / | / |  |  |  |  | 1.61 | 210 |  | Kinga |  | 3 | 4 | 102001
4 | 60.0 | 261 | P/FINAL | 2025-08-19 | 09:26 | 2025-08-19 | 08:40 | ELENA | 2 | 60.5 | 60.6 | / | / |  |  |  | 1.827 | 3.32 | 209 |  | Kinga |  | 3 | 4 | 102001
2 | 15.0 | 262 | P/FINAL | 2025-08-19 | 11:11 | 2025-08-19 | 10:30 | ELENA | 2 | 13.3 | 13.3 | / | / |  |  |  |  | 1.08 | 198 |  | Kinga |  | 3 | 2 | 102001
2 | 15.0 | 263 | P/FINAL | 2025-08-19 | 11:11 | 2025-08-19 | 10:30 | ELENA | 2 | 13.3 | 13.3 | / | / |  |  |  |  | 1.08 | 211 |  | Kinga |  | 3 | 2 | 102001
2 | 15.0 | 264 | P/FINAL | 2025-08-19 | 11:11 | 2025-08-19 | 10:30 | ELENA | 2 | 13.3 | 13.3 | / | / |  |  |  |  | 1.08 | 214 |  | Kinga |  | 3 | 2 | 102001
2 | 15.0 | 265 | P/FINAL | 2025-08-19 | 11:11 | 2025-08-19 | 10:30 | ELENA | 2 | 13.3 | 13.3 | / | / |  |  |  |  | 1.08 | 207 |  | Kinga |  | 3 | 2 | 102001
2 | 15.0 | 266 | P/FINAL | 2025-08-19 | 11:12 | 2025-08-19 | 10:30 | ELENA | 2 | 13.3 | 13.4 | / | / |  |  |  | 1.813 | 2.08 | 198 |  | Kinga |  | 3 | 2 | 102001
2 | 15.0 | 267 | P/FINAL | 2025-08-19 | 11:13 | 2025-08-19 | 10:30 | ELENA | 2 | 13.1 | 13.2 | / | / |  |  |  |  | 2.45 | 211 |  | Kinga |  | 3 | 2 | 102001
3 | 35.0 | 268 | P/FINAL | 2025-08-19 | 11:16 | 2025-08-19 | 10:30 | ELENA | 2 | 32.9 | 32.7 | / | / |  |  |  |  | 1.78 | 202 |  | Kinga |  | 3 | 3 | 102001
3 | 35.0 | 269 | P/FINAL | 2025-08-19 | 11:16 | 2025-08-19 | 10:30 | ELENA | 2 | 31.8 | 31.7 | / | / |  |  |  |  | 4.42 | 198 |  | Kinga |  | 3 | 3 | 102001
3 | 35.0 | 270 | P/FINAL | 2025-08-19 | 11:17 | 2025-08-19 | 10:30 | ELENA | 2 | 32.3 | 32.4 | / | / |  |  |  | 1.801 | 2.27 | 202 |  | Kinga |  | 3 | 3 | 102001
4 | 60.0 | 271 | P/FINAL | 2025-08-19 | 11:28 | 2025-08-19 | 10:30 | ELENA | 2 | 55.9 | 55.9 | / | / |  |  |  |  | 3.18 | 201 |  | Kinga |  | 3 | 4 | 102001
4 | 60.0 | 272 | P/FINAL | 2025-08-19 | 11:28 | 2025-08-19 | 10:30 | ELENA | 2 | 55.4 | 55.5 | / | / |  |  |  |  | 2.35 | 212 |  | Kinga |  | 3 | 4 | 102001
4 | 60.0 | 273 | P/FINAL | 2025-08-19 | 11:29 | 2025-08-19 | 10:30 | ELENA | 2 | 56.1 | 56.2 | / | / |  |  |  | 1.761 | 5.34 | 206 |  | Kinga |  | 3 | 4 | 102001
4 | 60.0 | 274 | P/FINAL | 2025-08-19 | 11:29 | 2025-08-19 | 10:30 | ELENA | 2 | 56.1 | 56.2 | / | / |  |  |  |  | 5.34 | 209 |  | Kinga |  | 3 | 4 | 102001
2 | 15.0 | 275 | P/FINAL | 2025-08-19 | 14:00 | 2025-08-19 | 12:10 | ELENA | 2 | 13.8 | 13.8 | / | / |  |  |  | 1.838 | 0.74 | 207 |  | Kinga |  | 3 | 2
2 | 15.0 | 276 | P/FINAL | 2025-08-19 | 14:01 | 2025-08-19 | 12:10 | ELENA | 2 | 14.0 | 14.0 | / | / |  |  |  |  | 3.32 | 218 |  | Kinga |  | 3 | 2
2 | 15.0 | 277 | P/FINAL | 2025-08-19 | 14:01 | 2025-08-19 | 12:10 | ELENA | 2 | 14.1 | 14.1 | / | / |  |  |  |  | 2.44 | 206 |  | Kinga |  | 3 | 2
3 | 35.0 | 278 | P/FINAL | 2025-08-19 | 14:01 | 2025-08-19 | 12:10 | ELENA | 2 | 33.3 | 33.4 | / | / |  |  |  |  | 4.62 | 212 |  | Kinga |  | 3 | 3
3 | 35.0 | 279 | P/FINAL | 2025-08-19 | 14:02 | 2025-08-19 | 12:10 | ELENA | 2 | 33.5 | 33.6 | / | / |  |  |  | 1.841 | 2.70 | 209 |  | Kinga |  | 3 | 3
3 | 35.0 | 280 | P/FINAL | 2025-08-19 | 14:02 | 2025-08-19 | 12:10 | ELENA | 2 | 33.9 | 34.0 | / | / |  |  |  |  | 5.89 | 210 |  | Kinga |  | 3 | 3
3 | 35.0 | 281 | P/FINAL | 2025-08-19 | 14:02 | 2025-08-19 | 12:10 | ELENA | 2 | 33.9 | 34.0 | / | / |  |  |  |  | 5.89 | 207 |  | Kinga |  | 3 | 3
3 | 35.0 | 282 | P/FINAL | 2025-08-19 | 14:02 | 2025-08-19 | 12:10 | ELENA | 2 | 33.9 | 34.0 | / | / |  |  |  |  | 5.89 | 211 |  | Kinga |  | 3 | 3
4 | 60.0 | 283 | P/FINAL | 2025-08-19 | 14:03 | 2025-08-19 | 12:10 | ELENA | 2 | 56.3 | 56.6 | / | / |  |  |  | 1.849 | 3.52 |  |  | Kinga |  | 3 | 4
4 | 60.0 | 284 | P/FINAL | 2025-08-19 | 14:04 | 2025-08-19 | 12:10 | ELENA | 2 | 57.0 | 56.9 | / | / |  |  |  |  | 2.54 |  |  | Kinga |  | 3 | 4
4 | 60.0 | 285 | P/FINAL | 2025-08-19 | 14:04 | 2025-08-19 | 12:10 | ELENA | 2 | 56.0 | 56.1 | / | / |  |  |  |  | 2.15 | 211 |  | Kinga |  | 3 | 4
2 | 15.0 | 286 | P/FINAL | 2025-08-19 | 14:40 | 2025-08-19 | 14:05 | ELENA | 2 | 13.5 | 13.5 | / | / |  |  |  |  | 5.58 | 190 |  | Kinga |  | 3 | 2 | 102001
2 | 15.0 | 287 | P/FINAL | 2025-08-19 | 14:40 | 2025-08-19 | 14:05 | ELENA | 2 | 13.5 | 13.8 | / | / |  |  |  | 1.848 | 0.79 | 221 |  | Kinga |  | 3 | 2 | 102001
2 | 15.0 | 288 | P/FINAL | 2025-08-19 | 14:41 | 2025-08-19 | 14:05 | ELENA | 2 | 13.6 | 13.7 | / | / |  |  |  |  | 2.45 | 206 |  | Kinga |  | 3 | 2 | 102001
3 | 35.0 | 289 | P/FINAL | 2025-08-19 | 14:44 | 2025-08-19 | 14:05 | ELENA | 2 | 34.2 | 34.2 | / | / |  |  |  |  | 1.12 | 208 |  | Kinga |  | 3 | 3 | 102001
3 | 35.0 | 290 | P/FINAL | 2025-08-19 | 14:45 | 2025-08-19 | 14:05 | ELENA | 2 | 32.0 | 31.8 | / | / |  |  |  | 1.849 | 0.72 | 202 |  | Kinga |  | 3 | 3 | 102001
3 | 35.0 | 291 | P/FINAL | 2025-08-19 | 14:46 | 2025-08-19 | 14:05 | ELENA | 2 | 33.5 | 33.5 | / | / |  |  |  |  | 1.87 | 201 |  | Kinga |  | 3 | 3 | 102001
4 | 60.0 | 292 | P/FINAL | 2025-08-19 | 14:46 | 2025-08-19 | 14:05 | ELENA | 2 | 57.8 | 57.5 | / | / |  |  |  |  | 1.43 | 209 |  | Kinga |  | 3 | 4 | 102001
4 | 60.0 | 293 | P/FINAL | 2025-08-19 | 14:47 | 2025-08-19 | 14:05 | ELENA | 2 | 59.8 | 60.0 | / | / |  |  |  |  | 0.98 | 212 |  | Kinga |  | 3 | 4 | 102001
4 | 60.0 | 294 | P/FINAL | 2025-08-19 | 14:47 | 2025-08-19 | 14:05 | ELENA | 2 | 59.5 | 59.6 | / | / |  |  |  | 1.877 | 0.91 | 213 |  | Kinga |  | 3 | 4 | 102001
2 | 15.0 | 295 | P/FINAL | 2025-08-20 | 09:34 | 2025-08-20 | 09:10 | ELENA | 2 | 13.0 | 13.0 | / | / |  |  |  |  | 4.85 | 205 |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 296 | P/FINAL | 2025-08-20 | 09:34 | 2025-08-20 | 09:10 | ELENA | 2 | 13.0 | 13.0 | / | / |  |  |  |  | 4.85 | 22 |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 297 | P/FINAL | 2025-08-20 | 09:34 | 2025-08-20 | 09:10 | ELENA | 2 | 13.2 | 13.0 | / | / |  |  |  | 1.922 | 0.61 | 223 |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 298 | P/FINAL | 2025-08-20 | 09:35 | 2025-08-20 | 09:10 | ELENA | 2 | 13.3 | 13.1 | / | / |  |  |  |  | 0.95 | 211 |  | Kinga |  | 3 | 2 | 83905
3 | 35.0 | 299 | P/FINAL | 2025-08-20 | 09:39 | 2025-08-20 | 09:10 | ELENA | 2 | 31.5 | 31.6 | / | / |  |  |  |  | 5.58 | 219 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 300 | P/FINAL | 2025-08-20 | 09:40 | 2025-08-20 | 09:10 | ELENA | 2 | 32.3 | 32.4 | / | / |  |  |  | 1.883 | 0.96 | 214 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 301 | P/FINAL | 2025-08-20 | 09:40 | 2025-08-20 | 09:10 | ELENA | 2 | 32.3 | 32.4 | / | / |  |  |  |  | 0.96 | 199 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 302 | P/FINAL | 2025-08-20 | 09:40 | 2025-08-20 | 09:10 | ELENA | 2 | 32.8 | 32.9 | / | / |  |  |  |  | 2.53 | 187 |  | Kinga |  | 3 | 3 | 83905
4 | 60.0 | 303 | P/FINAL | 2025-08-20 | 09:57 | 2025-08-20 | 09:10 | ELENA | 2 | 58.0 | 57.9 | / | / |  |  |  |  | 2.77 | 187 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 304 | P/FINAL | 2025-08-20 | 09:58 | 2025-08-20 | 09:10 | ELENA | 2 | 58.9 | 58.9 | / | / |  |  |  |  | 1.17 | 197 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 305 | P/FINAL | 2025-08-20 | 09:59 | 2025-08-20 | 09:10 | ELENA | 2 | 58.0 | 58.1 | / | / |  |  |  | 1.919 | 2.99 | 193 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 306 | P/FINAL | 2025-08-20 | 09:59 | 2025-08-20 | 09:10 | ELENA | 2 | 58.0 | 58.1 | / | / |  |  |  | 1.919 | 2.99 | 204 |  | Kinga |  | 3 | 4 | 83905
2 | 15.0 | 307 | P/FINAL | 2025-08-20 | 11:14 | 2025-08-20 | 10:55 | ELENA | 2 | 13.4 | 13.4 | / | / |  |  |  |  | 6.81 |  |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 308 | P/FINAL | 2025-08-20 | 11:16 | 2025-08-20 | 10:55 | ELENA | 2 | 14.1 | 14.2 | / | / |  |  |  |  | 4.16 |  |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 309 | P/FINAL | 2025-08-20 | 11:16 | 2025-08-20 | 10:55 | ELENA | 2 | 14.1 | 14.2 | / | / |  |  |  |  | 4.16 |  |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 310 | P/FINAL | 2025-08-20 | 11:18 | 2025-08-20 | 10:55 | ELENA | 2 | 12.9 | 13.2 | / | / |  |  |  |  | 0.84 |  |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 311 | P/FINAL | 2025-08-20 | 11:18 | 2025-08-20 | 10:55 | ELENA | 2 | 12.9 | 13.2 | / | / |  |  |  |  | 0.84 |  |  | Kinga |  | 3 | 2 | 83905
3 | 35.0 | 312 | P/FINAL | 2025-08-20 | 11:28 | 2025-08-20 | 10:55 | ELENA | 2 | 33.6 | 33.0 | / | / |  |  |  |  | 7.52 | 218 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 313 | P/FINAL | 2025-08-20 | 11:29 | 2025-08-20 | 10:55 | ELENA | 2 | 32.3 | 32.4 | / | / |  |  |  | 1.891 | 0.77 | 216 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 314 | P/FINAL | 2025-08-20 | 11:33 | 2025-08-20 | 10:55 | ELENA | 2 | 32.2 | 32.5 | / | / |  |  |  |  | 1.05 | 210 |  | Kinga |  | 3 | 3 | 83905
4 | 60.0 | 315 | P/FINAL | 2025-08-20 | 11:35 | 2025-08-20 | 10:55 | ELENA | 2 | 55.8 | 55.7 | / | / |  |  |  |  | 4.11 | 199 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 316 | P/FINAL | 2025-08-20 | 11:35 | 2025-08-20 | 10:55 | ELENA | 2 | 55.8 | 55.7 | / | / |  |  |  | 1.911 | 4.11 | 220 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 317 | P/FINAL | 2025-08-20 | 11:35 | 2025-08-20 | 10:55 | ELENA | 2 | 55.8 | 55.7 | / | / |  |  |  |  | 4.11 | 208 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 318 | P/FINAL | 2025-08-20 | 11:35 | 2025-08-20 | 10:55 | ELENA | 2 | 61.4 | 60.5 | / | / |  |  |  |  | 1.34 | 207 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 319 | P/FINAL | 2025-08-20 | 11:40 | 2025-08-20 | 10:55 | ELENA | 2 | 61.4 | 61.0 | / | / |  |  |  | 1.879 | 0.96 | 209 |  | Kinga |  | 3 | 4 | 83905
3 | 35.0 | 320 | P/FINAL | 2025-08-20 | 13:44 | 2025-08-20 | 13:10 | ELENA | 2 | 33.1 | 33.1 | / | / |  |  |  |  | 5.98 | 180 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 321 | P/FINAL | 2025-08-20 | 13:44 | 2025-08-20 | 13:10 | ELENA | 2 | 32.1 | 32.5 | / | / |  |  |  |  | 0.90 | 186 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 322 | P/FINAL | 2025-08-20 | 13:45 | 2025-08-20 | 13:10 | ELENA | 2 | 32.7 | 33.0 | / | / |  |  |  | 1.849 | 1.67 | 180 |  | Kinga |  | 3 | 3 | 83905
2 | 15.0 | 323 | P/FINAL | 2025-08-20 | 13:46 | 2025-08-20 | 13:10 | ELENA | 2 | 14.2 | 13.9 | / | / |  |  |  |  | 0.75 | 186 |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 324 | P/FINAL | 2025-08-20 | 13:46 | 2025-08-20 | 13:10 | ELENA | 2 | 13.1 | 13.1 | / | / |  |  |  |  | 0.91 | 190 |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 325 | P/FINAL | 2025-08-20 | 13:47 | 2025-08-20 | 13:10 | ELENA | 2 | 12.3 | 12.3 | / | / |  |  |  | 1.899 | 1.85 | 198 |  | Kinga |  | 3 | 2 | 83905
4 | 60.0 | 326 | P/FINAL | 2025-08-20 | 13:49 | 2025-08-20 | 13:10 | ELENA | 2 | 58.7 | 58.7 | / | / |  |  |  |  | 0.98 | 210 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 327 | P/FINAL | 2025-08-20 | 13:50 | 2025-08-20 | 13:10 | ELENA | 2 | 55.9 | 56.0 | / | / |  |  |  |  | 3.17 | 190 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 328 | P/FINAL | 2025-08-20 | 13:51 | 2025-08-20 | 13:10 | ELENA | 2 | 55.3 | 55.1 | / | / |  |  |  | 1.912 | 1.68 | 189 |  | Kinga |  | 3 | 4 | 83905
2 | 15.0 | 329 | P/FINAL | 2025-08-20 | 15:05 | 2025-08-20 | 14:45 | ELENA | 2 | 12.9 | 12.8 | / | / |  |  |  |  | 0.66 | 204 |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 330 | P/FINAL | 2025-08-20 | 15:06 | 2025-08-20 | 14:45 | ELENA | 2 | 13.1 | 13.2 | / | / |  |  |  |  | 2.75 | 220 |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 331 | P/FINAL | 2025-08-20 | 15:07 | 2025-08-20 | 14:45 | ELENA | 2 | 13.6 | 13.8 | / | / |  |  |  | 1.851 | 3.12 | 206 |  | Kinga |  | 3 | 2 | 83905
3 | 35.0 | 332 | P/FINAL | 2025-08-20 | 15:10 | 2025-08-20 | 14:45 | ELENA | 2 | 33.8 | 33.9 | / | / |  |  |  |  | 0.89 | 197 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 333 | P/FINAL | 2025-08-20 | 15:11 | 2025-08-20 | 14:45 | ELENA | 2 | 32.3 | 33.3 | / | / |  |  |  |  | 0.89 | 211 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 334 | P/FINAL | 2025-08-20 | 15:11 | 2025-08-20 | 14:45 | ELENA | 2 | 33.3 | 33.4 | / | / |  |  |  | 1.909 | 1.78 | 200 |  | Kinga |  | 3 | 3 | 83905
4 | 60.0 | 335 | P/FINAL | 2025-08-20 | 15:12 | 2025-08-20 | 14:45 | ELENA | 2 | 56.2 | 56.0 | / | / |  |  |  |  | 0.76 | 210 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 336 | P/FINAL | 2025-08-20 | 15:12 | 2025-08-20 | 14:45 | ELENA | 2 | 56.2 | 56.0 | / | / |  |  |  |  | 0.76 | 202 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 337 | P/FINAL | 2025-08-20 | 15:12 | 2025-08-20 | 14:45 | ELENA | 2 | 56.2 | 56.0 | / | / |  |  |  |  | 0.76 | 212 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 338 | P/FINAL | 2025-08-20 | 15:13 | 2025-08-20 | 14:45 | ELENA | 2 | 56.1 | 55.9 | / | / |  |  |  |  | 0.76 | 206 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 339 | P/FINAL | 2025-08-20 | 15:14 | 2025-08-20 | 14:45 | ELENA | 2 | 57.2 | 57.7 | / | / |  |  |  | 1.912 | 1.37 | 210 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 340 | P/FINAL | 2025-08-20 | 15:14 | 2025-08-20 | 14:45 | ELENA | 2 | 57.2 | 57.7 | / | / |  |  |  |  | 1.37 | 209 |  | Kinga |  | 3 | 4 | 83905
2 | 15.0 | 341 | P/FINAL | 2025-08-21 | 08:51 | 2025-08-21 | 08:30 | ELENA | 2 | 12.3 | 12.4 | / | / |  |  |  | 1.891 | 4.13 | 211 |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 342 | P/FINAL | 2025-08-21 | 08:51 | 2025-08-21 | 08:30 | ELENA | 2 | 12.7 | 12.5 | / | / |  |  |  |  | 2.77 | 215 |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 343 | P/FINAL | 2025-08-21 | 08:52 | 2025-08-21 | 08:30 | ELENA | 2 | 13.7 | 13.6 | / | / |  |  |  |  | 3.11 | 217 |  | Kinga |  | 3 | 2 | 83905
3 | 35.0 | 344 | P/FINAL | 2025-08-21 | 08:55 | 2025-08-21 | 08:30 | ELENA | 2 | 31.3 | 31.4 | / | / |  |  |  | 1.906 | 1.23 | 206 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 345 | P/FINAL | 2025-08-21 | 08:56 | 2025-08-21 | 08:30 | ELENA | 2 | 31.4 | 31.5 | / | / |  |  |  |  | 1.46 | 193 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 346 | P/FINAL | 2025-08-21 | 08:56 | 2025-08-21 | 08:30 | ELENA | 2 | 31.4 | 31.3 | / | / |  |  |  |  | 1.02 | 215 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 347 | P/FINAL | 2025-08-21 | 08:56 | 2025-08-21 | 08:30 | ELENA | 2 | 31.4 | 31.3 | / | / |  |  |  |  | 1.02 | 209 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 348 | P/FINAL | 2025-08-21 | 08:56 | 2025-08-21 | 08:30 | ELENA | 2 | 31.4 | 31.3 | / | / |  |  |  | 1.895 | 1.02 | 201 |  | Kinga |  | 3 | 3 | 83905
4 | 60.0 | 349 | P/FINAL | 2025-08-21 | 09:04 | 2025-08-21 | 08:30 | ELENA | 2 | 55.9 | 56.0 | / | / |  |  |  |  | 2.04 | 203 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 350 | P/FINAL | 2025-08-21 | 09:04 | 2025-08-21 | 08:30 | ELENA | 2 | 57.1 | 57.2 | / | / |  |  |  |  | 2.34 | 209 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 351 | P/FINAL | 2025-08-21 | 09:05 | 2025-08-21 | 08:30 | ELENA | 2 | 56.1 | 56.2 | / | / |  |  |  | 1.843 | 2.63 | 211 |  | Kinga |  | 3 | 4 | 83905
2 | 15.0 | 352 | P/FINAL | 2025-08-21 | 10:30 | 2025-08-21 | 09:49 | ELENA | 2 | 12.3 | 12.3 | / | / |  |  |  |  | 2.99 | 210 |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 353 | P/FINAL | 2025-08-21 | 10:31 | 2025-08-21 | 09:49 | ELENA | 2 | 12.3 | 12.4 | / | / |  |  |  |  | 1.10 | 212 |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 354 | P/FINAL | 2025-08-21 | 10:31 | 2025-08-21 | 09:49 | ELENA | 2 | 12.3 | 12.4 | / | / |  |  |  |  | 1.10 | 210 |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 355 | P/FINAL | 2025-08-21 | 10:32 | 2025-08-21 | 09:49 | ELENA | 2 | 12.5 | 12.6 | / | / |  |  |  | 1.928 | 2.04 | 191 |  | Kinga |  | 3 | 2 | 83905
3 | 35.0 | 356 | P/FINAL | 2025-08-21 | 10:33 | 2025-08-21 | 09:49 | ELENA | 2 | 33.4 | 33.5 | / | / |  |  |  |  | 1.07 | 197 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 357 | P/FINAL | 2025-08-21 | 10:33 | 2025-08-21 | 09:49 | ELENA | 2 | 33.4 | 33.5 | / | / |  |  |  | 1.910 | 1.07 | 191 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 358 | P/FINAL | 2025-08-21 | 10:33 | 2025-08-21 | 09:49 | ELENA | 2 | 33.4 | 33.5 | / | / |  |  |  |  | 1.07 | 199 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 359 | P/FINAL | 2025-08-21 | 10:34 | 2025-08-21 | 09:49 | ELENA | 2 | 34.1 | 34.3 | / | / |  |  |  |  | 4.30 | 204 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 360 | P/FINAL | 2025-08-21 | 10:34 | 2025-08-21 | 09:49 | ELENA | 2 | 34.1 | 34.3 | / | / |  |  |  |  | 4.30 | 214 |  | Kinga |  | 3 | 3 | 83905
4 | 60.0 | 361 | P/FINAL | 2025-08-21 | 10:37 | 2025-08-21 | 09:49 | ELENA | 2 | 60.1 | 60.2 | / | / |  |  |  |  | 2.54 | 203 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 362 | P/FINAL | 2025-08-21 | 10:38 | 2025-08-21 | 09:49 | ELENA | 2 | 57.1 | 57.3 | / | / |  |  |  |  | 1.72 | 210 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 363 | P/FINAL | 2025-08-21 | 10:38 | 2025-08-21 | 09:49 | ELENA | 2 | 57.1 | 57.3 | / | / |  |  |  |  | 1.72 | 210 |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 364 | P/FINAL | 2025-08-21 | 10:38 | 2025-08-21 | 09:49 | ELENA | 2 | 55.9 | 56.1 | / | / |  |  |  | 1.907 | 2.13 | 214 |  | Kinga |  | 3 | 4 | 83905
2 | 15.0 | 365 | P/FINAL | 2025-08-21 | 11:43 | 2025-08-21 | 11:20 | ELENA | 2 | 12.5 | 12.7 | / | / |  |  |  |  | 0.84 | 204 |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 366 | P/FINAL | 2025-08-21 | 11:43 | 2025-08-21 | 11:20 | ELENA | 2 | 12.5 | 12.5 | / | / |  |  |  |  | 0.80 | 189 |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 367 | P/FINAL | 2025-08-21 | 11:44 | 2025-08-21 | 11:20 | ELENA | 2 | 13.2 | 13.4 | / | / |  |  |  |  | 0.71 | 197 |  | Kinga |  | 3 | 2 | 83905
2 | 15.0 | 368 | P/FINAL | 2025-08-21 | 11:44 | 2025-08-21 | 11:20 | ELENA | 2 | 13.2 | 13.4 | / | / |  |  |  | 1.929 | 0.71 | 204 |  | Kinga |  | 3 | 2 | 83905
3 | 35.0 | 369 | P/FINAL | 2025-08-21 | 11:50 | 2025-08-21 | 11:20 | ELENA | 2 | 32.0 | 32.1 | / | / |  |  |  |  | 1.86 | 211 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 370 | P/FINAL | 2025-08-21 | 11:56 | 2025-08-21 | 11:20 | ELENA | 2 | 31.4 | 31.6 | / | / |  |  |  |  | 0.64 | 208 |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 371 | P/FINAL | 2025-08-21 | 11:57 | 2025-08-21 | 11:20 | ELENA | 2 | 34.1 | 34.2 | / | / |  |  |  | 1.910 | 1.11 |  |  | Kinga |  | 3 | 3 | 83905
3 | 35.0 | 372 | P/FINAL | 2025-08-21 | 11:57 | 2025-08-21 | 11:20 | ELENA | 2 | 34.1 | 34.2 | / | / |  |  |  |  | 1.11 |  |  | Kinga |  | 3 | 3 | 83905
4 | 60.0 | 373 | P/FINAL | 2025-08-21 | 11:58 | 2025-08-21 | 11:20 | ELENA | 2 | 55.8 | 55.9 | / | / |  |  |  |  | 1.40 |  |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 374 | P/FINAL | 2025-08-21 | 11:59 | 2025-08-21 | 11:20 | ELENA | 2 | 56.4 | 56.7 | / | / |  |  |  |  | 0.71 |  |  | Kinga |  | 3 | 4 | 83905
4 | 60.0 | 375 | P/FINAL | 2025-08-21 | 11:59 | 2025-08-21 | 11:20 | ELENA | 2 | 60.1 | 60.2 | / | / |  |  |  | 1.907 | 0.88 |  |  | Kinga |  | 3 | 4 | 83905
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
32 | 64 | 0 mg/L | 32 | 64 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
95 | 190 | 13.9 mg/L | 95 | 190 | 13.9 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
96 | 192 | 33.9 mg/L | 96 | 192 | 33.9 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
93 | 186 | 57.9 mg/L | 93 | 186 | 57.9 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 2.0 | 0.0 | YES
15.0 | 12.3 ÷ 17.7 | 13.9 | YES
35.0 | 31.3 ÷ 38.7 | 33.9 | YES
60.0 | 55.1 ÷ 64.9 | 57.9 | YES
Validation Date | by
2025-08-25 | Eugenia