## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI782-0
1235 | HI782-0 | CP-R80 | W 46/1 |  | Parameter Formula | NO3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Nitrate HR Reagent | 2030-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
206 | 196 | 216
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 75.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-12 | 2025-11-14 | 2 HEAD |  |  | 1205
[6 empty] | Expiration A | Expiration B | Expiration D
2030-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO-740 | HI97115 | CTO-730
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 15.0 | 12.3 | 17.7 |  | MR101 |  | 2.0 | & | 4.9% | 100%
3 | 35.0 | 31.3 | 38.7
1 | 0.0 | 0.0 | 2.0 | [8 empty] | 1.7 | 1.5 | 1.9
4 | 60.0 | 55.1 | 64.9
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97115 | M. 2 HI97115 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 15.0 | 36 | P/FINAL | 2025-11-13 | 14:43 | 2025-11-13 | 14:21 | ELENA | 2 | 14.4 | 14.2 | / | / |  |  |  |  | 3.12 | 208 |  | Kinga |  | 3 | 2 | 119232
2 | 15.0 | 37 | P/FINAL | 2025-11-13 | 14:43 | 2025-11-13 | 14:21 | ELENA | 2 | 14.2 | 14.3 | / | / |  |  |  |  | 2.59 | 210 |  | Kinga |  | 3 | 2 | 119232
2 | 15.0 | 38 | P/FINAL | 2025-11-13 | 14:44 | 2025-11-13 | 14:21 | ELENA | 2 | 12.3 | 12.3 | / | / |  |  |  |  | 16.5 | 195 |  | Kinga |  | 3 | 2 | 119232
3 | 35.0 | 39 | P/FINAL | 2025-11-13 | 14:45 | 2025-11-13 | 14:21 | ELENA | 2 | 31.9 | 31.9 | / | / |  |  |  |  | 1.34 | 197 |  | Kinga |  | 3 | 3 | 119232
1 | 0.0 | 40 | P/FINAL | 2025-11-13 | 14:49 | 2025-11-13 | 14:21 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.802 | 0.96 | 196 |  | Kinga |  | 3 | 1 | 119232
1 | 0.0 | 41 | P/FINAL | 2025-11-13 | 14:49 | 2025-11-13 | 14:21 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.38 | 190 |  | Kinga |  | 3 | 1 | 119232
3 | 35.0 | 42 | P/FINAL | 2025-11-13 | 14:50 | 2025-11-13 | 14:21 | ELENA | 2 | 26.6 | 26.6 | / | / |  |  |  | 1.828 | 1.62 | 195 |  | Kinga |  | 3 | 3 | 119232
3 | 35.0 | 43 | P/FINAL | 2025-11-13 | 14:51 | 2025-11-13 | 14:21 | ELENA | 2 | 30.4 | 30.2 | / | / |  |  |  |  | 5.07 | 200 |  | Kinga |  | 3 | 3 | 119232
4 | 60.0 | 44 | P/FINAL | 2025-11-13 | 14:52 | 2025-11-13 | 14:21 | ELENA | 2 | 50.4 | 50.5 | / | / |  |  |  | 1.821 | 1.05 | 195 |  | Kinga |  | 3 | 4 | 119232
4 | 60.0 | 45 | P/FINAL | 2025-11-13 | 14:52 | 2025-11-13 | 14:21 | ELENA | 2 | 45.7 | 45.6 | / | / |  |  |  |  | 0.50 | 207 |  | Kinga |  | 3 | 4 | 119232
4 | 60.0 | 46 | P/FINAL | 2025-11-13 | 14:53 | 2025-11-13 | 14:21 | ELENA | 2 | 54.9 | 54.9 | / | / |  |  |  | 1.831 | 0.80 | 203 |  | Kinga |  | 3 | 4 | 119232
3 | 35.0 | 47 | P/FINAL | 2025-11-13 | 14:58 | 2025-11-13 | 14:21 | ELENA | 2 | 35.2 | 35.1 | / | / |  |  |  |  | 1.21 | 221 |  | Kinga |  | 3 | 3 | 119232
3 | 35.0 | 48 | P/FINAL | 2025-11-13 | 14:59 | 2025-11-13 | 14:21 | ELENA | 2 | 34.6 | 34.5 | / | / |  |  |  |  | 0.79 | 201 |  | Kinga |  | 3 | 3 | 119232
4 | 60.0 | 49 | P/FINAL | 2025-11-13 | 15:07 | 2025-11-13 | 14:21 | ELENA | 2 | 56.0 | 55.7 | / | / |  |  |  |  | 2.17 | 202 |  | Kinga |  | 3 | 4 | 119232
4 | 60.0 | 50 | P/FINAL | 2025-11-13 | 15:08 | 2025-11-13 | 14:21 | ELENA | 2 | 59.5 | 59.2 | / | / |  |  |  |  | 1.58 | 197 |  | Kinga |  | 3 | 4 | 119232
4 | 60.0 | 51 | P/FINAL | 2025-11-13 | 15:08 | 2025-11-13 | 14:21 | ELENA | 2 | 64.6 | 64.4 | / | / |  |  |  |  | 1.33 | 210 |  | Kinga |  | 3 | 4 | 119232
2 | 15.0 | 52 | P/FINAL | 2025-11-13 | 16:52 | 2025-11-13 | 15:44 | ELENA | 2 | 15.1 | 15.0 | / | / |  |  |  | 1.810 | 1.05 | 203 |  | Andrea V |  | 3 | 2 | 33942
2 | 15.0 | 53 | P/FINAL | 2025-11-13 | 16:53 | 2025-11-13 | 15:44 | ELENA | 2 | 13.1 | 13.3 | / | / |  |  |  |  | 9.35 | 188 |  | Andrea V |  | 3 | 2 | 33942
2 | 15.0 | 54 | P/FINAL | 2025-11-13 | 16:54 | 2025-11-13 | 15:44 | ELENA | 2 | 13.3 | 13.3 | / | / |  |  |  |  | 1.94 | 194 |  | Andrea V |  | 3 | 2 | 33942
3 | 35.0 | 55 | P/FINAL | 2025-11-13 | 16:56 | 2025-11-13 | 15:44 | ELENA | 2 | 36.2 | 36.3 | / | / |  |  |  | 1.812 | 1.48 | 198 |  | Andrea V |  | 3 | 3 | 33942
3 | 35.0 | 56 | P/FINAL | 2025-11-13 | 16:56 | 2025-11-13 | 15:44 | ELENA | 2 | 36.5 | 36.6 | / | / |  |  |  |  | 2.16 | 195 |  | Andrea V |  | 3 | 3 | 33942
3 | 35.0 | 57 | P/FINAL | 2025-11-13 | 16:57 | 2025-11-13 | 15:44 | ELENA | 2 | 36.0 | 36.1 | / | / |  |  |  |  | 2.05 | 184 |  | Andrea V |  | 3 | 3 | 33942
4 | 60.0 | 58 | P/FINAL | 2025-11-13 | 16:58 | 2025-11-13 | 15:44 | ELENA | 2 | 59.4 | 59.7 | / | / |  |  |  |  | 0.99 | 194 |  | Andrea V |  | 3 | 4 | 33942
4 | 60.0 | 59 | P/FINAL | 2025-11-13 | 16:59 | 2025-11-13 | 15:44 | ELENA | 2 | 63.2 | 62.7 | / | / |  |  |  | 1.805 | 1.37 | 192 |  | Andrea V |  | 3 | 4 | 33942
4 | 60.0 | 60 | P/FINAL | 2025-11-13 | 17:00 | 2025-11-13 | 15:44 | ELENA | 2 | 58.9 | 59.2 | / | / |  |  |  |  | 0.78 | 186 |  | Andrea V |  | 3 | 4 | 33942
1 | 0.0 | 61 | P/FINAL | 2025-11-13 | 17:07 | 2025-11-13 | 15:44 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.53 | 178 |  | Andrea V |  | 3 | 1 | 33942
1 | 0.0 | 62 | P/FINAL | 2025-11-13 | 17:07 | 2025-11-13 | 15:44 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.831 | 0.68 | 197 |  | Andrea V |  | 3 | 1 | 33942
2 | 15.0 | 63 | P/FINAL | 2025-11-13 | 17:56 | 2025-11-13 | 17:28 | ELENA | 2 | 14.9 | 14.9 | / | / | [5 empty] | 200 |  | Andrea V |  | 3 | 2 | 33942
2 | 15.0 | 64 | P/FINAL | 2025-11-13 | 17:57 | 2025-11-13 | 17:28 | ELENA | 2 | 14.8 | 14.7 | / | / |  |  |  | 1.826 | 3.72 | 200 |  | Andrea V |  | 3 | 2 | 33942
2 | 15.0 | 65 | P/FINAL | 2025-11-13 | 17:59 | 2025-11-13 | 17:28 | ELENA | 2 | 13.4 | 13.5 | / | / |  |  |  |  | 0.75 | 205 |  | Andrea V |  | 3 | 2 | 33942
3 | 35.0 | 66 | P/FINAL | 2025-11-13 | 18:01 | 2025-11-13 | 17:28 | ELENA | 2 | 35.7 | 35.8 | / | / |  |  |  |  | 1.68 | 206 |  | Andrea V |  | 3 | 3 | 33942
3 | 35.0 | 67 | P/FINAL | 2025-11-13 | 18:01 | 2025-11-13 | 17:28 | ELENA | 2 | 36.3 | 36.3 | / | / |  |  |  | 1.825 | 1.20 | 205 |  | Andrea V |  | 3 | 3 | 33942
3 | 35.0 | 68 | P/FINAL | 2025-11-13 | 18:02 | 2025-11-13 | 17:28 | ELENA | 2 | 36.7 | 36.2 | / | / |  |  |  |  | 1.47 | 197 |  | Andrea V |  | 3 | 3 | 33942
4 | 60.0 | 69 | P/FINAL | 2025-11-13 | 18:03 | 2025-11-13 | 17:28 | ELENA | 2 | 53.0 | 53.7 | / | / |  |  |  |  | 0.48 | 212 |  | Andrea V |  | 3 | 4 | 33942
4 | 60.0 | 70 | P/FINAL | 2025-11-13 | 18:04 | 2025-11-13 | 17:28 | ELENA | 2 | 61.9 | 62.0 | / | / |  |  |  | 1.840 | 1.03 | 202 |  | Andrea V |  | 3 | 4 | 33942
4 | 60.0 | 71 | P/FINAL | 2025-11-13 | 18:05 | 2025-11-13 | 17:28 | ELENA | 2 | 54.5 | 54.6 | / | / |  |  |  |  | 2.65 | 208 |  | Andrea V |  | 3 | 4 | 33942
1 | 0.0 | 72 | P/FINAL | 2025-11-13 | 18:09 | 2025-11-13 | 17:28 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 6.30 | 218 |  | Andrea V |  | 3 | 1 | 33942
1 | 0.0 | 73 | P/FINAL | 2025-11-13 | 18:10 | 2025-11-13 | 17:28 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.808 | 1.22 | 235 |  | Andrea V |  | 3 | 1 | 33942
4 | 60.0 | 74 | P/FINAL | 2025-11-13 | 18:16 | 2025-11-13 | 17:28 | ELENA | 2 | 56.0 | 56.4 | / | / |  |  |  |  | 0.66 | 198 |  | Andrea V |  | 3 | 4 | 33942
4 | 60.0 | 75 | P/FINAL | 2025-11-13 | 18:17 | 2025-11-13 | 17:28 | ELENA | 2 | 49.5 | 49.5 | / | / |  |  |  |  | 6.97 | 260 |  | Andrea V |  | 3 | 4 | 33942
4 | 60.0 | 76 | P/FINAL | 2025-11-13 | 18:25 | 2025-11-13 | 17:28 | ELENA | 2 | 59.2 | 59.6 | / | / |  |  |  |  | 1.91 | 212 |  | Andrea V |  | 3 | 4 | 33942
2 | 15.0 | 77 | P/FINAL | 2025-11-13 | 20:34 | 2025-11-13 | 19:47 | ELENA | 2 | 13.3 | 13.4 | / | / |  |  |  | 1.826 | 0.77 | 206 |  | Andrea V |  | 3 | 2 | 33942
2 | 15.0 | 78 | P/FINAL | 2025-11-13 | 20:35 | 2025-11-13 | 19:47 | ELENA | 2 | 14.8 | 14.8 | / | / |  |  |  |  | 6.00 | 222 |  | Andrea V |  | 3 | 2 | 33942
2 | 15.0 | 79 | P/FINAL | 2025-11-13 | 20:36 | 2025-11-13 | 19:47 | ELENA | 2 | 14.4 | 14.3 | / | / |  |  |  |  | 3.92 | 202 |  | Andrea V |  | 3 | 2 | 33942
3 | 35.0 | 80 | P/FINAL | 2025-11-13 | 20:39 | 2025-11-13 | 19:47 | ELENA | 2 | 33.2 | 33.4 | / | / |  |  |  | 1.812 | 2.05 | 211 |  | Andrea V |  | 3 | 3 | 33942
3 | 35.0 | 81 | P/FINAL | 2025-11-13 | 20:40 | 2025-11-13 | 19:47 | ELENA | 2 | 32.7 | 32.9 | / | / |  |  |  |  | 4.27 | 207 |  | Andrea V |  | 3 | 3 | 33942
3 | 35.0 | 82 | P/FINAL | 2025-11-13 | 20:40 | 2025-11-13 | 19:47 | ELENA | 2 | 36.4 | 36.6 | / | / |  |  |  |  | 7.21 | 231 |  | Andrea V |  | 3 | 3 | 33942
4 | 60.0 | 83 | P/FINAL | 2025-11-13 | 20:42 | 2025-11-13 | 19:47 | ELENA | 2 | 64.9 | 65.3 | / | / |  |  |  | 1.822 | 0.89 | 206 |  | Andrea V |  | 3 | 4 | 33942 | SHAKE VIGOROUSLY MANUAL
4 | 60.0 | 84 | P/FINAL | 2025-11-13 | 20:46 | 2025-11-13 | 19:47 | ELENA | 2 | 62.9 | 63.3 | / | / |  |  |  | 1.813 | 2.09 | 216 |  | Andrea V |  | 3 | 4 | 33942
4 | 60.0 | 85 | P/FINAL | 2025-11-13 | 20:48 | 2025-11-13 | 19:47 | ELENA | 2 | 57.5 | 57.8 | / | / |  |  |  |  | 0.65 | 207 |  | Andrea V |  | 3 | 4 | 33942
1 | 0.0 | 86 | P/FINAL | 2025-11-13 | 20:57 | 2025-11-13 | 19:47 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.809 | 1.10 | 218 |  | Andrea V |  | 3 | 1 | 33942
1 | 0.0 | 87 | P/FINAL | 2025-11-13 | 20:57 | 2025-11-13 | 19:47 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.80 | 212 |  | Andrea V |  | 3 | 1 | 33942
2 | 15.0 | 114 | P/FINAL | 2025-11-14 | 14:53 | 2025-11-14 | 14:33 | ELENA | 2 | 12.6 | 12.6 | / | / |  |  |  |  | 2.85 | 207 |  | Kinga |  | 3 | 2 | 11750
2 | 15.0 | 115 | P/FINAL | 2025-11-14 | 14:53 | 2025-11-14 | 14:33 | ELENA | 2 | 14.0 | 13.9 | / | / |  |  |  |  | 0.47 | 200 |  | Kinga |  | 3 | 2 | 11750
2 | 15.0 | 116 | P/FINAL | 2025-11-14 | 14:54 | 2025-11-14 | 14:33 | ELENA | 2 | 14.2 | 14.2 | / | / |  |  |  | 1.777 | 0.74 | 198 |  | Kinga |  | 3 | 2 | 11750
3 | 35.0 | 117 | P/FINAL | 2025-11-14 | 14:55 | 2025-11-14 | 14:33 | ELENA | 2 | 37.0 | 36.5 | / | / |  |  |  |  | 0.76 |  |  | Kinga |  | 3 | 3 | 11750
3 | 35.0 | 118 | P/FINAL | 2025-11-14 | 14:55 | 2025-11-14 | 14:33 | ELENA | 2 | 33.3 | 33.2 | / | / |  |  |  |  | 2.55 |  |  | Kinga |  | 3 | 3 | 11750
3 | 35.0 | 119 | P/FINAL | 2025-11-14 | 14:56 | 2025-11-14 | 14:33 | ELENA | 2 | 33.0 | 32.9 | / | / |  |  |  | 1.820 | 1.13 |  |  | Kinga |  | 3 | 3 | 11750
4 | 60.0 | 120 | P/FINAL | 2025-11-14 | 15:00 | 2025-11-14 | 14:33 | ELENA | 2 | 58.6 | 57.9 | / | / |  |  |  |  | 1.40 |  |  | Kinga |  | 3 | 4 | 11750
4 | 60.0 | 121 | P/FINAL | 2025-11-14 | 15:00 | 2025-11-14 | 14:33 | ELENA | 2 | 59.1 | 59.5 | / | / |  |  |  |  | 1.19 |  |  | Kinga |  | 3 | 4 | 11750
4 | 60.0 | 122 | P/FINAL | 2025-11-14 | 15:01 | 2025-11-14 | 14:33 | ELENA | 2 | 59.1 | 60.2 | / | / |  |  |  | 1.844 | 1.21 |  |  | Kinga |  | 3 | 4 | 11750
2 | 15.0 | 123 | P/FINAL | 2025-11-14 | 17:17 | 2025-11-14 | 15:56 | ELENA | 2 | 14.9 | 15.0 | / | / |  |  |  |  | 1.17 | 208 |  | Andrea V |  | 3 | 2
2 | 15.0 | 124 | P/FINAL | 2025-11-14 | 17:17 | 2025-11-14 | 15:56 | ELENA | 2 | 13.2 | 13.3 | / | / |  |  |  | 1.820 | 3.20 | 211 |  | Andrea V |  | 3 | 2
2 | 15.0 | 125 | P/FINAL | 2025-11-14 | 17:18 | 2025-11-14 | 15:56 | ELENA | 2 | 15.0 | 15.1 | / | / |  |  |  |  | 0.72 | 207 |  | Andrea V |  | 3 | 2
3 | 35.0 | 126 | P/FINAL | 2025-11-14 | 17:21 | 2025-11-14 | 15:56 | ELENA | 2 | 27.4 | 28.0 | / | / |  |  |  |  | 2.49 | 222 |  | Andrea V |  | 3 | 3
3 | 35.0 | 127 | P/FINAL | 2025-11-14 | 17:22 | 2025-11-14 | 15:56 | ELENA | 2 | 35.0 | 35.4 | / | / |  |  |  |  | 0.55 | 199 |  | Andrea V |  | 3 | 3
3 | 35.0 | 128 | P/FINAL | 2025-11-14 | 17:22 | 2025-11-14 | 15:56 | ELENA | 2 | 35.0 | 35.2 | / | / |  |  |  | 1.829 | 0.51 | 196 |  | Andrea V |  | 3 | 3
4 | 60.0 | 129 | P/FINAL | 2025-11-14 | 17:25 | 2025-11-14 | 15:56 | ELENA | 2 | 53.6 | 53.4 | / | / |  |  |  |  | 0.54 | 212 |  | Andrea V |  | 3 | 4
4 | 60.0 | 130 | P/FINAL | 2025-11-14 | 17:26 | 2025-11-14 | 15:56 | ELENA | 2 | 59.4 | 59.3 | / | / |  |  |  |  | 3.89 | 202 |  | Andrea V |  | 3 | 4
4 | 60.0 | 131 | P/FINAL | 2025-11-14 | 17:27 | 2025-11-14 | 15:56 | ELENA | 2 | 61.6 | 61.5 | / | / |  |  |  | 1.811 | 0.83 | 208 |  | Andrea V |  | 3 | 4
1 | 0.0 | 132 | P/FINAL | 2025-11-14 | 17:30 | 2025-11-14 | 15:56 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.805 | 0.96 | 207 |  | Andrea V |  | 3 | 1
3 | 35.0 | 133 | P/FINAL | 2025-11-14 | 17:39 | 2025-11-14 | 15:56 | ELENA | 2 | 35.6 | 35.8 | / | / |  |  |  |  | 5.65 | 201 |  | Andrea V |  | 3 | 3
4 | 60.0 | 134 | P/FINAL | 2025-11-14 | 17:39 | 2025-11-14 | 15:56 | ELENA | 2 | 63.9 | 64.0 | / | / |  |  |  |  | 3.26 | 211 |  | Andrea V |  | 3 | 4
2 | 15.0 | 135 | P/FINAL | 2025-11-14 | 18:59 | 2025-11-14 | 17:55 | ELENA | 2 | 13.1 | 13.2 | / | / |  |  |  |  | 3.55 | 217 |  | Andrea V |  | 3 | 2 | 95129
2 | 15.0 | 136 | P/FINAL | 2025-11-14 | 19:00 | 2025-11-14 | 17:55 | ELENA | 2 | 15.3 | 15.3 | / | / |  |  |  | 1.829 | 1.38 | 206 |  | Andrea V |  | 3 | 2 | 95129
2 | 15.0 | 137 | P/FINAL | 2025-11-14 | 19:01 | 2025-11-14 | 17:55 | ELENA | 2 | 15.5 | 15.6 | / | / |  |  |  |  | 3.50 | 215 |  | Andrea V |  | 3 | 2 | 95129
3 | 35.0 | 138 | P/FINAL | 2025-11-14 | 19:01 | 2025-11-14 | 17:55 | ELENA | 2 | 36.3 | 36.5 | / | / |  |  |  |  | 0.65 | 207 |  | Andrea V |  | 3 | 3 | 95129
3 | 35.0 | 139 | P/FINAL | 2025-11-14 | 19:02 | 2025-11-14 | 17:55 | ELENA | 2 | 35.7 | 35.7 | / | / |  |  |  | 1.830 | 4.02 | 208 |  | Andrea V |  | 3 | 3 | 95129
3 | 35.0 | 140 | P/FINAL | 2025-11-14 | 19:04 | 2025-11-14 | 17:55 | ELENA | 2 | 32.9 | 32.9 | / | / |  |  |  |  | 6.02 | 193 |  | Andrea V |  | 3 | 3 | 95129
4 | 60.0 | 141 | P/FINAL | 2025-11-14 | 19:04 | 2025-11-14 | 17:55 | ELENA | 2 | 57.1 | 58.1 | / | / |  |  |  |  | 0.73 | 208 |  | Andrea V |  | 3 | 4 | 95129
4 | 60.0 | 142 | P/FINAL | 2025-11-14 | 19:05 | 2025-11-14 | 17:55 | ELENA | 2 | 60.3 | 60.4 | / | / |  |  |  | 1.832 | 3.21 | 205 |  | Andrea V |  | 3 | 4 | 95129
4 | 60.0 | 143 | P/FINAL | 2025-11-14 | 19:06 | 2025-11-14 | 17:55 | ELENA | 2 | 50.0 | 50.0 | / | / |  |  |  |  | 0.51 | 191 |  | Andrea V |  | 3 | 4 | 95129
1 | 0.0 | 144 | P/FINAL | 2025-11-14 | 19:09 | 2025-11-14 | 17:55 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.59 | 191 |  | Andrea V |  | 3 | 1 | 95129
1 | 0.0 | 145 | P/FINAL | 2025-11-14 | 19:09 | 2025-11-14 | 17:55 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.814 | 1.09 | 214 |  | Andrea V |  | 3 | 1 | 95129
4 | 60.0 | 146 | P/FINAL | 2025-11-14 | 19:18 | 2025-11-14 | 17:55 | ELENA | 2 | 56.9 | 56.3 | / | / |  |  |  |  | 3.52 | 203 |  | Andrea V |  | 3 | 4 | 95129
2 | 15.0 | 147 | P/FINAL | 2025-11-14 | 20:34 | 2025-11-14 | 19:52 | ELENA | 2 | 11.2 | 11.2 | / | / |  |  |  |  | 0.98 | 219 |  | Andrea V |  | 3 | 2 | 95129
2 | 15.0 | 148 | P/FINAL | 2025-11-14 | 20:36 | 2025-11-14 | 19:52 | ELENA | 2 | 15.1 | 15.0 | / | / |  |  |  | 1.795 | 3.11 | 208 |  | Andrea V |  | 3 | 2 | 95129
2 | 15.0 | 149 | P/FINAL | 2025-11-14 | 20:36 | 2025-11-14 | 19:52 | ELENA | 2 | 13.6 | 13.6 | / | / |  |  |  |  | 3.06 | 215 |  | Andrea V |  | 3 | 2 | 95129
3 | 35.0 | 150 | P/FINAL | 2025-11-14 | 20:38 | 2025-11-14 | 19:52 | ELENA | 2 | 32.7 | 32.9 | / | / |  |  |  |  | 0.50 | 212 |  | Andrea V |  | 3 | 3 | 95129
3 | 35.0 | 151 | P/FINAL | 2025-11-14 | 20:38 | 2025-11-14 | 19:52 | ELENA | 2 | 35.6 | 35.7 | / | / |  |  |  | 1.806 | 0.75 | 207 |  | Andrea V |  | 3 | 3 | 95129
3 | 35.0 | 152 | P/FINAL | 2025-11-14 | 20:39 | 2025-11-14 | 19:52 | ELENA | 2 | 30.4 | 30.5 | / | / |  |  |  |  | 1.53 | 184 |  | Andrea V |  | 3 | 3 | 95129
4 | 60.0 | 153 | P/FINAL | 2025-11-14 | 20:41 | 2025-11-14 | 19:52 | ELENA | 2 | 55.6 | 55.5 | / | / |  |  |  | 1.834 | 0.54 | 199 |  | Andrea V |  | 3 | 4 | 95129
4 | 60.0 | 154 | P/FINAL | 2025-11-14 | 20:42 | 2025-11-14 | 19:52 | ELENA | 2 | 48.6 | 48.9 | / | / |  |  |  |  | 1.80 | 204 |  | Andrea V |  | 3 | 4 | 95129
4 | 60.0 | 155 | P/FINAL | 2025-11-14 | 20:48 | 2025-11-14 | 19:52 | ELENA | 2 | 59.3 | 59.4 | / | / |  |  |  | 1.817 | 1.66 | 202 |  | Andrea V |  | 3 | 4 | 95129
2 | 15.0 | 156 | P/FINAL | 2025-11-14 | 20:50 | 2025-11-14 | 19:52 | ELENA | 2 | 13.0 | 13.0 | / | / |  |  |  |  | 0.77 | 190 |  | Andrea V |  | 3 | 2 | 95129
3 | 35.0 | 157 | P/FINAL | 2025-11-14 | 20:54 | 2025-11-14 | 19:52 | ELENA | 2 | 33.6 | 33.6 | / | / |  |  |  |  | 1.27 | 213 |  | Andrea V |  | 3 | 3 | 95129
4 | 60.0 | 158 | P/FINAL | 2025-11-14 | 20:55 | 2025-11-14 | 19:52 | ELENA | 2 | 60.0 | 60.0 | / | / |  |  |  |  | 1.41 | 202 |  | Andrea V |  | 3 | 4 | 95129
1 | 0.0 | 159 | P/FINAL | 2025-11-14 | 20:55 | 2025-11-14 | 19:52 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.30 |  |  | Andrea V |  | 3 | 1 | 95129
1 | 0.0 | 160 | P/FINAL | 2025-11-14 | 20:56 | 2025-11-14 | 19:52 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.808 | 1.07 |  |  | Andrea V |  | 3 | 1 | 95129
2 | 15.0 | 161 | P/FINAL | 2025-11-17 | 08:40 | 2025-11-17 | 07:30 | ELENA | 2 | 14.3 | 14.4 | / | / |  |  |  |  | 1.49 |  |  | Kinga |  | 3 | 2 | 11932
2 | 15.0 | 162 | P/FINAL | 2025-11-17 | 08:41 | 2025-11-17 | 07:30 | ELENA | 2 | 14.9 | 15.1 | / | / |  |  |  | 1.797 | 0.92 |  |  | Kinga |  | 3 | 2 | 11932
2 | 15.0 | 163 | P/FINAL | 2025-11-17 | 08:42 | 2025-11-17 | 07:30 | ELENA | 2 | 15.0 | 15.0 | / | / |  |  |  |  | 3.20 |  |  | Kinga |  | 3 | 2 | 11932
3 | 35.0 | 164 | P/FINAL | 2025-11-17 | 08:46 | 2025-11-17 | 07:30 | ELENA | 2 | 33.9 | 33.9 | / | / |  |  |  |  | 0.70 |  |  | Kinga |  | 3 | 3 | 11932
3 | 35.0 | 165 | P/FINAL | 2025-11-17 | 08:47 | 2025-11-17 | 07:30 | ELENA | 2 | 35.9 | 36.0 | / | / |  |  |  | 1.858 | 0.65 | 200 |  | Kinga |  | 3 | 3 | 11932
3 | 35.0 | 166 | P/FINAL | 2025-11-17 | 08:48 | 2025-11-17 | 07:30 | ELENA | 2 | 37.8 | 38.0 | / | / |  |  |  |  | 3.25 | 208 |  | Kinga |  | 3 | 3 | 11932
4 | 60.0 | 167 | P/FINAL | 2025-11-17 | 08:53 | 2025-11-17 | 07:30 | ELENA | 2 | 57.7 | 58.7 | / | / |  |  |  |  | 1.69 | 188 |  | Kinga |  | 3 | 4 | 11932
4 | 60.0 | 168 | P/FINAL | 2025-11-17 | 08:53 | 2025-11-17 | 07:30 | ELENA | 2 | 56.2 | 56.4 | / | / |  |  |  | 1.821 | 1.15 | 214 |  | Kinga |  | 3 | 4 | 11932
4 | 60.0 | 169 | P/FINAL | 2025-11-17 | 08:54 | 2025-11-17 | 07:30 | ELENA | 2 | 56.2 | 58.4 | / | / |  |  |  |  | 1.13 | 210 |  | Kinga |  | 3 | 4 | 11932
1 | 0.0 | 170 | P/FINAL | 2025-11-17 | 08:56 | 2025-11-17 | 07:30 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 4.07 | 199 |  | Kinga |  | 3 | 1 | 11932
1 | 0.0 | 171 | P/FINAL | 2025-11-17 | 08:57 | 2025-11-17 | 07:30 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.813 | 2.77 | 188 |  | Kinga |  | 3 | 1 | 11932
2 | 15.0 | 172 | Old A | 2025-11-17 | 09:18 | 2025-11-17 | 07:30 | ELENA | 2 | 15.3 | 15.4 | / | / |  |  |  |  | 5.73 | 209 |  | Kinga |  | 3 | 2 | 11932
2 | 15.0 | 173 | Old A | 2025-11-17 | 09:19 | 2025-11-17 | 07:30 | ELENA | 2 | 14.1 | 14.1 | / | / |  |  |  |  | 2.29 | 197 |  | Kinga |  | 3 | 2 | 11932
3 | 35.0 | 174 | Old A | 2025-11-17 | 09:23 | 2025-11-17 | 07:30 | ELENA | 2 | 31.5 | 31.8 | / | / |  |  |  |  | 4.52 | 196 |  | Kinga |  | 3 | 3 | 11932
4 | 60.0 | 175 | Old A | 2025-11-17 | 09:26 | 2025-11-17 | 07:30 | ELENA | 2 | 55.1 | 55.3 | / | / |  |  |  |  | 4.67 | 206 |  | Kinga |  | 3 | 4 | 11932
4 | 60.0 | 176 | Old A | 2025-11-17 | 09:28 | 2025-11-17 | 07:30 | ELENA | 2 | 55.1 | 55.7 | / | / |  |  |  |  | 2.89 | 201 |  | Kinga |  | 3 | 4 | 11932
2 | 15.0 | 177 | P/FINAL | 2025-11-17 | 10:37 | 2025-11-17 | 09:47 | ELENA | 2 | 15.9 | 15.8 | / | / |  |  |  |  | 1.39 | 183 |  | Kinga |  | 3 | 2 | 95129
2 | 15.0 | 178 | P/FINAL | 2025-11-17 | 10:38 | 2025-11-17 | 09:47 | ELENA | 2 | 13.4 | 13.4 | / | / |  |  |  |  | 0.63 | 201 |  | Kinga |  | 3 | 2 | 95129
2 | 15.0 | 179 | P/FINAL | 2025-11-17 | 10:41 | 2025-11-17 | 09:47 | ELENA | 2 | 13.0 | 12.9 | / | / |  |  |  | 1.798 | 29.9 | 217 |  | Kinga |  | 3 | 2 | 95129
3 | 35.0 | 180 | P/FINAL | 2025-11-17 | 10:43 | 2025-11-17 | 09:47 | ELENA | 2 | 33.9 | 33.8 | / | / |  |  |  |  | 0.99 | 209 |  | Kinga |  | 3 | 3 | 95129
3 | 35.0 | 181 | P/FINAL | 2025-11-17 | 10:44 | 2025-11-17 | 09:47 | ELENA | 2 | 34.5 | 34.4 | / | / |  |  |  |  | 0.75 | 197 |  | Kinga |  | 3 | 3 | 95129
3 | 35.0 | 182 | P/FINAL | 2025-11-17 | 10:45 | 2025-11-17 | 09:47 | ELENA | 2 | 35.6 | 35.8 | / | / |  |  |  | 1.834 | 1.95 | 196 |  | Kinga |  | 3 | 3 | 95129
4 | 60.0 | 183 | P/FINAL | 2025-11-17 | 10:49 | 2025-11-17 | 09:47 | ELENA | 2 | 62.8 | 63.2 | / | / |  |  |  |  | 0.96 | 206 |  | Kinga |  | 3 | 4 | 95129
4 | 60.0 | 184 | P/FINAL | 2025-11-17 | 10:50 | 2025-11-17 | 09:47 | ELENA | 2 | 59.0 | 59.1 | / | / |  |  |  |  | 2.46 | 201 |  | Kinga |  | 3 | 4 | 95129
4 | 60.0 | 185 | P/FINAL | 2025-11-17 | 10:51 | 2025-11-17 | 09:47 | ELENA | 2 | 63.9 | 64.7 | / | / |  |  |  | 1.858 | 1.31 | 182 |  | Kinga |  | 3 | 4 | 95129
1 | 0.0 | 186 | P/FINAL | 2025-11-17 | 10:56 | 2025-11-17 | 09:47 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 2.31 | 201 |  | Kinga |  | 3 | 1 | 95129
1 | 0.0 | 187 | P/FINAL | 2025-11-17 | 10:56 | 2025-11-17 | 09:47 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 2.89 | 218 |  | Kinga |  | 3 | 1 | 95129
2 | 15.0 | 188 | P/FINAL | 2025-11-17 | 12:07 | 2025-11-17 | 11:39 | ELENA | 2 | 14.0 | 14.0 | / | / |  |  |  |  | 8.35 | 205 |  | Kinga |  | 3 | 2 | 92308
2 | 15.0 | 189 | P/FINAL | 2025-11-17 | 12:08 | 2025-11-17 | 11:39 | ELENA | 2 | 12.9 | 12.7 | / | / |  |  |  |  | 2.50 | 204 |  | Kinga |  | 3 | 2 | 92308
2 | 15.0 | 190 | P/FINAL | 2025-11-17 | 12:09 | 2025-11-17 | 11:39 | ELENA | 2 | 14.1 | 14.1 | / | / |  |  |  | 1.827 | 2.88 | 198 |  | Kinga |  | 3 | 2 | 92308
3 | 35.0 | 191 | P/FINAL | 2025-11-17 | 12:12 | 2025-11-17 | 11:39 | ELENA | 2 | 34.7 | 34.5 | / | / |  |  |  |  | 0.73 | 186 |  | Kinga |  | 3 | 3 | 92308
3 | 35.0 | 192 | P/FINAL | 2025-11-17 | 12:12 | 2025-11-17 | 11:39 | ELENA | 2 | 32.7 | 32.6 | / | / |  |  |  |  | 1.39 | 194 |  | Kinga |  | 3 | 3 | 92308
3 | 35.0 | 193 | P/FINAL | 2025-11-17 | 12:13 | 2025-11-17 | 11:39 | ELENA | 2 | 33.7 | 33.6 | / | / |  |  |  | 1.787 | 1.56 | 217 |  | Kinga |  | 3 | 3 | 92308
4 | 60.0 | 194 | P/FINAL | 2025-11-17 | 12:16 | 2025-11-17 | 11:39 | ELENA | 2 | 57.6 | 58.0 | / | / |  |  |  |  | 2.42 | 209 |  | Kinga |  | 3 | 4 | 92308
4 | 60.0 | 195 | P/FINAL | 2025-11-17 | 12:17 | 2025-11-17 | 11:39 | ELENA | 2 | 59.0 | 58.7 | / | / |  |  |  | 1.847 | 1.66 | 205 |  | Kinga |  | 3 | 4 | 92308
4 | 60.0 | 196 | P/FINAL | 2025-11-17 | 12:20 | 2025-11-17 | 11:39 | ELENA | 2 | 55.2 | 55.2 | / | / |  |  |  |  | 0.84 | 186 |  | Kinga |  | 3 | 4 | 92308
2 | 15.0 | 197 | P/FINAL | 2025-11-17 | 13:55 | 2025-11-17 | 13:02 | ELENA | 2 | 13.1 | 13.1 | / | / |  |  |  |  | 0.69 | 193 |  | Andrea V |  | 3 | 2 | 92308
2 | 15.0 | 198 | P/FINAL | 2025-11-17 | 13:56 | 2025-11-17 | 13:02 | ELENA | 2 | 13.1 | 14.8 | / | / |  |  |  | 1.840 | 1.49 | 198 |  | Andrea V |  | 3 | 2 | 92308
2 | 15.0 | 199 | P/FINAL | 2025-11-17 | 13:57 | 2025-11-17 | 13:02 | ELENA | 2 | 14.3 | 14.1 | / | / |  |  |  |  | 3.72 | 167 |  | Andrea V |  | 3 | 2 | 92308
3 | 35.0 | 200 | P/FINAL | 2025-11-17 | 13:58 | 2025-11-17 | 13:02 | ELENA | 2 | 35.3 | 35.2 | / | / |  |  |  |  | 0.71 | 193 |  | Andrea V |  | 3 | 3 | 92308
3 | 35.0 | 201 | P/FINAL | 2025-11-17 | 13:58 | 2025-11-17 | 13:02 | ELENA | 2 | 34.3 | 34.2 | / | / |  |  |  | 1.810 | 0.97 | 192 |  | Andrea V |  | 3 | 3 | 92308
3 | 35.0 | 202 | P/FINAL | 2025-11-17 | 13:59 | 2025-11-17 | 13:02 | ELENA | 2 | 35.3 | 35.4 | / | / |  |  |  |  | 1.00 | 210 |  | Andrea V |  | 3 | 3 | 92308
4 | 60.0 | 203 | P/FINAL | 2025-11-17 | 14:00 | 2025-11-17 | 13:02 | ELENA | 2 | 63.1 | 63.4 | / | / |  |  |  |  | 0.88 | 201 |  | Andrea V |  | 3 | 4 | 92308
4 | 60.0 | 204 | P/FINAL | 2025-11-17 | 14:00 | 2025-11-17 | 13:02 | ELENA | 2 | 57.3 | 57.3 | / | / |  |  |  | 1.812 | 0.98 | 179 |  | Andrea V |  | 3 | 4 | 92308
4 | 60.0 | 205 | P/FINAL | 2025-11-17 | 14:01 | 2025-11-17 | 13:02 | ELENA | 2 | 60.2 | 60.3 | / | / |  |  |  |  | 0.65 | 193 |  | Andrea V |  | 3 | 4 | 92308
1 | 0.0 | 206 | P/FINAL | 2025-11-17 | 14:02 | 2025-11-17 | 13:02 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.50 | 199 |  | Andrea V |  | 3 | 1 | 92308
1 | 0.0 | 207 | P/FINAL | 2025-11-17 | 14:03 | 2025-11-17 | 13:02 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.793 | 0.59 | 203 |  | Andrea V |  | 3 | 1 | 92308
2 | 15.0 | 217 | P/FINAL | 2025-11-18 | 08:30 | 2025-11-18 | 07:10 | ELENA | 2 | 14.1 | 14.1 | / | / |  |  |  |  | 1.82 | 198 |  | Kinga |  | 3 | 2 | 92116
2 | 15.0 | 218 | P/FINAL | 2025-11-18 | 08:31 | 2025-11-18 | 07:10 | ELENA | 2 | 13.4 | 13.4 | / | / |  |  |  |  | 1.64 | 192 |  | Kinga |  | 3 | 2 | 92116
2 | 15.0 | 219 | P/FINAL | 2025-11-18 | 08:31 | 2025-11-18 | 07:10 | ELENA | 2 | 14.6 | 14.6 | / | / |  |  |  |  | 2.39 | 194 |  | Kinga |  | 3 | 2 | 92116
3 | 35.0 | 220 | P/FINAL | 2025-11-18 | 08:33 | 2025-11-18 | 07:10 | ELENA | 2 | 33.1 | 33.4 | / | / |  |  |  |  | 3.96 | 195 |  | Kinga |  | 3 | 3 | 92116
3 | 35.0 | 221 | P/FINAL | 2025-11-18 | 08:34 | 2025-11-18 | 07:10 | ELENA | 2 | 34.2 | 34.5 | / | / |  |  |  |  | 0.89 | 201 |  | Kinga |  | 3 | 3 | 92116
3 | 35.0 | 222 | P/FINAL | 2025-11-18 | 08:34 | 2025-11-18 | 07:10 | ELENA | 2 | 34.1 | 34.2 | / | / |  |  |  |  | 1.23 | 194 |  | Kinga |  | 3 | 3 | 92116
4 | 60.0 | 223 | P/FINAL | 2025-11-18 | 08:37 | 2025-11-18 | 07:10 | ELENA | 2 | 56.1 | 56.3 | / | / |  |  |  |  | 1.88 | 188 |  | Kinga |  | 3 | 4 | 92116
4 | 60.0 | 224 | P/FINAL | 2025-11-18 | 08:37 | 2025-11-18 | 07:10 | ELENA | 2 | 59.2 | 59.4 | / | / |  |  |  | 1.839 | 2.12 | 203 |  | Kinga |  | 3 | 4 | 92116
4 | 60.0 | 225 | P/FINAL | 2025-11-18 | 08:37 | 2025-11-18 | 07:10 | ELENA | 2 | 61.1 | 61.1 | / | / |  |  |  |  | 2.36 | 198 |  | Kinga |  | 3 | 4 | 92116
1 | 0.0 | 226 | P/FINAL | 2025-11-18 | 08:38 | 2025-11-18 | 07:10 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.71 | 201 |  | Kinga |  | 3 | 1 | 92116
1 | 0.0 | 227 | P/FINAL | 2025-11-18 | 08:39 | 2025-11-18 | 07:10 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 5.06 | 196 |  | Kinga |  | 3 | 1 | 92116
2 | 15.0 | 228 | Old A | 2025-11-18 | 08:53 | 2025-11-18 | 07:10 | ELENA | 2 | 13.9 | 14.4 | / | / |  |  |  | 1.779 | 3.54 | 199 |  | Kinga |  | 3 | 2 | 92308
2 | 15.0 | 229 | Old A | 2025-11-18 | 08:53 | 2025-11-18 | 07:10 | ELENA | 2 | 13.2 | 13.3 | / | / |  |  |  |  | 3.51 | 189 |  | Kinga |  | 3 | 2 | 92308
3 | 35.0 | 230 | Old A | 2025-11-18 | 08:55 | 2025-11-18 | 07:10 | ELENA | 2 | 32.3 | 32.4 | / | / |  |  |  |  | 2.82 | 196 |  | Kinga |  | 3 | 3 | 92308
3 | 35.0 | 231 | Old A | 2025-11-18 | 08:56 | 2025-11-18 | 07:10 | ELENA | 2 | 31.4 | 31.6 | / | / |  |  |  | 1.777 | 3.07 | 202 |  | Kinga |  | 3 | 3 | 92308
4 | 60.0 | 232 | Old A | 2025-11-18 | 08:59 | 2025-11-18 | 07:10 | ELENA | 2 | 56.8 | 56.9 | / | / |  |  |  |  | 4.71 | 191 |  | Kinga |  | 3 | 4 | 92308
4 | 60.0 | 233 | Old A | 2025-11-18 | 08:59 | 2025-11-18 | 07:10 | ELENA | 2 | 55.6 | 55.8 | / | / |  |  |  |  | 3.60 | 205 |  | Kinga |  | 3 | 4 | 92308
2 | 15.0 | 234 | P/FINAL | 2025-11-18 | 10:38 | 2025-11-18 | 09:41 | ELENA | 2 | 14.1 | 14.0 | / | / |  |  |  | 1.766 | 1.44 | 198 |  | Kinga |  | 3 | 2 | 92116
2 | 15.0 | 235 | P/FINAL | 2025-11-18 | 10:39 | 2025-11-18 | 09:41 | ELENA | 2 | 14.4 | 14.3 | / | / |  |  |  |  | 1.46 | 201 |  | Kinga |  | 3 | 2 | 92116
2 | 15.0 | 236 | P/FINAL | 2025-11-18 | 10:41 | 2025-11-18 | 09:41 | ELENA | 2 | 14.3 | 14.3 | / | / |  |  |  |  | 1.96 | 198 |  | Kinga |  | 3 | 2 | 92116
3 | 35.0 | 237 | P/FINAL | 2025-11-18 | 10:42 | 2025-11-18 | 09:41 | ELENA | 2 | 38.1 | 38.6 | / | / |  |  |  | 1.772 | 2.27 | 205 |  | Kinga |  | 3 | 3 | 92116
3 | 35.0 | 238 | P/FINAL | 2025-11-18 | 10:43 | 2025-11-18 | 09:41 | ELENA | 2 | 35.3 | 35.7 | / | / |  |  |  |  | 2.27 | 189 |  | Kinga |  | 3 | 3 | 92116
3 | 35.0 | 239 | P/FINAL | 2025-11-18 | 10:43 | 2025-11-18 | 09:41 | ELENA | 2 | 34.9 | 34.6 | / | / |  |  |  |  | 0.59 | 203 |  | Kinga |  | 3 | 3 | 92116
4 | 60.0 | 240 | P/FINAL | 2025-11-18 | 10:55 | 2025-11-18 | 09:41 | ELENA | 2 | 58.6 | 61.2 | / | / |  |  |  |  | 1.58 | 205 |  | Kinga |  | 3 | 4 | 92116
4 | 60.0 | 241 | P/FINAL | 2025-11-18 | 10:56 | 2025-11-18 | 09:41 | ELENA | 2 | 63.7 | 63.9 | / | / |  |  |  |  | 2.06 | 191 |  | Kinga |  | 3 | 4 | 92116
4 | 60.0 | 242 | P/FINAL | 2025-11-18 | 11:04 | 2025-11-18 | 09:41 | ELENA | 2 | 60.5 | 63.9 | / | / |  |  |  | 1.903 | 0.70 | 198 |  | Kinga |  | 3 | 4 | 92116
2 | 15.0 | 243 | P/FINAL | 2025-11-18 | 11:43 | 2025-11-18 | 11:16 | ELENA | 2 | 13.6 | 13.7 | / | / |  |  |  |  | 1.09 | 211 |  | Kinga |  | 3 | 2 | 92116
2 | 15.0 | 244 | P/FINAL | 2025-11-18 | 11:44 | 2025-11-18 | 11:16 | ELENA | 2 | 14.1 | 14.1 | / | / |  |  |  |  | 3.17 | 203 |  | Kinga |  | 3 | 2 | 92116
2 | 15.0 | 245 | P/FINAL | 2025-11-18 | 11:45 | 2025-11-18 | 11:16 | ELENA | 2 | 13.9 | 13.8 | / | / |  |  |  | 1.835 | 0.69 | 213 |  | Kinga |  | 3 | 2 | 92116
3 | 35.0 | 246 | P/FINAL | 2025-11-18 | 11:48 | 2025-11-18 | 11:16 | ELENA | 2 | 33.1 | 33.1 | / | / |  |  |  |  | 2.57 | 218 |  | Kinga |  | 3 | 3 | 92116
3 | 35.0 | 247 | P/FINAL | 2025-11-18 | 11:49 | 2025-11-18 | 11:16 | ELENA | 2 | 34.2 | 34.4 | / | / |  |  |  |  | 2.01 | 198 |  | Kinga |  | 3 | 3 | 92116
3 | 35.0 | 248 | P/FINAL | 2025-11-18 | 11:50 | 2025-11-18 | 11:16 | ELENA | 2 | 32.1 | 32.2 | / | / |  |  |  | 1.858 | 2.30 | 201 |  | Kinga |  | 3 | 3 | 92116
1 | 0.0 | 249 | P/FINAL | 2025-11-18 | 11:51 | 2025-11-18 | 11:16 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 2.44 | 196 |  | Kinga |  | 3 | 1 | 92116
1 | 0.0 | 250 | P/FINAL | 2025-11-18 | 11:51 | 2025-11-18 | 11:16 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.57 | 210 |  | Kinga |  | 3 | 1 | 92116
4 | 60.0 | 251 | P/FINAL | 2025-11-18 | 11:53 | 2025-11-18 | 11:16 | ELENA | 2 | 55.9 | 55.9 | / | / |  |  |  | 1.911 | 0.93 | 204 |  | Kinga |  | 3 | 4 | 92116
4 | 60.0 | 252 | P/FINAL | 2025-11-18 | 11:59 | 2025-11-18 | 11:16 | ELENA | 2 | 55.9 | 57.2 | / | / |  |  |  |  | 1.03 | 209 |  | Kinga |  | 3 | 4 | 92116
4 | 60.0 | 253 | P/FINAL | 2025-11-18 | 12:03 | 2025-11-18 | 11:16 | ELENA | 2 | 63.2 | 63.3 | / | / |  |  |  |  | 1.41 | 198 |  | Kinga |  | 3 | 4 | 92116
2 | 15.0 | 254 | P/FINAL | 2025-11-18 | 12:47 | 2025-11-18 | 12:28 | ELENA | 2 | 13.1 | 13.2 | / | / |  |  |  |  | 0.85 | 204 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 255 | P/FINAL | 2025-11-18 | 12:47 | 2025-11-18 | 12:28 | ELENA | 2 | 13.4 | 13.4 | / | / |  |  |  | 1.866 | 1.56 | 180 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 256 | P/FINAL | 2025-11-18 | 12:48 | 2025-11-18 | 12:28 | ELENA | 2 | 13.2 | 13.3 | / | / |  |  |  |  | 2.92 | 203 |  | Kinga |  | 3 | 2 | 95012
3 | 35.0 | 257 | P/FINAL | 2025-11-18 | 12:48 | 2025-11-18 | 12:28 | ELENA | 2 | 32.4 | 32.5 | / | / |  |  |  | 1.819 | 4.69 | 204 |  | Kinga |  | 3 | 3 | 95012
3 | 35.0 | 258 | P/FINAL | 2025-11-18 | 12:49 | 2025-11-18 | 12:28 | ELENA | 2 | 35.5 | 35.7 | / | / |  |  |  |  | 2.59 | 200 |  | Kinga |  | 3 | 3 | 95012
3 | 35.0 | 259 | P/FINAL | 2025-11-18 | 12:50 | 2025-11-18 | 12:28 | ELENA | 2 | 33.1 | 33.2 | / | / |  |  |  | 1.858 | 2.99 | 188 |  | Kinga |  | 3 | 3 | 95012
4 | 60.0 | 260 | P/FINAL | 2025-11-18 | 12:54 | 2025-11-18 | 12:28 | ELENA | 2 | 55.6 | 55.7 | / | / |  |  |  |  | 1.43 | 207 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 261 | P/FINAL | 2025-11-18 | 13:54 | 2025-11-18 | 12:28 | ELENA | 2 | 56.1 | 56.2 | / | / |  |  |  |  | 1.05 | 198 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 262 | P/FINAL | 2025-11-18 | 13:55 | 2025-11-18 | 12:28 | ELENA | 2 | 62.3 | 62.5 | / | / |  |  |  | 1.861 | 1.05 | 201 |  | Kinga |  | 3 | 4 | 95012
2 | 15.0 | 271 | P/FINAL | 2025-11-19 | 07:42 | 2025-11-19 | 06:45 | ELENA | 2 | 13.5 | 13.7 | / | / |  |  |  |  | 4.70 | 194 |  | Andrea V |  | 3 | 2
2 | 15.0 | 272 | P/FINAL | 2025-11-19 | 07:43 | 2025-11-19 | 06:45 | ELENA | 2 | 14.1 | 14.1 | / | / |  |  |  |  | 4.32 | 198 |  | Andrea V |  | 3 | 2
2 | 15.0 | 273 | P/FINAL | 2025-11-19 | 07:43 | 2025-11-19 | 06:45 | ELENA | 2 | 16.0 | 15.9 | / | / |  |  |  | 1.794 | 2.64 | 199 |  | Andrea V |  | 3 | 2
3 | 35.0 | 274 | P/FINAL | 2025-11-19 | 07:45 | 2025-11-19 | 06:45 | ELENA | 2 | 31.8 | 31.3 | / | / |  |  |  |  | 0.70 | 193 |  | Andrea V |  | 3 | 3 | 95012
3 | 35.0 | 275 | P/FINAL | 2025-11-19 | 07:46 | 2025-11-19 | 06:45 | ELENA | 2 | 32.4 | 28.0 | / | / |  |  |  |  | 1.52 | 198 |  | Andrea V |  | 3 | 3 | 95012
3 | 35.0 | 276 | P/FINAL | 2025-11-19 | 07:46 | 2025-11-19 | 06:45 | ELENA | 2 | 28.4 | 28.5 | / | / |  |  |  |  | 1.84 | 202 |  | Andrea V |  | 3 | 3 | 95012
4 | 60.0 | 277 | P/FINAL | 2025-11-19 | 07:47 | 2025-11-19 | 06:45 | ELENA | 2 | 57.8 | 57.2 | / | / |  |  |  | 1.804 | 0.85 | 192 |  | Andrea V |  | 3 | 4 | 95012
4 | 60.0 | 278 | P/FINAL | 2025-11-19 | 07:48 | 2025-11-19 | 06:45 | ELENA | 2 | 57.4 | 57.7 | / | / |  |  |  |  | 0.61 | 193 |  | Andrea V |  | 3 | 4 | 95012
4 | 60.0 | 279 | P/FINAL | 2025-11-19 | 07:49 | 2025-11-19 | 06:45 | ELENA | 2 | 63.9 | 63.5 | / | / |  |  |  |  | 0.59 | 194 |  | Andrea V |  | 3 | 4 | 95012
1 | 0.0 | 280 | P/FINAL | 2025-11-19 | 07:50 | 2025-11-19 | 06:45 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.33 | 193 |  | Andrea V |  | 3 | 1 | 95012
1 | 0.0 | 281 | P/FINAL | 2025-11-19 | 07:51 | 2025-11-19 | 06:45 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.785 | 0.71 | 199 |  | Andrea V |  | 3 | 1 | 95012
2 | 15.0 | 1 | Old A | 2025-11-12 | 09:34 | 2025-11-12 | 08:48 | ERIKA |  | 15.0 | 15.1 | / | / |  |  |  |  | 2.25 |  |  | Kinga |  | 3 | 2 | 11750
2 | 15.0 | 2 | Old A | 2025-11-12 | 09:36 | 2025-11-12 | 08:48 | ERIKA |  | 16.2 | 16.3 | / | / |  |  |  |  | 2.92 |  |  | Kinga |  | 3 | 2 | 11750
3 | 35.0 | 3 | Old A | 2025-11-12 | 09:36 | 2025-11-12 | 08:48 | ERIKA |  | 34.2 | 34.4 | / | / |  |  |  |  | 2.51 |  |  | Kinga |  | 3 | 3 | 11750
3 | 35.0 | 4 | Old A | 2025-11-12 | 09:36 | 2025-11-12 | 08:48 | ERIKA |  | 34.8 | 35.0 | / | / |  |  |  |  | 2.07 |  |  | Kinga |  | 3 | 3 | 11750
4 | 60.0 | 5 | Old A | 2025-11-12 | 09:39 | 2025-11-12 | 08:48 | ERIKA |  | 55.7 | 55.6 | / | / |  |  |  |  | 2.28 |  |  | Kinga |  | 3 | 4 | 11750
4 | 60.0 | 6 | Old A | 2025-11-12 | 09:39 | 2025-11-12 | 08:48 | ERIKA |  | 56.0 | 56.7 | / | / |  |  |  |  | 2.17 |  |  | Kinga |  | 3 | 4 | 11750
1 | 0.0 | 7 | Old A | 2025-11-12 | 09:39 | 2025-11-12 | 08:48 | ERIKA |  | 0.0 | 0.1 | / | / |  |  |  |  | 2.20 |  |  | Kinga |  | 3 | 1 | 11750
1 | 0.0 | 8 | Old A | 2025-11-12 | 09:39 | 2025-11-12 | 08:48 | ERIKA |  | 0.2 | 0.2 | / | / |  |  |  |  | 2.40 |  |  | Kinga |  | 3 | 1 | 11750
2 | 15.0 | 9 | Valid | 2025-11-12 | 09:45 | 2025-11-12 | 08:48 | ERIKA |  | 14.5 | 14.4 | / | / |  |  |  | 1.856 | 0.45 |  |  | Kinga |  | 3 | 2 | 11750
2 | 15.0 | 10 | Valid | 2025-11-12 | 09:45 | 2025-11-12 | 08:48 | ERIKA |  | 14.3 | 14.3 | / | / |  |  |  |  | 0.82 |  |  | Kinga |  | 3 | 2 | 11750
2 | 15.0 | 11 | Valid | 2025-11-12 | 09:46 | 2025-11-12 | 08:48 | ERIKA |  | 15.1 | 15.2 | / | / |  |  |  |  | 1.33 |  |  | Kinga |  | 3 | 2 | 11750
3 | 35.0 | 12 | Valid | 2025-11-12 | 09:47 | 2025-11-12 | 08:48 | ERIKA |  | 37.1 | 37.1 | / | / |  |  |  | 1.818 | 1.27 |  |  | Kinga |  | 3 | 3 | 11750
3 | 35.0 | 13 | Valid | 2025-11-12 | 09:47 | 2025-11-12 | 08:48 | ERIKA |  | 36.4 | 36.1 | / | / |  |  |  |  | 1.08 |  |  | Kinga |  | 3 | 3 | 11750
4 | 60.0 | 14 | P/FINAL | 2025-11-12 | 09:52 | 2025-11-12 | 08:48 | ERIKA |  | 55.4 | 55.7 | / | / |  |  |  |  | 0.52 |  |  | Kinga |  | 3 | 4 | 11750
4 | 60.0 | 15 | Valid | 2025-11-12 | 09:54 | 2025-11-12 | 08:48 | ERIKA |  | 57.2 | 57.9 | / | / |  |  |  | 1.825 | 2.06 |  |  | Kinga |  | 3 | 4 | 11750
1 | 0.0 | 16 | Valid | 2025-11-12 | 09:56 | 2025-11-12 | 08:48 | ERIKA |  | 0.0 | 2.0 | / | / |  |  |  | 1.819 | 2.38 |  |  | Kinga |  | 3 | 1 | 11750
2 | 15.0 | 17 | Old A | 2025-11-13 | 08:19 | 2025-11-13 |  | ROLAND | 2 | 15.8 | 15.9 | / | / |  |  |  |  | 3.23 |  |  | Kinga |  | 3 | 2 | 11750
2 | 15.0 | 18 | Old A | 2025-11-13 | 08:20 | 2025-11-13 |  | ROLAND | 2 | 14.7 | 14.8 | / | / |  |  |  |  | 1.82 |  |  | Kinga |  | 3 | 2 | 11750
3 | 35.0 | 19 | Old A | 2025-11-13 | 08:22 | 2025-11-13 |  | ROLAND | 2 | 34.1 | 34.3 | / | / |  |  |  |  | 2.05 |  |  | Kinga |  | 3 | 3 | 11750
3 | 35.0 | 20 | Old A | 2025-11-13 | 08:23 | 2025-11-13 |  | ROLAND | 2 | 34.7 | 34.8 | / | / |  |  |  |  | 2.67 |  |  | Kinga |  | 3 | 3 | 11750
4 | 60.0 | 21 | Old A | 2025-11-13 | 08:24 | 2025-11-13 |  | ROLAND | 2 | 57.0 | 57.7 | / | / |  |  |  |  | 2.51 |  |  | Kinga |  | 3 | 4 | 11750
4 | 60.0 | 22 | Old A | 2025-11-13 | 08:24 | 2025-11-13 |  | ROLAND | 2 | 55.1 | 55.2 | / | / |  |  |  |  | 1.93 |  |  | Kinga |  | 3 | 4 | 11750
1 | 0.0 | 23 | Old A | 2025-11-13 | 08:25 | 2025-11-13 |  | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 2.68 |  |  | Kinga |  | 3 | 1 | 11750
1 | 0.0 | 24 | Old A | 2025-11-13 | 08:25 | 2025-11-13 |  | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 2.82 |  |  | Kinga |  | 3 | 1 | 11750
2 | 15.0 | 25 | P/FINAL | 2025-11-13 | 09:45 | 2025-11-13 | 09:21 | ROLAND | 2 | 13.1 | 13.2 | / | / |  |  |  |  | 2.61 | 204 |  | Kinga |  | 3 | 2 | 11750
2 | 15.0 | 26 | P/FINAL | 2025-11-13 | 09:46 | 2025-11-13 | 09:21 | ROLAND | 2 | 15.1 | 15.2 | / | / |  |  |  |  | 0.76 | 203 |  | Kinga |  | 3 | 2 | 11750
2 | 15.0 | 27 | P/FINAL | 2025-11-13 | 09:46 | 2025-11-13 | 09:21 | ROLAND | 2 | 12.8 | 12.9 | / | / |  |  |  | 1.849 | 1.11 | 198 |  | Kinga |  | 3 | 2 | 11750
3 | 35.0 | 28 | P/FINAL | 2025-11-13 | 09:50 | 2025-11-13 | 09:21 | ROLAND | 2 | 32.8 | 32.9 | / | / |  |  |  |  | 0.84 | 213 |  | Kinga |  | 3 | 3 | 11750
3 | 35.0 | 29 | P/FINAL | 2025-11-13 | 09:50 | 2025-11-13 | 09:21 | ROLAND | 2 | 37.1 | 36.9 | / | / |  |  |  |  | 0.48 | 222 |  | Kinga |  | 3 | 3 | 11750
3 | 35.0 | 30 | P/FINAL | 2025-11-13 | 09:51 | 2025-11-13 | 09:21 | ROLAND | 2 | 33.6 | 33.6 | / | / |  |  |  | 1.848 | 0.52 | 192 |  | Kinga |  | 3 | 3 | 11750
4 | 60.0 | 31 | P/FINAL | 2025-11-13 | 09:52 | 2025-11-13 | 09:21 | ROLAND | 2 | 61.0 | 61.6 | / | / |  |  |  |  | 0.99 | 194 |  | Kinga |  | 3 | 4 | 11750
4 | 60.0 | 32 | P/FINAL | 2025-11-13 | 09:53 | 2025-11-13 | 09:21 | ROLAND | 2 | 63.2 | 63.3 | / | / |  |  |  |  | 1.88 | 184 |  | Kinga |  | 3 | 4 | 11750
4 | 60.0 | 33 | P/FINAL | 2025-11-13 | 09:54 | 2025-11-13 | 09:21 | ROLAND | 2 | 55.7 | 55.4 | / | / |  |  |  | 1.836 | 2.27 | 195 |  | Kinga |  | 3 | 4 | 11750
1 | 0.0 | 34 | P/FINAL | 2025-11-13 | 09:55 | 2025-11-13 | 09:21 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 0.61 | 198 |  | Kinga |  | 3 | 1 | 11750
1 | 0.0 | 35 | P/FINAL | 2025-11-13 | 09:55 | 2025-11-13 | 09:21 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.840 | 0.74 | 203 |  | Kinga |  | 3 | 1 | 11750
2 | 15.0 | 88 | Old A | 2025-11-14 | 08:25 | 2025-11-14 |  | ROLAND | 2 | 15.1 | 15.2 | / | / |  |  |  |  | 5.94 |  |  | Kinga |  | 3 | 2 | 95129
2 | 15.0 | 89 | Old A | 2025-11-14 | 08:25 | 2025-11-14 |  | ROLAND | 2 | 16.0 | 15.9 | / | / |  |  |  |  | 4.86 |  |  | Kinga |  | 3 | 2 | 95129
3 | 35.0 | 90 | Old A | 2025-11-14 | 08:27 | 2025-11-14 |  | ROLAND | 2 | 32.8 | 32.9 | / | / |  |  |  |  | 2.84 |  |  | Kinga |  | 3 | 3 | 95129
3 | 35.0 | 91 | Old A | 2025-11-14 | 08:28 | 2025-11-14 |  | ROLAND | 2 | 33.4 | 33.5 | / | / |  |  |  |  | 3.16 |  |  | Kinga |  | 3 | 3 | 95129
4 | 60.0 | 92 | Old A | 2025-11-14 | 08:31 | 2025-11-14 |  | ROLAND | 2 | 55.6 | 55.9 | / | / |  |  |  |  | 4.41 |  |  | Kinga |  | 3 | 4 | 95129
4 | 60.0 | 93 | Old A | 2025-11-14 | 08:32 | 2025-11-14 |  | ROLAND | 2 | 56.9 | 57.0 | / | / |  |  |  |  | 6.00 |  |  | Kinga |  | 3 | 4 | 95129
2 | 15.0 | 94 | P/FINAL | 2025-11-14 | 08:44 | 2025-11-14 | 08:21 | ROLAND | 2 | 14.3 | 14.3 | / | / |  |  |  | 1.853 | 6.70 | 190 |  | Kinga |  | 3 | 2 | 95129
2 | 15.0 | 95 | P/FINAL | 2025-11-14 | 08:44 | 2025-11-14 | 08:21 | ROLAND | 2 | 16.4 | 16.6 | / | / |  |  |  |  | 2.64 | 185 |  | Kinga |  | 3 | 2 | 95129
2 | 15.0 | 96 | P/FINAL | 2025-11-14 | 08:45 | 2025-11-14 | 08:21 | ROLAND | 2 | 16.8 | 16.8 | / | / |  |  |  |  | 6.01 | 196 |  | Kinga |  | 3 | 2 | 95129
3 | 35.0 | 97 | P/FINAL | 2025-11-14 | 08:46 | 2025-11-14 | 08:21 | ROLAND | 2 | 36.8 | 37.0 | / | / |  |  |  | 1.844 | 1.11 | 191 |  | Kinga |  | 3 | 3 | 95129
3 | 35.0 | 98 | P/FINAL | 2025-11-14 | 08:48 | 2025-11-14 | 08:21 | ROLAND | 2 | 32.7 | 32.9 | / | / |  |  |  |  | 3.00 | 201 |  | Kinga |  | 3 | 3 | 95129
3 | 35.0 | 99 | P/FINAL | 2025-11-14 | 08:49 | 2025-11-14 | 08:21 | ROLAND | 2 | 33.5 | 33.7 | / | / |  |  |  |  | 2.75 | 203 |  | Kinga |  | 3 | 3 | 95129
4 | 60.0 | 100 | P/FINAL | 2025-11-14 | 08:53 | 2025-11-14 | 08:21 | ROLAND | 2 | 55.9 | 56.0 | / | / |  |  |  | 1.840 | 2.08 | 198 |  | Kinga |  | 3 | 4 | 95129
4 | 60.0 | 101 | P/FINAL | 2025-11-14 | 08:54 | 2025-11-14 | 08:21 | ROLAND | 2 | 55.2 | 56.0 | / | / |  |  |  |  | 1.51 | 198 |  | Kinga |  | 3 | 4 | 95129
4 | 60.0 | 102 | P/FINAL | 2025-11-14 | 08:58 | 2025-11-14 | 08:21 | ROLAND | 2 | 63.0 | 63.4 | / | / |  |  |  |  | 2.98 | 195 |  | Kinga |  | 3 | 4 | 95129
2 | 15.0 | 103 | P/FINAL | 2025-11-14 | 11:27 | 2025-11-14 | 11:03 | ROLAND | 2 | 14.7 | 14.8 | / | / |  |  |  |  | 0.95 | 201 |  | Kinga |  | 3 | 2 | 11932
2 | 15.0 | 104 | P/FINAL | 2025-11-14 | 11:28 | 2025-11-14 | 11:03 | ROLAND | 2 | 13.9 | 13.8 | / | / |  |  |  |  | 0.74 | 213 |  | Kinga |  | 3 | 2 | 11932
2 | 15.0 | 105 | P/FINAL | 2025-11-14 | 11:29 | 2025-11-14 | 11:03 | ROLAND | 2 | 13.1 | 13.1 | / | / |  |  |  | 1.849 | 0.80 | 207 |  | Kinga |  | 3 | 2 | 11932
3 | 35.0 | 106 | P/FINAL | 2025-11-14 | 11:32 | 2025-11-14 | 11:03 | ROLAND | 2 | 36.9 | 37.1 | / | / |  |  |  |  | 1.12 | 196 |  | Kinga |  | 3 | 3 | 11932
3 | 35.0 | 107 | P/FINAL | 2025-11-14 | 11:32 | 2025-11-14 | 11:03 | ROLAND | 2 | 37.1 | 36.5 | / | / |  |  |  |  | 2.32 | 206 |  | Kinga |  | 3 | 3 | 11932
3 | 35.0 | 108 | P/FINAL | 2025-11-14 | 11:34 | 2025-11-14 | 11:03 | ROLAND | 2 | 35.6 | 35.6 | / | / |  |  |  | 1.824 | 1.34 | 1987 |  | Kinga |  | 3 | 3 | 11932
4 | 60.0 | 109 | P/FINAL | 2025-11-14 | 11:35 | 2025-11-14 | 11:03 | ROLAND | 2 | 61.1 | 60.7 | / | / |  |  |  |  | 3.30 | 197 |  | Kinga |  | 3 | 4 | 11932
4 | 60.0 | 110 | P/FINAL | 2025-11-14 | 11:36 | 2025-11-14 | 11:03 | ROLAND | 2 | 63.0 | 62.9 | / | / |  |  |  |  | 1.79 | 208 |  | Kinga |  | 3 | 4 | 11932
4 | 60.0 | 111 | P/FINAL | 2025-11-14 | 11:36 | 2025-11-14 | 11:03 | ROLAND | 2 | 61.4 | 61.7 | / | / |  |  |  | 1.782 | 1.67 | 203 |  | Kinga |  | 3 | 4 | 11932
1 | 0.0 | 112 | P/FINAL | 2025-11-14 | 11:42 | 2025-11-14 | 11:03 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 2.86 | 197 |  | Kinga |  | 3 | 1 | 11932
1 | 0.0 | 113 | P/FINAL | 2025-11-14 | 11:42 | 2025-11-14 | 11:03 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 2.99 | 207 |  | Kinga |  | 3 | 1 | 11932
2 | 15.0 | 208 | P/FINAL | 2025-11-17 | 15:05 | 2025-11-17 | 14:31 | ROLAND | 2 | 15.1 | 15.1 | / | / |  |  |  |  | 3.82 | 201 |  | Kinga |  | 3 | 2 | 92308
2 | 15.0 | 209 | P/FINAL | 2025-11-17 | 15:06 | 2025-11-17 | 14:31 | ROLAND | 2 | 13.3 | 13.1 | / | / |  |  |  |  | 2.48 | 198 |  | Kinga |  | 3 | 2 | 92308
2 | 15.0 | 210 | P/FINAL | 2025-11-17 | 15:06 | 2025-11-17 | 14:31 | ROLAND | 2 | 12.4 | 12.3 | / | / |  |  |  | 1.822 | 4.37 | 210 |  | Kinga |  | 3 | 2 | 92308
3 | 35.0 | 211 | P/FINAL | 2025-11-17 | 15:09 | 2025-11-17 | 14:31 | ROLAND | 2 | 32.6 | 32.6 | / | / |  |  |  |  | 1.67 | 194 |  | Kinga |  | 3 | 3 | 92308
3 | 35.0 | 212 | P/FINAL | 2025-11-17 | 15:09 | 2025-11-17 | 14:31 | ROLAND | 2 | 32.9 | 32.7 | / | / |  |  |  |  | 1.06 | 204 |  | Kinga |  | 3 | 3 | 92308
3 | 35.0 | 213 | P/FINAL | 2025-11-17 | 15:11 | 2025-11-17 | 14:31 | ROLAND | 2 | 34.2 | 34.1 | / | / |  |  |  | 1.841 | 0.77 | 196 |  | Kinga |  | 3 | 3 | 92308
4 | 60.0 | 214 | P/FINAL | 2025-11-17 | 15:14 | 2025-11-17 | 14:31 | ROLAND | 2 | 55.6 | 55.4 | / | / |  |  |  |  | 1.37 | 193 |  | Kinga |  | 3 | 4 | 92308
4 | 60.0 | 215 | P/FINAL | 2025-11-17 | 15:15 | 2025-11-17 | 14:31 | ROLAND | 2 | 58.0 | 57.7 | / | / |  |  |  |  | 1.95 | 183 |  | Kinga |  | 3 | 4 | 92308
4 | 60.0 | 216 | P/FINAL | 2025-11-17 | 15:16 | 2025-11-17 | 14:31 | ROLAND | 2 | 55.1 | 55.3 | / | / |  |  |  | 1.886 | 2.08 | 189 |  | Kinga |  | 3 | 4 | 92308
2 | 15.0 | 263 | P/FINAL | 2025-11-18 | 14:46 | 2025-11-18 | 14:29 | ROLAND | 2 | 13.1 | 13.1 | / | / |  |  |  |  | 2.91 |  |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 264 | P/FINAL | 2025-11-18 | 14:47 | 2025-11-18 | 14:29 | ROLAND | 2 | 13.8 | 13.9 | / | / |  |  |  | 1.848 | 0.97 |  |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 265 | P/FINAL | 2025-11-18 | 14:47 | 2025-11-18 | 14:29 | ROLAND | 2 | 13.4 | 13.5 | / | / |  |  |  |  | 3.41 |  |  | Kinga |  | 3 | 2 | 95012
3 | 35.0 | 266 | P/FINAL | 2025-11-18 | 14:48 | 2025-11-18 | 14:29 | ROLAND | 2 | 36.5 | 35.6 | / | / |  |  |  | 1.838 | 1.10 |  |  | Kinga |  | 3 | 3 | 95012
3 | 35.0 | 267 | P/FINAL | 2025-11-18 | 14:52 | 2025-11-18 | 14:29 | ROLAND | 2 | 34.6 | 34.5 | / | / |  |  |  |  | 1.38 |  |  | Kinga |  | 3 | 3 | 95012
4 | 60.0 | 268 | P/FINAL | 2025-11-18 | 14:52 | 2025-11-18 | 14:29 | ROLAND | 2 | 63.2 | 62.9 | / | / |  |  |  | 1.894 | 1.61 |  |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 269 | P/FINAL | 2025-11-18 | 14:53 | 2025-11-18 | 14:29 | ROLAND | 2 | 63.6 | 63.5 | / | / |  |  |  |  | 1.61 |  |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 270 | P/FINAL | 2025-11-18 | 14:55 | 2025-11-18 | 14:29 | ROLAND | 2 | 62.1 | 62.4 | / | / |  |  |  |  | 1.62 |  |  | Kinga |  | 3 | 4 | 95012
3 | 35.0 | 282 | P/FINAL | 2025-11-19 | 08:32 | 2025-11-19 | 06:45 | ELENA | 2 | 32.4 | 32.3 | / | / |  |  |  |  | 3.98 | 198 |  | Kinga |  | 3 | 3 | 95012 | S-au pierdut datele de la ora 06:45
3 | 35.0 | 283 | P/FINAL | 2025-11-19 | 08:33 | 2025-11-19 | 06:45 | ELENA | 2 | 33.4 | 33.2 | / | / |  |  |  |  | 3.01 | 206 |  | Kinga |  | 3 | 3 | 95012
2 | 15.0 | 284 | P/FINAL | 2025-11-19 | 09:38 | 2025-11-19 | 08:48 | ELENA | 2 | 13.0 | 12.9 | / | / |  |  |  |  | 0.99 | 205 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 285 | P/FINAL | 2025-11-19 | 09:38 | 2025-11-19 | 08:48 | ELENA | 2 | 13.0 | 12.9 | / | / |  |  |  |  | 0.99 | 203 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 286 | P/FINAL | 2025-11-19 | 09:39 | 2025-11-19 | 08:48 | ELENA | 2 | 13.5 | 13.6 | / | / |  |  |  |  | 2.62 | 197 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 287 | P/FINAL | 2025-11-19 | 09:40 | 2025-11-19 | 08:48 | ELENA | 2 | 14.1 | 14.2 | / | / |  |  |  | 1.792 | 2.65 | 204 |  | Kinga |  | 3 | 2 | 95012
3 | 35.0 | 288 | P/FINAL | 2025-11-19 | 09:42 | 2025-11-19 | 08:48 | ELENA | 2 | 31.6 | 31.6 | / | / |  |  |  |  | 2.82 | 181 |  | Kinga |  | 3 | 3 | 95012
3 | 35.0 | 289 | P/FINAL | 2025-11-19 | 09:43 | 2025-11-19 | 08:48 | ELENA | 2 | 32.9 | 32.9 | / | / |  |  |  |  | 3.43 | 193 |  | Kinga |  | 3 | 3 | 95012
3 | 35.0 | 290 | P/FINAL | 2025-11-19 | 09:43 | 2025-11-19 | 08:48 | ELENA | 2 | 32.1 | 32.1 | / | / |  |  |  | 1.805 | 2.17 | 207 |  | Kinga |  | 3 | 3 | 95012
4 | 60.0 | 291 | P/FINAL | 2025-11-19 | 09:45 | 2025-11-19 | 08:48 | ELENA | 2 | 58.5 | 58.6 | / | / |  |  |  |  | 0.90 | 203 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 292 | P/FINAL | 2025-11-19 | 09:46 | 2025-11-19 | 08:48 | ELENA | 2 | 56.5 | 56.3 | / | / |  |  |  | 1.806 | 1.10 | 201 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 293 | P/FINAL | 2025-11-19 | 09:47 | 2025-11-19 | 08:48 | ELENA | 2 | 57.1 | 57.3 | / | / |  |  |  |  | 1.23 | 199 |  | Kinga |  | 3 | 4 | 95012 | SE TRIPLEAZA CITIRILE
4 | 60.0 | 294 | P/FINAL | 2025-11-19 | 09:47 | 2025-11-19 | 08:48 | ELENA | 2 | 57.1 | 57.3 | / | / |  |  |  |  | 1.23 | 193 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 295 | P/FINAL | 2025-11-19 | 09:47 | 2025-11-19 | 08:48 | ELENA | 2 | 57.1 | 57.3 | / | / |  |  |  |  | 1.23 | 190 |  | Kinga |  | 3 | 4 | 95012
1 | 0.0 | 296 | P/FINAL | 2025-11-19 | 10:54 | 2025-11-19 | 10:43 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 2.99 | 204 |  | Kinga |  | 3 | 1 | 95012
1 | 0.0 | 297 | P/FINAL | 2025-11-19 | 10:54 | 2025-11-19 | 10:43 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.805 | 2.13 | 198 |  | Kinga |  | 3 | 1 | 95012
2 | 15.0 | 298 | P/FINAL | 2025-11-19 | 11:12 | 2025-11-19 | 10:43 | ELENA | 2 | 13.1 | 13.0 | / | / |  |  |  |  | 4.71 | 196 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 299 | P/FINAL | 2025-11-19 | 11:13 | 2025-11-19 | 10:43 | ELENA | 2 | 14.6 | 14.6 | / | / |  |  |  |  | 4.23 | 201 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 300 | P/FINAL | 2025-11-19 | 11:13 | 2025-11-19 | 10:43 | ELENA | 2 | 13.8 | 13.9 | / | / |  |  |  | 1.822 | 4.34 | 188 |  | Kinga |  | 3 | 2 | 95012
3 | 35.0 | 301 | P/FINAL | 2025-11-19 | 11:14 | 2025-11-19 | 10:43 | ELENA | 2 | 32.5 | 32.1 | / | / |  |  |  |  | 0.60 | 196 |  | Kinga |  | 3 | 3 | 95012
3 | 35.0 | 302 | P/FINAL | 2025-11-19 | 11:15 | 2025-11-19 | 10:43 | ELENA | 2 | 34.2 | 34.4 | / | / |  |  |  | 1.829 | 0.89 | 201 |  | Kinga |  | 3 | 3 | 95012
3 | 35.0 | 303 | P/FINAL | 2025-11-19 | 11:17 | 2025-11-19 | 10:43 | ELENA | 2 | 34.1 | 34.3 | / | / |  |  |  |  | 0.78 | 202 |  | Kinga |  | 3 | 3 | 95012
4 | 60.0 | 304 | P/FINAL | 2025-11-19 | 11:20 | 2025-11-19 | 10:43 | ELENA | 2 | 55.3 | 55.7 | / | / |  |  |  |  | 0.72 | 198 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 305 | P/FINAL | 2025-11-19 | 11:21 | 2025-11-19 | 10:43 | ELENA | 2 | 57.1 | 57.2 | / | / |  |  |  | 1.821 | 2.73 | 199 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 306 | P/FINAL | 2025-11-19 | 11:30 | 2025-11-19 | 10:43 | ELENA | 2 | 60.4 | 60.8 | / | / |  |  |  |  | 0.94 | 201 |  | Kinga |  | 3 | 4 | 95012
2 | 15.0 | 307 | P/FINAL | 2025-11-19 | 12:38 | 2025-11-19 | 12:12 | ELENA | 2 | 13.0 | 13.0 | / | / |  |  |  |  | 2.21 | 199 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 308 | P/FINAL | 2025-11-19 | 12:39 | 2025-11-19 | 12:12 | ELENA | 2 | 12.3 | 12.6 | / | / |  |  |  | 1.769 | 3.56 | 194 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 309 | P/FINAL | 2025-11-19 | 12:39 | 2025-11-19 | 12:12 | ELENA | 2 | 13.1 | 13.2 | / | / |  |  |  |  | 3.59 | 215 |  | Kinga |  | 3 | 2 | 95012
3 | 35.0 | 310 | P/FINAL | 2025-11-19 | 12:40 | 2025-11-19 | 12:12 | ELENA | 2 | 33.2 | 33.5 | / | / |  |  |  |  | 5.00 | 196 |  | Kinga |  | 3 | 3 | 95012
3 | 35.0 | 311 | P/FINAL | 2025-11-19 | 12:41 | 2025-11-19 | 12:12 | ELENA | 2 | 31.6 | 31.7 | / | / |  |  |  | 1.789 | 2.66 | 186 |  | Kinga |  | 3 | 3 | 95012
3 | 35.0 | 312 | P/FINAL | 2025-11-19 | 12:42 | 2025-11-19 | 12:12 | ELENA | 2 | 34.5 | 34.7 | / | / |  |  |  |  | 3.12 | 203 |  | Kinga |  | 3 | 3 | 95012
4 | 60.0 | 313 | P/FINAL | 2025-11-19 | 12:44 | 2025-11-19 | 12:12 | ELENA | 2 | 55.9 | 56.5 | / | / |  |  |  |  | 1.26 | 219 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 314 | P/FINAL | 2025-11-19 | 12:44 | 2025-11-19 | 12:12 | ELENA | 2 | 56.8 | 57.0 | / | / |  |  |  | 1.845 | 2.39 | 204 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 315 | P/FINAL | 2025-11-19 | 12:45 | 2025-11-19 | 12:12 | ELENA | 2 | 57.1 | 57.2 | / | / |  |  |  |  | 2.41 | 201 |  | Kinga |  | 3 | 4 | 95012
2 | 15.0 | 316 | P/FINAL | 2025-11-20 | 08:31 | 2025-11-20 | 07:10 | ELENA | 2 | 14.2 | 14.0 | / | / |  |  |  |  | 3.63 | 187 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 317 | P/FINAL | 2025-11-20 | 08:31 | 2025-11-20 | 07:10 | ELENA | 2 | 14.9 | 14.7 | / | / |  |  |  | 1.736 | 4.40 | 172 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 318 | P/FINAL | 2025-11-20 | 08:31 | 2025-11-20 | 07:10 | ELENA | 2 | 12.8 | 12.7 | / | / |  |  |  |  | 3.39 | 182 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 319 | P/FINAL | 2025-11-20 | 08:32 | 2025-11-20 | 07:10 | ELENA | 2 | 13.4 | 13.4 | / | / |  |  |  |  | 2.32 | 196 |  | Kinga |  | 3 | 2 | 95012
3 | 35.0 | 320 | P/FINAL | 2025-11-20 | 08:33 | 2025-11-20 | 07:10 | ELENA | 2 | 33.2 | 33.1 | / | / |  |  |  | 1.764 | 1.61 | 202 |  | Kinga |  | 3 | 3 | 95012
3 | 35.0 | 321 | P/FINAL | 2025-11-20 | 08:33 | 2025-11-20 | 07:10 | ELENA | 2 | 35.4 | 35.4 | / | / |  |  |  |  | 0.91 | 198 |  | Kinga |  | 3 | 3 | 95012
3 | 35.0 | 322 | P/FINAL | 2025-11-20 | 08:34 | 2025-11-20 | 07:10 | ELENA | 2 | 35.5 | 35.4 | / | / |  |  |  |  | 4.01 | 196 |  | Kinga |  | 3 | 3 | 95012
4 | 60.0 | 323 | P/FINAL | 2025-11-20 | 08:35 | 2025-11-20 | 07:10 | ELENA | 2 | 60.7 | 60.1 | / | / |  |  |  | 1.781 | 3.13 | 201 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 324 | P/FINAL | 2025-11-20 | 08:35 | 2025-11-20 | 07:10 | ELENA | 2 | 62.3 | 62.5 | / | / |  |  |  |  | 1.72 | 199 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 325 | P/FINAL | 2025-11-20 | 08:36 | 2025-11-20 | 07:10 | ELENA | 2 | 56.0 | 56.3 | / | / |  |  |  |  | 5.30 | 203 |  | Kinga |  | 3 | 4 | 95012
1 | 0.0 | 326 | P/FINAL | 2025-11-20 | 08:52 | 2025-11-20 | 07:10 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.85 | 191 |  | Kinga |  | 3 | 1 | 95012
1 | 0.0 | 327 | P/FINAL | 2025-11-20 | 08:52 | 2025-11-20 | 07:10 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.92 | 201 |  | Kinga |  | 3 | 1 | 95012
2 | 15.0 | 328 | P/FINAL | 2025-11-20 | 09:51 | 2025-11-20 | 09:14 | ELENA | 2 | 12.8 | 12.9 | / | / |  |  |  |  | 6.67 | 194 |  | Kinga |  | 3 | 2 | 95643
2 | 15.0 | 329 | P/FINAL | 2025-11-20 | 09:51 | 2025-11-20 | 09:14 | ELENA | 2 | 13.3 | 13.6 | / | / |  |  |  | 1.756 | 5.44 | 201 |  | Kinga |  | 3 | 2 | 95643
2 | 15.0 | 330 | P/FINAL | 2025-11-20 | 09:52 | 2025-11-20 | 09:14 | ELENA | 2 | 13.7 | 13.8 | / | / |  |  |  |  | 4.13 | 178 |  | Kinga |  | 3 | 2 | 95643
3 | 35.0 | 331 | P/FINAL | 2025-11-20 | 09:53 | 2025-11-20 | 09:14 | ELENA | 2 | 33.1 | 33.4 | / | / |  |  |  |  | 4.66 | 210 |  | Kinga |  | 3 | 3 | 95643
3 | 35.0 | 332 | P/FINAL | 2025-11-20 | 09:53 | 2025-11-20 | 09:14 | ELENA | 2 | 32.1 | 32.3 | / | / |  |  |  | 1.771 | 4.56 | 196 |  | Kinga |  | 3 | 3 | 95643
3 | 35.0 | 333 | P/FINAL | 2025-11-20 | 09:54 | 2025-11-20 | 09:14 | ELENA | 2 | 33.4 | 33.6 | / | / |  |  |  |  | 1.81 | 194 |  | Kinga |  | 3 | 3 | 95643
4 | 60.0 | 334 | P/FINAL | 2025-11-20 | 09:59 | 2025-11-20 | 09:14 | ELENA | 2 | 55.2 | 55.4 | / | / |  |  |  |  | 1.95 | 210 |  | Kinga |  | 3 | 4 | 95643
4 | 60.0 | 335 | P/FINAL | 2025-11-20 | 10:00 | 2025-11-20 | 09:14 | ELENA | 2 | 55.6 | 55.6 | / | / |  |  |  | 1.720 | 1.76 | 201 |  | Kinga |  | 3 | 4 | 95643
2 | 15.0 | 336 | P/FINAL | 2025-11-20 | 11:33 | 2025-11-20 | 11:07 | ELENA | 2 | 13.8 | 13.9 | / | / |  |  |  |  | 41.1 | 192 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 337 | P/FINAL | 2025-11-20 | 11:34 | 2025-11-20 | 11:07 | ELENA | 2 | 13.3 | 13.3 | / | / |  |  |  | 1.788 | 0.88 | 207 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 338 | P/FINAL | 2025-11-20 | 11:35 | 2025-11-20 | 11:07 | ELENA | 2 | 13.4 | 13.5 | / | / |  |  |  |  | 2.86 | 201 |  | Kinga |  | 3 | 2 | 95012
3 | 35.0 | 339 | P/FINAL | 2025-11-20 | 11:35 | 2025-11-20 | 11:07 | ELENA | 2 | 31.6 | 32.0 | / | / |  |  |  |  | 0.96 | 196 |  | Kinga |  | 3 | 3 | 95012
3 | 35.0 | 340 | P/FINAL | 2025-11-20 | 11:36 | 2025-11-20 | 11:07 | ELENA | 2 | 31.3 | 31.5 | / | / |  |  |  | 1.785 | 5.34 | 193 |  | Kinga |  | 3 | 3 | 95012
3 | 35.0 | 341 | P/FINAL | 2025-11-20 | 11:37 | 2025-11-20 | 11:07 | ELENA | 2 | 31.7 | 31.7 | / | / |  |  |  |  | 5.13 | 194 |  | Kinga |  | 3 | 3 | 95012
4 | 60.0 | 342 | P/FINAL | 2025-11-20 | 11:38 | 2025-11-20 | 11:07 | ELENA | 2 | 61.3 | 61.4 | / | / |  |  |  |  | 4.23 | 215 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 343 | P/FINAL | 2025-11-20 | 11:38 | 2025-11-20 | 11:07 | ELENA | 2 | 57.2 | 57.4 | / | / |  |  |  | 1.761 | 4.17 | 209 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 344 | P/FINAL | 2025-11-20 | 11:40 | 2025-11-20 | 11:07 | ELENA | 2 | 60.6 | 60.9 | / | / |  |  |  |  | 1.23 | 207 |  | Kinga |  | 3 | 4 | 95012
1 | 0.0 | 345 | P/FINAL | 2025-11-20 | 11:54 | 2025-11-20 | 11:07 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  | 1.768 | 1.50 | 198 |  | Kinga |  | 3 | 1 | 95012
1 | 0.0 | 346 | P/FINAL | 2025-11-20 | 11:54 | 2025-11-20 | 11:07 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 1.50 | 207 |  | Kinga |  | 3 | 1 | 95012
2 | 15.0 | 347 | P/FINAL | 2025-11-20 | 12:36 | 2025-11-20 | 12:21 | ELENA | 2 | 13.0 | 13.0 | / | / |  |  |  |  | 3.17 | 189 |  | Kinga |  | 3 | 2 | 95643
2 | 15.0 | 348 | P/FINAL | 2025-11-20 | 12:36 | 2025-11-20 | 12:21 | ELENA | 2 | 13.3 | 13.4 | / | / |  |  |  | 1.747 | 2.47 | 189 |  | Kinga |  | 3 | 2 | 95643
2 | 15.0 | 349 | P/FINAL | 2025-11-20 | 12:37 | 2025-11-20 | 12:21 | ELENA | 2 | 14.0 | 14.1 | / | / |  |  |  |  | 2.86 | 212 |  | Kinga |  | 3 | 2 | 95643
3 | 35.0 | 350 | P/FINAL | 2025-11-20 | 12:39 | 2025-11-20 | 12:21 | ELENA | 2 | 31.3 | 31.4 | / | / |  |  |  |  | 2.38 | 183 |  | Kinga |  | 3 | 3 | 95643
3 | 35.0 | 351 | P/FINAL | 2025-11-20 | 12:40 | 2025-11-20 | 12:21 | ELENA | 2 | 32.4 | 32.5 | / | / |  |  |  | 1.717 | 3.88 | 196 |  | Kinga |  | 3 | 3 | 95643
4 | 60.0 | 352 | P/FINAL | 2025-11-20 | 12:41 | 2025-11-20 | 12:21 | ELENA | 2 | 56.6 | 58.0 | / | / |  |  |  |  | 1.21 | 176 |  | Kinga |  | 3 | 4 | 95643
4 | 60.0 | 353 | P/FINAL | 2025-11-20 | 12:42 | 2025-11-20 | 12:21 | ELENA | 2 | 57.7 | 58.0 | / | / |  |  |  |  | 2.05 | 196 |  | Kinga |  | 3 | 4 | 95643
4 | 60.0 | 354 | P/FINAL | 2025-11-20 | 12:42 | 2025-11-20 | 12:21 | ELENA | 2 | 58.5 | 58.6 | / | / |  |  |  | 1.734 | 2.85 | 210 |  | Kinga |  | 3 | 4 | 95643
2 | 15.0 | 355 | P/FINAL | 2025-11-20 | 15:00 | 2025-11-20 | 14:37 | ROLAND | 2 | 13.5 | 13.6 | / | / |  |  |  |  | 2.05 | 189 |  | Kinga |  | 3 | 2 | 95643
2 | 15.0 | 356 | P/FINAL | 2025-11-20 | 15:01 | 2025-11-20 | 14:37 | ROLAND | 2 | 14.0 | 14.0 | / | / |  |  |  | 1.778 | 1.65 | 220 |  | Kinga |  | 3 | 2 | 95643
2 | 15.0 | 357 | P/FINAL | 2025-11-20 | 15:02 | 2025-11-20 | 14:37 | ROLAND | 2 | 13.2 | 13.3 | / | / |  |  |  |  | 2.23 | 187 |  | Kinga |  | 3 | 2 | 95643
3 | 35.0 | 358 | P/FINAL | 2025-11-20 | 15:04 | 2025-11-20 | 14:37 | ROLAND | 2 | 31.4 | 31.5 | / | / |  |  |  |  | 1.09 | 202 |  | Kinga |  | 3 | 3 | 95643
3 | 35.0 | 359 | P/FINAL | 2025-11-20 | 15:05 | 2025-11-20 | 14:37 | ROLAND | 2 | 32.2 | 32.3 | / | / |  |  |  | 1.757 | 1.24 | 183 |  | Kinga |  | 3 | 3 | 95643
3 | 35.0 | 360 | P/FINAL | 2025-11-20 | 15:06 | 2025-11-20 | 14:37 | ROLAND | 2 | 32.5 | 32.6 | / | / |  |  |  |  | 4.18 | 205 |  | Kinga |  | 3 | 3 | 95643
4 | 60.0 | 361 | P/FINAL | 2025-11-20 | 15:08 | 2025-11-20 | 14:37 | ROLAND | 2 | 61.8 | 61.8 | / | / |  |  |  |  | 1.16 | 198 |  | Kinga |  | 3 | 4 | 95643
4 | 60.0 | 362 | P/FINAL | 2025-11-20 | 15:09 | 2025-11-20 | 14:37 | ROLAND | 2 | 62.4 | 62.2 | / | / |  |  |  | 1.787 | 3.13 | 203 |  | Kinga |  | 3 | 4 | 95643
4 | 60.0 | 363 | P/FINAL | 2025-11-20 | 15:10 | 2025-11-20 | 14:37 | ROLAND | 2 | 63.5 | 64.0 | / | / |  |  |  |  | 2.55 | 196 |  | Kinga |  | 3 | 4 | 95643
1 | 0.0 | 364 | P/FINAL | 2025-11-20 | 15:18 | 2025-11-20 | 14:37 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 2.70 | 196 |  | Kinga |  | 3 | 1 | 95643
1 | 0.0 | 365 | P/FINAL | 2025-11-20 | 15:19 | 2025-11-20 | 14:37 | ROLAND | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 2.42 | 214 |  | Kinga |  | 3 | 1 | 95643
2 | 15.0 | 366 | P/FINAL | 2025-11-21 | 08:27 | 2025-11-21 | 7:00 | ELENA | 2 | 14.0 | 14.2 | / | / |  |  |  | 1.672 | 8.25 | 203 |  | Kinga |  | 3 | 2 | 24345
2 | 15.0 | 367 | P/FINAL | 2025-11-21 | 08:27 | 2025-11-21 | 7:00 | ELENA | 2 | 17.4 | 17.3 | / | / |  |  |  |  | 4.63 | 204 |  | Kinga |  | 3 | 2 | 24345
2 | 15.0 | 368 | P/FINAL | 2025-11-21 | 08:29 | 2025-11-21 | 7:00 | ELENA | 2 | 12.6 | 12.6 | / | / |  |  |  |  | 1.92 | 28 |  | Kinga |  | 3 | 2 | 24345
3 | 35.0 | 369 | P/FINAL | 2025-11-21 | 08:30 | 2025-11-21 | 7:00 | ELENA | 2 | 33.7 | 34.2 | / | / |  |  |  | 1.719 | 4.81 | 199 |  | Kinga |  | 3 | 3 | 24345
3 | 35.0 | 370 | P/FINAL | 2025-11-21 | 08:31 | 2025-11-21 | 7:00 | ELENA | 2 | 36.7 | 36.8 | / | / |  |  |  |  | 4.28 | 196 |  | Kinga |  | 3 | 3 | 24345
3 | 35.0 | 371 | P/FINAL | 2025-11-21 | 08:32 | 2025-11-21 | 7:00 | ELENA | 2 | 38.6 | 38.7 | / | / |  |  |  |  | 1.79 | 203 |  | Kinga |  | 3 | 3 | 24345
4 | 60.0 | 372 | P/FINAL | 2025-11-21 | 08:36 | 2025-11-21 | 7:00 | ELENA | 2 | 55.4 | 55.9 | / | / |  |  |  |  | 1.70 | 214 |  | Kinga |  | 3 | 4 | 24345
4 | 60.0 | 373 | P/FINAL | 2025-11-21 | 08:36 | 2025-11-21 | 7:00 | ELENA | 2 | 55.6 | 55.5 | / | / |  |  |  |  | 2.74 | 203 |  | Kinga |  | 3 | 4 | 24345
4 | 60.0 | 374 | P/FINAL | 2025-11-21 | 08:38 | 2025-11-21 | 7:00 | ELENA | 2 | 59.1 | 59.0 | / | / |  |  |  | 1.767 | 3.89 | 198 |  | Kinga |  | 3 | 4 | 24345
2 | 15.0 | 375 | P/FINAL | 2025-11-21 | 10:29 | 2025-11-21 | 09:46 | ELENA | 2 | 13.7 | 13.9 | / | / |  |  |  |  | 1.36 | 206 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 376 | P/FINAL | 2025-11-21 | 10:30 | 2025-11-21 | 09:46 | ELENA | 2 | 13.4 | 13.7 | / | / |  |  |  | 1.755 | 2.92 | 191 |  | Kinga |  | 3 | 2 | 95012
2 | 15.0 | 377 | P/FINAL | 2025-11-21 | 10:31 | 2025-11-21 | 09:46 | ELENA | 2 | 14.0 | 14.1 | / | / |  |  |  |  | 2.50 | 205 |  | Kinga |  | 3 | 2 | 95012
3 | 35.0 | 378 | P/FINAL | 2025-11-21 | 10:32 | 2025-11-21 | 09:46 | ELENA | 2 | 31.3 | 31.4 | / | / |  |  |  |  | 1.85 | 206 |  | Kinga |  | 3 | 3 | 95012
3 | 35.0 | 379 | P/FINAL | 2025-11-21 | 10:32 | 2025-11-21 | 09:46 | ELENA | 2 | 33.3 | 33.5 | / | / |  |  |  |  | 0.69 | 199 |  | Kinga |  | 3 | 3 | 95012
3 | 35.0 | 380 | P/FINAL | 2025-11-21 | 10:33 | 2025-11-21 | 09:46 | ELENA | 2 | 32.6 | 32.6 | / | / |  |  |  | 1.743 | 3.37 | 171 |  | Kinga |  | 3 | 3 | 95012
4 | 60.0 | 381 | P/FINAL | 2025-11-21 | 10:36 | 2025-11-21 | 09:46 | ELENA | 2 | 55.7 | 56.1 | / | / |  |  |  |  | 0.79 | 205 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 382 | P/FINAL | 2025-11-21 | 10:37 | 2025-11-21 | 09:46 | ELENA | 2 | 58.3 | 58.8 | / | / |  |  |  |  | 1.84 | 202 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 383 | P/FINAL | 2025-11-21 | 10:37 | 2025-11-21 | 09:46 | ELENA | 2 | 58.3 | 58.8 | / | / |  |  |  |  | 1.84 | 198 |  | Kinga |  | 3 | 4 | 95012
4 | 60.0 | 384 | P/FINAL | 2025-11-21 | 10:37 | 2025-11-21 | 09:46 | ELENA | 2 | 58.0 | 58.1 | / | / |  |  |  | 1.792 | 1.89 | 201 |  | Kinga |  | 3 | 4 | 95012
1 | 0.0 | 385 | P/FINAL | 2025-11-21 | 10:40 | 2025-11-21 | 09:46 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 3.08 | 198 |  | Kinga |  | 3 | 1 | 95012
1 | 0.0 | 386 | P/FINAL | 2025-11-21 | 10:41 | 2025-11-21 | 09:46 | ELENA | 2 | 0.0 | 0.0 | / | / |  |  |  |  | 2.18 | 202 |  | Kinga |  | 3 | 1 | 95012
2 | 15.0 | 387 | P/FINAL | 2025-11-21 | 15:03 | 2025-11-21 | 12:27 | ELENA | 2 | 13.7 | 13.6 | / | / |  |  |  |  | 0.85 | 185 |  | Kinga |  | 3 | 2 | 24345
2 | 15.0 | 388 | P/FINAL | 2025-11-21 | 15:04 | 2025-11-21 | 12:27 | ELENA | 2 | 12.6 | 12.6 | / | / |  |  |  | 1.739 | 1.93 | 204 |  | Kinga |  | 3 | 2 | 24345
3 | 35.0 | 389 | P/FINAL | 2025-11-21 | 15:05 | 2025-11-21 | 12:27 | ELENA | 2 | 32.4 | 32.5 | / | / |  |  |  |  | 1.36 | 199 |  | Kinga |  | 3 | 3 | 24345
3 | 35.0 | 390 | P/FINAL | 2025-11-21 | 15:06 | 2025-11-21 | 12:27 | ELENA | 2 | 36.4 | 36.8 | / | / |  |  |  |  | 1.11 | 203 |  | Kinga |  | 3 | 3 | 24345
3 | 35.0 | 391 | P/FINAL | 2025-11-21 | 15:07 | 2025-11-21 | 12:27 | ELENA | 2 | 33.1 | 33.2 | / | / |  |  |  |  | 1.18 | 200 |  | Kinga |  | 3 | 3 | 24345
3 | 35.0 | 392 | P/FINAL | 2025-11-21 | 15:07 | 2025-11-21 | 12:27 | ELENA | 2 | 33.1 | 33.2 | / | / |  |  |  |  | 1.18 | 188 |  | Kinga |  | 3 | 3 | 24345
3 | 35.0 | 393 | P/FINAL | 2025-11-21 | 15:07 | 2025-11-21 | 12:27 | ELENA | 2 | 33.1 | 33.2 | / | / |  |  |  |  | 1.18 | 208 |  | Kinga |  | 3 | 3 | 24345
3 | 35.0 | 394 | P/FINAL | 2025-11-21 | 15:07 | 2025-11-21 | 12:27 | ELENA | 2 | 33.1 | 33.2 | / | / |  |  |  |  | 1.18 | 215 |  | Kinga |  | 3 | 3 | 24345
3 | 35.0 | 395 | P/FINAL | 2025-11-21 | 15:07 | 2025-11-21 | 12:27 | ELENA | 2 | 33.1 | 33.2 | / | / |  |  |  |  | 1.18 | 203 |  | Kinga |  | 3 | 3 | 24345
3 | 35.0 | 396 | P/FINAL | 2025-11-21 | 15:07 | 2025-11-21 | 12:27 | ELENA | 2 | 33.1 | 33.2 | / | / |  |  |  |  | 1.18 | 220 |  | Kinga |  | 3 | 3 | 24345
3 | 35.0 | 397 | P/FINAL | 2025-11-21 | 15:07 | 2025-11-21 | 12:27 | ELENA | 2 | 33.1 | 33.2 | / | / |  |  |  | 1.754 | 1.18 | 206 |  | Kinga |  | 3 | 3 | 24345
3 | 35.0 | 398 | P/FINAL | 2025-11-21 | 15:07 | 2025-11-21 | 12:27 | ELENA | 2 | 33.1 | 33.2 | / | / |  |  |  |  | 1.18 | 199 |  | Kinga |  | 3 | 3 | 24345
4 | 60.0 | 399 | P/FINAL | 2025-11-21 | 15:10 | 2025-11-21 | 12:27 | ELENA | 2 | 60.1 | 60.3 | / | / |  |  |  |  | 2.99 |  |  | Kinga |  | 3 | 4 | 24345
4 | 60.0 | 400 | P/FINAL | 2025-11-21 | 15:11 | 2025-11-21 | 12:27 | ELENA | 2 | 58.6 | 58.9 | / | / |  |  |  |  | 2.88 |  |  | Kinga |  | 3 | 4 | 24345
4 | 60.0 | 401 | P/FINAL | 2025-11-21 | 15:11 | 2025-11-21 | 12:27 | ELENA | 2 | 59.1 | 59.4 | / | / |  |  |  | 1.777 | 2.89 |  |  | Kinga |  | 3 | 4 | 24345
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
101 | 202 | 13.9 mg/L | 101 | 202 | 13.9 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
110 | 220 | 33.8 mg/L | 110 | 220 | 33.8 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
39 | 78 | 0 mg/L | 39 | 78 | 0 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
111 | 222 | 58.5 mg/L | 111 | 222 | 58.5 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 2.0 | 0.0 | YES
15.0 | 12.3 ÷ 17.7 | 13.9 | YES
35.0 | 31.3 ÷ 38.7 | 33.8 | YES
60.0 | 55.1 ÷ 64.9 | 58.5 | YES
Validation Date | by