## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI784B-0
0820 | HI784B-0 | CP-R81 | W46/1 |  | Parameter Formula | NH3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Ammonia Reagent B | 2027-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
/ | / | /
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2120 | 0820 | 0664
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-11-01 | 2027-05-01 | 2027-02-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/MARK | [6 empty] | 0642
[6 empty] | Expiration A | Expiration B | Expiration D
2027-01-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO-708 | HI97115 | CTO-741
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-319 | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.35 | 0.45 |  | MR09 |  | 0.03 | & | 5% | 80%
3 | 1.25 | 1.17 | 1.33 | [8 empty] | 12.10 | 12.0 | 12.20
4 | 2.10 | 1.99 | 2.21
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 26 | Valid | 2024-11-15 | 13:14 | 2024-11-14 | 10:27 | ERIKA | 1 | 0.37 | 0.37 | / | / | [5 empty] | 2.34 | 1 | Kinga |  | 3 | 2 | 114812
2 | 0.40 | 1 | Old B | 2024-11-14 | 11:13 | 2024-11-14 | 08:08 | ERIKA/MARK |  | 0.38 | 0.37 | / | / |  |  |  |  | 8.49 |  | 1 | Brigitta P |  | 3 | 2 | 93353
2 | 0.40 | 2 | Old B | 2024-11-14 | 11:13 | 2024-11-14 | 08:08 | ERIKA/MARK |  | 0.38 | 0.38 | / | / |  |  |  |  | 8.65 |  | 1 | Brigitta P |  | 3 | 2 | 93353
2 | 0.40 | 3 | Valid | 2024-11-14 | 11:14 | 2024-11-14 | 08:08 | ERIKA/MARK |  | 0.35 | 0.35 | / | / |  |  |  |  | 8.01 |  | 1 | Brigitta P |  | 3 | 2 | 93353
2 | 0.40 | 4 | Valid | 2024-11-14 | 11:15 | 2024-11-14 | 08:08 | ERIKA/MARK |  | 0.36 | 0.36 | / | / |  |  |  |  | 5.35 |  | 1 | Brigitta P |  | 3 | 2 | 93353
2 | 0.40 | 5 | Valid | 2024-11-14 | 11:20 | 2024-11-14 | 08:08 | ERIKA/MARK |  | 0.36 | 0.36 | / | / |  |  |  |  | 7.53 |  | 1 | Brigitta P |  | 3 | 2 | 93353
3 | 1.25 | 6 | Old B | 2024-11-14 | 11:45 | 2024-11-14 | 08:08 | ERIKA/MARK |  | 1.17 | 1.18 | / | / |  |  |  |  | 6.67 |  | 1 | Brigitta P |  | 3 | 3 | 93353
3 | 1.25 | 7 | Valid | 2024-11-14 | 11:46 | 2024-11-14 | 08:08 | ERIKA/MARK |  | 1.15 | 1.14 | / | / |  |  |  |  | 4.73 |  | 1 | Brigitta P |  | 3 | 3 | 93353
3 | 1.25 | 8 | Valid | 2024-11-14 | 16:15 | 2024-11-14 | 08:08 | ERIKA/MARK |  | 1.13 | 1.12 | / | / |  |  |  |  | 2.04 |  | 1 | Brigitta P |  | 3 | 3 | 93353
3 | 1.25 | 9 | Valid | 2024-11-14 | 16:15 | 2024-11-14 | 08:08 | ERIKA/MARK |  | 1.13 | 1.12 | / | / |  |  |  |  | 2.15 |  | 1 | Brigitta P |  | 3 | 3 | 93353
4 | 2.10 | 10 | Valid | 2024-11-14 | 16:15 | 2024-11-14 | 08:08 | ERIKA/MARK |  | 1.92 | 1.91 | / | / |  |  |  |  | 2.15 |  | 1 | Brigitta P |  | 3 | 3 | 93353
4 | 2.10 | 11 | Valid | 2024-11-14 | 16:15 | 2024-11-14 | 08:08 | ERIKA/MARK |  | 1.92 | 1.91 | / | / |  |  |  |  | 2.04 |  | 1 | Brigitta P |  | 3 | 3 | 93353
4 | 2.10 | 12 | Valid | 2024-11-14 | 16:15 | 2024-11-14 | 08:08 | ERIKA/MARK |  | 1.92 | 1.91 | / | / |  |  |  |  | 7.27 |  | 1 | Brigitta P |  | 3 | 3 | 93353
4 | 2.10 | 13 | Old B | 2024-11-15 | 12:45 | 2024-11-14 | 10:27 | ERIKA | 1 | 2.01 | 2.03 | / | / |  |  |  |  | 1.76 |  | 1 | Kinga |  | 3 | 4 | 114812 | SW4 LOT VECHI
4 | 2.10 | 14 | Old B | 2024-11-15 | 12:46 | 2024-11-14 | 10:27 | ERIKA | 1 | 2.00 | 1.99 | / | / |  |  |  |  | 2.14 |  | 1 | Kinga |  | 3 | 4 | 114812 | SW4 LOT VECHI
4 | 2.10 | 15 | Old B | 2024-11-15 | 12:48 | 2024-11-14 | 10:27 | ERIKA | 1 | 2.09 | 2.06 | / | / |  |  | 12.064 |  | 2.94 |  | 1 | Kinga |  | 3 | 4 | 114812 | SW4 LOT NOU 2030
4 | 2.10 | 16 | Valid | 2024-11-15 | 12:48 | 2024-11-14 | 10:27 | ERIKA | 1 | 2.07 | 2.10 | / | / |  |  |  |  | 2.95 |  | 1 | Kinga |  | 3 | 4 | 114812
4 | 2.10 | 17 | Valid | 2024-11-15 | 12:49 | 2024-11-14 | 10:27 | ERIKA | 1 | 2.05 | 2.07 | / | / |  |  | 12.061 |  | 2.90 |  | 1 | Kinga |  | 3 | 4 | 114812
4 | 2.10 | 18 | Valid | 2024-11-15 | 12:50 | 2024-11-14 | 10:27 | ERIKA | 1 | 2.08 | 2.09 | / | / |  |  | 12.062 |  | 2.60 |  | 1 | Kinga |  | 3 | 4 | 114812
3 | 1.25 | 19 | Old B | 2024-11-15 | 12:54 | 2024-11-14 | 10:27 | ERIKA | 1 | 1.21 | 1.22 | / | / |  |  |  |  | 2.33 |  | 1 | Kinga |  | 3 | 3 | 114812
3 | 1.25 | 20 | Old B | 2024-11-15 | 12:55 | 2024-11-14 | 10:27 | ERIKA | 1 | 1.21 | 1.22 | / | / |  |  | 12.066 |  | 2.71 |  | 1 | Kinga |  | 3 | 3 | 114812
3 | 1.25 | 21 | Valid | 2024-11-15 | 12:55 | 2024-11-14 | 10:27 | ERIKA | 1 | 1.21 | 1.22 | / | / |  |  |  |  | 2.66 |  | 1 | Kinga |  | 3 | 3 | 114812
3 | 1.25 | 22 | Valid | 2024-11-15 | 12:57 | 2024-11-14 | 10:27 | ERIKA | 1 | 1.24 | 1.25 | / | / |  |  | 12.076 |  | 2.80 |  | 1 | Kinga |  | 3 | 3 | 114812
3 | 1.25 | 23 | Valid | 2024-11-15 | 12:58 | 2024-11-14 | 10:27 | ERIKA | 1 | 1.21 | 1.21 | / | / |  |  | 12.076 |  | 3.52 |  | 1 | Kinga |  | 3 | 3 | 114812
2 | 0.40 | 24 | Old B | 2024-11-15 | 13:13 | 2024-11-14 | 10:27 | ERIKA | 1 | 0.37 | 0.37 | / | / |  |  | 12.064 |  | 6.09 |  | 1 | Kinga |  | 3 | 2 | 114812
2 | 0.40 | 25 | Valid | 2024-11-15 | 13:14 | 2024-11-14 | 10:27 | ERIKA | 1 | 0.38 | 0.38 | / | / |  |  |  |  | 6.98 |  | 1 | Kinga |  | 3 | 2 | 114812
2 | 0.40 | 27 | Valid | 2024-11-15 | 13:14 | 2024-11-14 | 10:27 | ERIKA | 1 | 0.37 | 0.37 | / | / |  |  |  |  | 6.98 |  | 1 | Kinga |  | 3 | 2 | 114812
2 | 0.40 | 28 | Valid | 2024-11-15 | 13:14 | 2024-11-14 | 10:27 | ERIKA | 1 | 0.37 | 0.38 | / | / |  |  |  |  | 5.46 |  | 1 | Kinga |  | 3 | 2 | 114812
1 | 0.00 | 29 | Old B | 2024-11-15 | 13:19 | 2024-11-14 | 10:27 | ERIKA | 1 | 0.03 | 0.03 | / | / |  |  |  |  | 10.6 |  | 1 | Kinga |  | 3 | 1 | 114812
1 | 0.00 | 30 | Valid | 2024-11-15 | 13:20 | 2024-11-14 | 10:27 | ERIKA | 1 | 0.01 | 0.02 | / | / |  |  |  |  | 10.6 |  | 1 | Kinga |  | 3 | 1 | 114812
1 | 0.00 | 31 | Valid | 2024-11-15 | 13:22 | 2024-11-14 | 10:27 | ERIKA | 1 | 0.02 | 0.02 | / | / |  |  |  |  | 6.23 |  | 1 | Kinga |  | 3 | 1 | 114812
4 | 2.10 | 32 | P/Final | 2024-11-18 | 12:38 |  |  |  |  | 1.97 | 2.00 | / | / |  |  |  |  | 1.91 |  | 1 | Brigitta P |  | 3 | 4
4 | 2.10 | 33 | P/Final | 2024-11-18 | 12:42 |  |  |  |  | 1.98 | 2.00 | / | / |  |  |  |  | 1.91 |  | 1 | Brigitta P |  | 3 | 4
4 | 2.10 | 34 | P/Final | 2024-11-18 | 14:01 | 2024-11-18 | 11:27 | FLORICA | PRECI | 2.02 | 2.01 | / | / |  |  |  |  | 4.43 |  | 1 | Brigitta P |  | 3 | 4
4 | 2.10 | 35 | P/Final | 2024-11-18 | 14:02 | 2024-11-18 | 11:27 | FLORICA | PRECI | 2.01 | 1.99 | / | / |  |  |  |  | 3.96 |  | 1 | Brigitta P |  | 3 | 4
4 | 2.10 | 36 | P/Final | 2024-11-18 | 14:06 | 2024-11-18 | 11:27 | FLORICA | PRECI | 2.00 | 2.00 | / | / |  |  |  |  | 1.93 |  | 1 | Brigitta P |  | 3 | 4
4 | 2.10 | 37 | P/Final | 2024-11-18 | 14:07 | 2024-11-18 | 11:27 | FLORICA | PRECI | 2.01 | 2.03 | / | / |  |  |  |  | 8.32 |  | 1 | Brigitta P |  | 3 | 4
4 | 2.10 | 38 | P/Final | 2024-11-18 | 14:21 | 2024-11-18 | 11:27 | FLORICA | PRECI | 2.01 | 2.02 | / | / |  |  |  |  | 1.90 |  | 1 | Brigitta P |  | 3 | 4
3 | 1.25 | 39 | Old B | 2024-11-18 | 14:40 | 2024-11-18 | 11:27 | FLORICA | PRECI | 1.17 | 1.17 | / | / |  |  |  |  | 3.13 |  | 1 | Brigitta P |  | 3 | 3
3 | 1.25 | 40 | Old B | 2024-11-18 | 14:41 | 2024-11-18 | 11:27 | FLORICA | PRECI | 1.20 | 1.20 | / | / |  |  |  |  | 3.92 |  | 1 | Brigitta P |  | 3 | 3
3 | 1.25 | 41 | P/Final | 2024-11-18 | 14:49 | 2024-11-18 | 11:27 | FLORICA | PRECI | 1.17 | 1.17 | / | / |  |  |  |  | 3.32 |  | 1 | Brigitta P |  | 3 | 3
3 | 1.25 | 42 | P/Final | 2024-11-18 | 14:49 | 2024-11-18 | 11:27 | FLORICA | PRECI | 1.17 | 1.17 | / | / |  |  |  |  | 3.47 |  | 1 | Brigitta P |  | 3 | 3
3 | 1.25 | 43 | P/Final | 2024-11-18 | 14:49 | 2024-11-18 | 11:27 | FLORICA | PRECI | 1.10 | 1.10 | / | / |  |  |  |  | 3.81 |  | 1 | Brigitta P |  | 3 | 3
2 | 0.40 | 44 | P/Final | 2024-11-18 | 14:50 | 2024-11-18 | 11:27 | FLORICA | PRECI | 0.37 | 0.37 | / | / |  |  |  |  | 6.56 |  | 1 | Brigitta P |  | 3 | 2
2 | 0.40 | 45 | P/Final | 2024-11-18 | 14:51 | 2024-11-18 | 11:27 | FLORICA | PRECI | 0.37 | 0.37 | / | / |  |  |  |  | 4.34 |  | 1 | Brigitta P |  | 3 | 2
2 | 0.40 | 46 | P/Final | 2024-11-18 | 14:51 | 2024-11-18 | 11:27 | FLORICA | PRECI | 0.38 | 0.38 | / | / |  |  |  |  | 5.97 |  | 1 | Brigitta P |  | 3 | 2
4 | 2.10 | 47 | P/Final | 2024-11-18 | 15:49 | 2024-11-18 | 14:39 | NINA | PRECI | 2.02 | 2.02 | / | / |  |  | 12.009 |  | 2.23 |  | 1 | Brigitta P |  | 3 | 4
4 | 2.10 | 48 | P/Final | 2024-11-18 | 15:50 | 2024-11-18 | 14:39 | NINA | PRECI | 2.00 | 2.05 | / | / |  |  | 12.008 |  | 3.02 |  | 1 | Brigitta P |  | 3 | 4
2 | 0.40 | 49 | P/Final | 2024-11-18 | 15:53 | 2024-11-18 | 14:39 | NINA | PRECI | 0.37 | 0.37 | / | / |  |  |  |  | 5.51 |  | 1 | Brigitta P |  | 3 | 2
2 | 0.40 | 50 | P/Final | 2024-11-18 | 15:54 | 2024-11-18 | 14:39 | NINA | PRECI | 0.38 | 0.38 | / | / |  |  | 12.045 |  | 5.51 |  | 1 | Brigitta P |  | 3 | 2
3 | 1.25 | 51 | P/Final | 2024-11-18 | 15:55 | 2024-11-18 | 14:39 | NINA | PRECI | 1.19 | 1.20 | / | / |  |  | 12.043 |  | 3.55 |  | 1 | Brigitta P |  | 3 | 3
3 | 1.25 | 52 | P/Final | 2024-11-18 | 15:55 | 2024-11-18 | 14:39 | NINA | PRECI | 1.18 | 1.20 | / | / |  |  | 12.057 |  | 3.80 |  | 1 | Brigitta P |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0.37 mg/L | 5 | 10 | 0.37 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 1.17 mg/L | 5 | 10 | 1.17 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 2.01 mg/L | 9 | 18 | 2.01 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 mg/L | 0 | 0 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.40 | 0.35 ÷ 0.45 | 0.37 | YES
1.25 | 1.17 ÷ 1.33 | 1.17 | YES
2.10 | 1.99 ÷ 2.21 | 2.01 | YES
Validation Date | by