## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI784B-0
0873/N | HI784B-0 | CP-R81 | W 51/8 |  | Parameter Formula | NH3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Ammonia Reagent B | 2027-06-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
/ | / | /
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1788 | 0873 | 0866
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-05-01 | 2027-06-01 | 2027-06-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-12-21 | 2025-02-14 | PRECI |  |  |  | 0820
[6 empty] | Expiration A | Expiration B | Expiration D
2027-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO-730 | HI97115 | CTO-708
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 1.25 | 1.17 | 1.33 |  | MR09 |  | 0.03 | & | 5% | 80%
4 | 2.10 | 1.99 | 2.21 | [8 empty] | 12.10 | 12.0 | 12.20
2 | 0.40 | 0.35 | 0.45
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 1.25 | 1 | Old B | 2025-02-13 | 09:24 | 2025-02-13 | 07:05 | FLORICA | 1 | 1.22 | 1.22 | / | / |  |  |  |  | 3.91 |  | 1 | Kinga |  | 3 | 3
4 | 2.10 | 2 | Old B | 2025-02-13 | 09:25 | 2025-02-13 | 07:05 | FLORICA | 1 | 2.11 | 2.16 | / | / |  |  |  |  | 3.01 |  | 1 | Kinga |  | 3 | 4
2 | 0.40 | 3 | Old B | 2025-02-13 | 09:28 | 2025-02-13 | 07:05 | FLORICA | 1 | 0.30 | 0.30 | / | / |  |  |  |  | 7.35 |  | 1 | Kinga |  | 3 | 2
1 | 0.00 | 4 | Old B | 2025-02-13 | 09:30 | 2025-02-13 | 07:05 | FLORICA | 1 | 0.08 | 0.09 | / | / |  |  |  |  | 8.37 |  | 1 | Kinga |  | 3 | 1
3 | 1.25 | 5 | P/Prod | 2025-02-13 | 09:50 | 2025-02-13 | 07:05 | FLORICA | 1 | 1.22 | 1.22 | / | / |  |  | 12.101 |  | 4.43 | 248 | 1 | Kinga |  | 3 | 3
3 | 1.25 | 6 | P/Prod | 2025-02-13 | 09:51 | 2025-02-13 | 07:05 | FLORICA | 1 | 1.20 | 1.20 | / | / |  |  |  |  | 2.71 | 249 | 1 | Kinga |  | 3 | 3
4 | 2.10 | 7 | P/Prod | 2025-02-13 | 09:53 | 2025-02-13 | 07:05 | FLORICA | 1 | 2.08 | 2.08 | / | / |  |  | 12.051 |  | 2.18 | 257 | 1 | Kinga |  | 3 | 4
4 | 2.10 | 8 | P/Prod | 2025-02-13 | 09:54 | 2025-02-13 | 07:05 | FLORICA | 1 | 2.09 | 2.09 | / | / |  |  |  |  | 2.84 | 252 | 1 | Kinga |  | 3 | 4
2 | 0.40 | 9 | P/Prod | 2025-02-13 | 09:59 | 2025-02-13 | 07:05 | FLORICA | 1 | 0.37 | 0.37 | / | / |  |  | 12.089 |  | 3.52 | 251 | 1 | Kinga |  | 3 | 2
2 | 0.40 | 10 | P/Prod | 2025-02-13 | 09:59 | 2025-02-13 | 07:05 | FLORICA | 1 | 0.38 | 0.38 | / | / |  |  |  |  | 5.76 |  | 1 | Kinga |  | 3 | 2
1 | 0.00 | 11 | P/Prod | 2025-02-13 | 10:27 | 2025-02-13 | 07:05 | FLORICA | 1 | 0.03 | 0.03 | / | / |  |  | 10.045 |  | 7.12 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 12 | P/Prod | 2025-02-13 | 10:30 | 2025-02-13 | 07:05 | FLORICA | 1 | 0.03 | 0.03 | / | / |  |  |  |  | 6.94 |  | 1 | Kinga |  | 3 | 1
2 | 0.40 | 13 | P/Prod | 2025-02-14 | 09:38 | 2025-02-14 | 06:27 | FLORICA | PRECI | 0.40 | 0.41 | / | / |  |  | 12.138 |  | 6.04 | 226 | 1 | Kinga |  | 3 | 2
2 | 0.40 | 14 | P/Prod | 2025-02-14 | 09:41 | 2025-02-14 | 06:27 | FLORICA | PRECI | 0.41 | 0.41 | / | / |  |  | 12.145 |  | 5.82 | 235 | 1 | Kinga |  | 3 | 2
3 | 1.25 | 15 | P/Prod | 2025-02-14 | 09:49 | 2025-02-14 | 06:27 | FLORICA | PRECI | 1.21 | 1.23 | / | / |  |  | 12.198 |  | 3.52 | 225 | 1 | Kinga |  | 3 | 3
3 | 1.25 | 16 | P/Prod | 2025-02-14 | 09:50 | 2025-02-14 | 06:27 | FLORICA | PRECI | 1.29 | 1.29 | / | / |  |  | 12.110 |  | 4.14 | 224 | 1 | Kinga |  | 3 | 3
4 | 2.10 | 17 | P/Prod | 2025-02-14 | 09:53 | 2025-02-14 | 06:27 | FLORICA | PRECI | 2.13 | 2.14 | / | / |  |  | 12.192 |  | 3.09 |  | 1 | Kinga |  | 3 | 4
4 | 2.10 | 18 | P/Prod | 2025-02-14 | 09:56 | 2025-02-14 | 06:27 | FLORICA | PRECI | 2.17 | 2.17 | / | / |  |  | 12.196 |  | 3.54 |  | 1 | Kinga |  | 3 | 4
1 | 0.00 | 19 | P/Prod | 2025-02-14 | 10:18 | 2025-02-14 | 06:27 | FLORICA | PRECI | 0.02 | 0.02 | / | / |  |  | 12.167 |  | 11.5 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 20 | P/Prod | 2025-02-14 | 10:18 | 2025-02-14 | 06:27 | FLORICA | PRECI | 0.03 | 0.02 | / | / |  |  | 12.220 |  | 14.8 |  | 1 | Kinga |  | 3 | 1
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 1.23 mg/L | 4 | 8 | 1.23 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 2.12 mg/L | 4 | 8 | 2.12 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.39 mg/L | 4 | 8 | 0.39 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.03 mg/L | 4 | 8 | 0.03 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.03 | YES
0.40 | 0.35 ÷ 0.45 | 0.39 | YES
1.25 | 1.17 ÷ 1.33 | 1.23 | YES
2.10 | 1.99 ÷ 2.21 | 2.12 | YES
Validation Date | by