## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI784B-0
0873 | HI784B-0 | CP-R81 | W51/1_2024 |  | Parameter Formula | NH3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Ammonia Reagent B | 2027-06-01 | L57 Powder |  |  | Laboratory | Tablet 3 | Production
Ref Weight. | Min (mg) | Max (mg)
/ | / | /
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2120 | 0873 | 0866
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-11-01 | 2027-06-01 | 2027-06-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
Erika | 2024-12-17 | 2024-12-20 | PRECI |  |  |  | 0820
[6 empty] | Expiration A | Expiration B | Expiration D
2027-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO-708 | HI97115 | CTO-741
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5521 | L84-029 | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.35 | 0.45 |  | MR09 |  | 0.03 | & | 5% | 80%
3 | 1.25 | 1.17 | 1.33 | [8 empty] | 12.10 | 12.0 | 12.20
4 | 2.10 | 1.99 | 2.21
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old B | 2024-12-17 | 20:23 | 2024-12-16 | 08:33 | Erika |  | 0.37 | 0.36 | / | / |  |  | 11.985 |  | 3.88 |  | 1 | Monika |  | 3 | 2 | 93353 | New cuvette OMPI+New cap
3 | 1.25 | 2 | Old B | 2024-12-17 | 20:24 | 2024-12-16 | 08:33 | Erika |  | 1.19 | 1.19 | / | / |  |  | 12.000 |  | 1.99 |  | 1 | Monika |  | 3 | 3 | 63122
4 | 2.10 | 3 | Old B | 2024-12-17 | 20:25 | 2024-12-16 | 08:33 | Erika |  | 2.06 | 2.04 | / | / |  |  | 12.007 |  | 1.51 |  | 1 | Monika |  | 3 | 4 | 63122
1 | 0.00 | 4 | Old B | 2024-12-17 | 20:32 | 2024-12-16 | 08:33 | Erika |  | 0.02 | 0.02 | / | / | 250 |  | 12.020 |  | 5.69 |  | 1 | Monika |  | 3 | 1 |  | SW2 LOT:1958
2 | 0.40 | 5 | Valid | 2024-12-17 | 20:45 | 2024-12-16 | 08:33 | Erika |  | 0.36 | 0.36 | / | / |  |  | 12.017 |  | 2.65 |  | 1 | Monika |  | 3 | 2 | 93353
2 | 0.40 | 6 | Valid | 2024-12-17 | 20:47 | 2024-12-16 | 08:33 | Erika |  | 0.37 | 0.36 | / | / |  |  | 12.010 |  | 2.69 |  | 1 | Monika |  | 3 | 2 | 93353
3 | 1.25 | 7 | Valid | 2024-12-17 | 20:50 | 2024-12-16 | 08:33 | Erika |  | 1.18 | 1.18 | / | / |  |  | 12.006 |  | 1.40 |  | 1 | Monika |  | 3 | 3 | 63122
3 | 1.25 | 8 | Valid | 2024-12-17 | 20:51 | 2024-12-16 | 08:33 | Erika |  | 1.19 | 1.19 | / | / |  |  | 12.014 |  | 1.31 |  | 1 | Monika |  | 3 | 3 | 63122
4 | 2.10 | 9 | Valid | 2024-12-17 | 20:56 | 2024-12-16 | 08:33 | Erika |  | 2.14 | 2.12 | / | / |  |  | 12.013 |  | 1.04 |  | 1 | Monika |  | 3 | 4 | 63122
4 | 2.10 | 10 | Valid | 2024-12-17 | 20:56 | 2024-12-16 | 08:33 | Erika |  | 2.13 | 2.13 | / | / |  |  | 12.010 |  | 1.05 |  | 1 | Monika |  | 3 | 4 | 63122
1 | 0.00 | 11 | Valid | 2024-12-17 | 21:05 | 2024-12-16 | 08:33 | Erika |  | 0.01 | 0.01 | / | / |  |  | 12.021 |  | 0.34 |  | 1 | Monika |  | 3 | 1 |  | SW2 LOT: 1958
1 | 0.00 | 12 | ASTM D665 | 2024-12-17 | 21:07 | 2024-12-16 | 08:33 | Erika |  | 0.07 | 0.07 | / | / |  |  | 12.020 |  | 4.01 |  | 1 | Monika |  | 3 | 1 |  | repeat when will be on the machine
4 | 2.10 | 13 | P/Final | 2024-12-21 | 8:45 | 2024-12-16 | 08:33 | FLORICA |  | 2.10 | 2.10 | / | / |  |  |  |  | 1.05 |  | 1 | Brigitta P |  | 3 | 1 |  | repeat when will be on the machine
4 | 2.10 | 14 | P/Final | 2024-12-21 | 8:45 | 2024-12-16 | 08:33 | FLORICA |  | 2.14 | 2.14 | / | / |  |  |  |  | 1.50 |  | 1 | Brigitta P |  | 3 | 1 |  | repeat when will be on the machine
3 | 1.25 | 15 | P/Final | 2024-12-21 | 8:45 | 2024-12-16 | 08:33 | FLORICA |  | 1.17 | 1.17 | / | / |  |  |  |  | 0.81 |  | 1 | Brigitta P |  | 3 | 1 |  | repeat when will be on the machine
3 | 1.25 | 16 | P/Final | 2024-12-21 | 8:45 | 2024-12-16 | 08:33 | FLORICA |  | 1.16 | 1.17 | / | / |  |  |  |  | 3.26 |  | 1 | Brigitta P |  | 3 | 1 |  | repeat when will be on the machine
2 | 0.40 | 17 | P/Final | 2024-12-21 | 8:45 | 2024-12-16 | 08:33 | FLORICA |  | 0.44 | 0.44 | / | / |  |  |  |  | 5.93 |  | 1 | Brigitta P |  | 3 | 1 |  | repeat when will be on the machine
2 | 0.40 | 18 | P/Final | 2024-12-21 | 8:45 | 2024-12-16 | 08:33 | FLORICA |  | 0.45 | 0.44 | / | / | [6 empty] | 1 | Brigitta P |  | 3 | 1 |  | repeat when will be on the machine
1 | 0.00 | 19 | P/Final | 2024-12-21 | 8:55 | 2024-12-16 | 08:33 | FLORICA |  | 0.02 | 0.01 | / | / | [6 empty] | 1 | Brigitta P |  | 3 | 1 |  | repeat when will be on the machine
1 | 0.00 | 20 | P/Final | 2024-12-21 | 8:55 | 2024-12-16 | 08:33 | FLORICA |  | 0.07 | 0.05 | / | / | [6 empty] | 1 | Brigitta P |  | 3 | 1 |  | repeat when will be on the machine
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.44 mg/L | 2 | 4 | 0.44 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 1.17 mg/L | 2 | 4 | 1.17 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 2.12 mg/L | 2 | 4 | 2.12 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.04 mg/L | 2 | 4 | 0.04 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.04 | NO
0.40 | 0.35 ÷ 0.45 | 0.44 | YES
1.25 | 1.17 ÷ 1.33 | 1.17 | YES
2.10 | 1.99 ÷ 2.21 | 2.12 | YES
Validation Date | by