## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI784B-0
1196 | HI784B-0 | CP-R81 | W 42/1 |  | Parameter Formula | NH3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Ammonia Reagent B | 2028-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
/ | / | /
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2853 | 1196 | 1198
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-10-01 | 2028-04-01 | 2028-04-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-15 | 2025-10-22 | PRECI |  |  |  | 1156
[6 empty] | Expiration A | Expiration B | Expiration D
2028-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97115 | CTO-740 | HI97105 | CTO-844
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.35 | 0.45 |  | MR09 |  | 0.03 | & | 5% | 80%
3 | 1.25 | 1.17 | 1.33 | [8 empty] | 12.10 | 12.0 | 12.20
4 | 2.10 | 1.99 | 2.21
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97115 | M. 2 HI97105 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old B | 2025-10-16 | 09:04 | 2025-10-15 | 10:59 | ERIKA |  | 0.37 | 0.37 | / | / |  |  |  |  | 4.37 |  | 1 | Andrea V |  | 3 | 2
2 | 0.40 | 2 | Old B | 2025-10-16 | 09:08 | 2025-10-15 | 10:59 | ERIKA |  | 0.38 | 0.37 | / | / |  |  |  |  | 4.39 |  | 1 | Andrea V |  | 3 | 2
3 | 1.25 | 3 | Old B | 2025-10-16 | 09:13 | 2025-10-15 | 10:59 | ERIKA |  | 1.21 | 1.20 | / | / |  |  |  |  | 2.51 |  | 1 | Andrea V |  | 3 | 3 | 23455
3 | 1.25 | 4 | Old B | 2025-10-16 | 09:14 | 2025-10-15 | 10:59 | ERIKA |  | 1.22 | 1.22 | / | / |  |  |  |  | 2.67 |  | 1 | Andrea V |  | 3 | 3 | 23455
4 | 2.10 | 5 | Old B | 2025-10-16 | 09:20 | 2025-10-15 | 10:59 | ERIKA |  | 2.07 | 2.06 | / | / |  |  |  |  | 1.91 |  | 1 | Andrea V |  | 3 | 4 | 23455
4 | 2.10 | 6 | Old B | 2025-10-16 | 09:22 | 2025-10-15 | 10:59 | ERIKA |  | 2.14 | 2.12 | / | / |  |  |  |  | 1.97 |  | 1 | Andrea V |  | 3 | 4 | 23455
1 | 0.00 | 7 | Old B | 2025-10-16 | 09:24 | 2025-10-15 | 10:59 | ERIKA |  | 0.02 | 0.01 | / | / |  |  |  |  | 8.59 |  | 1 | Andrea V |  | 3 | 1 | 23455
1 | 0.00 | 8 | Old B | 2025-10-16 | 09:25 | 2025-10-15 | 10:59 | ERIKA |  | 0.01 | 0.01 | / | / |  |  |  |  | 5.10 |  | 1 | Andrea V |  | 3 | 1 | 23455
3 | 1.25 | 9 | Valid | 2025-10-16 | 09:35 | 2025-10-15 | 10:59 | ERIKA |  | 1.19 | 1.19 | / | / |  |  |  |  | 0.37 |  | 1 | Andrea V |  | 3 | 3 | 23455
3 | 1.25 | 10 | Valid | 2025-10-16 | 09:36 | 2025-10-15 | 10:59 | ERIKA |  | 1.19 | 1.19 | / | / |  |  |  |  | 1.39 |  | 1 | Andrea V |  | 3 | 3 | 23455
3 | 1.25 | 11 | Valid | 2025-10-16 | 09:36 | 2025-10-15 | 10:59 | ERIKA |  | 1.22 | 1.22 | / | / |  |  | 12.041 |  | 0.72 |  | 1 | Andrea V |  | 3 | 3 | 23455
2 | 0.40 | 12 | Valid | 2025-10-16 | 09:40 | 2025-10-15 | 10:59 | ERIKA |  | 0.36 | 0.36 | / | / |  |  |  |  | 1.96 |  | 1 | Andrea V |  | 3 | 2 | 23455
2 | 0.40 | 13 | Valid | 2025-10-16 | 09:41 | 2025-10-15 | 10:59 | ERIKA |  | 0.35 | 0.35 | / | / |  |  | 12.052 |  | 0.64 |  | 1 | Andrea V |  | 3 | 2 | 23455
4 | 2.10 | 14 | Valid | 2025-10-16 | 09:41 | 2025-10-15 | 10:59 | ERIKA |  | 2.14 | 2.13 | / | / |  |  |  |  | 0.46 |  | 1 | Andrea V |  | 3 | 4 | 23455
4 | 2.10 | 15 | Valid | 2025-10-16 | 09:42 | 2025-10-15 | 10:59 | ERIKA |  | 2.14 | 2.12 | / | / |  |  | 12.126 |  | 0.25 |  | 1 | Andrea V |  | 3 | 4 | 23455
1 | 0.00 | 16 | Valid | 2025-10-16 | 09:43 | 2025-10-15 | 10:59 | ERIKA |  | 0.01 | 0.01 | / | / |  |  |  |  | 1.18 |  | 1 | Andrea V |  | 3 | 1 | 23455
1 | 0.00 | 17 | Valid | 2025-10-16 | 09:44 | 2025-10-15 | 10:59 | ERIKA |  | 0.01 | 0.01 | / | / |  |  | 12.080 |  | 2.61 |  | 1 | Andrea V |  | 3 | 1 | 23455
2 | 0.40 | 18 | Old B | 2025-10-22 | 11:25 | 2025-10-21 | 07:21 | ELENA |  | 0.36 | 0.36 | / | / |  |  |  |  | 1.47 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 19 | Old B | 2025-10-22 | 11:25 | 2025-10-21 | 07:21 | ELENA |  | 0.36 | 0.36 | / | / |  |  |  |  | 1.58 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 20 | P/FINAL | 2025-10-22 | 11:26 | 2025-10-21 | 07:21 | ELENA |  | 0.38 | 0.39 | / | / |  |  |  |  | 1.49 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 21 | P/FINAL | 2025-10-22 | 11:27 | 2025-10-21 | 07:21 | ELENA |  | 0.39 | 0.38 | / | / |  |  |  |  | 1.58 |  | 1 | Kinga |  | 3 | 2
2 | 0.40 | 22 | P/FINAL | 2025-10-22 | 11:28 | 2025-10-21 | 07:21 | ELENA |  | 0.39 | 0.40 | / | / |  |  | 12.118 |  | 2.22 |  | 1 | Kinga |  | 3 | 2
3 | 1.25 | 23 | Old B | 2025-10-22 | 11:37 | 2025-10-21 | 07:21 | ELENA |  | 1.27 | 1.28 | / | / |  |  |  |  | 0.91 |  | 1 | Kinga |  | 3 | 3
3 | 1.25 | 24 | Old B | 2025-10-22 | 11:38 | 2025-10-21 | 07:21 | ELENA |  | 1.27 | 1.28 | / | / |  |  |  |  | 0.99 |  | 1 | Kinga |  | 3 | 3
3 | 1.25 | 25 | P/FINAL | 2025-10-22 | 11:39 | 2025-10-21 | 07:21 | ELENA |  | 1.28 | 1.29 | / | / |  |  |  |  | 0.89 |  | 1 | Kinga |  | 3 | 3
3 | 1.25 | 26 | P/FINAL | 2025-10-22 | 11:40 | 2025-10-21 | 07:21 | ELENA |  | 1.29 | 1.29 | / | / |  |  |  |  | 1.09 | 247 | 1 | Kinga |  | 3 | 3
3 | 1.25 | 27 | P/FINAL | 2025-10-22 | 11:40 | 2025-10-21 | 07:21 | ELENA |  | 1.27 | 1.29 | / | / |  |  | 12.096 |  | 0.91 | 252 | 1 | Kinga |  | 3 | 3
4 | 2.10 | 28 | Old B | 2025-10-22 | 11:47 | 2025-10-21 | 07:21 | ELENA |  | 2.10 | 2.11 | / | / |  |  |  |  | 0.98 | 251 | 1 | Kinga |  | 3 | 4
4 | 2.10 | 29 | Old B | 2025-10-22 | 11:48 | 2025-10-21 | 07:21 | ELENA |  | 2.11 | 2.11 | / | / |  |  |  |  | 0.98 | 252 | 1 | Kinga |  | 3 | 4
4 | 2.10 | 30 | P/FINAL | 2025-10-22 | 11:50 | 2025-10-21 | 07:21 | ELENA |  | 2.18 | 2.21 | / | / |  |  |  |  | 0.83 |  | 1 | Kinga |  | 3 | 4
4 | 2.10 | 31 | P/FINAL | 2025-10-22 | 11:51 | 2025-10-21 | 07:21 | ELENA |  | 2.20 | 2.21 | / | / |  |  |  |  | 0.78 |  | 1 | Kinga |  | 3 | 4
4 | 2.10 | 32 | P/FINAL | 2025-10-22 | 11:51 | 2025-10-21 | 07:21 | ELENA |  | 2.21 | 2.21 | / | / |  |  | 12.137 |  | 0.95 |  | 1 | Kinga |  | 3 | 4
1 | 0.00 | 33 | Old B | 2025-10-22 | 11:54 | 2025-10-21 | 07:21 | ELENA |  | 0.01 | 0.01 | / | / |  |  |  |  | 2.18 |  | 1 | Kinga |  | 3 | 1
1 | 0.00 | 34 | P/FINAL | 2025-10-22 | 11:54 | 2025-10-21 | 07:21 | ELENA |  | 0.01 | 0.03 | / | / |  |  | 12.180 |  | 2.80 |  | 1 | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.39 mg/L | 3 | 6 | 0.39 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.29 mg/L | 3 | 6 | 1.29 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 2.2 mg/L | 3 | 6 | 2.2 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 2 | 0.02 mg/L | 1 | 2 | 0.02 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.02 | YES
0.40 | 0.35 ÷ 0.45 | 0.39 | YES
1.25 | 1.17 ÷ 1.33 | 1.29 | YES
2.10 | 1.99 ÷ 2.21 | 2.20 | YES
Validation Date | by