## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI783IND-0 | HI783IND-0/S
1259 | HI783IND-0 | CP-R83 | W 48/1 |  | Parameter Formula | Mg | Mg
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Magnesium Indicator Reagent | 2027-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
/ | / | /
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
2867 | 1259
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-10-01 | 2027-11-01
Reagent Range Min | Reagent Range Max
1000 mg/L | 1800 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-28 | 2025-12-05 | 2 HEAD |  |  |  | 1167 | 2 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
2027-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI97715 | CTO-708 | HI97105 | CTO-845
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1400 | 1350 | 1451 |  | MR100 |  | 5 | & | 5% | 65%
1 | 1100 | 1059 | 1141 | [8 empty] | 10.0 | 9.9 | 10.1
3 | 1700 | 1640 | 1760
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI97715 | M. 2 HI97105 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1400 | 1 | Old B | 2025-11-28 | 15:52 | 2025-11-28 | 11:43 | ERIKA |  | 1435 | 1435 | / | / |  |  |  |  | 1.09 |  | 1 | Andrea V |  | 3 | 2
2 | 1400 | 2 | Valid | 2025-11-28 | 15:59 | 2025-11-28 | 11:43 | ERIKA |  | 1680 | 1675 | / | / |  |  |  |  | 5.21 |  | 1 | Andrea V |  | 3 | 2
1 | 1100 | 3 | Old B | 2025-12-02 | 08:47 | 2025-11-28 | 11:43 | ERIKA |  | 1135 | 1135 | / | / |  |  |  |  | 1.27 |  | 1 | Andrea V |  | 3 | 1
1 | 1100 | 4 | Valid | 2025-12-02 | 08:57 | 2025-11-28 | 11:43 | ERIKA |  | 1320 | 1330 | / | / |  |  |  |  | 2.88 |  | 1 | Andrea V |  | 3 | 1
2 | 1400 | 5 | Old B | 2025-12-02 | 09:09 | 2025-11-28 | 11:43 | ERIKA |  | 1395 | 1410 | / | / |  |  |  |  | 6.00 |  | 1 | Andrea V |  | 3 | 2 | 30043
2 | 1400 | 6 | Valid | 2025-12-02 | 09:11 | 2025-11-28 | 11:43 | ERIKA |  | 1740 | 1755 | / | / |  |  |  |  | 3.20 |  | 1 | Andrea V |  | 3 | 2 | 30043
2 | 1400 | 7 | Valid | 2025-12-02 | 09:22 | 2025-11-28 | 11:43 | ERIKA |  | 1430 | 1435 | / | / |  |  |  |  | 8.00 | 410 | 1 | Andrea V |  | 3 | 2 | 30043 | 25.5 °C
2 | 1400 | 8 | Valid | 2025-12-02 | 09:26 | 2025-11-28 | 11:43 | ERIKA |  | 1465 | 1475 | / | / |  |  |  |  | 3.02 | 402 | 1 | Andrea V |  | 3 | 2 | 30043
2 | 1400 | 9 | Valid | 2025-12-02 | 09:43 | 2025-11-28 | 11:43 | ERIKA |  | 1405 | 1420 | / | / |  |  |  |  | 1.82 | 416 | 1 | Andrea V |  | 3 | 2 |  | 26.2 °C
3 | 1700 | 10 | Old B | 2025-12-02 | 10:00 | 2025-11-28 | 11:43 | ERIKA |  | 1735 | 1760 | / | / |  |  |  |  | 8.07 |  | 1 | Andrea V |  | 3 | 3 | 30043 | 24.5 °C
1 | 1100 | 11 | Valid | 2025-12-02 | 10:55 | 2025-11-28 | 11:43 | ERIKA |  | 1170 | 1175 | / | / |  |  |  |  | 3.22 | 410 | 1 | Andrea V |  | 3 | 1 | 30043 | 24.1 °C
1 | 1100 | 12 | Old B | 2025-12-02 | 11:01 | 2025-11-28 | 11:43 | ERIKA |  | 1150 | 1150 | / | / |  |  |  |  | 3.39 |  | 1 | Andrea V |  | 3 | 1 | 30043 | 23.2 °C
1 | 1100 | 13 | Valid | 2025-12-02 | 11:15 | 2025-11-28 | 11:43 | ERIKA |  | 1155 | 1160 | / | / |  |  |  |  | 3.74 | 420 | 1 | Andrea V |  | 3 | 1 | 30043 | 24.6 °C
2 | 1400 | 14 | Valid | 2025-12-02 | 11:32 | 2025-11-28 | 11:43 | ERIKA |  | 1435 | 1455 | / | / |  |  |  |  | 3.33 | 421 | 1 | Andrea V |  | 3 | 2 | 30043 | 24.4 °C
2 | 1400 | 15 | Valid | 2025-12-02 | 11:41 | 2025-11-28 | 11:43 | ERIKA |  | 1440 | 1450 | / | / |  |  |  |  | 4.03 | 420 | 1 | Andrea V |  | 3 | 2 |  | 24.8 °C
2 | 1400 | 16 | Valid | 2025-12-02 | 11:52 | 2025-11-28 | 11:43 | ERIKA |  | 1445 | 1450 | / | / |  |  | 10.128 |  | 4.15 | 411 | 1 | Andrea V |  | 3 | 2 |  | 24.4 °C
2 | 1400 | 17 | Valid | 2025-12-02 | 12:11 | 2025-11-28 | 11:43 | ERIKA |  | 1445 | 1450 | / | / |  |  |  |  | 3.61 | 400 | 1 | Andrea V |  | 3 | 2 |  | 25.5 °C
2 | 1400 | 18 | Valid | 2025-12-02 | 12:20 | 2025-11-28 | 11:43 | ERIKA |  | 1525 | 1535 | / | / |  |  |  |  | 2.89 | 380 | 1 | Andrea V |  | 3 | 2 |  | 24.6 °C
2 | 1400 | 19 | Valid | 2025-12-02 | 12:29 | 2025-11-28 | 11:43 | ERIKA |  | 1435 | 1445 | / | / |  |  |  |  | 3.15 | 412 | 1 | Andrea V |  | 3 | 2 |  | 25.8 °C HI783A-0 LOT: 2699
2 | 1400 | 20 | Valid | 2025-12-02 | 12:38 | 2025-11-28 | 11:43 | ERIKA |  | 1395 | 1400 | / | / |  |  |  |  | 2.63 | 406 | 1 | Andrea V |  | 3 | 2 |  | 25.9 °C HI783A-0 lot: 2699
2 | 1400 | 21 | Valid | 2025-12-02 | 12:43 | 2025-11-28 | 11:43 | ERIKA |  | 1405 | 1415 | / | / |  |  | 10.130 |  | 4.02 | 410 | 1 | Andrea V |  | 3 | 2 |  | 25.3 °C HI783A-0 lot:2867
1 | 1100 | 22 | Valid | 2025-12-02 | 12:56 | 2025-11-28 | 11:43 | ERIKA |  | 1145 | 1145 | / | / |  |  |  |  | 2.38 | 406 | 1 | Andrea V |  | 3 | 1 | 30043 | 25.0 °C
3 | 1700 | 23 | Valid | 2025-12-02 | 12:59 | 2025-11-28 | 11:43 | ERIKA |  | 1800 | 1800 | / | / |  |  |  |  | 8.58 | 405 | 1 | Andrea V |  | 3 | 3 | 30043 | 25.7 °C
1 | 1100 | 24 | Valid | 2025-12-02 | 15:37 | 2025-11-28 | 11:43 | ERIKA |  | 1085 | 1085 | / | / |  |  | 10.216 |  | 2.56 | 405 | 1 | Andrea V |  | 3 | 1 | 30043 | 25.2 °C
1 | 1100 | 25 | Valid | 2025-12-02 | 15:39 | 2025-11-28 | 11:43 | ERIKA |  | 1090 | 1095 | / | / |  |  |  |  | 1.25 | 403 | 1 | Andrea V |  | 3 | 1 | 30043 | 25.6 °C
3 | 1700 | 26 | Valid | 2025-12-02 | 16:17 | 2025-11-28 | 11:43 | ERIKA |  | 1680 | 1710 | / | / |  |  | 10.210 |  | 2.70 | 404 | 1 | Andrea V |  | 3 | 3 |  | 26.0 °C
3 | 1700 | 27 | Valid | 2025-12-02 | 16:17 | 2025-11-28 | 11:43 | ERIKA |  | 1680 | 1715 | / | / |  |  |  |  | 5.74 | 405 | 1 | Andrea V |  | 3 | 3 |  | 25.2 °C
1 | 1100 | 28 | P/FINAL | 2025-12-03 | 08:43 | 2025-12-03 | 07:45 | ELENA | 2 | 1080 | 1085 | / | / |  |  |  |  | 3.18 | 406 | 1 | Kinga |  | 3 | 1
1 | 1100 | 29 | P/FINAL | 2025-12-03 | 08:44 | 2025-12-03 | 07:45 | ELENA | 2 | 1105 | 1105 | / | / |  |  |  |  | 8.34 | 398 | 1 | Kinga |  | 3 | 1
1 | 1100 | 30 | P/FINAL | 2025-12-03 | 08:45 | 2025-12-03 | 07:45 | ELENA | 2 | 1105 | 1110 | / | / |  |  | 10.234 |  | 1.67 | 407 | 1 | Kinga |  | 3 | 1
2 | 1400 | 31 | P/FINAL | 2025-12-03 | 08:54 | 2025-12-03 | 07:45 | ELENA | 2 | 1435 | 1445 | / | / |  |  |  |  | 0.80 | 399 | 1 | Kinga |  | 3 | 2
2 | 1400 | 32 | P/FINAL | 2025-12-03 | 08:58 | 2025-12-03 | 07:45 | ELENA | 2 | 1440 | 1450 | / | / |  |  |  |  | 0.98 | 405 | 1 | Kinga |  | 3 | 2
2 | 1400 | 33 | P/FINAL | 2025-12-03 | 08:59 | 2025-12-03 | 07:45 | ELENA | 2 | 1435 | 1435 | / | / |  |  | 10.214 |  | 0.95 | 407 | 1 | Kinga |  | 3 | 2
3 | 1700 | 34 | P/FINAL | 2025-12-03 | 09:09 | 2025-12-03 | 07:45 | ELENA | 2 | 1755 | 1735 | / | / |  |  |  |  | 0.96 | 404 | 1 | Kinga |  | 3 | 3
3 | 1700 | 35 | P/FINAL | 2025-12-03 | 09:10 | 2025-12-03 | 07:45 | ELENA | 2 | 1730 | 1740 | / | / |  |  |  |  | 1.17 | 399 | 1 | Kinga |  | 3 | 3
3 | 1700 | 36 | P/FINAL | 2025-12-03 | 09:15 | 2025-12-03 | 07:45 | ELENA | 2 | 1730 | 1715 | / | / |  |  | 10.173 |  | 1.44 | 402 | 1 | Kinga |  | 3 | 3
1 | 1100 | 37 | P/FINAL | 2025-12-03 | 14:07 | 2025-12-03 | 09:48 | ELENA | 2 | 1095 | 1095 | / | / |  |  |  |  | 5.66 | 415 | 1 | Andrea V |  | 3 | 1
1 | 1100 | 38 | P/FINAL | 2025-12-03 | 14:07 | 2025-12-03 | 09:48 | ELENA | 2 | 1076 | 1077 | / | / |  |  |  |  | 2.30 | 414 | 1 | Andrea V |  | 3 | 1
1 | 1100 | 39 | P/FINAL | 2025-12-03 | 14:07 | 2025-12-03 | 09:48 | ELENA | 2 | 1080 | 1085 | / | / |  |  | 10.111 |  | 2.36 | 410 | 1 | Andrea V |  | 3 | 1
2 | 1400 | 40 | P/FINAL | 2025-12-03 | 14:08 | 2025-12-03 | 09:48 | ELENA | 2 | 1360 | 1360 | / | / |  |  |  |  | 24.3 | 408 | 1 | Andrea V |  | 3 | 2
2 | 1400 | 41 | P/FINAL | 2025-12-03 | 14:08 | 2025-12-03 | 09:48 | ELENA | 2 | 1400 | 1425 | / | / |  |  |  |  | 30.9 | 408 | 1 | Andrea V |  | 3 | 2
2 | 1400 | 42 | P/FINAL | 2025-12-03 | 14:09 | 2025-12-03 | 09:48 | ELENA | 2 | 1405 | 1410 | / | / |  |  | 10.123 |  | 46.4 | 403 | 1 | Andrea V |  | 3 | 2
3 | 1700 | 43 | P/FINAL | 2025-12-03 | 14:09 | 2025-12-03 | 09:48 | ELENA | 2 | 1725 | 1735 | / | / |  |  |  |  | 15.7 | 407 | 1 | Andrea V |  | 3 | 3
3 | 1700 | 44 | P/FINAL | 2025-12-03 | 14:10 | 2025-12-03 | 09:48 | ELENA | 2 | 1760 | 1765 | / | / |  |  |  |  | 29.6 | 411 | 1 | Andrea V |  | 3 | 3
3 | 1700 | 45 | P/FINAL | 2025-12-03 | 14:10 | 2025-12-03 | 09:48 | ELENA | 2 | 1730 | 1733 | / | / |  |  | 10.065 |  | 16.8 | 409 | 1 | Andrea V |  | 3 | 3
1 | 1100 | 46 | P/FINAL | 2025-12-03 | 14:12 | 2025-12-03 | 12:12 | ELENA | 2 | 1090 | 1095 | / | / |  |  |  |  | 7.09 | 403 | 1 | Andrea V |  | 3 | 1
1 | 1100 | 47 | P/FINAL | 2025-12-03 | 14:12 | 2025-12-03 | 12:12 | ELENA | 2 | 1100 | 1095 | / | / |  |  |  |  | 3.45 | 400 | 1 | Andrea V |  | 3 | 1
1 | 1100 | 48 | P/FINAL | 2025-12-03 | 14:12 | 2025-12-03 | 12:12 | ELENA | 2 | 1094 | 1097 | / | / |  |  |  |  | 3.51 | 402 | 1 | Andrea V |  | 3 | 1
2 | 1400 | 49 | P/FINAL | 2025-12-03 | 14:13 | 2025-12-03 | 12:12 | ELENA | 2 | 1405 | 1425 | / | / |  |  |  |  | 18.0 | 406 | 1 | Andrea V |  | 3 | 2
2 | 1400 | 50 | P/FINAL | 2025-12-03 | 14:13 | 2025-12-03 | 12:12 | ELENA | 2 | 1400 | 1395 | / | / |  |  |  |  | 29.2 | 406 | 1 | Andrea V |  | 3 | 2
2 | 1400 | 51 | P/FINAL | 2025-12-03 | 14:14 | 2025-12-03 | 12:12 | ELENA | 2 | 1440 | 1445 | / | / |  |  |  |  | 17.2 | 403 | 1 | Andrea V |  | 3 | 2
3 | 1700 | 52 | P/FINAL | 2025-12-03 | 14:14 | 2025-12-03 | 12:12 | ELENA | 2 | 1710 | 1705 | / | / |  |  |  |  | 14.5 | 403 | 1 | Andrea V |  | 3 | 3
3 | 1700 | 53 | P/FINAL | 2025-12-03 | 14:15 | 2025-12-03 | 12:12 | ELENA | 2 | 1745 | 1750 | / | / |  |  |  |  | 5.63 | 401 | 1 | Andrea V |  | 3 | 3
3 | 1700 | 54 | P/FINAL | 2025-12-03 | 14:15 | 2025-12-03 | 12:12 | ELENA | 2 | 1723 | 1726 | / | / |  |  |  |  | 6.12 | 404 | 1 | Andrea V |  | 3 | 3
1 | 1100 | 55 | P/FINAL | 2025-12-03 | 14:36 | 2025-12-03 | 14:21 | ROLAND | 2 | 1105 | 1105 | / | / |  |  |  |  | 4.46 | 407 | 1 | Andrea V |  | 3 | 1 |  | HI783A-0 LOT:3025
1 | 1100 | 56 | P/FINAL | 2025-12-03 | 14:40 | 2025-12-03 | 14:21 | ROLAND | 2 | 1115 | 1115 | / | / |  |  |  |  | 2.48 | 406 | 1 | Andrea V |  | 3 | 1
1 | 1100 | 57 | P/FINAL | 2025-12-03 | 14:41 | 2025-12-03 | 14:21 | ROLAND | 2 | 1115 | 1110 | / | / |  |  |  |  | 1.33 | 413 | 1 | Andrea V |  | 3 | 1
2 | 1400 | 58 | P/FINAL | 2025-12-03 | 14:47 | 2025-12-03 | 14:21 | ROLAND | 2 | 1360 | 1355 | / | / |  |  |  |  | 20.4 | 413 | 1 | Kinga |  | 3 | 2
2 | 1400 | 59 | P/FINAL | 2025-12-03 | 14:49 | 2025-12-03 | 14:21 | ROLAND | 2 | 1370 | 1380 | / | / |  |  |  |  | 10.3 | 412 | 1 | Kinga |  | 3 | 2
2 | 1400 | 60 | P/FINAL | 2025-12-03 | 14:54 | 2025-12-03 | 14:21 | ROLAND | 2 | 1404 | 1435 | / | / |  |  |  |  | 1.47 | 400 | 1 | Kinga |  | 3 | 2
2 | 1400 | 61 | P/FINAL | 2025-12-03 | 14:57 | 2025-12-03 | 14:21 | ROLAND | 2 | 1400 | 1415 | / | / |  |  |  |  | 3.01 | 401 | 1 | Kinga |  | 3 | 2
3 | 1700 | 62 | P/FINAL | 2025-12-03 | 15:02 | 2025-12-03 | 14:21 | ROLAND | 2 | 1725 | 1740 | / | / |  |  |  |  | 2.22 | 408 | 1 | Kinga |  | 3 | 3
3 | 1700 | 63 | P/FINAL | 2025-12-03 | 15:07 | 2025-12-03 | 14:21 | ROLAND | 2 | 1705 | 1705 | / | / |  |  |  |  | 39.7 | 404 | 1 | Kinga |  | 3 | 3
3 | 1700 | 64 | P/FINAL | 2025-12-03 | 15:11 | 2025-12-03 | 14:21 | ROLAND | 2 | 1730 | 1715 | / | / |  |  |  |  | 10.6 | 409 | 1 | Kinga |  | 3 | 3
1 | 1100 | 65 | P/FINAL | 2025-12-03 | 16:01 | 2025-12-03 | 14:21 | ROLAND | 2 | 1100 | 1105 | / | / |  |  |  |  | 40.7 | 390 | 1 | Kinga |  | 3 | 1
2 | 1400 | 66 | P/FINAL | 2025-12-03 | 16:04 | 2025-12-03 | 14:21 | ROLAND | 2 | 1095 | 1100 | / | / |  |  |  |  | 17.5 | 405 | 1 | Kinga |  | 3 | 2
2 | 1400 | 67 | P/FINAL | 2025-12-03 | 16:08 | 2025-12-03 | 14:21 | ROLAND | 2 | 1420 | 1423 | / | / |  |  |  |  | 5.66 | 404 | 1 | Kinga |  | 3 | 2
2 | 1400 | 68 | P/FINAL | 2025-12-03 | 16:08 | 2025-12-03 | 14:21 | ROLAND | 2 | 1430 | 1432 | / | / |  |  |  |  | 6.11 | 408 | 1 | Kinga |  | 3 | 2
3 | 1700 | 69 | P/FINAL | 2025-12-03 | 16:11 | 2025-12-03 | 14:21 | ROLAND | 2 | 1740 | 1743 | / | / |  |  |  |  | 4.20 | 401 | 1 | Kinga |  | 3 | 3
3 | 1700 | 70 | P/FINAL | 2025-12-03 | 16:13 | 2025-12-03 | 14:21 | ROLAND | 2 | 1710 | 1715 | / | / |  |  |  |  | 4.35 | 406 | 1 | Kinga |  | 3 | 3
1 | 1100 | 71 | P/FINAL | 2025-12-04 | 08:17 | 2025-12-04 | 06:56 | ELENA | 2 | 1105 | 1105 | / | / |  |  |  |  | 26.6 | 411 | 1 | Kinga |  | 3 | 1
1 | 1100 | 72 | P/FINAL | 2025-12-04 | 08:18 | 2025-12-04 | 06:56 | ELENA | 2 | 1110 | 1105 | / | / |  |  | 10.230 |  | 18.3 | 403 | 1 | Kinga |  | 3 | 1
1 | 1100 | 73 | P/FINAL | 2025-12-04 | 08:19 | 2025-12-04 | 06:56 | ELENA | 2 | 1115 | 1115 | / | / |  |  |  |  | 3.65 | 402 | 1 | Kinga |  | 3 | 1
2 | 1400 | 74 | P/FINAL | 2025-12-04 | 08:24 | 2025-12-04 | 06:56 | ELENA | 2 | 1360 | 1375 | / | / |  |  |  |  | 59.6 | 408 | 1 | Kinga |  | 3 | 2
2 | 1400 | 75 | P/FINAL | 2025-12-04 | 08:32 | 2025-12-04 | 06:56 | ELENA | 2 | 1450 | 1450 | / | / |  |  | 10.246 |  | 1.26 | 387 | 1 | Kinga |  | 3 | 2
3 | 1700 | 76 | P/FINAL | 2025-12-04 | 08:36 | 2025-12-04 | 06:56 | ELENA | 2 | 1720 | 1720 | / | / |  |  |  |  | 33.2 | 392 | 1 | Kinga |  | 3 | 3
3 | 1700 | 77 | P/FINAL | 2025-12-04 | 08:39 | 2025-12-04 | 06:56 | ELENA | 2 | 1685 | 1710 | / | / |  |  |  |  | 33.2 | 402 | 1 | Kinga |  | 3 | 3
3 | 1700 | 78 | P/FINAL | 2025-12-04 | 08:41 | 2025-12-04 | 06:56 | ELENA | 2 | 1750 | 1750 | / | / |  |  | 10.204 |  | 2.17 | 406 | 1 | Kinga |  | 3 | 3
1 | 1100 | 79 | P/FINAL | 2025-12-04 | 08:54 | 2025-12-03 | 18:35 | ROLAND | 2 | 1065 | 1070 | / | / |  |  |  |  | 4.06 | 389 | 1 | Kinga |  | 3 | 1
1 | 1100 | 80 | P/FINAL | 2025-12-04 | 08:55 | 2025-12-03 | 18:35 | ROLAND | 2 | 1070 | 1070 | / | / |  |  | 10.225 |  | 4.12 | 381 | 1 | Kinga |  | 3 | 1
1 | 1100 | 81 | P/FINAL | 2025-12-04 | 08:56 | 2025-12-03 | 18:35 | ROLAND | 2 | 1105 | 1110 | / | / |  |  |  |  | 1.77 | 403 | 1 | Kinga |  | 3 | 1
2 | 1400 | 82 | P/FINAL | 2025-12-04 | 09:03 | 2025-12-03 | 18:35 | ROLAND | 2 | 1430 | 1430 | / | / |  |  | 10.208 |  | 4.94 | 394 | 1 | Kinga |  | 3 | 2
2 | 1400 | 83 | P/FINAL | 2025-12-04 | 09:04 | 2025-12-03 | 18:35 | ROLAND | 2 | 1420 | 1423 | / | / |  |  |  |  | 4.71 | 402 | 1 | Kinga |  | 3 | 2
3 | 1700 | 84 | P/FINAL | 2025-12-04 | 09:11 | 2025-12-03 | 18:35 | ROLAND | 2 | 1710 | 1710 | / | / |  |  |  |  | 1.32 | 404 | 1 | Kinga |  | 3 | 3
3 | 1700 | 85 | P/FINAL | 2025-12-04 | 09:12 | 2025-12-03 | 18:35 | ROLAND | 2 | 1750 | 1750 | / | / |  |  | 10.201 |  | 0.98 | 405 | 1 | Kinga |  | 3 | 3
1 | 1100 | 86 | P/FINAL | 2025-12-04 | 09:23 | 2025-12-03 | 20:45 | ROLAND | 2 | 1130 | 1135 | / | / |  |  |  |  | 15.0 | 408 | 1 | Kinga |  | 3 | 1
1 | 1100 | 87 | P/FINAL | 2025-12-04 | 09:23 | 2025-12-03 | 20:45 | ROLAND | 2 | 1130 | 1130 | / | / |  |  | 10.318 |  | 14.8 | 405 | 1 | Kinga |  | 3 | 1
2 | 1400 | 88 | P/FINAL | 2025-12-04 | 09:31 | 2025-12-03 | 20:45 | ROLAND | 2 | 1430 | 1430 | / | / |  |  |  |  | 0.60 | 406 | 1 | Kinga |  | 3 | 2
2 | 1400 | 89 | P/FINAL | 2025-12-04 | 09:32 | 2025-12-03 | 20:45 | ROLAND | 2 | 1404 | 1420 | / | / |  |  |  |  | 23.4 | 404 | 1 | Kinga |  | 3 | 2
3 | 1700 | 90 | P/FINAL | 2025-12-04 | 09:36 | 2025-12-03 | 20:45 | ROLAND | 2 | 1720 | 1720 | / | / |  |  | 10.250 |  | 14.4 | 400 | 1 | Kinga |  | 3 | 3
3 | 1700 | 91 | P/FINAL | 2025-12-04 | 09:37 | 2025-12-03 | 20:45 | ROLAND | 2 | 1750 | 1750 | / | / |  |  |  |  | 14.9 | 405 | 1 | Kinga |  | 3 | 3
1 | 1100 | 92 | P/FINAL | 2025-12-04 | 09:46 | 2025-12-04 | 08:47 | ELENA | 2 | 1090 | 1095 | / | / |  |  |  |  | 17.5 | 414 | 1 | Kinga |  | 3 | 1
1 | 1100 | 93 | P/FINAL | 2025-12-04 | 09:47 | 2025-12-04 | 08:47 | ELENA | 2 | 1110 | 1110 | / | / |  |  | 10.155 |  | 4.30 | 414 | 1 | Kinga |  | 3 | 1
1 | 1100 | 94 | P/FINAL | 2025-12-04 | 09:51 | 2025-12-04 | 08:47 | ELENA | 2 | 1070 | 1075 | / | / |  |  |  |  | 8.93 | 415 | 1 | Kinga |  | 3 | 1
2 | 1400 | 95 | P/FINAL | 2025-12-04 | 09:53 | 2025-12-04 | 08:47 | ELENA | 2 | 1410 | 1400 | / | / |  |  |  |  | 97.8 | 413 | 1 | Kinga |  | 3 | 2
2 | 1400 | 96 | P/FINAL | 2025-12-04 | 09:54 | 2025-12-04 | 08:47 | ELENA | 2 | 1385 | 1405 | / | / |  |  | 10.188 |  | 81.4 | 400 | 1 | Kinga |  | 3 | 2
2 | 1400 | 97 | P/FINAL | 2025-12-04 | 09:57 | 2025-12-04 | 08:47 | ELENA | 2 | 1370 | 1365 | / | / |  |  |  |  | 83.6 | 409 | 1 | Kinga |  | 3 | 2
3 | 1700 | 98 | P/FINAL | 2025-12-04 | 10:00 | 2025-12-04 | 08:47 | ELENA | 2 | 1674 | 1680 | / | / |  |  |  |  | 40.9 | 410 | 1 | Kinga |  | 3 | 3
3 | 1700 | 99 | P/FINAL | 2025-12-04 | 10:20 | 2025-12-04 | 08:47 | ELENA | 2 | 1735 | 1750 | / | / |  |  | 10.215 |  | 3.94 | 408 | 1 | Kinga |  | 3 | 3
1 | 1100 | 100 | P/FINAL | 2025-12-04 | 11:21 | 2025-12-04 | 10:50 | ELENA | 2 | 1110 | 1110 | / | / |  |  | 10.69 |  | 48.4 | 414 | 1 | Kinga |  | 3 | 1
1 | 1100 | 101 | P/FINAL | 2025-12-04 | 11:26 | 2025-12-04 | 10:50 | ELENA | 2 | 1065 | 1065 | / | / |  |  |  |  | 16.1 | 414 | 1 | Kinga |  | 3 | 1
2 | 1400 | 102 | P/FINAL | 2025-12-04 | 11:29 | 2025-12-04 | 10:50 | ELENA | 2 | 1365 | 1400 | / | / |  |  |  |  | 32.3 | 415 | 1 | Kinga |  | 3 | 2
2 | 1400 | 103 | P/FINAL | 2025-12-04 | 11:30 | 2025-12-04 | 10:50 | ELENA | 2 | 1410 | 1400 | / | / |  |  | 10.097 |  | 6.29 | 413 | 1 | Kinga |  | 3 | 2
3 | 1700 | 104 | P/FINAL | 2025-12-04 | 11:39 | 2025-12-04 | 10:50 | ELENA | 2 | 1740 | 1760 | / | / |  |  |  |  | 7.07 | 400 | 1 | Kinga |  | 3 | 3
3 | 1700 | 105 | P/FINAL | 2025-12-04 | 11:41 | 2025-12-04 | 10:50 | ELENA | 2 | 1705 | 1720 | / | / |  |  |  |  | 4.57 | 409 | 1 | Kinga |  | 3 | 3
3 | 1700 | 106 | P/FINAL | 2025-12-04 | 11:42 | 2025-12-04 | 10:50 | ELENA | 2 | 1725 | 1715 | / | / |  |  | 10.099 |  | 3.16 | 410 | 1 | Kinga |  | 3 | 3
1 | 1100 | 107 | P/FINAL | 2025-12-04 | 14:36 | 2025-12-04 | 12:46 | ELENA | 2 | 1115 | 1135 | / | / |  |  |  |  | 0.50 | 407 | 1 | Kinga |  | 3 | 1
1 | 1100 | 108 | P/FINAL | 2025-12-04 | 14:36 | 2025-12-04 | 12:46 | ELENA | 2 | 1135 | 1135 | / | / |  |  |  |  | 1.12 | 409 | 1 | Kinga |  | 3 | 1
1 | 1100 | 109 | P/FINAL | 2025-12-04 | 14:37 | 2025-12-04 | 12:46 | ELENA | 2 | 1110 | 1120 | / | / |  |  | 10.172 |  | 1.11 | 417 | 1 | Kinga |  | 3 | 1
2 | 1400 | 110 | P/FINAL | 2025-12-04 | 14:40 | 2025-12-04 | 12:46 | ELENA | 2 | 1435 | 1450 | / | / |  |  |  |  | 11.4 | 411 | 1 | Kinga |  | 3 | 2
2 | 1400 | 111 | P/FINAL | 2025-12-04 | 14:41 | 2025-12-04 | 12:46 | ELENA | 2 | 1395 | 1405 | / | / |  |  |  |  | 55.6 | 406 | 1 | Kinga |  | 3 | 2
2 | 1400 | 112 | P/FINAL | 2025-12-04 | 14:45 | 2025-12-04 | 12:46 | ELENA | 2 | 1420 | 1420 | / | / |  |  | 10.152 |  | 52.3 | 413 | 1 | Kinga |  | 3 | 2
3 | 1700 | 113 | P/FINAL | 2025-12-04 | 14:50 | 2025-12-04 | 12:46 | ELENA | 2 | 1730 | 1732 | / | / |  |  |  |  | 0.77 | 410 | 1 | Kinga |  | 3 | 3
3 | 1700 | 114 | P/FINAL | 2025-12-04 | 14:53 | 2025-12-04 | 12:46 | ELENA | 2 | 1650 | 1645 | / | / |  |  |  |  | 0.86 | 406 | 1 | Kinga |  | 3 | 3
3 | 1700 | 115 | P/FINAL | 2025-12-04 | 14:55 | 2025-12-04 | 12:46 | ELENA | 2 | 1740 | 1742 | / | / |  |  | 10.126 |  | 0.92 | 410 | 1 | Kinga |  | 3 | 3
1 | 1100 | 116 | P/FINAL | 2025-12-04 | 15:37 | 2025-12-04 | 15:30 | ROLAND | 2 | 1060 | 1060 | / | / |  |  |  |  | 0.52 | 408 | 1 | Kinga |  | 3 | 1
1 | 1100 | 117 | P/FINAL | 2025-12-04 | 15:40 | 2025-12-04 | 15:30 | ROLAND | 2 | 1100 | 1120 | / | / |  |  |  |  | 0.55 | 409 | 1 | Kinga |  | 3 | 1
1 | 1100 | 118 | P/FINAL | 2025-12-04 | 15:42 | 2025-12-04 | 15:30 | ROLAND | 2 | 1135 | 1135 | / | / |  |  | 10.129 |  | 2.34 | 411 | 1 | Kinga |  | 3 | 1
2 | 1400 | 119 | P/FINAL | 2025-12-04 | 15:44 | 2025-12-04 | 15:30 | ROLAND | 2 | 1410 | 1420 | / | / |  |  |  |  | 54.3 | 410 | 1 | Kinga |  | 3 | 2
2 | 1400 | 120 | P/FINAL | 2025-12-04 | 15:44 | 2025-12-04 | 15:30 | ROLAND | 2 | 1390 | 1400 | / | / |  |  |  |  | 64.4 | 400 | 1 | Kinga |  | 3 | 2
2 | 1400 | 121 | P/FINAL | 2025-12-04 | 15:45 | 2025-12-04 | 15:30 | ROLAND | 2 | 1440 | 1440 | / | / |  |  | 10.131 |  | 65.1 | 406 | 1 | Kinga |  | 3 | 2
3 | 1700 | 122 | P/FINAL | 2025-12-04 | 15:48 | 2025-12-04 | 15:30 | ROLAND | 2 | 1670 | 1670 | / | / |  |  |  |  | 45.7 | 408 | 1 | Kinga |  | 3 | 3
3 | 1700 | 123 | P/FINAL | 2025-12-04 | 15:49 | 2025-12-04 | 15:30 | ROLAND | 2 | 1665 | 1685 | / | / |  |  |  |  | 14.1 | 403 | 1 | Kinga |  | 3 | 3
3 | 1700 | 124 | P/FINAL | 2025-12-04 | 15:50 | 2025-12-04 | 15:30 | ROLAND | 2 | 1685 | 1697 | / | / |  |  | 10.321 |  | 15.7 | 400 | 1 | Kinga |  | 3 | 3
1 | 1100 | 125 | P/FINAL | 2025-12-05 | 08:20 | 2025-12-04 | 19:24 | ROLAND | 2 | 1075 | 1075 | / | / |  |  |  |  | 5.84 | 409 | 1 | Kinga |  | 3 | 1
1 | 1100 | 126 | P/FINAL | 2025-12-05 | 08:21 | 2025-12-04 | 19:24 | ROLAND | 2 | 1095 | 1095 | / | / |  |  |  |  | 1.25 | 398 | 1 | Kinga |  | 3 | 1
1 | 1100 | 127 | P/FINAL | 2025-12-05 | 08:21 | 2025-12-04 | 19:24 | ROLAND | 2 | 1100 | 1100 | / | / |  |  | 10.270 |  | 1.62 | 399 | 1 | Kinga |  | 3 | 1
2 | 1400 | 128 | P/FINAL | 2025-12-05 | 08:26 | 2025-12-04 | 19:24 | ROLAND | 2 | 1405 | 1395 | / | / |  |  |  |  | 83.8 | 396 | 1 | Kinga |  | 3 | 2
2 | 1400 | 129 | P/FINAL | 2025-12-05 | 08:26 | 2025-12-04 | 19:24 | ROLAND | 2 | 1420 | 1420 | / | / |  |  |  |  | 18.5 | 407 | 1 | Kinga |  | 3 | 2
2 | 1400 | 130 | P/FINAL | 2025-12-05 | 08:27 | 2025-12-04 | 19:24 | ROLAND | 2 | 1430 | 1430 | / | / |  |  | 10.236 |  | 20.9 | 408 | 1 | Kinga |  | 3 | 2
3 | 1700 | 131 | P/FINAL | 2025-12-05 | 08:33 | 2025-12-04 | 19:24 | ROLAND | 2 | 1725 | 1700 | / | / |  |  |  |  | 32.9 | 409 | 1 | Kinga |  | 3 | 3
3 | 1700 | 132 | P/FINAL | 2025-12-05 | 08:34 | 2025-12-04 | 19:24 | ROLAND | 2 | 1675 | 1685 | / | / |  |  | 10.238 |  | 1.13 | 402 | 1 | Kinga |  | 3 | 3
3 | 1700 | 133 | P/FINAL | 2025-12-05 | 08:35 | 2025-12-04 | 19:24 | ROLAND | 2 | 1755 | 1760 | / | / |  |  |  |  | 1.07 | 413 | 1 | Kinga |  | 3 | 3
1 | 1100 | 134 | P/FINAL | 2025-12-05 | 08:54 | 2025-12-05 | 07:51 | ELENA | 2 | 1080 | 1080 | / | / |  |  |  |  | 2.59 | 408 | 1 | Kinga |  | 3 | 1
1 | 1100 | 135 | P/FINAL | 2025-12-05 | 08:55 | 2025-12-05 | 07:51 | ELENA | 2 | 1060 | 1065 | / | / |  |  | 10.175 |  | 2.87 | 409 | 1 | Kinga |  | 3 | 1
1 | 1100 | 136 | P/FINAL | 2025-12-05 | 08:57 | 2025-12-05 | 07:51 | ELENA | 2 | 1090 | 1090 | / | / |  |  |  |  | 5.01 | 411 | 1 | Kinga |  | 3 | 1
2 | 1400 | 137 | P/FINAL | 2025-12-05 | 09:00 | 2025-12-05 | 07:51 | ELENA | 2 | 1440 | 1450 | / | / |  |  |  |  | 36.9 | 399 | 1 | Kinga |  | 3 | 2
2 | 1400 | 138 | P/FINAL | 14302025/12/05 | 09:06 | 2025-12-05 | 07:51 | ELENA | 2 | 1430 | 1437 | / | / |  |  | 10.162 |  | 34.8 | 406 | 1 | Kinga |  | 3 | 2
3 | 1700 | 139 | P/FINAL | 14302025/12/05 | 09:07 | 2025-12-05 | 07:51 | ELENA | 2 | 1745 | 1750 | / | / |  |  |  |  | 10.8 | 398 | 1 | Kinga |  | 3 | 3
3 | 1700 | 140 | P/FINAL | 14302025/12/05 | 09:07 | 2025-12-05 | 07:51 | ELENA | 2 | 1740 | 1740 | / | / |  |  |  |  | 11.2 | 399 | 1 | Kinga |  | 3 | 3
3 | 1700 | 141 | P/FINAL | 14302025/12/05 | 09:08 | 2025-12-05 | 07:51 | ELENA | 2 | 1755 | 1755 | / | / |  |  | 10.149 |  | 1.35 | 413 | 1 | Kinga |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
38 | 76 | 1405 mg/L | 38 | 76 | 1405 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
38 | 76 | 1098 mg/L | 38 | 76 | 1098 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
38 | 76 | 1723 mg/L | 38 | 76 | 1723 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
1100 | 1059 ÷ 1141 | 1098 | YES
1400 | 1350 ÷ 1451 | 1405 | YES
1700 | 1640 ÷ 1760 | 1723 | YES
Validation Date | by