## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI784C-0
0664 | HI784C-0 | CP-R84 | W35/1 |  | Parameter Formula | NH3
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Ammonia Reagent C | 2027-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
/ | / | /
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1847 | 0642 | 0664
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-05-01 | 2027-01-01 | 2027-02-01
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-08-02 | 2024-09-05 | 1 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code
HI97115 | CTO-740
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-782
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.35 | 0.45 |  | MR09 |  | 0.03 | & | 5% | 80%
3 | 1.25 | 1.17 | 1.33 | [8 empty] | 12.10 | 12.0 | 12.20
4 | 2.10 | 1.99 | 2.21
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Valid | 2024-08-30 | 13:25 | 2024-08-30 |  | MARK |  | 0.41 | / | / | / |  |  | 12.301 |  | 1.55 |  |  | Brigitta P |  | 3 | 2
2 | 0.40 | 2 | Valid | 2024-08-30 | 13:25 | 2024-08-30 |  | MARK |  | 0.41 | / | / | / |  |  |  |  | 1.27 |  |  | Brigitta P |  | 3 | 2
2 | 0.40 | 3 | Valid | 2024-08-30 | 13:26 | 2024-08-30 |  | MARK |  | 0.41 | / | / | / |  |  |  |  | 1.02 |  |  | Brigitta P |  | 3 | 2
2 | 0.40 | 4 | Old C | 2024-08-30 | 13:26 | 2024-08-30 |  | MARK |  | 0.41 | / | / | / |  |  |  |  | 1.14 |  |  | Brigitta P |  | 3 | 2
3 | 1.25 | 5 | Valid | 2024-08-30 | 13:27 | 2024-08-30 |  | MARK |  | 1.19 | / | / | / |  |  |  |  | 0.53 |  |  | Brigitta P |  | 3 | 3
3 | 1.25 | 6 | Valid | 2024-08-30 | 13:27 | 2024-08-30 |  | MARK |  | 1.19 | / | / | / |  |  |  |  | 0.55 |  |  | Brigitta P |  | 3 | 3
3 | 1.25 | 7 | Valid | 2024-08-30 | 13:27 | 2024-08-30 |  | MARK |  | 1.19 | / | / | / |  |  | 12.285 |  | 0.55 |  |  | Brigitta P |  | 3 | 3
3 | 1.25 | 8 | Old C | 2024-08-30 | 13:27 | 2024-08-30 |  | MARK |  | 1.20 | / | / | / |  |  |  |  | 0.56 |  |  | Brigitta P |  | 3 | 3
4 | 2.10 | 9 | Valid | 2024-08-30 | 13:28 | 2024-08-30 |  | MARK |  | 2.08 | / | / | / |  |  | 12.214 |  | 0.48 |  |  | Brigitta P |  | 3 | 4
4 | 2.10 | 10 | Valid | 2024-08-30 | 13:28 | 2024-08-30 |  | MARK |  | 2.08 | / | / | / |  |  |  |  | 0.50 |  |  | Brigitta P |  | 3 | 4
4 | 2.10 | 11 | Valid | 2024-08-30 | 13:28 | 2024-08-30 |  | MARK |  | 2.08 | / | / | / |  |  |  |  | 0.42 |  |  | Brigitta P |  | 3 | 4
4 | 2.10 | 12 | Old C | 2024-08-30 | 13:28 | 2024-08-30 |  | MARK |  | 2.07 | / | / | / |  |  |  |  | 0.46 |  |  | Brigitta P |  | 3 | 4
1 | 0.00 | 13 | Valid | 2024-08-30 | 13:30 | 2024-08-30 |  | MARK |  | 0.03 | / | / | / |  |  |  |  | 3.63 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 14 | Valid | 2024-08-30 | 13:30 | 2024-08-30 |  | MARK |  | 0.03 | / | / | / |  |  |  |  | 5.78 |  |  | Brigitta P |  | 3 | 1
1 | 0.00 | 15 | P/Final | 2024-09-05 | 08:32 | 2024-09-04 | 07:10 | Iren |  | 0.04 | / | / | / |  |  |  |  | 6.87 |  |  | Monika |  | 3 | 1
1 | 0.00 | 16 | P/Final | 2024-09-05 | 08:32 | 2024-09-04 | 07:10 | Iren |  | 0.05 | / | / | / |  |  |  |  | 5.82 |  |  | Monika |  | 3 | 1
1 | 0.00 | 17 | P/Final | 2024-09-05 | 08:39 | 2024-09-04 | 14:30 | Iren |  | 0.04 | / | / | / |  |  |  |  | 4.41 |  |  | Monika |  | 3 | 1
1 | 0.00 | 18 | P/Final | 2024-09-05 | 08:40 | 2024-09-04 | 14:30 | Iren |  | 0.05 | / | / | / |  |  |  |  | 4.49 |  |  | Monika |  | 3 | 1
2 | 0.40 | 19 | P/Final | 2024-09-05 | 08:49 | 2024-09-04 | 07:10 | Iren |  | 0.43 | / | / | / |  |  |  |  | 3.98 |  |  | Monika |  | 3 | 2 | 111236
2 | 0.40 | 20 | P/Final | 2024-09-05 | 08:50 | 2024-09-04 | 07:10 | Iren |  | 0.43 | / | / | / |  |  |  |  | 3.78 |  |  | Monika |  | 3 | 2 | 111236
2 | 0.40 | 21 | P/Final | 2024-09-05 | 09:48 | 2024-09-04 | 14:30 | Mara |  | 0.44 | / | / | / |  |  |  |  | 2.90 |  |  | Monika |  | 3 | 2 | 111236
2 | 0.40 | 22 | P/Final | 2024-09-05 | 09:49 | 2024-09-04 | 14:30 | Mara |  | 0.43 | / | / | / |  |  |  |  | 2.80 |  |  | Monika |  | 3 | 2 | 111236
2 | 0.40 | 23 | P/Final | 2024-09-05 | 10:46 | 2024-09-05 | 07:20 | Iren |  | 0.41 | / | / | / |  |  |  |  | 4.35 |  |  | Monika |  | 3 | 2 | 111236 | Vacuum OK 8/8
2 | 0.40 | 24 | P/Final | 2024-09-05 | 10:47 | 2024-09-05 | 07:20 | Iren |  | 0.40 | / | / | / |  |  |  |  | 2.75 |  |  | Monika |  | 3 | 2 | 111236
3 | 1.25 | 25 | P/Final | 2024-09-05 | 19:00 | 2024-09-04 | 07:10 | Iren | 1 | 1.20 | / | / | / |  |  | 12.007 |  | 2.51 |  | 1 | Brigitta P |  | 3 | 2 | 111236
3 | 1.25 | 26 | P/Final | 2024-09-05 | 19:00 | 2024-09-04 | 07:10 | Iren | 1 | 1.21 | / | / | / |  |  |  |  | 1.76 |  | 1 | Brigitta P |  | 3 | 2 | 111236
3 | 1.25 | 27 | P/Final | 2024-09-05 | 19:00 | 2024-09-04 | 14:30 | Mara | 1 | 1.21 | / | / | / |  |  |  |  | 6.98 |  | 1 | Brigitta P |  | 3 | 2 | 111236
3 | 1.25 | 28 | P/Final | 2024-09-05 | 19:05 | 2024-09-04 | 14:30 | Mara | 1 | 1.23 | / | / | / |  |  | 11.966 |  | 1.83 |  | 1 | Brigitta P |  | 3 | 2 | 111236
3 | 1.25 | 29 | P/Final | 2024-09-05 | 19:05 | 2024-09-05 | 07:20 | Iren | 1 | 1.19 | / | / | / |  |  |  |  | 1.43 |  | 1 | Brigitta P |  | 3 | 2 | 111236
3 | 1.25 | 30 | P/Final | 2024-09-05 | 19:05 | 2024-09-05 | 07:20 | Iren | 1 | 1.19 | / | / | / |  |  | 11.987 |  | 1.29 |  | 1 | Brigitta P |  | 3 | 2 | 111236
4 | 2.10 | 31 | P/Final | 2024-09-05 | 19:10 | 2024-09-04 | 07:10 | Iren | 1 | 2.07 | / | / | / |  |  |  |  | 1.27 |  | 1 | Brigitta P |  | 3 | 2 | 111236
4 | 2.10 | 32 | P/Final | 2024-09-05 | 19:15 | 2024-09-04 | 07:10 | Iren | 1 | 2.07 | / | / | / |  |  | 12.007 |  | 1.20 |  | 1 | Brigitta P |  | 3 | 2 | 111236
4 | 2.10 | 33 | P/Final | 2024-09-05 | 19:15 | 2024-09-04 | 14:30 | Mara | 1 | 2.06 | / | / | / |  |  |  |  | 7.03 |  | 1 | Brigitta P |  | 3 | 2 | 111236
4 | 2.10 | 34 | P/Final | 2024-09-05 | 19:15 | 2024-09-04 | 14:30 | Mara | 1 | 2.06 | / | / | / |  |  | 12.008 |  | 1.04 |  | 1 | Brigitta P |  | 3 | 2 | 111236
4 | 2.10 | 35 | P/Final | 2024-09-05 | 19:15 | 2024-09-05 | 07:20 | Iren | 1 | 2.09 | / | / | / |  |  |  |  | 1.77 |  | 1 | Brigitta P |  | 3 | 2 | 111236
4 | 2.10 | 36 | P/Final | 2024-09-05 | 19:15 | 2024-09-05 | 07:20 | Iren | 1 | 2.09 | / | / | / |  |  | 12.002 |  | 1.87 |  | 1 | Brigitta P |  | 3 | 2 | 111236
1 | 0.00 | 37 | ASTM | 2024-09-05 | 19:45 | 2024-09-04 | 07:10 | Iren | 1 | 0.03 | / | / | / |  |  |  |  | 3.60 |  | 1 | Brigitta P |  | 3 | 2 | 111236
1 | 0.00 | 38 | ASTM | 2024-09-05 | 19:45 | 2024-09-04 | 14:30 | Mara | 1 | 0.03 | / | / | / |  |  |  |  | 1.77 |  | 1 | Brigitta P |  | 3 | 2 | 111236
1 | 0.00 | 39 | ASTM | 2024-09-05 | 19:45 | 2024-09-05 | 07:20 | Iren | 1 | 0.03 | / | / | / |  |  |  |  | 2.00 |  | 1 | Brigitta P |  | 3 | 2 | 111236
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 6 | 0.42 mg/L | 6 | 6 | 0.42 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 6 | 1.21 mg/L | 6 | 6 | 1.21 mg/L
Standard # 4
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 6 | 2.07 mg/L | 6 | 6 | 2.07 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 0.05 mg/L | 4 | 4 | 0.05 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.05 | NO
0.40 | 0.35 ÷ 0.45 | 0.42 | YES
1.25 | 1.17 ÷ 1.33 | 1.21 | YES
2.10 | 1.99 ÷ 2.21 | 2.07 | YES
Validation Date | by